## locations
dbo.section | dbo.entity_name | dbo.type | dbo.connections.contains
Buildings | IN-GUR-SIGD | FACILITIES/BUILDING
Floors | IN-GUR-SIGD_FL1 | FACILITIES/FLOOR | IN-GUR-SIGD
Rooms | IN-GUR-SIGD_RM1 | FACILITIES/ROOM | IN-GUR-SIGD_FL1
Zones | IN-GUR-SIGD_ZN1 | HVAC/ZONE | IN-GUR-SIGD_RM1
Rooms | IN-GUR-SIGD_RM2 | FACILITIES/ROOM | IN-GUR-SIGD_ZN1
Zones | IN-GUR-SIGD_ZN2 | HVAC/ZONE | IN-GUR-SIGD_RM2

## assets
entity_instance_name | udmi.version | udmi.timestamp | udmi.system.location.site | udmi.system.location.section | udmi.system.location.position.x | udmi.system.location.position.y | udmi.system.location.position.z | udmi.physical_tag.asset.guid | udmi.physical_tag.asset.site | udmi.physical_tag.asset.name | udmi.pointset.points | udmi.cloud.auth_type | dbo.devices_or_virtual_devices | dbo.type | dbo.cloud_device_id | dbo.connections.feeds | dbo.connections.controls | dbo.links | dbo.links.points | Location | Reporting Device
HLI-67 | 1.4.1 | 2023-01-30T09:03:43Z | IN-BLR-BCPWK | 9F-AHU-RM | 10 | 10 | 10 | 823f942a-0332-4fbb-ba7a-a2b9e9906881 | IN-BLR-BCPWK | HLI-67 | HLI-67 | RS256 | Device | GATEWAY/PASSTHROUGH | 2740339945917115 |  |  |  | HLI-67

## device_entities
points_type | udmi.pointset.points | udmi.pointset.units | dbo.states | dbo.translation.fields | dbo.translation.units | dbo.abstracts
HLI-67 | supply_water_temperature_sensor | degrees_celsius |  | supply_water_temperature_sensor | degrees_celsius: degrees_celsius
HLI-67 | return_water_temperature_sensor | degrees_celsius |  | return_water_temperature_sensor | degrees_celsius: degrees_celsius
HLI-67 | return_water_temperature_setpoint | degrees_celsius |  | return_water_temperature_setpoint | degrees_celsius: degrees_celsius
HLI-67 | return_water_temperature_sensor | degrees_celsius |  | return_water_temperature_sensor | degrees_celsius: degrees_celsius

## virtual_device_entities
virtual_points_type | device_points_type | dbo.source_device_field | dbo.virtual_device_field | dbo.abstracts

## asset_template
entity_instance_name | udmi.system.location.site | udmi.pointset.points | udmi.system.location.section | udmi.system.location.position.x | udmi.system.location.position.y | udmi.system.location.position.z | udmi.physical_tag.asset.guid | udmi.physical_tag.asset.site | udmi.physical_tag.asset.name | udmi.cloud.auth_type | dbo.devices_or_virtual_devices | dbo.type | dbo.connections.feeds | dbo.connections.controls | dbo.links | dbo.links.points | location | reporting_device