## locations
dbo.section | dbo.entity_name | dbo.type | dbo.id | dbo.connections.contains
Buildings | IN-GUR-SIGD | FACILITIES/BUILDING | 3654fc48-914e-4a55-82f6-126534244886
Floors | IN-GUR-SIGD_FL1 | FACILITIES/FLOOR | a388563d-58e3-4534-b133-19389f6650a4 | IN-GUR-SIGD
Rooms | IN-GUR-SIGD_RM1 | FACILITIES/ROOM | b9f2c8b8-d67e-4b50-824a-7b48ff877429 | IN-GUR-SIGD_FL1
Zones | IN-GUR-SIGD_ZN1 | HVAC/ZONE | a0f68db4-f074-49cf-8e80-d65634587f9f | IN-GUR-SIGD-RM1
Rooms | IN-GUR-SIGD_RM2 | FACILITIES/ROOM | 58d709a5-aa50-4134-a035-0ccc2d01fd48 | IN-GUR-SIGD_FL1
Zones | IN-GUR-SIGD_ZN2 | HVAC/ZONE | bdf2e667-8ab2-4ae3-bcc9-9c6c7d995535 | IN-GUR-SIGD_RM2

## assets
entity_instance_name | udmi.version | udmi.timestamp | udmi.system.location.site | udmi.system.location.section | udmi.system.location.position.x | udmi.system.location.position.y | udmi.system.location.position.z | udmi.physical_tag.asset.guid | udmi.physical_tag.asset.site | udmi.physical_tag.asset.name | udmi.pointset.points | udmi.cloud.auth_type | dbo.devices_or_virtual_devices | dbo.type | dbo.connections.feeds | dbo.connections.controls | dbo.links | dbo.links.points | Location | Reporting Device
HLI-50 | 1.4.1 | 2023-01-30T09:03:43Z | IN-BLR-BCPWK | UB | 10 | 10 | 10 | bd398cae-56d3-8304-83bb-597b08d0ecc5 | IN-BLR-BCPWK | HLI-50 | HLI-50 | RS256 | Device | HVAC/AHU_
HLI-20 | 1.4.1 | 2023-01-30T09:03:43Z | IN-BLR-BCPWK | UB | 10 | 10 | 10 | a96afbe7-f9e7-7608-745d-acc79f8051c4 | IN-BLR-BCPWK | HLI-20 | HLI-20 | RS256 | Device | HVAC/AHU_
HLI-70 | 1.4.1 | 2023-01-30T09:03:43Z | IN-BLR-BCPWK | UB | 10 | 10 | 10 | 43c75bff-bfdd-02f5-7012-401d9cd1c3f7 | IN-BLR-BCPWK | HLI-70 | HLI-70 | RS256 | Device

## device_entities
points_type | udmi.pointset.points | udmi.pointset.units | udmi.pointset.ref | dbo.states | dbo.translation.fields | dbo.translation.units | dbo.abstracts
HLI-50 | supply_fan_run_time_accumulator_03 | hours | AV103008.Present_Value | 2 = INACTIVE 3=ACTIVE
HLI-50 | supply_fan_voltage_sensor_03 | volts | AV103001.Present_Value
HLI-50 | supply_fan_current_sensor_03 | amperes | AV103002.Present_Value
HLI-50 | supply_fan_speed_frequency_sensor_03 | hertz | AV103004.Present_Value
HLI-50 | supply_fan_power_sensor_03 | kilowatt | AV103005.Present_Value
HLI-50 | supply_fan_energy_accumulator_03 | kilowatt_hours | AV103006.Present_Value
HLI-50 | supply_fan_run_time_accumulator_06 | hours | AV109008.Present_Value
HLI-50 | supply_fan_voltage_sensor_06 | volts | AV109001.Present_Value
HLI-50 | supply_fan_current_sensor_06 | amperes | AV109002.Present_Value
HLI-50 | supply_fan_speed_frequency_sensor_06 | hertz | AV109004.Present_Value
HLI-50 | supply_fan_power_sensor_06 | kilowatt | AV109005.Present_Value
HLI-50 | supply_fan_energy_accumulator_06 | kilowatt_hours | AV109006.Present_Value
HLI-50 | supply_fan_run_time_accumulator_08 | hours | AV111008.Present_Value
HLI-50 | supply_fan_voltage_sensor_08 | volts | AV111001.Present_Value
HLI-50 | supply_fan_current_sensor_08 | amperes | AV111002.Present_Value
HLI-50 | supply_fan_speed_frequency_sensor_08 | hertz | AV111004.Present_Value
HLI-50 | supply_fan_power_sensor_08 | kilowatt | AV111005.Present_Value
HLI-50 | supply_fan_energy_accumulator_08 | kilowatt_hours | AV111006.Present_Value
HLI-50 | supply_fan_run_time_accumulator_10 | hours | AV113008.Present_Value
HLI-50 | supply_fan_voltage_sensor_10 | volts | AV113001.Present_Value
HLI-50 | supply_fan_current_sensor_10 | amperes | AV113002.Present_Value
HLI-50 | supply_fan_speed_frequency_sensor_10 | hertz | AV113004.Present_Value
HLI-50 | supply_fan_power_sensor_10 | kilowatt | AV113005.Present_Value
HLI-50 | supply_fan_energy_accumulator_10 | kilowatt_hours | AV1130086.Present_Value
HLI-50 | supply_fan_run_time_accumulator_12 | hours | AV115008.Present_Value
HLI-50 | supply_fan_voltage_sensor_12 | volts | AV115001.Present_Value
HLI-50 | supply_fan_current_sensor_12 | amperes | AV115002.Present_Value
HLI-50 | supply_fan_speed_frequency_sensor_12 | hertz | AV115004.Present_Value
HLI-50 | supply_fan_power_sensor_12 | kilowatt | AV115005.Present_Value
HLI-50 | supply_fan_energy_accumulator_12 | kilowatt_hours | AV115006.Present_Value
HLI-50 | supply_fan_run_time_accumulator_14 | hours | AV117008.Present_Value
HLI-50 | supply_fan_voltage_sensor_14 | volts | AV117001.Present_Value
HLI-50 | supply_fan_current_sensor_14 | amperes | AV117002.Present_Value
HLI-50 | supply_fan_speed_frequency_sensor_14 | hertz | AV117004.Present_Value
HLI-50 | supply_fan_power_sensor_14 | kilowatt | AV117005.Present_Value
HLI-50 | supply_fan_energy_accumulator_14 | kilowatt_hours | AV117006.Present_Value
HLI-50 | supply_fan_run_time_accumulator_16 | hours | AV119008.Present_Value
HLI-50 | supply_fan_voltage_sensor_16 | volts | AV119001.Present_Value
HLI-50 | supply_fan_current_sensor_16 | amperes | AV119002.Present_Value
HLI-50 | supply_fan_speed_frequency_sensor_16 | hertz | AV119004.Present_Value
HLI-50 | supply_fan_power_sensor_16 | kilowatt | AV119005.Present_Value
HLI-50 | supply_fan_energy_accumulator_16 | kilowatt_hours | AV119006.Present_Value
HLI-50 | supply_fan_run_time_accumulator_19 | hours | AV122008.Present_Value
HLI-50 | supply_fan_voltage_sensor_19 | volts | AV122001.Present_Value
HLI-50 | supply_fan_current_sensor_19 | amperes | AV122002.Present_Value
HLI-50 | supply_fan_speed_frequency_sensor_19 | hertz | AV122004.Present_Value
HLI-50 | supply_fan_power_sensor_19 | kilowatt | AV122005.Present_Value
HLI-50 | supply_fan_energy_accumulator_19 | kilowatt_hours | AV122006.Present_Value
HLI-50 | supply_fan_run_time_accumulator_20 | hours | AV123008.Present_Value
HLI-50 | supply_fan_voltage_sensor_20 | volts | AV123001.Present_Value
HLI-50 | supply_fan_current_sensor_20 | amperes | AV123002.Present_Value
HLI-50 | supply_fan_speed_frequency_sensor_20 | hertz | AV123004.Present_Value
HLI-50 | supply_fan_power_sensor_20 | kilowatt | AV123005.Present_Value
HLI-50 | supply_fan_energy_accumulator_20 | kilowatt_hours | AV123006.Present_Value
HLI-20 | supply_fan_run_time_accumulator_01 | hours | AV105008.Present_Value
HLI-20 | supply_fan_voltage_sensor_01 | volts | AV105001.Present_Value
HLI-20 | supply_fan_current_sensor_01 | amperes | AV105002.Present_Value
HLI-20 | supply_fan_speed_frequency_sensor_01 | hertz | AV105004.Present_Value
HLI-20 | supply_fan_power_sensor_01 | kilowatt | AV105005.Present_Value
HLI-20 | supply_fan_energy_accumulator_01 | kilowatt_hours | AV105006.Present_Value
HLI-20 | supply_fan_run_time_accumulator_02 | hours | AV104008.Present_Value
HLI-20 | supply_fan_voltage_sensor_02 | volts | AV104001.Present_Value
HLI-20 | supply_fan_current_sensor_02 | amperes | AV104002.Present_Value
HLI-20 | supply_fan_speed_frequency_sensor_02 | hertz | AV104004.Present_Value
HLI-20 | supply_fan_power_sensor_02 | kilowatt | AV104005.Present_Value
HLI-20 | supply_fan_energy_accumulator_02 | kilowatt_hours | AV104006.Present_Value
HLI-20 | supply_fan_run_time_accumulator_07 | hours | AV110008.Present_Value
HLI-20 | supply_fan_voltage_sensor_07 | volts | AV110001.Present_Value
HLI-20 | supply_fan_current_sensor_07 | amperes | AV110002.Present_Value
HLI-20 | supply_fan_speed_frequency_sensor_07 | hertz | AV110004.Present_Value
HLI-20 | supply_fan_power_sensor_07 | kilowatt | AV110005.Present_Value
HLI-20 | supply_fan_energy_accumulator_07 | kilowatt_hours | AV110006.Present_Value
HLI-20 | supply_fan_run_time_accumulator_09 | hours | AV112008.Present_Value
HLI-20 | supply_fan_voltage_sensor_09 | volts | AV112001.Present_Value
HLI-20 | supply_fan_current_sensor_09 | amperes | AV112002.Present_Value
HLI-20 | supply_fan_speed_frequency_sensor_09 | hertz | AV112004.Present_Value
HLI-20 | supply_fan_power_sensor_09 | kilowatt | AV112005.Present_Value
HLI-20 | supply_fan_energy_accumulator_09 | kilowatt_hours | AV112006.Present_Value
HLI-20 | supply_fan_run_time_accumulator_11 | hours | AV114008.Present_Value
HLI-20 | supply_fan_voltage_sensor_11 | volts | AV114001.Present_Value
HLI-20 | supply_fan_current_sensor_11 | amperes | AV114002.Present_Value
HLI-20 | supply_fan_speed_frequency_sensor_11 | hertz | AV114004.Present_Value
HLI-20 | supply_fan_power_sensor_11 | kilowatt | AV114005.Present_Value
HLI-20 | supply_fan_energy_accumulator_11 | kilowatt_hours | AV114006.Present_Value
HLI-20 | supply_fan_run_time_accumulator_13 | hours | AV116008.Present_Value
HLI-20 | supply_fan_voltage_sensor_13 | volts | AV116001.Present_Value
HLI-20 | supply_fan_current_sensor_13 | amperes | AV116002.Present_Value
HLI-20 | supply_fan_speed_frequency_sensor_13 | hertz | AV116004.Present_Value
HLI-20 | supply_fan_power_sensor_13 | kilowatt | AV116005.Present_Value
HLI-20 | supply_fan_energy_accumulator_13 | kilowatt_hours | AV116006.Present_Value
HLI-20 | supply_fan_run_time_accumulator_15 | hours | AV118008.Present_Value
HLI-20 | supply_fan_voltage_sensor_15 | volts | AV118001.Present_Value
HLI-20 | supply_fan_current_sensor_15 | amperes | AV118002.Present_Value
HLI-20 | supply_fan_speed_frequency_sensor_15 | hertz | AV118004.Present_Value
HLI-20 | supply_fan_power_sensor_15 | kilowatt | AV118005.Present_Value
HLI-20 | supply_fan_energy_accumulator_15 | kilowatt_hours | AV118006.Present_Value
HLI-20 | supply_fan_run_time_accumulator_17 | hours | AV121008.Present_Value
HLI-20 | supply_fan_voltage_sensor_17 | volts | AV121001.Present_Value
HLI-20 | supply_fan_current_sensor_17 | amperes | AV121002.Present_Value
HLI-20 | supply_fan_speed_frequency_sensor_17 | hertz | AV121004.Present_Value
HLI-20 | supply_fan_power_sensor_17 | kilowatt | AV121005.Present_Value
HLI-20 | supply_fan_energy_accumulator_17 | kilowatt_hours | AV121006.Present_Value
HLI-20 | supply_fan_run_time_accumulator_18 | hours | AV120008.Present_Value
HLI-20 | supply_fan_voltage_sensor_18 | volts | AV120001.Present_Value
HLI-20 | supply_fan_current_sensor_18 | amperes | AV120002.Present_Value
HLI-20 | supply_fan_speed_frequency_sensor_18 | hertz | AV120004.Present_Value
HLI-20 | supply_fan_power_sensor_18 | kilowatt | AV120005.Present_Value
HLI-20 | supply_fan_energy_accumulator_18 | kilowatt_hours | AV120006.Present_Value
HLI-70 | sf_01_supply_fan_run_time_accumulator | hours | AV203008.Present_Value
HLI-70 | sf_01_supply_fan_voltage_sensor | volts | AV203001.Present_Value
HLI-70 | sf_01_supply_fan_current_sensor | amperes | AV203002.Present_Value
HLI-70 | sf_01_supply_fan_speed_frequency_sensor | hertz | AV203004.Present_Value
HLI-70 | sf_01_supply_fan_power_sensor | kilowatt | AV203005.Present_Value
HLI-70 | sf_01_supply_fan_energy_accumulator | kilowatt_hours | AV203006.Present_Value
HLI-70 | sf_02_supply_fan_run_time_accumulator | hours | AV204008.Present_Value
HLI-70 | sf_02_supply_fan_voltage_sensor | volts | AV204001.Present_Value
HLI-70 | sf_02_supply_fan_current_sensor | amperes | AV204002.Present_Value
HLI-70 | sf_02_supply_fan_speed_frequency_sensor | hertz | AV204004.Present_Value
HLI-70 | sf_02_supply_fan_power_sensor | kilowatt | AV204005.Present_Value
HLI-70 | sf_02_supply_fan_energy_accumulator | kilowatt_hours | AV204006.Present_Value
HLI-70 | kef_01_run_time_accumulator | hours | AV105008.Present_Value
HLI-70 | kef_01_voltage_sensor | volts | AV105001.Present_Value
HLI-70 | kef_01_current_sensor | amperes | AV105002.Present_Value
HLI-70 | kef_01_speed_frequency_sensor | hertz | AV105004.Present_Value
HLI-70 | kef_01_power_sensor | kilowatt | AV105005.Present_Value
HLI-70 | kef_01_energy_accumulator | kilowatt_hours | AV105006.Present_Value
HLI-70 | kef_02_run_time_accumulator | hours | AV106008.Present_Value
HLI-70 | kef_02_voltage_sensor | volts | AV106001.Present_Value
HLI-70 | kef_02_current_sensor | amperes | AV106002.Present_Value
HLI-70 | kef_02_speed_frequency_sensor | hertz | AV106004.Present_Value
HLI-70 | kef_02_power_sensor | kilowatt | AV106005.Present_Value
HLI-70 | kef_02_energy_accumulator | kilowatt_hours | AV106006.Present_Value
s

## network
network_type | udmi.localnet.families | udmi.localnet.id
HLI-50 | bacnet
HLI-20 | bacnet
HLI-70 | bacnet

## virtual_device_entities
virtual_points_type | device_points_type | dbo.source_device_field | dbo.virtual_device_field | dbo.abstracts

## asset_template
entity_instance_name | udmi.system.location.site | udmi.pointset.points | udmi.system.location.section | udmi.system.location.position.x | udmi.system.location.position.y | udmi.system.location.position.z | udmi.physical_tag.asset.guid | udmi.physical_tag.asset.site | udmi.physical_tag.asset.name | udmi.cloud.auth_type | dbo.devices_or_virtual_devices | dbo.type | dbo.connections.feeds | dbo.connections.controls | dbo.links | dbo.links.points | location | reporting_device