## locations
dbo.section | dbo.entity_name | dbo.type | dbo.id | dbo.connections.contains
Buildings | IN-GUR-SIGD | FACILITIES/BUILDING | 3654fc48-914e-4a55-82f6-126534244886
Floors | IN-GUR-SIGD_FL1 | FACILITIES/FLOOR | a388563d-58e3-4534-b133-19389f6650a4 | IN-GUR-SIGD
Rooms | IN-GUR-SIGD_RM1 | FACILITIES/ROOM | b9f2c8b8-d67e-4b50-824a-7b48ff877429 | IN-GUR-SIGD_FL1
Zones | IN-GUR-SIGD_ZN1 | HVAC/ZONE | a0f68db4-f074-49cf-8e80-d65634587f9f | IN-GUR-SIGD-RM1
Rooms | IN-GUR-SIGD_RM2 | FACILITIES/ROOM | 58d709a5-aa50-4134-a035-0ccc2d01fd48 | IN-GUR-SIGD_FL1
Zones | IN-GUR-SIGD_ZN2 | HVAC/ZONE | bdf2e667-8ab2-4ae3-bcc9-9c6c7d995535 | IN-GUR-SIGD_RM2

## assets
entity_instance_name | udmi.version | udmi.timestamp | udmi.system.location.site | udmi.system.location.section | udmi.system.location.position.x | udmi.system.location.position.y | udmi.system.location.position.z | udmi.physical_tag.asset.guid | udmi.physical_tag.asset.site | udmi.physical_tag.asset.name | udmi.pointset.points | udmi.cloud.auth_type | dbo.devices_or_virtual_devices | dbo.type | dbo.connections.feeds | dbo.connections.controls | dbo.links | dbo.links.points | Location | Reporting Device
HLI-68 | 1.4.1 | 2023-01-30T09:03:43Z | IN-BLR-BCPWK | 9F | 10 | 10 | 10 | 380c7fff-3113-54c9-ba4e-b46718058aab | IN-BLR-BCPWK | HLI-68 | HLI-68 | RS256 | Device | WST

## device_entities
points_type | udmi.pointset.points | udmi.pointset.units | udmi.pointset.ref | dbo.states | dbo.translation.fields | dbo.translation.units | dbo.abstracts
HLI-68 | outside_air_co2_concentration_sensor | ppm | AV201002.Present_Value | 2 = INACTIVE 3=ACTIVE
HLI-68 | outside_air_temperature_sensor | °C | AV201003.Present_Value
HLI-68 | outside_air_relative_humidity_sensor | %RH | AV201004.Present_Value
HLI-68 | zone_air_pm2pt5_volumetricconcentration_sensor | mg/mÂ³ | AV201001.Present_Value
HLI-68 | wind_linearvelocity_sensor
HLI-68 | wind_direction_angle_sensor
HLI-68 | outside_air_drybulb_temperature_sensor
HLI-68 | outside_air_wetbulb_temperature_sensor
HLI-68 | outside_air_rain_level_sensor
s

## network
network_type | udmi.localnet.families | udmi.localnet.id
HLI-31 | bacnet | s

## virtual_device_entities
virtual_points_type | device_points_type | dbo.source_device_field | dbo.virtual_device_field | dbo.abstracts

## asset_template
entity_instance_name | udmi.system.location.site | udmi.pointset.points | udmi.system.location.section | udmi.system.location.position.x | udmi.system.location.position.y | udmi.system.location.position.z | udmi.physical_tag.asset.guid | udmi.physical_tag.asset.site | udmi.physical_tag.asset.name | udmi.cloud.auth_type | dbo.devices_or_virtual_devices | dbo.type | dbo.connections.feeds | dbo.connections.controls | dbo.links | dbo.links.points | location | reporting_device