## locations
dbo.section | dbo.entity_name | dbo.type | dbo.connections.contains
Buildings | IN-GUR-SIGD | FACILITIES/BUILDING
Floors | IN-GUR-SIGD_FL1 | FACILITIES/FLOOR | IN-GUR-SIGD
Rooms | IN-GUR-SIGD_RM1 | FACILITIES/ROOM | IN-GUR-SIGD_FL1
Zones | IN-GUR-SIGD_ZN1 | HVAC/ZONE | IN-GUR-SIGD_RM1
Rooms | IN-GUR-SIGD_RM2 | FACILITIES/ROOM | IN-GUR-SIGD_ZN1
Zones | IN-GUR-SIGD_ZN2 | HVAC/ZONE | IN-GUR-SIGD_RM2

## assets
entity_instance_name | udmi.version | udmi.timestamp | udmi.system.location.site | udmi.system.location.section | udmi.system.location.position.x | udmi.system.location.position.y | udmi.system.location.position.z | udmi.physical_tag.asset.guid | udmi.physical_tag.asset.site | udmi.physical_tag.asset.name | udmi.pointset.points | udmi.cloud.auth_type | dbo.devices_or_virtual_devices | dbo.type | dbo.cloud_device_id | dbo.connections.feeds | dbo.connections.controls | dbo.links | dbo.links.points | Location | Reporting Device
HLI-9 | 1 | 2023-01-30T09:03:43Z | IN-BLR-BCPWK | UB-IDF-ROOM-ENTRANCE | 10 | 10 | 10 | 04bd5283-ce3e-27a9-452f-f352e76f80fb | IN-BLR-BCPWK | HLI-9 | HLI-9 | RS256 | Device | GATEWAYS/PASSTHROUGH | 2561906563582972
HLI-909 | 1 | 2023-01-30T09:03:43Z | IN-BLR-BCPWK | UB-IDF-ROOM-ENTRANCE | 10 | 10 | 10 | 44f94c70-3dc1-3dea-3dfa-fefe139921dc | IN-BLR-BCPWK | HLI-909 | HLI-909 | RS256 | Device | GATEWAYS/PASSTHROUGH | 2663448010426311
HLI-19 | 1 | 2023-01-30T09:03:43Z | IN-BLR-BCPWK | 2F-NORTH-WING-AHU-01 | 10 | 10 | 10 | d0d61a50-2d14-3d65-4da1-0ddb26c324c9 | IN-BLR-BCPWK | HLI-19 | HLI-19 | RS256 | Device | GATEWAYS/PASSTHROUGH | 2608169612030747
HLI-1919 | 1 | 2023-01-30T09:03:43Z | IN-BLR-BCPWK | 2F-NORTH-WING-AHU-01 | 10 | 10 | 10 | 53872fa8-f41c-331e-84d4-a675452b1338 | IN-BLR-BCPWK | HLI-1919 | HLI-1919 | RS256 | Device | GATEWAYS/PASSTHROUGH | 2651462415261499
HLI-34 | 1 | 2023-01-30T09:03:43Z | IN-BLR-BCPWK | 4F-NORTH-WING-AHU-01 | 10 | 10 | 10 | 1c54b649-b6d9-27ba-b36c-69ae06c944e8 | IN-BLR-BCPWK | HLI-34 | HLI-34 | RS256 | Device | GATEWAYS/PASSTHROUGH | 2773100014242099
HLI-3434 | 1 | 2023-01-30T09:03:43Z | IN-BLR-BCPWK | 4F-NORTH-WING-AHU-01 | 10 | 10 | 10 | 0c401383-4761-ae75-bcfd-b6baf0f5ba61 | IN-BLR-BCPWK | HLI-3434 | HLI-3434 | RS256 | Device | GATEWAYS/PASSTHROUGH | 2809538202596405
HLI-53 | 1 | 2023-01-30T09:03:43Z | IN-BLR-BCPWK | 7F-NORTH-WING-AHU-01 | 10 | 10 | 10 | 7aa49dfb-37fa-f414-18f7-db24b54734cd | IN-BLR-BCPWK | HLI-53 | HLI-53 | RS256 | Device | GATEWAYS/PASSTHROUGH | 2601288291233482
HLI-65 | 1 | 2023-01-30T09:03:43Z | IN-BLR-BCPWK | 9F-NORTH-WING-AHU-01 | 10 | 10 | 10 | 8546f79b-2fe7-a329-0f2f-fff26de20b0e | IN-BLR-BCPWK | HLI-65 | HLI-65 | RS256 | Device | GATEWAYS/PASSTHROUGH | 2695652608784047
EM-01 | 1 | 2023-01-30T09:03:43Z | IN-BLR-BCPWK | 9F-NORTH-WING-AHU-01 | 10 | 10 | 10 | [5 empty] | Virtual | EM_PWM_AVCM_PWMRDM |  |  |  | HLI-9 | HLI-9

## device_entities
points_type | udmi.pointset.points | udmi.pointset.units | dbo.states | dbo.translation.fields | dbo.translation.units | dbo.abstracts
DDC-7 | supply_fan_run_mode | No-units |  | average_line_current_sensor_01 | degrees_celsius
DDC-7 | supply_fan_speed_mode | No-units |  | average_line_neutral_voltage_sensor_01 | volts: volts
DDC-7 | supply_fan_run_command | No-units | true=ON false=OFF | line_frequency_sensor_01 | hertz: hertz
DDC-7 | supply_fan_run_status | No-units | true=ON false=OFF | powerfactor_sensor_01 | no_units: no_units
DDC-7 | supply_fan_lost_power_alarm | No-units | true=ACTIVE false=INACTIVE | power_sensor_01 | kilowatts: kilowatts
DDC-7 | supply_fan_speed_percentage_cmd | percent | true=ACTIVE false=INACTIVE | electricalgrid_energy_accumulator_01 | kilowatt_hours: kilowatt_hours
DDC-7 | filter_differential_pressure_sen | pascals | true=ACTIVE false=INACTIVE | generator_energy_accumulator_01 | kilowatt_hours: kilowatt_hours
DDC-7 | supply_air_temperature_sensor | degrees_celsius |  | energy_accumulator_01 | kilowatt_hours: kilowatt_hours
DDC-7 | supply_air_static_pressure_sen | pascals |  | average_line_current_sensor_02 | amperes: amperes
DDC-7 | chilled_water_valve_percent_cmd | percent |  | average_line_neutral_voltage_sensor_02 | volts: volts
DDC-7 | chilled_water_valve_percent_sen | percent |  | line_frequency_sensor_02 | hertz: hertz
DDC-7 | supply_air_isolation_dam_sts_1 | No-units |  | powerfactor_sensor_02 | no_units: no_units
DDC-7 | supply_air_temp_setpoint | degrees_celsius |  | power_sensor_02 | kilowatts: kilowatts
DDC-7 | supply_air_static_pressure_setpo | pascals |  | electricalgrid_energy_accumulator_02 | kilowatt_hours: kilowatt_hours
DDC-7 | return_air_co2_concentration_set | parts_per_million |  | generator_energy_accumulator_02 | kilowatt_hours: kilowatt_hours
DDC-7 | schedule_run_command | No-units |  | energy_accumulator_02 | kilowatt_hours: kilowatt_hours
DDC-7 | return_air_isolation_dam_sts_1 | No-units |  | average_line_current_sensor_03 | amperes: amperes
DDC-6 | supply_fan_run_mode | No-units |  | average_line_neutral_voltage_sensor_03 | volts: volts
DDC-6 | supply_fan_speed_mode | No-units |  | line_frequency_sensor_03 | hertz: hertz
DDC-6 | supply_fan_run_command | No-units |  | powerfactor_sensor_03 | no_units: no_units
DDC-6 | supply_fan_run_status | No-units |  | power_sensor_03 | kilowatts: kilowatts
DDC-6 | supply_fan_lost_power_alarm | No-units |  | electricalgrid_energy_accumulator_03 | kilowatt_hours: kilowatt_hours
DDC-6 | supply_fan_speed_percentage_cmd | percent |  | generator_energy_accumulator_03 | kilowatt_hours: kilowatt_hours
DDC-6 | filter_differential_pressure_sen | pascals |  | energy_accumulator_03 | kilowatt_hours: kilowatt_hours
DDC-6 | supply_air_temperature_sensor | degrees_celsius |  | average_line_current_sensor_04 | amperes: amperes
DDC-6 | supply_air_static_pressure_sen | pascals |  | average_line_neutral_voltage_sensor_04 | volts: volts
DDC-6 | chilled_water_valve_percent_cmd | percent |  | line_frequency_sensor_04 | hertz: hertz
DDC-6 | chilled_water_valve_percent_sen | percent |  | powerfactor_sensor_04 | no_units: no_units
DDC-6 | supply_air_isolation_dam_sts_1 | No-units |  | power_sensor_04 | kilowatts: kilowatts
DDC-6 | supply_air_temp_setpoint | degrees_celsius |  | electricalgrid_energy_accumulator_04 | kilowatt_hours: kilowatt_hours
DDC-6 | supply_air_static_pressure_setpo | pascals |  | generator_energy_accumulator_04 | kilowatt_hours: kilowatt_hours
DDC-6 | return_air_co2_concentration_set | parts_per_million |  | energy_accumulator_04 | kilowatt_hours: kilowatt_hours
DDC-6 | schedule_run_command | No-units |  | average_line_current_sensor_05 | amperes: amperes
DDC-6 | return_air_isolation_dam_sts_1 | No-units |  | average_line_neutral_voltage_sensor_05 | volts: volts
DDC-6 | return_air_temperature_sensor | degrees_celsius |  | line_frequency_sensor_05 | hertz: hertz
DDC-6 | return_air_co2_concentration_sen | parts_per_million |  | powerfactor_sensor_05 | no_units: no_units
DDC-6 | return_air_relative_humidity_sen | percent |  | power_sensor_05 | kilowatts: kilowatts
DDC-4 | supply_fan_run_mode | No-units |  | electricalgrid_energy_accumulator_05 | kilowatt_hours: kilowatt_hours
DDC-4 | supply_fan_speed_mode | No-units |  | generator_energy_accumulator_05 | kilowatt_hours: kilowatt_hours
DDC-4 | supply_fan_run_command | No-units |  | energy_accumulator_05 | kilowatt_hours: kilowatt_hours
DDC-4 | supply_fan_run_status | No-units |  | average_line_current_sensor_06 | amperes: amperes
DDC-4 | supply_fan_lost_power_alarm | No-units |  | average_line_neutral_voltage_sensor_06 | volts: volts
DDC-4 | supply_fan_speed_percentage_cmd | percent |  | line_frequency_sensor_06 | hertz: hertz
DDC-4 | filter_differential_pressure_sen | pascals |  | powerfactor_sensor_06 | no_units: no_units
DDC-4 | supply_air_temperature_sensor | degrees_celsius |  | power_sensor_06 | kilowatts: kilowatts
DDC-4 | supply_air_static_pressure_sen | pascals |  | electricalgrid_energy_accumulator_06 | kilowatt_hours: kilowatt_hours
DDC-4 | chilled_water_valve_percent_cmd | percent |  | generator_energy_accumulator_06 | kilowatt_hours: kilowatt_hours
DDC-4 | chilled_water_valve_percent_sen | percent |  | energy_accumulator_06 | kilowatt_hours: kilowatt_hours
DDC-4 | supply_air_isolation_dam_sts_1 | No-units |  | average_line_current_sensor_07 | amperes: amperes
DDC-4 | supply_air_temp_setpoint | degrees_celsius |  | average_line_neutral_voltage_sensor_07 | volts: volts
DDC-4 | supply_air_static_pressure_setpo | pascals |  | line_frequency_sensor_07 | hertz: hertz
DDC-4 | return_air_co2_concentration_set | parts_per_million |  | powerfactor_sensor_07 | no_units: no_units
DDC-4 | schedule_run_command | No-units |  | power_sensor_07 | kilowatts: kilowatts
DDC-4 | return_air_isolation_dam_sts_1 | No-units |  | electricalgrid_energy_accumulator_07 | kilowatt_hours: kilowatt_hours
DDC-4 | return_air_temperature_sensor | degrees_celsius |  | generator_energy_accumulator_07 | kilowatt_hours: kilowatt_hours
DDC-4 | return_air_co2_concentration_sen | parts_per_million |  | energy_accumulator_07 | kilowatt_hours: kilowatt_hours
DDC-4 | return_air_relative_humidity_sen | percent |  | average_line_current_sensor_08 | amperes: amperes
DDC-5 | supply_fan_run_mode | No-units |  | average_line_neutral_voltage_sensor_08 | volts: volts
DDC-5 | supply_fan_speed_mode | No-units |  | line_frequency_sensor_08 | hertz: hertz
DDC-5 | supply_fan_run_command | No-units |  | powerfactor_sensor_08 | no_units: no_units
DDC-5 | supply_fan_run_status | No-units |  | power_sensor_08 | kilowatts: kilowatts
DDC-5 | supply_fan_lost_power_alarm | No-units |  | electricalgrid_energy_accumulator_08 | kilowatt_hours: kilowatt_hours
DDC-5 | supply_fan_speed_percentage_cmd | percent |  | generator_energy_accumulator_08 | kilowatt_hours: kilowatt_hours
DDC-5 | filter_differential_pressure_sen | pascals |  | energy_accumulator_08 | kilowatt_hours: kilowatt_hours
DDC-5 | supply_air_temperature_sensor | degrees_celsius |  | average_line_current_sensor_09 | amperes: amperes
DDC-5 | supply_air_static_pressure_sen | pascals |  | average_line_neutral_voltage_sensor_09 | volts: volts
DDC-5 | chilled_water_valve_percent_cmd | percent |  | line_frequency_sensor_09 | hertz: hertz
DDC-5 | chilled_water_valve_percent_sen | percent |  | powerfactor_sensor_09 | no_units: no_units
DDC-5 | supply_air_isolation_dam_sts_1 | No-units |  | power_sensor_09 | kilowatts: kilowatts
DDC-5 | supply_air_temp_setpoint | degrees_celsius |  | electricalgrid_energy_accumulator_09 | kilowatt_hours: kilowatt_hours
DDC-5 | supply_air_static_pressure_setpo | pascals |  | generator_energy_accumulator_09 | kilowatt_hours: kilowatt_hours
DDC-5 | return_air_co2_concentration_set | parts_per_million |  | energy_accumulator_09 | kilowatt_hours: kilowatt_hours
DDC-5 | schedule_run_command | No-units |  | average_line_current_sensor_10 | amperes: amperes
DDC-5 | return_air_isolation_dam_sts_1 | No-units |  | average_line_neutral_voltage_sensor_10 | volts: volts
DDC-9 | supply_fan_run_mode | No-units |  | line_frequency_sensor_10 | hertz: hertz
DDC-9 | supply_fan_speed_mode | No-units |  | powerfactor_sensor_10 | no_units: no_units
DDC-9 | supply_fan_run_command | No-units |  | power_sensor_10 | kilowatts: kilowatts
DDC-9 | supply_fan_run_status | No-units |  | electricalgrid_energy_accumulator_10 | kilowatt_hours: kilowatt_hours
DDC-9 | supply_fan_lost_power_alarm | No-units |  | generator_energy_accumulator_10 | kilowatt_hours: kilowatt_hours
DDC-9 | supply_fan_speed_percentage_cmd | percent |  | energy_accumulator_10 | kilowatt_hours: kilowatt_hours
DDC-9 | filter_differential_pressure_sen | pascals |  | average_line_current_sensor_11 | amperes: amperes
DDC-9 | supply_air_temperature_sensor | degrees_celsius |  | average_line_neutral_voltage_sensor_11 | volts: volts
DDC-9 | supply_air_static_pressure_sen | pascals |  | line_frequency_sensor_11 | hertz: hertz
DDC-9 | chilled_water_valve_percent_cmd | percent |  | powerfactor_sensor_11 | no_units: no_units
DDC-9 | chilled_water_valve_percent_sen | percent |  | power_sensor_11 | kilowatts: kilowatts
DDC-9 | supply_air_isolation_dam_sts_1 | No-units |  | electricalgrid_energy_accumulator_11 | kilowatt_hours: kilowatt_hours
DDC-9 | supply_air_temp_setpoint | degrees_celsius |  | generator_energy_accumulator_11 | kilowatt_hours: kilowatt_hours
DDC-9 | supply_air_static_pressure_setpo | pascals |  | energy_accumulator_11 | kilowatt_hours: kilowatt_hours
DDC-9 | return_air_co2_concentration_set | parts_per_million |  | average_line_current_sensor_12 | amperes: amperes
DDC-9 | schedule_run_command | No-units |  | average_line_neutral_voltage_sensor_12 | volts: volts
DDC-9 | return_air_isolation_dam_sts_1 | No-units |  | line_frequency_sensor_12 | hertz: hertz
DDC-9 | return_air_temperature_sensor | degrees_celsius |  | powerfactor_sensor_12 | no_units: no_units
DDC-9 | return_air_co2_concentration_sen | parts_per_million |  | power_sensor_12 | kilowatts: kilowatts
DDC-9 | return_air_relative_humidity_sen | percent |  | electricalgrid_energy_accumulator_12 | kilowatt_hours: kilowatt_hours
DDC-8 | supply_fan_run_mode | No-units |  | generator_energy_accumulator_12 | kilowatt_hours: kilowatt_hours
DDC-8 | supply_fan_speed_mode | No-units |  | energy_accumulator_12 | kilowatt_hours: kilowatt_hours
DDC-8 | supply_fan_run_command | No-units |  | average_line_current_sensor_13 | amperes: amperes
DDC-8 | supply_fan_run_status | No-units |  | average_line_neutral_voltage_sensor_13 | volts: volts
DDC-8 | supply_fan_lost_power_alarm | No-units |  | line_frequency_sensor_13 | hertz: hertz
DDC-8 | supply_fan_speed_percentage_cmd | percent |  | powerfactor_sensor_13 | no_units: no_units
DDC-8 | filter_differential_pressure_sen | pascals |  | power_sensor_13 | kilowatts: kilowatts
DDC-8 | supply_air_temperature_sensor | degrees_celsius |  | electricalgrid_energy_accumulator_13 | kilowatt_hours: kilowatt_hours
DDC-8 | supply_air_static_pressure_sen | pascals |  | generator_energy_accumulator_13 | kilowatt_hours: kilowatt_hours
DDC-8 | chilled_water_valve_percent_cmd | percent |  | energy_accumulator_13 | kilowatt_hours: kilowatt_hours
DDC-8 | chilled_water_valve_percent_sen | percent |  | average_line_current_sensor_14 | amperes: amperes
DDC-8 | supply_air_isolation_dam_sts_1 | No-units |  | average_line_neutral_voltage_sensor_14 | volts: volts
DDC-8 | supply_air_temp_setpoint | degrees_celsius |  | line_frequency_sensor_14 | hertz: hertz
DDC-8 | supply_air_static_pressure_setpo | pascals |  | powerfactor_sensor_14 | no_units: no_units
DDC-8 | return_air_co2_concentration_set | parts_per_million |  | power_sensor_14 | kilowatts: kilowatts
DDC-8 | schedule_run_command | No-units |  | electricalgrid_energy_accumulator_14 | kilowatt_hours: kilowatt_hours
DDC-8 | return_air_isolation_dam_sts_1 | No-units |  | generator_energy_accumulator_14 | kilowatt_hours: kilowatt_hours
DDC-8 | return_air_temperature_sensor | degrees_celsius |  | energy_accumulator_14 | kilowatt_hours: kilowatt_hours
DDC-8 | return_air_co2_concentration_sen | parts_per_million |  | average_line_current_sensor_15 | amperes: amperes
DDC-8 | return_air_relative_humidity_sen | percent |  | average_line_neutral_voltage_sensor_15 | volts: volts
DDC-13 | supply_fan_run_mode | No-units |  | line_frequency_sensor_15 | hertz: hertz
DDC-13 | supply_fan_speed_mode | No-units |  | powerfactor_sensor_15 | no_units: no_units
DDC-13 | supply_fan_run_command | No-units |  | power_sensor_15 | kilowatts: kilowatts
DDC-13 | supply_fan_run_status | No-units |  | electricalgrid_energy_accumulator_15 | kilowatt_hours: kilowatt_hours
DDC-13 | supply_fan_lost_power_alarm | No-units |  | generator_energy_accumulator_15 | kilowatt_hours: kilowatt_hours
DDC-13 | supply_fan_speed_percentage_cmd | percent |  | energy_accumulator_15 | kilowatt_hours: kilowatt_hours
DDC-13 | filter_differential_pressure_sen | pascals |  | average_line_current_sensor_16 | amperes: amperes
DDC-13 | supply_air_temperature_sensor | degrees_celsius |  | average_line_neutral_voltage_sensor_16 | volts: volts
DDC-13 | supply_air_static_pressure_sen | pascals |  | line_frequency_sensor_16 | hertz: hertz
DDC-13 | chilled_water_valve_percent_cmd | percent |  | powerfactor_sensor_16 | no_units: no_units
DDC-13 | chilled_water_valve_percent_sen | percent |  | power_sensor_16 | kilowatts: kilowatts
DDC-13 | supply_air_isolation_dam_sts_1 | No-units |  | electricalgrid_energy_accumulator_16 | kilowatt_hours: kilowatt_hours
DDC-13 | supply_air_temp_setpoint | degrees_celsius |  | generator_energy_accumulator_16 | kilowatt_hours: kilowatt_hours
DDC-13 | supply_air_static_pressure_setpo | pascals |  | energy_accumulator_16 | kilowatt_hours: kilowatt_hours
DDC-13 | return_air_co2_concentration_set | parts_per_million |  | average_line_current_sensor_17 | amperes: amperes
DDC-13 | schedule_run_command | No-units |  | average_line_neutral_voltage_sensor_17 | volts: volts
DDC-13 | return_air_isolation_dam_sts_1 | No-units |  | line_frequency_sensor_17 | hertz: hertz
DDC-13 | return_air_temperature_sensor | degrees_celsius |  | powerfactor_sensor_17 | no_units: no_units
DDC-13 | return_air_co2_concentration_sen | parts_per_million |  | power_sensor_17 | kilowatts: kilowatts
DDC-13 | return_air_relative_humidity_sen | percent |  | electricalgrid_energy_accumulator_17 | kilowatt_hours: kilowatt_hours
DDC-1111 | supply_fan_run_mode | No-units |  | generator_energy_accumulator_17 | kilowatt_hours: kilowatt_hours
DDC-1111 | supply_fan_speed_mode | No-units |  | energy_accumulator_17 | kilowatt_hours: kilowatt_hours
DDC-1111 | supply_fan_run_command | No-units |  | average_line_current_sensor_18 | amperes: amperes
DDC-1111 | supply_fan_run_status | No-units |  | average_line_neutral_voltage_sensor_18 | volts: volts
DDC-1111 | supply_fan_lost_power_alarm | No-units |  | line_frequency_sensor_18 | hertz: hertz
DDC-1111 | supply_fan_speed_percentage_cmd | percent |  | powerfactor_sensor_18 | no_units: no_units
DDC-1111 | filter_differential_pressure_sen | pascals |  | power_sensor_18 | kilowatts: kilowatts
DDC-1111 | supply_air_temperature_sensor | degrees_celsius |  | electricalgrid_energy_accumulator_18 | kilowatt_hours: kilowatt_hours
DDC-1111 | supply_air_static_pressure_sen | pascals |  | generator_energy_accumulator_18 | kilowatt_hours: kilowatt_hours
DDC-1111 | chilled_water_valve_percent_cmd | percent |  | energy_accumulator_18 | kilowatt_hours: kilowatt_hours
DDC-1111 | chilled_water_valve_percent_sen | percent |  | average_line_current_sensor_19 | amperes: amperes
DDC-1111 | supply_air_isolation_dam_sts_1 | No-units |  | average_line_neutral_voltage_sensor_19 | volts: volts
DDC-1111 | supply_air_temp_setpoint | degrees_celsius |  | line_frequency_sensor_19 | hertz: hertz
DDC-1111 | supply_air_static_pressure_setpo | pascals |  | powerfactor_sensor_19 | no_units: no_units
DDC-1111 | return_air_co2_concentration_set | parts_per_million |  | power_sensor_19 | kilowatts: kilowatts
DDC-1111 | schedule_run_command | No-units |  | electricalgrid_energy_accumulator_19 | kilowatt_hours: kilowatt_hours
DDC-1111 | return_air_isolation_dam_sts_1 | No-units |  | generator_energy_accumulator_19 | kilowatt_hours: kilowatt_hours
DDC-1111 | return_air_temperature_sensor | degrees_celsius |  | energy_accumulator_19 | kilowatt_hours: kilowatt_hours
DDC-1111 | return_air_co2_concentration_sen | parts_per_million |  | average_line_current_sensor_20 | amperes: amperes
DDC-1111 | return_air_relative_humidity_sen | percent |  | average_line_neutral_voltage_sensor_20 | volts: volts
DDC-15 | supply_fan_run_mode | No-units |  | line_frequency_sensor_20 | hertz: hertz
DDC-15 | supply_fan_speed_mode | No-units |  | powerfactor_sensor_20 | no_units: no_units
DDC-15 | supply_fan_run_command | No-units |  | power_sensor_20 | kilowatts: kilowatts
DDC-15 | supply_fan_run_status | No-units |  | electricalgrid_energy_accumulator_20 | kilowatt_hours: kilowatt_hours
DDC-15 | supply_fan_lost_power_alarm | No-units |  | generator_energy_accumulator_20 | kilowatt_hours: kilowatt_hours
DDC-15 | supply_fan_speed_percentage_cmd | percent |  | energy_accumulator_20 | kilowatt_hours: kilowatt_hours
DDC-15 | filter_differential_pressure_sen | pascals |  | average_line_current_sensor_21 | amperes: amperes
DDC-15 | supply_air_temperature_sensor | degrees_celsius |  | average_line_neutral_voltage_sensor_21 | volts: volts
DDC-15 | supply_air_static_pressure_sen | pascals |  | line_frequency_sensor_21 | hertz: hertz
DDC-15 | chilled_water_valve_percent_cmd | percent |  | powerfactor_sensor_21 | no_units: no_units
DDC-15 | chilled_water_valve_percent_sen | percent |  | power_sensor_21 | kilowatts: kilowatts
DDC-15 | supply_air_isolation_dam_sts_1 | No-units |  | electricalgrid_energy_accumulator_21 | kilowatt_hours: kilowatt_hours
DDC-15 | supply_air_temp_setpoint | degrees_celsius |  | generator_energy_accumulator_21 | kilowatt_hours: kilowatt_hours
DDC-15 | supply_air_static_pressure_setpo | pascals |  | energy_accumulator_21 | kilowatt_hours: kilowatt_hours
DDC-15 | return_air_co2_concentration_set | parts_per_million |  | average_line_current_sensor_22 | amperes: amperes
DDC-15 | schedule_run_command | No-units |  | average_line_neutral_voltage_sensor_22 | volts: volts
DDC-15 | return_air_isolation_dam_sts_1 | No-units |  | line_frequency_sensor_22 | hertz: hertz
DDC-15 | return_air_temperature_sensor | degrees_celsius |  | powerfactor_sensor_22 | no_units: no_units
DDC-15 | return_air_co2_concentration_sen | parts_per_million |  | power_sensor_22 | kilowatts: kilowatts
DDC-15 | return_air_relative_humidity_sen | percent |  | electricalgrid_energy_accumulator_22 | kilowatt_hours: kilowatt_hours
DDC-14 | supply_fan_run_mode | No-units |  | generator_energy_accumulator_22 | kilowatt_hours: kilowatt_hours
DDC-14 | supply_fan_speed_mode | No-units |  | energy_accumulator_22 | kilowatt_hours: kilowatt_hours
DDC-14 | supply_fan_run_command | No-units |  | average_line_current_sensor_23 | amperes: amperes
DDC-14 | supply_fan_run_status | No-units |  | average_line_neutral_voltage_sensor_23 | volts: volts
DDC-14 | supply_fan_lost_power_alarm | No-units |  | line_frequency_sensor_23 | hertz: hertz
DDC-14 | supply_fan_speed_percentage_cmd | percent |  | powerfactor_sensor_23 | no_units: no_units
DDC-14 | filter_differential_pressure_sen | pascals |  | power_sensor_23 | kilowatts: kilowatts
DDC-14 | supply_air_temperature_sensor | degrees_celsius |  | electricalgrid_energy_accumulator_23 | kilowatt_hours: kilowatt_hours
DDC-14 | supply_air_static_pressure_sen | pascals |  | generator_energy_accumulator_23 | kilowatt_hours: kilowatt_hours
DDC-14 | chilled_water_valve_percent_cmd | percent |  | energy_accumulator_23 | kilowatt_hours: kilowatt_hours
DDC-14 | chilled_water_valve_percent_sen | percent |  | average_line_current_sensor_24 | amperes: amperes
DDC-14 | supply_air_isolation_dam_sts_1 | No-units |  | average_line_neutral_voltage_sensor_24 | volts: volts
DDC-14 | supply_air_temp_setpoint | degrees_celsius |  | line_frequency_sensor_24 | hertz: hertz
DDC-14 | supply_air_static_pressure_setpo | pascals |  | powerfactor_sensor_24 | no_units: no_units
DDC-14 | return_air_co2_concentration_set | parts_per_million |  | power_sensor_24 | kilowatts: kilowatts
DDC-14 | schedule_run_command | No-units |  | electricalgrid_energy_accumulator_24 | kilowatt_hours: kilowatt_hours
DDC-14 | return_air_isolation_dam_sts_1 | No-units |  | generator_energy_accumulator_24 | kilowatt_hours: kilowatt_hours
DDC-14 | return_air_temperature_sensor | degrees_celsius |  | energy_accumulator_24 | kilowatt_hours: kilowatt_hours
DDC-14 | return_air_co2_concentration_sen | parts_per_million |  | average_line_current_sensor_25 | amperes: amperes
DDC-14 | return_air_relative_humidity_sen | percent |  | average_line_neutral_voltage_sensor_25 | volts: volts
DDC-17 | supply_fan_run_mode | No-units |  | line_frequency_sensor_25 | hertz: hertz
DDC-17 | supply_fan_speed_mode | No-units |  | powerfactor_sensor_25 | no_units: no_units
DDC-17 | supply_fan_run_command | No-units |  | power_sensor_25 | kilowatts: kilowatts
DDC-17 | supply_fan_run_status | No-units |  | electricalgrid_energy_accumulator_25 | kilowatt_hours: kilowatt_hours
DDC-17 | supply_fan_lost_power_alarm | No-units |  | generator_energy_accumulator_25 | kilowatt_hours: kilowatt_hours
DDC-17 | supply_fan_speed_percentage_cmd | percent |  | energy_accumulator_25 | kilowatt_hours: kilowatt_hours
DDC-17 | filter_differential_pressure_sen | pascals |  | average_line_current_sensor_26 | amperes: amperes
DDC-17 | supply_air_temperature_sensor | degrees_celsius |  | average_line_neutral_voltage_sensor_26 | volts: volts
DDC-17 | supply_air_static_pressure_sen | pascals |  | line_frequency_sensor_26 | hertz: hertz
DDC-17 | chilled_water_valve_percent_cmd | percent |  | powerfactor_sensor_26 | no_units: no_units
DDC-17 | chilled_water_valve_percent_sen | percent |  | power_sensor_26 | kilowatts: kilowatts
DDC-17 | supply_air_isolation_dam_sts_1 | No-units |  | electricalgrid_energy_accumulator_26 | kilowatt_hours: kilowatt_hours
DDC-17 | supply_air_temp_setpoint | degrees_celsius |  | generator_energy_accumulator_26 | kilowatt_hours: kilowatt_hours
DDC-17 | supply_air_static_pressure_setpo | pascals |  | energy_accumulator_26 | kilowatt_hours: kilowatt_hours
DDC-17 | return_air_co2_concentration_set | parts_per_million |  | average_line_current_sensor_27 | amperes: amperes
DDC-17 | schedule_run_command | No-units |  | average_line_neutral_voltage_sensor_27 | volts: volts
DDC-17 | return_air_isolation_dam_sts_1 | No-units |  | line_frequency_sensor_27 | hertz: hertz
DDC-17 | return_air_temperature_sensor | degrees_celsius |  | powerfactor_sensor_27 | no_units: no_units
DDC-17 | return_air_co2_concentration_sen | parts_per_million |  | power_sensor_27 | kilowatts: kilowatts
DDC-17 | return_air_relative_humidity_sen | percent |  | electricalgrid_energy_accumulator_27 | kilowatt_hours: kilowatt_hours
DDC-16 | supply_fan_run_mode | No-units |  | generator_energy_accumulator_27 | kilowatt_hours: kilowatt_hours
DDC-16 | supply_fan_speed_mode | No-units |  | energy_accumulator_27 | kilowatt_hours: kilowatt_hours
DDC-16 | supply_fan_run_command | No-units |  | average_line_current_sensor_28 | amperes: amperes
DDC-16 | supply_fan_run_status | No-units |  | average_line_neutral_voltage_sensor_28 | volts: volts
DDC-16 | supply_fan_lost_power_alarm | No-units |  | line_frequency_sensor_28 | hertz: hertz
DDC-16 | supply_fan_speed_percentage_cmd | percent |  | powerfactor_sensor_28 | no_units: no_units
DDC-16 | filter_differential_pressure_sen | pascals |  | power_sensor_28 | kilowatts: kilowatts
DDC-16 | supply_air_temperature_sensor | degrees_celsius |  | electricalgrid_energy_accumulator_28 | kilowatt_hours: kilowatt_hours
DDC-16 | supply_air_static_pressure_sen | pascals |  | generator_energy_accumulator_28 | kilowatt_hours: kilowatt_hours
DDC-16 | chilled_water_valve_percent_cmd | percent |  | energy_accumulator_28 | kilowatt_hours: kilowatt_hours
DDC-16 | chilled_water_valve_percent_sen | percent |  | average_line_current_sensor_29 | amperes: amperes
DDC-16 | supply_air_isolation_dam_sts_1 | No-units |  | average_line_neutral_voltage_sensor_29 | volts: volts
DDC-16 | supply_air_temp_setpoint | degrees_celsius |  | line_frequency_sensor_29 | hertz: hertz
DDC-16 | supply_air_static_pressure_setpo | pascals |  | powerfactor_sensor_29 | no_units: no_units
DDC-16 | return_air_co2_concentration_set | parts_per_million |  | power_sensor_29 | kilowatts: kilowatts
DDC-16 | schedule_run_command | No-units |  | electricalgrid_energy_accumulator_29 | kilowatt_hours: kilowatt_hours
DDC-16 | return_air_isolation_dam_sts_1 | No-units | true=ON false=OFF | generator_energy_accumulator_29 | kilowatt_hours: kilowatt_hours
DDC-16 | return_air_temperature_sensor | degrees_celsius | true=ON false=OFF | energy_accumulator_29 | kilowatt_hours: kilowatt_hours
DDC-16 | return_air_co2_concentration_sen | parts_per_million | true=ACTIVE false=INACTIVE | average_line_current_sensor_30 | amperes: amperes
DDC-16 | return_air_relative_humidity_sen | percent |  | average_line_neutral_voltage_sensor_30 | volts: volts
DDC-19 | supply_fan_run_mode | No-units |  | line_frequency_sensor_30 | hertz: hertz
DDC-19 | supply_fan_speed_mode | No-units |  | powerfactor_sensor_30 | no_units: no_units
DDC-19 | supply_fan_run_command | No-units |  | power_sensor_30 | kilowatts: kilowatts
DDC-19 | supply_fan_run_status | No-units |  | electricalgrid_energy_accumulator_30 | kilowatt_hours: kilowatt_hours
DDC-19 | supply_fan_lost_power_alarm | No-units |  | generator_energy_accumulator_30 | kilowatt_hours: kilowatt_hours
DDC-19 | supply_fan_speed_percentage_cmd | percent |  | energy_accumulator_30 | kilowatt_hours: kilowatt_hours
DDC-19 | filter_differential_pressure_sen | pascals |  | average_line_current_sensor_31 | amperes: amperes
DDC-19 | supply_air_temperature_sensor | degrees_celsius |  | average_line_neutral_voltage_sensor_31 | volts: volts
DDC-19 | supply_air_static_pressure_sen | pascals |  | line_frequency_sensor_31 | hertz: hertz
DDC-19 | chilled_water_valve_percent_cmd | percent |  | powerfactor_sensor_31 | no_units: no_units
DDC-19 | chilled_water_valve_percent_sen | percent |  | power_sensor_31 | kilowatts: kilowatts
DDC-19 | supply_air_isolation_dam_sts_1 | No-units |  | electricalgrid_energy_accumulator_31 | kilowatt_hours: kilowatt_hours
DDC-19 | supply_air_temp_setpoint | degrees_celsius |  | generator_energy_accumulator_31 | kilowatt_hours: kilowatt_hours
DDC-19 | supply_air_static_pressure_setpo | pascals |  | energy_accumulator_31 | kilowatt_hours: kilowatt_hours
DDC-19 | return_air_co2_concentration_set | parts_per_million |  | average_line_current_sensor_32 | amperes: amperes
DDC-19 | schedule_run_command | No-units |  | average_line_neutral_voltage_sensor_32 | volts: volts
DDC-19 | return_air_isolation_dam_sts_1 | No-units |  | line_frequency_sensor_32 | hertz: hertz
DDC-19 | return_air_temperature_sensor | degrees_celsius |  | powerfactor_sensor_32 | no_units: no_units
DDC-19 | return_air_co2_concentration_sen | parts_per_million |  | power_sensor_32 | kilowatts: kilowatts
DDC-19 | return_air_relative_humidity_sen | percent |  | electricalgrid_energy_accumulator_32 | kilowatt_hours: kilowatt_hours
DDC-18 | supply_fan_run_mode | No-units |  | generator_energy_accumulator_32 | kilowatt_hours: kilowatt_hours
DDC-18 | supply_fan_speed_mode | No-units |  | energy_accumulator_32 | kilowatt_hours: kilowatt_hours
DDC-18 | supply_fan_run_command | No-units |  | average_line_current_sensor_33 | amperes: amperes
DDC-18 | supply_fan_run_status | No-units |  | average_line_neutral_voltage_sensor_33 | volts: volts
DDC-18 | supply_fan_lost_power_alarm | No-units |  | line_frequency_sensor_33 | hertz: hertz
DDC-18 | supply_fan_speed_percentage_cmd | percent |  | powerfactor_sensor_33 | no_units: no_units
DDC-18 | filter_differential_pressure_sen | pascals |  | power_sensor_33 | kilowatts: kilowatts
DDC-18 | supply_air_temperature_sensor | degrees_celsius |  | electricalgrid_energy_accumulator_33 | kilowatt_hours: kilowatt_hours
DDC-18 | supply_air_static_pressure_sen | pascals |  | generator_energy_accumulator_33 | kilowatt_hours: kilowatt_hours
DDC-18 | chilled_water_valve_percent_cmd | percent |  | energy_accumulator_33 | kilowatt_hours: kilowatt_hours
DDC-18 | chilled_water_valve_percent_sen | percent |  | average_line_current_sensor_34 | amperes: amperes
DDC-18 | supply_air_isolation_dam_sts_1 | No-units |  | average_line_neutral_voltage_sensor_34 | volts: volts
DDC-18 | supply_air_temp_setpoint | degrees_celsius |  | line_frequency_sensor_34 | hertz: hertz
DDC-18 | supply_air_static_pressure_setpo | pascals |  | powerfactor_sensor_34 | no_units: no_units
DDC-18 | return_air_co2_concentration_set | parts_per_million |  | power_sensor_34 | kilowatts: kilowatts
DDC-18 | schedule_run_command | No-units |  | electricalgrid_energy_accumulator_34 | kilowatt_hours: kilowatt_hours
DDC-18 | return_air_isolation_dam_sts_1 | No-units |  | generator_energy_accumulator_34 | kilowatt_hours: kilowatt_hours
DDC-18 | return_air_temperature_sensor | degrees_celsius |  | energy_accumulator_34 | kilowatt_hours: kilowatt_hours
DDC-18 | return_air_co2_concentration_sen | parts_per_million |  | average_line_current_sensor_35 | amperes: amperes
DDC-18 | return_air_relative_humidity_sen | percent |  | average_line_neutral_voltage_sensor_35 | volts: volts
DDC-21 | supply_fan_run_mode | No-units |  | line_frequency_sensor_35 | hertz: hertz
DDC-21 | supply_fan_speed_mode | No-units |  | powerfactor_sensor_35 | no_units: no_units
DDC-21 | supply_fan_run_command | No-units |  | power_sensor_35 | kilowatts: kilowatts
DDC-21 | supply_fan_run_status | No-units |  | electricalgrid_energy_accumulator_35 | kilowatt_hours: kilowatt_hours
DDC-21 | supply_fan_lost_power_alarm | No-units |  | generator_energy_accumulator_35 | kilowatt_hours: kilowatt_hours
DDC-21 | supply_fan_speed_percentage_cmd | percent |  | energy_accumulator_35 | kilowatt_hours: kilowatt_hours
DDC-21 | filter_differential_pressure_sen | pascals |  | average_line_current_sensor_36 | amperes: amperes
DDC-21 | supply_air_temperature_sensor | degrees_celsius |  | average_line_neutral_voltage_sensor_36 | volts: volts
DDC-21 | supply_air_static_pressure_sen | pascals |  | line_frequency_sensor_36 | hertz: hertz
DDC-21 | chilled_water_valve_percent_cmd | percent |  | powerfactor_sensor_36 | no_units: no_units
DDC-21 | chilled_water_valve_percent_sen | percent |  | power_sensor_36 | kilowatts: kilowatts
DDC-21 | supply_air_isolation_dam_sts_1 | No-units |  | electricalgrid_energy_accumulator_36 | kilowatt_hours: kilowatt_hours
DDC-21 | supply_air_temp_setpoint | degrees_celsius |  | generator_energy_accumulator_36 | kilowatt_hours: kilowatt_hours
DDC-21 | supply_air_static_pressure_setpo | pascals |  | energy_accumulator_36 | kilowatt_hours: kilowatt_hours
DDC-21 | return_air_co2_concentration_set | parts_per_million |  | average_line_current_sensor_37 | amperes: amperes
DDC-21 | schedule_run_command | No-units |  | average_line_neutral_voltage_sensor_37 | volts: volts
DDC-21 | return_air_isolation_dam_sts_1 | No-units |  | line_frequency_sensor_37 | hertz: hertz
DDC-21 | return_air_temperature_sensor | degrees_celsius |  | powerfactor_sensor_37 | no_units: no_units
DDC-21 | return_air_co2_concentration_sen | parts_per_million |  | power_sensor_37 | kilowatts: kilowatts
DDC-21 | return_air_relative_humidity_sen | percent |  | electricalgrid_energy_accumulator_37 | kilowatt_hours: kilowatt_hours
DDC-20 | supply_fan_run_mode | No-units |  | generator_energy_accumulator_37 | kilowatt_hours: kilowatt_hours
DDC-20 | supply_fan_speed_mode | No-units |  | energy_accumulator_37 | kilowatt_hours: kilowatt_hours
DDC-20 | supply_fan_run_command | No-units |  | average_line_current_sensor_38 | amperes: amperes
DDC-20 | supply_fan_run_status | No-units |  | average_line_neutral_voltage_sensor_38 | volts: volts
DDC-20 | supply_fan_lost_power_alarm | No-units |  | line_frequency_sensor_38 | hertz: hertz
DDC-20 | supply_fan_speed_percentage_cmd | percent |  | powerfactor_sensor_38 | no_units: no_units
DDC-20 | filter_differential_pressure_sen | pascals |  | power_sensor_38 | kilowatts: kilowatts
DDC-20 | supply_air_temperature_sensor | degrees_celsius |  | electricalgrid_energy_accumulator_38 | kilowatt_hours: kilowatt_hours
DDC-20 | supply_air_static_pressure_sen | pascals |  | generator_energy_accumulator_38 | kilowatt_hours: kilowatt_hours
DDC-20 | chilled_water_valve_percent_cmd | percent |  | energy_accumulator_38 | kilowatt_hours: kilowatt_hours
DDC-20 | chilled_water_valve_percent_sen | percent |  | average_line_current_sensor_39 | amperes: amperes
DDC-20 | supply_air_isolation_dam_sts_1 | No-units |  | average_line_neutral_voltage_sensor_39 | volts: volts
DDC-20 | supply_air_temp_setpoint | degrees_celsius |  | line_frequency_sensor_39 | hertz: hertz
DDC-20 | supply_air_static_pressure_setpo | pascals |  | powerfactor_sensor_39 | no_units: no_units
DDC-20 | return_air_co2_concentration_set | parts_per_million |  | power_sensor_39 | kilowatts: kilowatts
DDC-20 | schedule_run_command | No-units |  | electricalgrid_energy_accumulator_39 | kilowatt_hours: kilowatt_hours
DDC-20 | return_air_isolation_dam_sts_1 | No-units |  | generator_energy_accumulator_39 | kilowatt_hours: kilowatt_hours
DDC-20 | return_air_temperature_sensor | degrees_celsius |  | energy_accumulator_39 | kilowatt_hours: kilowatt_hours
DDC-20 | return_air_co2_concentration_sen | parts_per_million |  | average_line_current_sensor_40 | amperes: amperes
DDC-20 | return_air_relative_humidity_sen | percent |  | average_line_neutral_voltage_sensor_40 | volts: volts
DDC-25 | supply_fan_run_mode | No-units |  | line_frequency_sensor_40 | hertz: hertz
DDC-25 | supply_fan_speed_mode | No-units |  | powerfactor_sensor_40 | no_units: no_units
DDC-25 | supply_fan_run_command | No-units |  | power_sensor_40 | kilowatts: kilowatts
DDC-25 | supply_fan_run_status | No-units |  | electricalgrid_energy_accumulator_40 | kilowatt_hours: kilowatt_hours
DDC-25 | supply_fan_lost_power_alarm | No-units |  | generator_energy_accumulator_40 | kilowatt_hours: kilowatt_hours
DDC-25 | supply_fan_speed_percentage_cmd | percent |  | energy_accumulator_40 | kilowatt_hours: kilowatt_hours
DDC-25 | filter_differential_pressure_sen | pascals |  | average_line_current_sensor_41 | amperes: amperes
DDC-25 | supply_air_temperature_sensor | degrees_celsius |  | average_line_neutral_voltage_sensor_41 | volts: volts
DDC-25 | supply_air_static_pressure_sen | pascals |  | line_frequency_sensor_41 | hertz: hertz
DDC-25 | chilled_water_valve_percent_cmd | percent |  | powerfactor_sensor_41 | no_units: no_units
DDC-25 | chilled_water_valve_percent_sen | percent |  | power_sensor_41 | kilowatts: kilowatts
DDC-25 | supply_air_isolation_dam_sts_1 | No-units |  | electricalgrid_energy_accumulator_41 | kilowatt_hours: kilowatt_hours
DDC-25 | supply_air_temp_setpoint | degrees_celsius |  | generator_energy_accumulator_41 | kilowatt_hours: kilowatt_hours
DDC-25 | supply_air_static_pressure_setpo | pascals |  | energy_accumulator_41 | kilowatt_hours: kilowatt_hours
DDC-25 | return_air_co2_concentration_set | parts_per_million |  | average_line_current_sensor_42 | amperes: amperes
DDC-25 | schedule_run_command | No-units |  | average_line_neutral_voltage_sensor_42 | volts: volts
DDC-25 | return_air_isolation_dam_sts_1 | No-units |  | line_frequency_sensor_42 | hertz: hertz
DDC-24 | supply_fan_run_mode | No-units |  | powerfactor_sensor_42 | no_units: no_units
DDC-24 | supply_fan_speed_mode | No-units |  | power_sensor_42 | kilowatts: kilowatts
DDC-24 | supply_fan_run_command | No-units |  | electricalgrid_energy_accumulator_42 | kilowatt_hours: kilowatt_hours
DDC-24 | supply_fan_run_status | No-units |  | generator_energy_accumulator_42 | kilowatt_hours: kilowatt_hours
DDC-24 | supply_fan_lost_power_alarm | No-units |  | energy_accumulator_42 | kilowatt_hours: kilowatt_hours
DDC-24 | supply_fan_speed_percentage_cmd | percent |  | average_line_current_sensor_43 | amperes: amperes
DDC-24 | filter_differential_pressure_sen | pascals |  | average_line_neutral_voltage_sensor_43 | volts: volts
DDC-24 | supply_air_temperature_sensor | degrees_celsius |  | line_frequency_sensor_43 | hertz: hertz
DDC-24 | supply_air_static_pressure_sen | pascals |  | powerfactor_sensor_43 | no_units: no_units
DDC-24 | chilled_water_valve_percent_cmd | percent |  | power_sensor_43 | kilowatts: kilowatts
DDC-24 | chilled_water_valve_percent_sen | percent |  | electricalgrid_energy_accumulator_43 | kilowatt_hours: kilowatt_hours
DDC-24 | supply_air_isolation_dam_sts_1 | No-units |  | generator_energy_accumulator_43 | kilowatt_hours: kilowatt_hours
DDC-24 | supply_air_temp_setpoint | degrees_celsius |  | energy_accumulator_43 | kilowatt_hours: kilowatt_hours
DDC-24 | supply_air_static_pressure_setpo | pascals |  | average_line_current_sensor_44 | amperes: amperes
DDC-24 | return_air_co2_concentration_set | parts_per_million |  | average_line_neutral_voltage_sensor_44 | volts: volts
DDC-24 | schedule_run_command | No-units |  | line_frequency_sensor_44 | hertz: hertz
DDC-24 | return_air_isolation_dam_sts_1 | No-units |  | powerfactor_sensor_44 | no_units: no_units
DDC-24 | return_air_temperature_sensor | degrees_celsius |  | power_sensor_44 | kilowatts: kilowatts
DDC-24 | return_air_co2_concentration_sen | parts_per_million |  | electricalgrid_energy_accumulator_44 | kilowatt_hours: kilowatt_hours
DDC-24 | return_air_relative_humidity_sen | percent |  | generator_energy_accumulator_44 | kilowatt_hours: kilowatt_hours
DDC-23 | supply_fan_run_mode | No-units |  | energy_accumulator_44 | kilowatt_hours: kilowatt_hours
DDC-23 | supply_fan_speed_mode | No-units |  | average_line_current_sensor_45 | amperes: amperes
DDC-23 | supply_fan_run_command | No-units |  | average_line_neutral_voltage_sensor_45 | volts: volts
DDC-23 | supply_fan_run_status | No-units |  | line_frequency_sensor_45 | hertz: hertz
DDC-23 | supply_fan_lost_power_alarm | No-units |  | powerfactor_sensor_45 | no_units: no_units
DDC-23 | supply_fan_speed_percentage_cmd | percent |  | power_sensor_45 | kilowatts: kilowatts
DDC-23 | filter_differential_pressure_sen | pascals |  | electricalgrid_energy_accumulator_45 | kilowatt_hours: kilowatt_hours
DDC-23 | supply_air_temperature_sensor | degrees_celsius |  | generator_energy_accumulator_45 | kilowatt_hours: kilowatt_hours
DDC-23 | supply_air_static_pressure_sen | pascals |  | energy_accumulator_45 | kilowatt_hours: kilowatt_hours
DDC-23 | chilled_water_valve_percent_cmd | percent |  | average_line_current_sensor_46 | amperes: amperes
DDC-23 | chilled_water_valve_percent_sen | percent |  | average_line_neutral_voltage_sensor_46 | volts: volts
DDC-23 | supply_air_isolation_dam_sts_1 | No-units |  | line_frequency_sensor_46 | hertz: hertz
DDC-23 | supply_air_temp_setpoint | degrees_celsius |  | powerfactor_sensor_46 | no_units: no_units
DDC-23 | supply_air_static_pressure_setpo | pascals |  | power_sensor_46 | kilowatts: kilowatts
DDC-23 | return_air_co2_concentration_set | parts_per_million |  | electricalgrid_energy_accumulator_46 | kilowatt_hours: kilowatt_hours
DDC-23 | schedule_run_command | No-units |  | generator_energy_accumulator_46 | kilowatt_hours: kilowatt_hours
DDC-23 | return_air_isolation_dam_sts_1 | No-units |  | energy_accumulator_46 | kilowatt_hours: kilowatt_hours
DDC-22 | supply_fan_run_mode | No-units |  | average_line_current_sensor_47 | amperes: amperes
DDC-22 | supply_fan_speed_mode | No-units |  | average_line_neutral_voltage_sensor_47 | volts: volts
DDC-22 | supply_fan_run_command | No-units |  | line_frequency_sensor_47 | hertz: hertz
DDC-22 | supply_fan_run_status | No-units |  | powerfactor_sensor_47 | no_units: no_units
DDC-22 | supply_fan_lost_power_alarm | No-units |  | power_sensor_47 | kilowatts: kilowatts
DDC-22 | supply_fan_speed_percentage_cmd | percent |  | electricalgrid_energy_accumulator_47 | kilowatt_hours: kilowatt_hours
DDC-22 | filter_differential_pressure_sen | pascals |  | generator_energy_accumulator_47 | kilowatt_hours: kilowatt_hours
DDC-22 | supply_air_temperature_sensor | degrees_celsius |  | energy_accumulator_47 | kilowatt_hours: kilowatt_hours
DDC-22 | supply_air_static_pressure_sen | pascals |  | average_line_current_sensor_48 | amperes: amperes
DDC-22 | chilled_water_valve_percent_cmd | percent |  | average_line_neutral_voltage_sensor_48 | volts: volts
DDC-22 | chilled_water_valve_percent_sen | percent |  | line_frequency_sensor_48 | hertz: hertz
DDC-22 | supply_air_isolation_dam_sts_1 | No-units |  | powerfactor_sensor_48 | no_units: no_units
DDC-22 | supply_air_temp_setpoint | degrees_celsius |  | power_sensor_48 | kilowatts: kilowatts
DDC-22 | supply_air_static_pressure_setpo | pascals |  | electricalgrid_energy_accumulator_48 | kilowatt_hours: kilowatt_hours
DDC-22 | return_air_co2_concentration_set | parts_per_million |  | generator_energy_accumulator_48 | kilowatt_hours: kilowatt_hours
DDC-22 | schedule_run_command | No-units |  | energy_accumulator_48 | kilowatt_hours: kilowatt_hours
DDC-22 | return_air_isolation_dam_sts_1 | No-units |  | average_line_current_sensor_49 | amperes: amperes
DDC-22 | return_air_temperature_sensor | degrees_celsius |  | average_line_neutral_voltage_sensor_49 | volts: volts
DDC-22 | return_air_co2_concentration_sen | parts_per_million |  | line_frequency_sensor_49 | hertz: hertz
DDC-22 | return_air_relative_humidity_sen | percent |  | powerfactor_sensor_49 | no_units: no_units
DDC-5 | sf_01_run_command | No-units |  | power_sensor_49 | kilowatts: kilowatts
DDC-5 | sf_01_run_status | No-units |  | electricalgrid_energy_accumulator_49 | kilowatt_hours: kilowatt_hours
DDC-5 | sf_01_control_mode | No-units |  | generator_energy_accumulator_49 | kilowatt_hours: kilowatt_hours
DDC-5 | sf_01_lost_power_alarm | No-units |  | energy_accumulator_49 | kilowatt_hours: kilowatt_hours
DDC-7 | sf_02_run_command | No-units |  | average_line_current_sensor_50 | amperes: amperes
DDC-7 | sf_02_run_status | No-units |  | average_line_neutral_voltage_sensor_50 | volts: volts
DDC-7 | sf_02_control_mode | No-units |  | line_frequency_sensor_50 | hertz: hertz
DDC-7 | sf_02_lost_power_alarm | No-units |  | powerfactor_sensor_50 | no_units: no_units
DDC-8 | sf_03_run_command | No-units |  | power_sensor_50 | kilowatts: kilowatts
DDC-8 | sf_03_run_status | No-units |  | electricalgrid_energy_accumulator_50 | kilowatt_hours: kilowatt_hours
DDC-8 | sf_03_control_mode | No-units |  | generator_energy_accumulator_50 | kilowatt_hours: kilowatt_hours
DDC-8 | sf_03_lost_power_alarm | No-units |  | energy_accumulator_50 | kilowatt_hours: kilowatt_hours
DDC-10 | sf_04_run_command | No-units |  | average_line_current_sensor_51 | amperes: amperes
DDC-10 | sf_04_run_status | No-units |  | average_line_neutral_voltage_sensor_51 | volts: volts
DDC-10 | sf_04_control_mode | No-units |  | line_frequency_sensor_51 | hertz: hertz
DDC-10 | sf_04_lost_power_alarm | No-units |  | powerfactor_sensor_51 | no_units: no_units
DDC-1112 | sf_05_run_command | No-units |  | power_sensor_51 | kilowatts: kilowatts
DDC-1112 | sf_05_run_status | No-units |  | electricalgrid_energy_accumulator_51 | kilowatt_hours: kilowatt_hours
DDC-1112 | sf_05_control_mode | No-units |  | generator_energy_accumulator_51 | kilowatt_hours: kilowatt_hours
DDC-1112 | sf_05_lost_power_alarm | No-units |  | energy_accumulator_51 | kilowatt_hours: kilowatt_hours
DDC-14 | sf_06_run_command | No-units |  | average_line_current_sensor_52 | amperes: amperes
DDC-14 | sf_06_run_status | No-units |  | average_line_neutral_voltage_sensor_52 | volts: volts
DDC-14 | sf_06_control_mode | No-units
DDC-14 | sf_06_lost_power_alarm | No-units
DDC-16 | sf_07_run_command | No-units
DDC-16 | sf_07_run_status | No-units
DDC-16 | sf_07_control_mode | No-units
DDC-16 | sf_07_lost_power_alarm | No-units
DDC-19 | sf_08_run_command | No-units
DDC-19 | sf_08_run_status | No-units
DDC-19 | sf_08_control_mode | No-units
DDC-19 | sf_08_lost_power_alarm | No-units
DDC-23 | sf_09_run_command | No-units
DDC-23 | sf_09_run_status | No-units
DDC-23 | sf_09_control_mode | No-units
DDC-23 | sf_09_lost_power_alarm | No-units
DDC-2 | cb_01_run_status | No-units
DDC-2 | cb_01_lost_power_alarm | No-units
DDC-2 | cb_02_run_status | No-units
DDC-2 | cb_02_lost_power_alarm | No-units
DDC-2 | cb_03_run_status | No-units
DDC-2 | cb_03_lost_power_alarm | No-units
DDC-2 | cb_04_run_status | No-units
DDC-2 | cb_04_lost_power_alarm | No-units
DDC-2 | cb_05_run_status | No-units
DDC-2 | cb_05_lost_power_alarm | No-units
DDC-2 | cb_06_run_status | No-units
DDC-2 | cb_06_lost_power_alarm | No-units
DDC-2 | cb_07_run_status | No-units
DDC-2 | cb_07_lost_power_alarm | No-units
DDC-2 | cb_08_run_status | No-units
DDC-2 | cb_08_lost_power_alarm | No-units
DDC-2 | cb_09_run_status | No-units
DDC-2 | cb_09_lost_power_alarm | No-units
DDC-2 | cb_10_run_status | No-units
DDC-2 | cb_10_lost_power_alarm | No-units
DDC-2 | cb_11_run_status | No-units
DDC-2 | cb_11_lost_power_alarm | No-units
DDC-3 | cb_12_run_status | No-units
DDC-3 | cb_12_lost_power_alarm | No-units
DDC-3 | cb_13_run_status | No-units
DDC-3 | cb_13_lost_power_alarm | No-units
DDC-4 | cb_14_run_status | No-units
DDC-4 | cb_14_lost_power_alarm | No-units
DDC-4 | cb_15_run_status | No-units
DDC-4 | cb_15_lost_power_alarm | No-units
DDC-6 | cb_16_run_status | No-units
DDC-6 | cb_16_lost_power_alarm | No-units
DDC-6 | cb_17_run_status | No-units
DDC-6 | cb_17_lost_power_alarm | No-units
DDC-6 | cb_18_run_status | No-units
DDC-6 | cb_18_lost_power_alarm | No-units
DDC-6 | cb_19_run_status | No-units
DDC-6 | cb_19_lost_power_alarm | No-units
DDC-7 | cb_20_run_status | No-units
DDC-7 | cb_20_lost_power_alarm | No-units
DDC-7 | cb_21_run_status | No-units
DDC-7 | cb_21_lost_power_alarm | No-units
DDC-7 | cb_22_run_status | No-units
DDC-7 | cb_22_lost_power_alarm | No-units
DDC-8 | cb_23_run_status | No-units
DDC-8 | cb_23_lost_power_alarm | No-units
DDC-8 | cb_24_run_status | No-units
DDC-8 | cb_24_lost_power_alarm | No-units
DDC-9 | cb_25_run_status | No-units
DDC-9 | cb_25_lost_power_alarm | No-units
DDC-9 | cb_26_run_status | No-units
DDC-9 | cb_26_lost_power_alarm | No-units
DDC-9 | cb_27_run_status | No-units
DDC-9 | cb_27_lost_power_alarm | No-units
DDC-9 | cb_28_run_status | No-units
DDC-9 | cb_28_lost_power_alarm | No-units
DDC-9 | cb_29_run_status | No-units
DDC-9 | cb_29_lost_power_alarm | No-units
DDC-9 | cb_30_run_status | No-units
DDC-9 | cb_30_lost_power_alarm | No-units
DDC-9 | cb_31_run_status | No-units
DDC-9 | cb_31_lost_power_alarm | No-units
DDC-9 | cb_32_run_status | No-units
DDC-9 | cb_32_lost_power_alarm | No-units
DDC-9 | cb_33_run_status | No-units
DDC-9 | cb_33_lost_power_alarm | No-units
DDC-9 | cb_34_run_status | No-units
DDC-9 | cb_34_lost_power_alarm | No-units
DDC-9 | cb_35_run_status | No-units
DDC-9 | cb_35_lost_power_alarm | No-units
DDC-9 | cb_36_run_status | No-units
DDC-9 | cb_36_lost_power_alarm | No-units
DDC-9 | cb_37_run_status | No-units
DDC-9 | cb_37_lost_power_alarm | No-units
DDC-9 | cb_38_run_status | No-units
DDC-9 | cb_38_lost_power_alarm | No-units
DDC-9 | cb_39_run_status | No-units
DDC-9 | cb_39_lost_power_alarm | No-units
DDC-9 | cb_40_run_status | No-units
DDC-9 | cb_40_lost_power_alarm | No-units
DDC-9 | cb_41_run_status | No-units
DDC-9 | cb_41_lost_power_alarm | No-units
DDC-9 | cb_42_run_status | No-units
DDC-9 | cb_42_lost_power_alarm | No-units
DDC-9 | cb_43_run_status | No-units
DDC-9 | cb_43_lost_power_alarm | No-units
DDC-9 | cb_44_run_status | No-units
DDC-9 | cb_44_lost_power_alarm | No-units
DDC-1111 | cb_45_run_status | No-units
DDC-1111 | cb_45_lost_power_alarm | No-units
DDC-1112 | cb_46_run_status | No-units
DDC-1112 | cb_46_lost_power_alarm | No-units
DDC-1112 | cb_47_run_status | No-units
DDC-1112 | cb_47_lost_power_alarm | No-units
DDC-1112 | cb_48_run_status | No-units
DDC-1112 | cb_48_lost_power_alarm | No-units
DDC-1112 | cb_49_run_status | No-units
DDC-1112 | cb_49_lost_power_alarm | No-units
DDC-1112 | cb_50_run_status | No-units
DDC-1112 | cb_50_lost_power_alarm | No-units
DDC-1112 | cb_51_run_status | No-units
DDC-1112 | cb_51_lost_power_alarm | No-units
DDC-1112 | cb_52_run_status | No-units
DDC-1112 | cb_52_lost_power_alarm | No-units
DDC-1112 | cb_53_run_status | No-units
DDC-1112 | cb_53_lost_power_alarm | No-units
DDC-1112 | cb_54_run_status | No-units
DDC-1112 | cb_54_lost_power_alarm | No-units
DDC-1112 | cb_55_run_status | No-units
DDC-1112 | cb_55_lost_power_alarm | No-units
DDC-1112 | cb_56_run_status | No-units
DDC-1112 | cb_56_lost_power_alarm | No-units
DDC-1112 | cb_57_run_status | No-units
DDC-1112 | cb_57_lost_power_alarm | No-units
DDC-1112 | cb_58_run_status | No-units
DDC-1112 | cb_58_lost_power_alarm | No-units
DDC-1112 | cb_59_run_status | No-units
DDC-1112 | cb_59_lost_power_alarm | No-units
DDC-1112 | cb_60_run_status | No-units
DDC-1112 | cb_60_lost_power_alarm | No-units
DDC-1112 | cb_61_run_status | No-units
DDC-1112 | cb_61_lost_power_alarm | No-units
DDC-1112 | cb_62_run_status | No-units
DDC-1112 | cb_62_lost_power_alarm | No-units
DDC-1112 | cb_63_run_status | No-units
DDC-1112 | cb_63_lost_power_alarm | No-units
DDC-1112 | cb_64_run_status | No-units
DDC-1112 | cb_64_lost_power_alarm | No-units
DDC-1112 | cb_65_run_status | No-units
DDC-1112 | cb_65_lost_power_alarm | No-units
DDC-1112 | cb_66_run_status | No-units
DDC-1112 | cb_66_lost_power_alarm | No-units
DDC-1112 | cb_67_run_status | No-units
DDC-1112 | cb_67_lost_power_alarm | No-units
DDC-1112 | cb_68_run_status | No-units
DDC-1112 | cb_68_lost_power_alarm | No-units
DDC-1112 | cb_69_run_status | No-units
DDC-1112 | cb_69_lost_power_alarm | No-units
DDC-1112 | cb_70_run_status | No-units
DDC-1112 | cb_70_lost_power_alarm | No-units
DDC-1112 | cb_71_run_status | No-units
DDC-1112 | cb_71_lost_power_alarm | No-units
DDC-1112 | cb_72_run_status | No-units
DDC-1112 | cb_72_lost_power_alarm | No-units
DDC-1112 | cb_73_run_status | No-units
DDC-1112 | cb_73_lost_power_alarm | No-units
DDC-1111 | cb_74_run_status | No-units
DDC-1111 | cb_74_lost_power_alarm | No-units
DDC-1111 | cb_75_run_status | No-units
DDC-1111 | cb_75_lost_power_alarm | No-units
DDC-1111 | cb_76_run_status | No-units
DDC-1111 | cb_76_lost_power_alarm | No-units
DDC-1111 | cb_77_run_status | No-units
DDC-1111 | cb_77_lost_power_alarm | No-units
DDC-1111 | cb_78_run_status | No-units
DDC-1111 | cb_78_lost_power_alarm | No-units
DDC-1111 | cb_79_run_status | No-units
DDC-1111 | cb_79_lost_power_alarm | No-units
DDC-1111 | cb_80_run_status | No-units
DDC-1111 | cb_80_lost_power_alarm | No-units
DDC-1111 | cb_81_run_status | No-units
DDC-1111 | cb_81_lost_power_alarm | No-units
DDC-1111 | cb_82_run_status | No-units
DDC-1111 | cb_82_lost_power_alarm | No-units
DDC-1111 | cb_83_run_status | No-units
DDC-1111 | cb_83_lost_power_alarm | No-units
DDC-1111 | cb_84_run_status | No-units
DDC-1111 | cb_84_lost_power_alarm | No-units
DDC-1111 | cb_85_run_status | No-units
DDC-1111 | cb_85_lost_power_alarm | No-units
DDC-1111 | cb_86_run_status | No-units
DDC-1111 | cb_86_lost_power_alarm | No-units
DDC-1111 | cb_87_run_status | No-units
DDC-1111 | cb_87_lost_power_alarm | No-units
DDC-1111 | cb_88_run_status | No-units
DDC-1111 | cb_88_lost_power_alarm | No-units
DDC-1111 | cb_89_run_status | No-units
DDC-1111 | cb_89_lost_power_alarm | No-units
DDC-1111 | cb_90_run_status | No-units
DDC-1111 | cb_90_lost_power_alarm | No-units
DDC-1112 | cb_91_run_status | No-units
DDC-1112 | cb_91_lost_power_alarm | No-units
DDC-1112 | cb_92_run_status | No-units
DDC-1112 | cb_92_lost_power_alarm | No-units
DDC-1112 | cb_93_run_status | No-units
DDC-1112 | cb_93_lost_power_alarm | No-units
DDC-1112 | cb_94_run_status | No-units
DDC-1112 | cb_94_lost_power_alarm | No-units
DDC-1112 | cb_95_run_status | No-units
DDC-1112 | cb_95_lost_power_alarm | No-units
DDC-1112 | cb_96_run_status | No-units
DDC-1112 | cb_96_lost_power_alarm | No-units
DDC-1112 | cb_97_run_status | No-units
DDC-1112 | cb_97_lost_power_alarm | No-units
DDC-1112 | cb_98_run_status | No-units
DDC-1112 | cb_98_lost_power_alarm | No-units
DDC-1112 | cb_99_run_status | No-units
DDC-1112 | cb_99_lost_power_alarm | No-units
DDC-1112 | cb_100_run_status | No-units
DDC-1112 | cb_100_lost_power_alarm | No-units
DDC-1112 | cb_101_run_status | No-units
DDC-1112 | cb_101_lost_power_alarm | No-units
DDC-1111 | cb_102_run_status | No-units
DDC-1111 | cb_102_lost_power_alarm | No-units
DDC-1111 | cb_103_run_status | No-units
DDC-1111 | cb_103_lost_power_alarm | No-units
DDC-1111 | cb_104_run_status | No-units
DDC-1111 | cb_104_lost_power_alarm | No-units
DDC-1111 | cb_105_run_status | No-units
DDC-1111 | cb_105_lost_power_alarm | No-units
DDC-1111 | cb_106_run_status | No-units
DDC-1111 | cb_106_lost_power_alarm | No-units
DDC-1112 | cb_107_run_status | No-units
DDC-1112 | cb_108_run_status | No-units
DDC-1112 | cb_109_run_status | No-units
DDC-1112 | cb_110_run_status | No-units
DDC-1112 | cb_111_run_status | No-units
DDC-1112 | cb_112_run_status | No-units
DDC-1112 | cb_113_run_status | No-units
DDC-1112 | cb_114_run_status | No-units
DDC-1112 | cb_115_run_status | No-units
DDC-1111 | cb_116_run_status | No-units
DDC-1111 | cb_116_lost_power_alarm | No-units
DDC-1111 | cb_117_run_status | No-units
DDC-1111 | cb_117_lost_power_alarm | No-units
DDC-1111 | cb_118_run_status | No-units
DDC-1111 | cb_118_lost_power_alarm | No-units
DDC-1112 | cb_119_run_status | No-units
DDC-1112 | cb_120_run_status | No-units
DDC-1112 | cb_121_run_status | No-units
DDC-1112 | cb_122_run_status | No-units
DDC-1112 | cb_123_run_status | No-units
DDC-1112 | cb_124_run_status | No-units
DDC-1112 | cb_125_run_status | No-units
DDC-1112 | cb_126_run_status | No-units
DDC-1112 | cb_127_run_status | No-units
DDC-13 | cb_128_run_status | No-units
DDC-13 | cb_128_lost_power_alarm | No-units
DDC-13 | cb_129_run_status | No-units
DDC-13 | cb_129_lost_power_alarm | No-units
DDC-13 | cb_130_run_status | No-units
DDC-13 | cb_130_lost_power_alarm | No-units
DDC-13 | cb_131_run_status | No-units
DDC-13 | cb_131_lost_power_alarm | No-units
DDC-13 | cb_132_run_status | No-units
DDC-13 | cb_132_lost_power_alarm | No-units
DDC-13 | cb_133_run_status | No-units
DDC-13 | cb_133_lost_power_alarm | No-units
DDC-13 | cb_134_run_status | No-units
DDC-13 | cb_134_lost_power_alarm | No-units
DDC-14 | cb_135_run_status | No-units
DDC-14 | cb_135_lost_power_alarm | No-units
DDC-14 | cb_136_run_status | No-units
DDC-14 | cb_136_lost_power_alarm | No-units
DDC-15 | cb_137_run_status | No-units
DDC-15 | cb_137_lost_power_alarm | No-units
DDC-15 | cb_138_run_status | No-units
DDC-15 | cb_138_lost_power_alarm | No-units
DDC-15 | cb_139_run_status | No-units
DDC-15 | cb_139_lost_power_alarm | No-units
DDC-15 | cb_140_run_status | No-units
DDC-15 | cb_140_lost_power_alarm | No-units
DDC-15 | cb_141_run_status | No-units
DDC-15 | cb_141_lost_power_alarm | No-units
DDC-15 | cb_142_run_status | No-units
DDC-15 | cb_142_lost_power_alarm | No-units
DDC-15 | cb_143_run_status | No-units
DDC-15 | cb_143_lost_power_alarm | No-units
DDC-16 | cb_144_run_status | No-units
DDC-16 | cb_144_lost_power_alarm | No-units
DDC-16 | cb_145_run_status | No-units
DDC-16 | cb_145_lost_power_alarm | No-units
DDC-17 | cb_146_run_status | No-units
DDC-17 | cb_146_lost_power_alarm | No-units
DDC-17 | cb_147_run_status | No-units
DDC-17 | cb_147_lost_power_alarm | No-units
DDC-17 | cb_148_run_status | No-units
DDC-17 | cb_148_lost_power_alarm | No-units
DDC-17 | cb_149_run_status | No-units
DDC-17 | cb_149_lost_power_alarm | No-units
DDC-17 | cb_150_run_status | No-units
DDC-17 | cb_150_lost_power_alarm | No-units
DDC-17 | cb_151_run_status | No-units
DDC-17 | cb_151_lost_power_alarm | No-units
DDC-17 | cb_152_run_status | No-units
DDC-17 | cb_152_lost_power_alarm | No-units
DDC-18 | cb_153_run_status | No-units
DDC-18 | cb_153_lost_power_alarm | No-units
DDC-18 | cb_154_run_status | No-units
DDC-18 | cb_154_lost_power_alarm | No-units
DDC-19 | cb_155_run_status | No-units
DDC-19 | cb_155_lost_power_alarm | No-units
DDC-19 | cb_156_run_status | No-units
DDC-19 | cb_156_lost_power_alarm | No-units
DDC-19 | cb_157_run_status | No-units
DDC-19 | cb_157_lost_power_alarm | No-units
DDC-19 | cb_158_run_status | No-units
DDC-19 | cb_158_lost_power_alarm | No-units
DDC-19 | cb_159_run_status | No-units
DDC-19 | cb_159_lost_power_alarm | No-units
DDC-19 | cb_160_run_status | No-units
DDC-19 | cb_160_lost_power_alarm | No-units
DDC-19 | cb_161_run_status | No-units
DDC-19 | cb_161_lost_power_alarm | No-units
DDC-19 | cb_162_run_status | No-units
DDC-19 | cb_162_lost_power_alarm | No-units
DDC-19 | cb_163_run_status | No-units
DDC-19 | cb_163_lost_power_alarm | No-units
DDC-19 | cb_164_run_status | No-units
DDC-19 | cb_164_lost_power_alarm | No-units
DDC-19 | cb_165_run_status | No-units
DDC-19 | cb_165_lost_power_alarm | No-units
DDC-19 | cb_166_run_status | No-units
DDC-19 | cb_166_lost_power_alarm | No-units
DDC-19 | cb_167_run_status | No-units
DDC-19 | cb_167_lost_power_alarm | No-units
DDC-19 | cb_168_run_status | No-units
DDC-19 | cb_168_lost_power_alarm | No-units
DDC-19 | cb_169_run_status | No-units
DDC-19 | cb_169_lost_power_alarm | No-units
DDC-19 | cb_170_run_status | No-units
DDC-19 | cb_170_lost_power_alarm | No-units
DDC-19 | cb_171_run_status | No-units
DDC-19 | cb_171_lost_power_alarm | No-units
DDC-19 | cb_172_run_status | No-units
DDC-19 | cb_172_lost_power_alarm | No-units
DDC-19 | cb_173_run_status | No-units
DDC-19 | cb_173_lost_power_alarm | No-units
DDC-19 | cb_174_run_status | No-units
DDC-19 | cb_174_lost_power_alarm | No-units
DDC-20 | cb_175_run_status | No-units
DDC-20 | cb_175_lost_power_alarm | No-units
DDC-20 | cb_176_run_status | No-units
DDC-20 | cb_176_lost_power_alarm | No-units
DDC-21 | cb_177_run_status | No-units
DDC-21 | cb_177_lost_power_alarm | No-units
DDC-21 | cb_178_run_status | No-units
DDC-21 | cb_178_lost_power_alarm | No-units
DDC-21 | cb_179_run_status | No-units
DDC-21 | cb_179_lost_power_alarm | No-units
DDC-21 | cb_180_run_status | No-units
DDC-21 | cb_180_lost_power_alarm | No-units
DDC-21 | cb_181_run_status | No-units
DDC-21 | cb_181_lost_power_alarm | No-units
DDC-21 | cb_182_run_status | No-units
DDC-21 | cb_182_lost_power_alarm | No-units
DDC-21 | cb_183_run_status | No-units
DDC-21 | cb_183_lost_power_alarm | No-units
DDC-22 | cb_184_run_status | No-units
DDC-22 | cb_184_lost_power_alarm | No-units
DDC-22 | cb_185_run_status | No-units
DDC-22 | cb_185_lost_power_alarm | No-units
DDC-24 | cb_186_run_status | No-units
DDC-24 | cb_186_lost_power_alarm | No-units
DDC-24 | cb_187_run_status | No-units
DDC-24 | cb_187_lost_power_alarm | No-units
DDC-24 | cb_188_run_status | No-units
DDC-24 | cb_188_lost_power_alarm | No-units
DDC-24 | cb_189_run_status | No-units
DDC-24 | cb_189_lost_power_alarm | No-units
DDC-24 | cb_190_run_status | No-units
DDC-24 | cb_190_lost_power_alarm | No-units
DDC-24 | cb_191_run_status | No-units
DDC-24 | cb_191_lost_power_alarm | No-units
DDC-24 | cb_192_run_status | No-units
DDC-24 | cb_192_lost_power_alarm | No-units
DDC-25 | cb_193_run_status | No-units
DDC-25 | cb_193_lost_power_alarm | No-units
DDC-25 | cb_194_run_status | No-units
DDC-25 | cb_194_lost_power_alarm | No-units
DDC-25 | cb_195_run_status | No-units
DDC-25 | cb_195_lost_power_alarm | No-units
DDC-25 | cb_196_run_status | No-units
DDC-25 | cb_196_lost_power_alarm | No-units
DDC-25 | cb_197_run_status | No-units
DDC-25 | cb_197_lost_power_alarm | No-units
DDC-25 | cb_198_run_status | No-units
DDC-25 | cb_198_lost_power_alarm | No-units
DDC-25 | cb_199_run_status | No-units
DDC-25 | cb_199_lost_power_alarm | No-units
DDC-25 | cb_200_run_status | No-units
DDC-25 | cb_200_lost_power_alarm | No-units
DDC-25 | cb_201_run_status | No-units
DDC-25 | cb_201_lost_power_alarm | No-units
DDC-6 | cds_01_zone_air_co2_concen_s | parts_per_million
DDC-9 | cds_02_zone_air_co2_concen_s | parts_per_million
DDC-13 | cds_03_zone_air_co2_concen_s | parts_per_million
DDC-15 | cds_04_zone_air_co2_concen_s | parts_per_million
DDC-17 | cds_05_zone_air_co2_concen_s | parts_per_million
DDC-19 | cds_06_zone_air_co2_concen_s | parts_per_million
DDC-21 | cds_07_zone_air_co2_concen_s | parts_per_million
DDC-24 | cds_08_zone_air_co2_concen_s | parts_per_million
DDC-1 | tps_01_zone_air_temperature_s | degrees_celsius
DDC-1 | tps_02_zone_air_temperature_s | percent
DDC-1 | tps_03_zone_air_temperature_s | degrees_celsius
DDC-1 | tps_04_zone_air_temperature_s | percent
DDC-1 | tps_05_zone_air_temperature_s | degrees_celsius
DDC-1 | tps_06_zone_air_temperature_s | percent
DDC-2 | tps_07_zone_air_temperature_s | degrees_celsius
DDC-2 | tps_08_zone_air_temperature_s | percent
DDC-1 | mts_01_zone_air_temperature_s | degrees_celsius
DDC-2 | mts_01_zone_air_relative_humid_s | percent
DDC-1 | mts_02_zone_air_temperature_s | degrees_celsius
DDC-2 | mts_02_zone_air_relative_humid_s | percent
DDC-2 | mts_03_zone_air_temperature_s | degrees_celsius
DDC-2 | mts_03_zone_air_relative_humid_s | percent
DDC-2 | mts_04_zone_air_temperature_s | degrees_celsius
DDC-2 | mts_04_zone_air_relative_humid_s | percent
DDC-2 | mts_05_zone_air_temperature_s | degrees_celsius
DDC-2 | mts_05_zone_air_relative_humid_s | percent
DDC-2 | mts_06_zone_air_temperature_s | degrees_celsius
DDC-2 | mts_06_zone_air_relative_humid_s | percent
DDC-3 | mts_07_zone_air_temperature_s | degrees_celsius
DDC-3 | mts_07_zone_air_relative_humid_s | percent
DDC-4 | mts_08_zone_air_temperature_s | degrees_celsius
DDC-4 | mts_08_zone_air_relative_humid_s | percent
DDC-4 | mts_09_zone_air_temperature_s | degrees_celsius
DDC-4 | mts_09_zone_air_relative_humid_s | percent
DDC-6 | mts_10_zone_air_temperature_s | degrees_celsius
DDC-6 | mts_10_zone_air_relative_humid_s | percent
DDC-8 | mts_11_zone_air_temperature_s | degrees_celsius
DDC-8 | mts_11_zone_air_relative_humid_s | percent
DDC-8 | mts_12_zone_air_temperature_s | degrees_celsius
DDC-8 | mts_12_zone_air_relative_humid_s | percent
DDC-9 | mts_13_zone_air_temperature_s | degrees_celsius
DDC-9 | mts_13_zone_air_relative_humid_s | percent
DDC-1111 | mts_14_zone_air_temperature_s | degrees_celsius
DDC-1111 | mts_14_zone_air_relative_humid_s | percent
DDC-1111 | mts_15_zone_air_temperature_s | degrees_celsius
DDC-1111 | mts_15_zone_air_relative_humid_s | percent
DDC-1111 | mts_16_zone_air_temperature_s | degrees_celsius
DDC-1111 | mts_16_zone_air_relative_humid_s | percent
DDC-1111 | mts_17_zone_air_temperature_s | degrees_celsius
DDC-1111 | mts_17_zone_air_relative_humid_s | percent
DDC-12 | mts_18_zone_air_temperature_s | degrees_celsius
DDC-12 | mts_18_zone_air_relative_humid_s | percent
DDC-13 | mts_19_zone_air_temperature_s | degrees_celsius
DDC-13 | mts_19_zone_air_relative_humid_s | percent
DDC-14 | mts_20_zone_air_temperature_s | degrees_celsius
DDC-14 | mts_20_zone_air_relative_humid_s | percent
DDC-14 | mts_21_zone_air_temperature_s | degrees_celsius
DDC-14 | mts_21_zone_air_relative_humid_s | percent
DDC-15 | mts_22_zone_air_temperature_s | degrees_celsius
DDC-15 | mts_22_zone_air_relative_humid_s | percent
DDC-15 | mts_23_zone_air_temperature_s | degrees_celsius
DDC-15 | mts_23_zone_air_relative_humid_s | percent
DDC-16 | mts_24_zone_air_temperature_s | degrees_celsius
DDC-16 | mts_24_zone_air_relative_humid_s | percent
DDC-16 | mts_25_zone_air_temperature_s | degrees_celsius
DDC-16 | mts_25_zone_air_relative_humid_s | percent
DDC-17 | mts_26_zone_air_temperature_s | degrees_celsius
DDC-17 | mts_26_zone_air_relative_humid_s | percent
DDC-18 | mts_27_zone_air_temperature_s | degrees_celsius
DDC-18 | mts_27_zone_air_relative_humid_s | percent
DDC-18 | mts_28_zone_air_temperature_s | degrees_celsius
DDC-18 | mts_28_zone_air_relative_humid_s | percent
DDC-19 | mts_29_zone_air_temperature_s | degrees_celsius
DDC-19 | mts_29_zone_air_relative_humid_s | percent
DDC-20 | mts_30_zone_air_temperature_s | degrees_celsius
DDC-20 | mts_30_zone_air_relative_humid_s | percent
DDC-20 | mts_31_zone_air_temperature_s | degrees_celsius
DDC-20 | mts_31_zone_air_relative_humid_s | percent
DDC-21 | mts_32_zone_air_temperature_s | degrees_celsius
DDC-21 | mts_32_zone_air_relative_humid_s | percent
DDC-22 | mts_33_zone_air_temperature_s | degrees_celsius
DDC-22 | mts_33_zone_air_relative_humid_s | percent
DDC-22 | mts_34_zone_air_temperature_s | degrees_celsius
DDC-22 | mts_34_zone_air_relative_humid_s | percent
DDC-24 | mts_35_zone_air_temperature_s | degrees_celsius
DDC-24 | mts_35_zone_air_relative_humid_s | percent
DDC-1 | ef_01_run_command | No-units
DDC-1 | ef_01_run_status | No-units
DDC-1 | ef_01_run_mode | No-units
DDC-1 | ef_01_lost_power_alarm | No-units
DDC-1 | ef_02_run_command | No-units
DDC-1 | ef_02_run_status | No-units
DDC-1 | ef_02_run_mode | No-units
DDC-1 | ef_02_lost_power_alarm | No-units
DDC-1 | ef_03_run_command | No-units
DDC-1 | ef_03_run_status | No-units
DDC-1 | ef_03_run_mode | No-units
DDC-1 | ef_03_lost_power_alarm | No-units
DDC-10 | ef_04_run_command | No-units
DDC-10 | ef_04_run_status | No-units
DDC-10 | ef_04_control_mode | No-units
DDC-10 | ef_04_lost_power_alarm | No-units
DDC-12 | ef_05_run_command | No-units
DDC-12 | ef_05_run_status | No-units
DDC-12 | ef_05_run_mode | No-units
DDC-12 | ef_05_lost_power_alarm | No-units
DDC-2 | fcu_01_discharge_fan_run_status | No-units
DDC-2 | fcu_01_discharge_fan_run_command | No-units
DDC-2 | fcu_01_schedule_run_command | No-units
DDC-2 | fcu_01_discharge_fan_control_mode | No-units
DDC-2 | fcu_01_discharge_fan_speed_mode | No-units
DDC-2 | fcu_01_discharge_fan_speed_percentage_cmd | percent
DDC-2 | fcu_01_discharge_fan_lost_power_alarm | No-units
DDC-2 | fcu_01_return_air_relative_humidity_sen | percent
DDC-2 | fcu_01_return_air_temperature_sensor | degrees_celsius
DDC-2 | fcu_01_discharge_air_temperature_sensor | degrees_celsius
DDC-2 | fcu_01_discharge_air_temp_setpoint | degrees_celsius
DDC-2 | fcu_01_return_air_isolation_dam_sts_1 | No-units
DDC-2 | fcu_01_supply_air_isolation_dam_sts_1 | No-units
DDC-2 | fcu_01_return_air_co2_concentration_set | parts_per_million
DDC-2 | fcu_01_chilled_water_valve_percent_cmd | percent
DDC-2 | fcu_01_chilled_water_valve_percent_sen | percent
DDC-2 | fcu_01_filter_differential_pressure_sen | parts_per_million
DDC-3 | discharge_fan_run_status_02 | No-units
DDC-3 | discharge_fan_run_command_02 | No-units
DDC-3 | schedule_run_command_02 | No-units
DDC-3 | control_mode_02 | No-units
DDC-3 | discharge_fan_speed_mode_02 | No-units
DDC-3 | discharge_fan_speed_perc_cmd_02 | percent
DDC-3 | discharge_fan_lost_power_alm_02 | No-units
DDC-3 | return_air_relative_humid_sen_02 | percent
DDC-3 | return_air_temperature_sen_02 | degrees_celsius
DDC-3 | discharge_air_temperature_sen_02 | degrees_celsius
DDC-3 | discharge_air_temperature_set_02 | degrees_celsius
DDC-3 | return_air_isolation_dam_sts_1 | No-units
DDC-3 | return_air_co2_concent_sen_02 | parts_per_million
DDC-3 | chilled_water_vlv_percent_cmd_02 | percent
DDC-3 | chilled_water_vlv_percent_sen_02 | percent
DDC-3 | filter_differen_pressure_sen_02 | parts_per_million
DDC-3 | supply_air_isolation_dam_sts_1 | No-units
DDC-30 | kexf_01_run_command | No-units
DDC-30 | kexf_01_run_status | No-units
DDC-30 | kexf_01_control_mode | No-units
DDC-30 | kexf_01_speed_percent_cmd | percent
DDC-30 | kexf_02_run_command | No-units
DDC-30 | kexf_02_run_status | No-units
DDC-30 | kexf_02_control_mode | No-units
DDC-30 | kexf_02_speed_percent_cmd | percent
DDC-30 | mkexf_run_status | No-units
DDC-30 | mkexf_run_command | No-units
DDC-30 | mkexf_control_mode | No-units
DDC-30 | mkexf_lost_power_alarm | No-units
DDC-30 | filter_diff_pressure_sen_01 | parts_per_million
DDC-30 | filter_diff_pressure_sen_02 | parts_per_million
DDC-25 | kfaf_01_supply_fan_run_command | No-units
DDC-25 | kfaf_01_supply_fan_run_status | No-units
DDC-25 | kfaf_01_supply_fan_speed_mode | No-units
DDC-25 | kfaf_01_supply_fan_lost_power_al | No-units
DDC-25 | kfaf_02_supply_fan_run_command | No-units
DDC-25 | kfaf_02_supply_fan_run_status | No-units
DDC-25 | kfaf_02_supply_fan_speed_mode | No-units
DDC-25 | kfaf_02_supply_fan_lost_power_al | No-units
DDC-25 | kfaf_02_supply_air_static_pr_sen | parts_per_million
DDC-26 | supply_fan_run_command_01 | No-units
DDC-26 | supply_fan_run_status_01 | No-units
DDC-26 | control_mode_01 | No-units
DDC-26 | supply_air_ssp_sen_01 | parts_per_million
DDC-26 | supply_air_ssp_sp_01 | parts_per_million
DDC-26 | filter_diff_pressure_sen_01 | No-units
DDC-26 | supply_fan_speed_percent_cmd_01 | percent
DDC-26 | supply_fan_lost_power_alarm_01 | No-units
DDC-26 | supply_fan_run_command_02 | No-units
DDC-26 | supply_fan_lost_power_alarm_02 | No-units
DDC-28 | control_mode_02 | No-units
DDC-28 | supply_fan_run_command_02 | No-units
DDC-28 | supply_fan_run_status_02 | No-units
DDC-28 | supply_fan_speed_percent_cmd_02 | percent
DDC-28 | filter_diff_pressure_sen_02 | parts_per_million
DDC-28 | supply_air_ssp_sen_02 | parts_per_million
DDC-28 | supply_air_ssp_sp_02 | parts_per_million
DDC-29 | kfaf_01_filter_differential_pr_s | parts_per_million
DDC-29 | kfaf_02_filter_differential_pr_s | parts_per_million
DDC-29 | kfaf_01_supply_air_static_pr_sen | parts_per_million
DDC-29 | kfaf_01_supply_air_static_pr_sp | parts_per_million
DDC-29 | kfaf_01_supply_fan_speed_per_s | percent
DDC-29 | kfaf_02_supply_fan_speed_per_s | percent
DDC-29 | kfaf_02_supply_air_static_pr_sp | parts_per_million

## virtual_device_entities
virtual_points_type | device_points_type | dbo.source_device_field | dbo.virtual_device_field | dbo.abstracts
EM-01 | HLI-9 | average_line_current_sensor_01 | average_line_current_sensor
EM-01 | HLI-9 | average_line_neutral_voltage_sensor_01 | average_line_neutral_voltage_sensor
EM-01 | HLI-9 | line_frequency_sensor_01 | line_frequency_sensor
EM-01 | HLI-9 | powerfactor_sensor_01 | powerfactor_sensor
EM-01 | HLI-9 | power_sensor_01 | power_sensor
EM-01 | HLI-9 | electricalgrid_energy_accumulator_01 | electricalgrid_energy_accumulator
EM-01 | HLI-9 | generator_energy_accumulator_01 | generator_energy_accumulator
EM-01 | HLI-9 | energy_accumulator_01 | energy_accumulator

## asset_template
entity_instance_name | udmi.system.location.site | udmi.pointset.points | udmi.system.location.section | udmi.system.location.position.x | udmi.system.location.position.y | udmi.system.location.position.z | udmi.physical_tag.asset.guid | udmi.physical_tag.asset.site | udmi.physical_tag.asset.name | udmi.cloud.auth_type | dbo.devices_or_virtual_devices | dbo.type | dbo.connections.feeds | dbo.connections.controls | dbo.links | dbo.links.points | location | reporting_device