## locations
dbo.section | dbo.entity_name | dbo.type | dbo.connections.contains
Buildings | IN-GUR-SIGD | FACILITIES/BUILDING
Floors | IN-GUR-SIGD_FL1 | FACILITIES/FLOOR | IN-GUR-SIGD
Rooms | IN-GUR-SIGD_RM1 | FACILITIES/ROOM | IN-GUR-SIGD_FL1
Zones | IN-GUR-SIGD_ZN1 | HVAC/ZONE | IN-GUR-SIGD_RM1
Rooms | IN-GUR-SIGD_RM2 | FACILITIES/ROOM | IN-GUR-SIGD_ZN1
Zones | IN-GUR-SIGD_ZN2 | HVAC/ZONE | IN-GUR-SIGD_RM2

## assets
entity_instance_name | udmi.version | udmi.timestamp | udmi.system.location.site | udmi.system.location.section | udmi.system.location.position.x | udmi.system.location.position.y | udmi.system.location.position.z | udmi.physical_tag.asset.guid | udmi.physical_tag.asset.site | udmi.physical_tag.asset.name | udmi.pointset.points | udmi.cloud.auth_type | dbo.devices_or_virtual_devices | dbo.type | dbo.cloud_device_id | dbo.connections.feeds | dbo.connections.controls | dbo.links | dbo.links.points | Location | Reporting Device
HLI-9 | 1 | 2023-01-30T09:03:43Z | IN-BLR-BCPWK | UB-IDF-ROOM-ENTRANCE | 10 | 10 | 10 | 04bd5283-ce3e-27a9-452f-f352e76f80fb | IN-BLR-BCPWK | HLI-9 | HLI-9 | RS256 | Device | GATEWAYS/PASSTHROUGH | 2561906563582972
HLI-909 | 1 | 2023-01-30T09:03:43Z | IN-BLR-BCPWK | UB-IDF-ROOM-ENTRANCE | 10 | 10 | 10 | 44f94c70-3dc1-3dea-3dfa-fefe139921dc | IN-BLR-BCPWK | HLI-909 | HLI-909 | RS256 | Device | GATEWAYS/PASSTHROUGH | 2663448010426311
HLI-19 | 1 | 2023-01-30T09:03:43Z | IN-BLR-BCPWK | 2F-NORTH-WING-AHU-01 | 10 | 10 | 10 | d0d61a50-2d14-3d65-4da1-0ddb26c324c9 | IN-BLR-BCPWK | HLI-19 | HLI-19 | RS256 | Device | GATEWAYS/PASSTHROUGH | 2608169612030747
HLI-1919 | 1 | 2023-01-30T09:03:43Z | IN-BLR-BCPWK | 2F-NORTH-WING-AHU-01 | 10 | 10 | 10 | 53872fa8-f41c-331e-84d4-a675452b1338 | IN-BLR-BCPWK | HLI-1919 | HLI-1919 | RS256 | Device | GATEWAYS/PASSTHROUGH | 2651462415261499
HLI-34 | 1 | 2023-01-30T09:03:43Z | IN-BLR-BCPWK | 4F-NORTH-WING-AHU-01 | 10 | 10 | 10 | 1c54b649-b6d9-27ba-b36c-69ae06c944e8 | IN-BLR-BCPWK | HLI-34 | HLI-34 | RS256 | Device | GATEWAYS/PASSTHROUGH | 2773100014242099
HLI-3434 | 1 | 2023-01-30T09:03:43Z | IN-BLR-BCPWK | 4F-NORTH-WING-AHU-01 | 10 | 10 | 10 | 0c401383-4761-ae75-bcfd-b6baf0f5ba61 | IN-BLR-BCPWK | HLI-3434 | HLI-3434 | RS256 | Device | GATEWAYS/PASSTHROUGH | 2809538202596405
HLI-53 | 1 | 2023-01-30T09:03:43Z | IN-BLR-BCPWK | 7F-NORTH-WING-AHU-01 | 10 | 10 | 10 | 7aa49dfb-37fa-f414-18f7-db24b54734cd | IN-BLR-BCPWK | HLI-53 | HLI-53 | RS256 | Device | GATEWAYS/PASSTHROUGH | 2601288291233482
HLI-65 | 1 | 2023-01-30T09:03:43Z | IN-BLR-BCPWK | 9F-NORTH-WING-AHU-01 | 10 | 10 | 10 | 8546f79b-2fe7-a329-0f2f-fff26de20b0e | IN-BLR-BCPWK | HLI-65 | HLI-65 | RS256 | Device | GATEWAYS/PASSTHROUGH | 2695652608784047
EM-01 | 1 | 2023-01-30T09:03:43Z | IN-BLR-BCPWK | 9F-NORTH-WING-AHU-01 | 10 | 10 | 10 | [5 empty] | Virtual | EM_PWM_AVCM_PWMRDM |  |  |  | HLI-9 | HLI-9

## device_entities
points_type | udmi.pointset.points | udmi.pointset.units | dbo.states | dbo.translation.fields | dbo.translation.units | dbo.abstracts
HLI-11 | crac01_return_air_temperature_sen | degrees_celsius |  | average_line_current_sensor_01 | degrees_celsius
HLI-11 | crac01_return_air_relative_humidity_sen | percent_relative_humidity |  | average_line_neutral_voltage_sensor_01 | volts: volts
HLI-11 | crac01_discharge_fan_run_status | no_units | true=ON false=OFF | line_frequency_sensor_01 | hertz: hertz
HLI-11 | crac01_compressor_run_status | no_units | true=ON false=OFF | powerfactor_sensor_01 | no_units: no_units
HLI-11 | crac01_filter_alarm | no_units | true=ACTIVE false=INACTIVE | power_sensor_01 | kilowatts: kilowatts
HLI-11 | crac01_master_alarm | no_units | true=ACTIVE false=INACTIVE | electricalgrid_energy_accumulator_01 | kilowatt_hours: kilowatt_hours
HLI-11 | crac01_water_leak_alarm | no_units | true=ACTIVE false=INACTIVE | generator_energy_accumulator_01 | kilowatt_hours: kilowatt_hours
HLI-11 | crac01_discharge_air_temperature_sensor | degrees_celsius |  | energy_accumulator_01 | kilowatt_hours: kilowatt_hours
HLI-11 | crac01_return_air_temperature_setpoint | degrees_celsius |  | average_line_current_sensor_02 | amperes: amperes
HLI-11 | crac01_return_air_relative_humidity_setpoint | percent_relative_humidity |  | average_line_neutral_voltage_sensor_02 | volts: volts
HLI-11 | crac02_return_air_temperature_sen | degrees_celsius |  | line_frequency_sensor_02 | hertz: hertz
HLI-11 | crac02_return_air_relative_humidity_sen | percent_relative_humidity |  | powerfactor_sensor_02 | no_units: no_units
HLI-11 | crac02_discharge_fan_run_status | no_units |  | power_sensor_02 | kilowatts: kilowatts
HLI-11 | crac02_compressor_run_status | no_units |  | electricalgrid_energy_accumulator_02 | kilowatt_hours: kilowatt_hours
HLI-11 | crac02_filter_alarm | no_units |  | generator_energy_accumulator_02 | kilowatt_hours: kilowatt_hours
HLI-11 | crac02_master_alarm | no_units |  | energy_accumulator_02 | kilowatt_hours: kilowatt_hours
HLI-11 | crac02_water_leak_alarm | no_units |  | average_line_current_sensor_03 | amperes: amperes
HLI-11 | crac02_discharge_air_temperature_sensor | degrees_celsius |  | average_line_neutral_voltage_sensor_03 | volts: volts
HLI-11 | crac02_return_air_temperature_setpoint | degrees_celsius |  | line_frequency_sensor_03 | hertz: hertz
HLI-11 | crac02_return_air_relative_humidity_setpoint | percent_relative_humidity |  | powerfactor_sensor_03 | no_units: no_units
HLI-11 | crac03_return_air_temperature_sen | degrees_celsius |  | power_sensor_03 | kilowatts: kilowatts
HLI-11 | crac03_return_air_relative_humidity_sen | percent_relative_humidity |  | electricalgrid_energy_accumulator_03 | kilowatt_hours: kilowatt_hours
HLI-11 | crac03_discharge_fan_run_status | no_units |  | generator_energy_accumulator_03 | kilowatt_hours: kilowatt_hours
HLI-11 | crac03_compressor_run_status | no_units |  | energy_accumulator_03 | kilowatt_hours: kilowatt_hours
HLI-11 | crac03_filter_alarm | no_units |  | average_line_current_sensor_04 | amperes: amperes
HLI-11 | crac03_master_alarm | no_units |  | average_line_neutral_voltage_sensor_04 | volts: volts
HLI-11 | crac03_water_leak_alarm | no_units |  | line_frequency_sensor_04 | hertz: hertz
HLI-11 | crac03_discharge_air_temperature_sensor | degrees_celsius |  | powerfactor_sensor_04 | no_units: no_units
HLI-11 | crac03_return_air_temperature_setpoint | degrees_celsius |  | power_sensor_04 | kilowatts: kilowatts
HLI-11 | crac03_return_air_relative_humidity_setpoint | percent_relative_humidity |  | electricalgrid_energy_accumulator_04 | kilowatt_hours: kilowatt_hours
HLI-11 | crac04_return_air_temperature_sen | degrees_celsius |  | generator_energy_accumulator_04 | kilowatt_hours: kilowatt_hours
HLI-11 | crac04_return_air_relative_humidity_sen | percent_relative_humidity |  | energy_accumulator_04 | kilowatt_hours: kilowatt_hours
HLI-11 | crac04_discharge_fan_run_status | no_units |  | average_line_current_sensor_05 | amperes: amperes
HLI-11 | crac04_compressor_run_status | no_units |  | average_line_neutral_voltage_sensor_05 | volts: volts
HLI-11 | crac04_filter_alarm | no_units |  | line_frequency_sensor_05 | hertz: hertz
HLI-11 | crac04_master_alarm | no_units |  | powerfactor_sensor_05 | no_units: no_units
HLI-11 | crac04_water_leak_alarm | no_units |  | power_sensor_05 | kilowatts: kilowatts
HLI-11 | crac04_discharge_air_temperature_sensor | degrees_celsius |  | electricalgrid_energy_accumulator_05 | kilowatt_hours: kilowatt_hours
HLI-11 | crac04_return_air_temperature_setpoint | degrees_celsius |  | generator_energy_accumulator_05 | kilowatt_hours: kilowatt_hours
HLI-11 | crac04_return_air_relative_humidity_setpoint | percent_relative_humidity |  | energy_accumulator_05 | kilowatt_hours: kilowatt_hours
HLI-11 | crac05_return_air_temperature_sen | degrees_celsius |  | average_line_current_sensor_06 | amperes: amperes
HLI-11 | crac05_return_air_relative_humidity_sen | percent_relative_humidity |  | average_line_neutral_voltage_sensor_06 | volts: volts
HLI-11 | crac05_discharge_fan_run_status | no_units |  | line_frequency_sensor_06 | hertz: hertz
HLI-11 | crac05_compressor_run_status | no_units |  | powerfactor_sensor_06 | no_units: no_units
HLI-11 | crac05_filter_alarm | no_units |  | power_sensor_06 | kilowatts: kilowatts
HLI-11 | crac05_master_alarm | no_units |  | electricalgrid_energy_accumulator_06 | kilowatt_hours: kilowatt_hours
HLI-11 | crac05_water_leak_alarm | no_units |  | generator_energy_accumulator_06 | kilowatt_hours: kilowatt_hours
HLI-11 | crac05_discharge_air_temperature_sensor | degrees_celsius |  | energy_accumulator_06 | kilowatt_hours: kilowatt_hours
HLI-11 | crac05_return_air_temperature_setpoint | degrees_celsius |  | average_line_current_sensor_07 | amperes: amperes
HLI-11 | crac05_return_air_relative_humidity_setpoint | percent_relative_humidity |  | average_line_neutral_voltage_sensor_07 | volts: volts
HLI-11 | crac06_return_air_temperature_sen | degrees_celsius |  | line_frequency_sensor_07 | hertz: hertz
HLI-11 | crac06_return_air_relative_humidity_sen | percent_relative_humidity |  | powerfactor_sensor_07 | no_units: no_units
HLI-11 | crac06_discharge_fan_run_status | no_units |  | power_sensor_07 | kilowatts: kilowatts
HLI-11 | crac06_compressor_run_status | no_units |  | electricalgrid_energy_accumulator_07 | kilowatt_hours: kilowatt_hours
HLI-11 | crac06_filter_alarm | no_units |  | generator_energy_accumulator_07 | kilowatt_hours: kilowatt_hours
HLI-11 | crac06_master_alarm | no_units |  | energy_accumulator_07 | kilowatt_hours: kilowatt_hours
HLI-11 | crac06_water_leak_alarm | no_units |  | average_line_current_sensor_08 | amperes: amperes
HLI-11 | crac06_discharge_air_temperature_sensor | degrees_celsius |  | average_line_neutral_voltage_sensor_08 | volts: volts
HLI-11 | crac06_return_air_temperature_setpoint | degrees_celsius |  | line_frequency_sensor_08 | hertz: hertz
HLI-11 | crac06_return_air_relative_humidity_setpoint | percent_relative_humidity |  | powerfactor_sensor_08 | no_units: no_units
HLI-11 | crac07_return_air_temperature_sen | degrees_celsius |  | power_sensor_08 | kilowatts: kilowatts
HLI-11 | crac07_return_air_relative_humidity_sen | percent_relative_humidity |  | electricalgrid_energy_accumulator_08 | kilowatt_hours: kilowatt_hours
HLI-11 | crac07_discharge_fan_run_status | no_units |  | generator_energy_accumulator_08 | kilowatt_hours: kilowatt_hours
HLI-11 | crac07_compressor_run_status | no_units |  | energy_accumulator_08 | kilowatt_hours: kilowatt_hours
HLI-11 | crac07_filter_alarm | no_units |  | average_line_current_sensor_09 | amperes: amperes
HLI-11 | crac07_master_alarm | no_units |  | average_line_neutral_voltage_sensor_09 | volts: volts
HLI-11 | crac07_water_leak_alarm | no_units |  | line_frequency_sensor_09 | hertz: hertz
HLI-11 | crac07_discharge_air_temperature_sensor | degrees_celsius |  | powerfactor_sensor_09 | no_units: no_units
HLI-11 | crac07_return_air_temperature_setpoint | degrees_celsius |  | power_sensor_09 | kilowatts: kilowatts
HLI-11 | crac07_return_air_relative_humidity_setpoint | percent_relative_humidity |  | electricalgrid_energy_accumulator_09 | kilowatt_hours: kilowatt_hours
HLI-11 | crac08_return_air_temperature_sen | degrees_celsius |  | generator_energy_accumulator_09 | kilowatt_hours: kilowatt_hours
HLI-11 | crac08_return_air_relative_humidity_sen | percent_relative_humidity |  | energy_accumulator_09 | kilowatt_hours: kilowatt_hours
HLI-11 | crac08_discharge_fan_run_status | no_units |  | average_line_current_sensor_10 | amperes: amperes
HLI-11 | crac08_compressor_run_status | no_units |  | average_line_neutral_voltage_sensor_10 | volts: volts
HLI-11 | crac08_filter_alarm | no_units |  | line_frequency_sensor_10 | hertz: hertz
HLI-11 | crac08_master_alarm | no_units |  | powerfactor_sensor_10 | no_units: no_units
HLI-11 | crac08_water_leak_alarm | no_units |  | power_sensor_10 | kilowatts: kilowatts
HLI-11 | crac08_discharge_air_temperature_sensor | degrees_celsius |  | electricalgrid_energy_accumulator_10 | kilowatt_hours: kilowatt_hours
HLI-11 | crac08_return_air_temperature_setpoint | degrees_celsius |  | generator_energy_accumulator_10 | kilowatt_hours: kilowatt_hours
HLI-11 | crac08_return_air_relative_humidity_setpoint | percent_relative_humidity |  | energy_accumulator_10 | kilowatt_hours: kilowatt_hours
HLI-11 | crac09_return_air_temperature_sen | degrees_celsius |  | average_line_current_sensor_11 | amperes: amperes
HLI-11 | crac09_return_air_relative_humidity_sen | percent_relative_humidity |  | average_line_neutral_voltage_sensor_11 | volts: volts
HLI-11 | crac09_discharge_fan_run_status | no_units |  | line_frequency_sensor_11 | hertz: hertz
HLI-11 | crac09_compressor_run_status | no_units |  | powerfactor_sensor_11 | no_units: no_units
HLI-11 | crac09_filter_alarm | no_units |  | power_sensor_11 | kilowatts: kilowatts
HLI-11 | crac09_master_alarm | no_units |  | electricalgrid_energy_accumulator_11 | kilowatt_hours: kilowatt_hours
HLI-11 | crac09_water_leak_alarm | no_units |  | generator_energy_accumulator_11 | kilowatt_hours: kilowatt_hours
HLI-11 | crac09_discharge_air_temperature_sensor | degrees_celsius |  | energy_accumulator_11 | kilowatt_hours: kilowatt_hours
HLI-11 | crac09_return_air_temperature_setpoint | degrees_celsius |  | average_line_current_sensor_12 | amperes: amperes
HLI-11 | crac09_return_air_relative_humidity_setpoint | percent_relative_humidity |  | average_line_neutral_voltage_sensor_12 | volts: volts
HLI-11 | crac10_return_air_temperature_sen | degrees_celsius |  | line_frequency_sensor_12 | hertz: hertz
HLI-11 | crac10_return_air_relative_humidity_sen | percent_relative_humidity |  | powerfactor_sensor_12 | no_units: no_units
HLI-11 | crac10_discharge_fan_run_status | no_units |  | power_sensor_12 | kilowatts: kilowatts
HLI-11 | crac10_compressor_run_status | no_units |  | electricalgrid_energy_accumulator_12 | kilowatt_hours: kilowatt_hours
HLI-11 | crac10_filter_alarm | no_units |  | generator_energy_accumulator_12 | kilowatt_hours: kilowatt_hours
HLI-11 | crac10_master_alarm | no_units |  | energy_accumulator_12 | kilowatt_hours: kilowatt_hours
HLI-11 | crac10_water_leak_alarm | no_units |  | average_line_current_sensor_13 | amperes: amperes
HLI-11 | crac10_discharge_air_temperature_sensor | degrees_celsius |  | average_line_neutral_voltage_sensor_13 | volts: volts
HLI-11 | crac10_return_air_temperature_setpoint | degrees_celsius |  | line_frequency_sensor_13 | hertz: hertz
HLI-11 | crac10_return_air_relative_humidity_setpoint | percent_relative_humidity |  | powerfactor_sensor_13 | no_units: no_units
HLI-11 | crac11_return_air_temperature_sen | degrees_celsius |  | power_sensor_13 | kilowatts: kilowatts
HLI-11 | crac11_return_air_relative_humidity_sen | percent_relative_humidity |  | electricalgrid_energy_accumulator_13 | kilowatt_hours: kilowatt_hours
HLI-11 | crac11_discharge_fan_run_status | no_units |  | generator_energy_accumulator_13 | kilowatt_hours: kilowatt_hours
HLI-11 | crac11_compressor_run_status | no_units |  | energy_accumulator_13 | kilowatt_hours: kilowatt_hours
HLI-11 | crac11_filter_alarm | no_units |  | average_line_current_sensor_14 | amperes: amperes
HLI-11 | crac11_master_alarm | no_units |  | average_line_neutral_voltage_sensor_14 | volts: volts
HLI-11 | crac11_water_leak_alarm | no_units |  | line_frequency_sensor_14 | hertz: hertz
HLI-11 | crac11_discharge_air_temperature_sensor | degrees_celsius |  | powerfactor_sensor_14 | no_units: no_units
HLI-11 | crac11_return_air_temperature_setpoint | degrees_celsius |  | power_sensor_14 | kilowatts: kilowatts
HLI-11 | crac11_return_air_relative_humidity_setpoint | percent_relative_humidity |  | electricalgrid_energy_accumulator_14 | kilowatt_hours: kilowatt_hours
HLI-11 | crac12_return_air_temperature_sen | degrees_celsius |  | generator_energy_accumulator_14 | kilowatt_hours: kilowatt_hours
HLI-11 | crac12_return_air_relative_humidity_sen | percent_relative_humidity |  | energy_accumulator_14 | kilowatt_hours: kilowatt_hours
HLI-11 | crac12_discharge_fan_run_status | no_units |  | average_line_current_sensor_15 | amperes: amperes
HLI-11 | crac12_compressor_run_status | no_units |  | average_line_neutral_voltage_sensor_15 | volts: volts
HLI-11 | crac12_filter_alarm | no_units |  | line_frequency_sensor_15 | hertz: hertz
HLI-11 | crac12_master_alarm | no_units |  | powerfactor_sensor_15 | no_units: no_units
HLI-11 | crac12_water_leak_alarm | no_units |  | power_sensor_15 | kilowatts: kilowatts
HLI-11 | crac12_discharge_air_temperature_sensor | degrees_celsius |  | electricalgrid_energy_accumulator_15 | kilowatt_hours: kilowatt_hours
HLI-11 | crac12_return_air_temperature_setpoint | degrees_celsius |  | generator_energy_accumulator_15 | kilowatt_hours: kilowatt_hours
HLI-11 | crac12_return_air_relative_humidity_setpoint | percent_relative_humidity |  | energy_accumulator_15 | kilowatt_hours: kilowatt_hours
HLI-11 | crac13_return_air_temperature_sen | degrees_celsius |  | average_line_current_sensor_16 | amperes: amperes
HLI-11 | crac13_return_air_relative_humidity_sen | percent_relative_humidity |  | average_line_neutral_voltage_sensor_16 | volts: volts
HLI-11 | crac13_discharge_fan_run_status | no_units |  | line_frequency_sensor_16 | hertz: hertz
HLI-11 | crac13_compressor_run_status | no_units |  | powerfactor_sensor_16 | no_units: no_units
HLI-11 | crac13_filter_alarm | no_units |  | power_sensor_16 | kilowatts: kilowatts
HLI-11 | crac13_master_alarm | no_units |  | electricalgrid_energy_accumulator_16 | kilowatt_hours: kilowatt_hours
HLI-11 | crac13_water_leak_alarm | no_units |  | generator_energy_accumulator_16 | kilowatt_hours: kilowatt_hours
HLI-11 | crac13_discharge_air_temperature_sensor | degrees_celsius |  | energy_accumulator_16 | kilowatt_hours: kilowatt_hours
HLI-11 | crac13_return_air_temperature_setpoint | degrees_celsius |  | average_line_current_sensor_17 | amperes: amperes
HLI-11 | crac13_return_air_relative_humidity_setpoint | percent_relative_humidity |  | average_line_neutral_voltage_sensor_17 | volts: volts
HLI-42 | crac14_return_air_temperature_sen | degrees_celsius |  | line_frequency_sensor_17 | hertz: hertz
HLI-42 | crac14_return_air_relative_humidity_sen | percent_relative_humidity |  | powerfactor_sensor_17 | no_units: no_units
HLI-42 | crac14_discharge_fan_run_status | no_units |  | power_sensor_17 | kilowatts: kilowatts
HLI-42 | crac14_compressor_run_status | no_units |  | electricalgrid_energy_accumulator_17 | kilowatt_hours: kilowatt_hours
HLI-42 | crac14_filter_alarm | no_units |  | generator_energy_accumulator_17 | kilowatt_hours: kilowatt_hours
HLI-42 | crac14_master_alarm | no_units |  | energy_accumulator_17 | kilowatt_hours: kilowatt_hours
HLI-42 | crac14_water_leak_alarm | no_units |  | average_line_current_sensor_18 | amperes: amperes
HLI-42 | crac14_discharge_air_temperature_sensor | degrees_celsius |  | average_line_neutral_voltage_sensor_18 | volts: volts
HLI-42 | crac14_return_air_temperature_setpoint | degrees_celsius |  | line_frequency_sensor_18 | hertz: hertz
HLI-42 | crac14_return_air_relative_humidity_setpoint | percent_relative_humidity |  | powerfactor_sensor_18 | no_units: no_units
HLI-42 | crac15_return_air_temperature_sen | degrees_celsius |  | power_sensor_18 | kilowatts: kilowatts
HLI-42 | crac15_return_air_relative_humidity_sen | percent_relative_humidity |  | electricalgrid_energy_accumulator_18 | kilowatt_hours: kilowatt_hours
HLI-42 | crac15_discharge_fan_run_status | no_units |  | generator_energy_accumulator_18 | kilowatt_hours: kilowatt_hours
HLI-42 | crac15_compressor_run_status | no_units |  | energy_accumulator_18 | kilowatt_hours: kilowatt_hours
HLI-42 | crac15_filter_alarm | no_units |  | average_line_current_sensor_19 | amperes: amperes
HLI-42 | crac15_master_alarm | no_units |  | average_line_neutral_voltage_sensor_19 | volts: volts
HLI-42 | crac15_water_leak_alarm | no_units |  | line_frequency_sensor_19 | hertz: hertz
HLI-42 | crac15_discharge_air_temperature_sensor | degrees_celsius |  | powerfactor_sensor_19 | no_units: no_units
HLI-42 | crac15_return_air_temperature_setpoint | degrees_celsius |  | power_sensor_19 | kilowatts: kilowatts
HLI-42 | crac15_return_air_relative_humidity_setpoint | percent_relative_humidity |  | electricalgrid_energy_accumulator_19 | kilowatt_hours: kilowatt_hours
HLI-42 | crac16_return_air_temperature_sen | degrees_celsius |  | generator_energy_accumulator_19 | kilowatt_hours: kilowatt_hours
HLI-42 | crac16_return_air_relative_humidity_sen | percent_relative_humidity |  | energy_accumulator_19 | kilowatt_hours: kilowatt_hours
HLI-42 | crac16_discharge_fan_run_status | no_units |  | average_line_current_sensor_20 | amperes: amperes
HLI-42 | crac16_compressor_run_status | no_units |  | average_line_neutral_voltage_sensor_20 | volts: volts
HLI-42 | crac16_filter_alarm | no_units |  | line_frequency_sensor_20 | hertz: hertz
HLI-42 | crac16_master_alarm | no_units |  | powerfactor_sensor_20 | no_units: no_units
HLI-42 | crac16_water_leak_alarm | no_units |  | power_sensor_20 | kilowatts: kilowatts
HLI-42 | crac16_discharge_air_temperature_sensor | degrees_celsius |  | electricalgrid_energy_accumulator_20 | kilowatt_hours: kilowatt_hours
HLI-42 | crac16_return_air_temperature_setpoint | degrees_celsius |  | generator_energy_accumulator_20 | kilowatt_hours: kilowatt_hours
HLI-42 | crac16_return_air_relative_humidity_setpoint | percent_relative_humidity |  | energy_accumulator_20 | kilowatt_hours: kilowatt_hours
HLI-42 | crac17_return_air_temperature_sen | degrees_celsius |  | average_line_current_sensor_21 | amperes: amperes
HLI-42 | crac17_return_air_relative_humidity_sen | percent_relative_humidity |  | average_line_neutral_voltage_sensor_21 | volts: volts
HLI-42 | crac17_discharge_fan_run_status | no_units |  | line_frequency_sensor_21 | hertz: hertz
HLI-42 | crac17_compressor_run_status | no_units |  | powerfactor_sensor_21 | no_units: no_units
HLI-42 | crac17_filter_alarm | no_units |  | power_sensor_21 | kilowatts: kilowatts
HLI-42 | crac17_master_alarm | no_units |  | electricalgrid_energy_accumulator_21 | kilowatt_hours: kilowatt_hours
HLI-42 | crac17_water_leak_alarm | no_units |  | generator_energy_accumulator_21 | kilowatt_hours: kilowatt_hours
HLI-42 | crac17_discharge_air_temperature_sensor | degrees_celsius |  | energy_accumulator_21 | kilowatt_hours: kilowatt_hours
HLI-42 | crac17_return_air_temperature_setpoint | degrees_celsius |  | average_line_current_sensor_22 | amperes: amperes
HLI-42 | crac17_return_air_relative_humidity_setpoint | percent_relative_humidity |  | average_line_neutral_voltage_sensor_22 | volts: volts
HLI-42 | crac18_return_air_temperature_sen | degrees_celsius |  | line_frequency_sensor_22 | hertz: hertz
HLI-42 | crac18_return_air_relative_humidity_sen | percent_relative_humidity |  | powerfactor_sensor_22 | no_units: no_units
HLI-42 | crac18_discharge_fan_run_status | no_units |  | power_sensor_22 | kilowatts: kilowatts
HLI-42 | crac18_compressor_run_status | no_units |  | electricalgrid_energy_accumulator_22 | kilowatt_hours: kilowatt_hours
HLI-42 | crac18_filter_alarm | no_units |  | generator_energy_accumulator_22 | kilowatt_hours: kilowatt_hours
HLI-42 | crac18_master_alarm | no_units |  | energy_accumulator_22 | kilowatt_hours: kilowatt_hours
HLI-42 | crac18_water_leak_alarm | no_units |  | average_line_current_sensor_23 | amperes: amperes
HLI-42 | crac18_discharge_air_temperature_sensor | degrees_celsius |  | average_line_neutral_voltage_sensor_23 | volts: volts
HLI-42 | crac18_return_air_temperature_setpoint | degrees_celsius |  | line_frequency_sensor_23 | hertz: hertz
HLI-42 | crac18_return_air_relative_humidity_setpoint | percent_relative_humidity |  | powerfactor_sensor_23 | no_units: no_units
HLI-42 | crac19_return_air_temperature_sen | degrees_celsius |  | power_sensor_23 | kilowatts: kilowatts
HLI-42 | crac19_return_air_relative_humidity_sen | percent_relative_humidity |  | electricalgrid_energy_accumulator_23 | kilowatt_hours: kilowatt_hours
HLI-42 | crac19_discharge_fan_run_status | no_units |  | generator_energy_accumulator_23 | kilowatt_hours: kilowatt_hours
HLI-42 | crac19_compressor_run_status | no_units |  | energy_accumulator_23 | kilowatt_hours: kilowatt_hours
HLI-42 | crac19_filter_alarm | no_units |  | average_line_current_sensor_24 | amperes: amperes
HLI-42 | crac19_master_alarm | no_units |  | average_line_neutral_voltage_sensor_24 | volts: volts
HLI-42 | crac19_water_leak_alarm | no_units |  | line_frequency_sensor_24 | hertz: hertz
HLI-42 | crac19_discharge_air_temperature_sensor | degrees_celsius |  | powerfactor_sensor_24 | no_units: no_units
HLI-42 | crac19_return_air_temperature_setpoint | degrees_celsius |  | power_sensor_24 | kilowatts: kilowatts
HLI-42 | crac19_return_air_relative_humidity_setpoint | percent_relative_humidity |  | electricalgrid_energy_accumulator_24 | kilowatt_hours: kilowatt_hours
HLI-42 | crac20_return_air_temperature_sen | degrees_celsius |  | generator_energy_accumulator_24 | kilowatt_hours: kilowatt_hours
HLI-42 | crac20_return_air_relative_humidity_sen | percent_relative_humidity |  | energy_accumulator_24 | kilowatt_hours: kilowatt_hours
HLI-42 | crac20_discharge_fan_run_status | no_units |  | average_line_current_sensor_25 | amperes: amperes
HLI-42 | crac20_compressor_run_status | no_units |  | average_line_neutral_voltage_sensor_25 | volts: volts
HLI-42 | crac20_filter_alarm | no_units |  | line_frequency_sensor_25 | hertz: hertz
HLI-42 | crac20_master_alarm | no_units |  | powerfactor_sensor_25 | no_units: no_units
HLI-42 | crac20_water_leak_alarm | no_units |  | power_sensor_25 | kilowatts: kilowatts
HLI-42 | crac20_discharge_air_temperature_sensor | degrees_celsius |  | electricalgrid_energy_accumulator_25 | kilowatt_hours: kilowatt_hours
HLI-42 | crac20_return_air_temperature_setpoint | degrees_celsius |  | generator_energy_accumulator_25 | kilowatt_hours: kilowatt_hours
HLI-42 | crac20_return_air_relative_humidity_setpoint | percent_relative_humidity |  | energy_accumulator_25 | kilowatt_hours: kilowatt_hours
HLI-42 | crac21_return_air_temperature_sen | degrees_celsius |  | average_line_current_sensor_26 | amperes: amperes
HLI-42 | crac21_return_air_relative_humidity_sen | percent_relative_humidity |  | average_line_neutral_voltage_sensor_26 | volts: volts
HLI-42 | crac21_discharge_fan_run_status | no_units |  | line_frequency_sensor_26 | hertz: hertz
HLI-42 | crac21_compressor_run_status | no_units |  | powerfactor_sensor_26 | no_units: no_units
HLI-42 | crac21_filter_alarm | no_units |  | power_sensor_26 | kilowatts: kilowatts
HLI-42 | crac21_master_alarm | no_units |  | electricalgrid_energy_accumulator_26 | kilowatt_hours: kilowatt_hours
HLI-42 | crac21_water_leak_alarm | no_units |  | generator_energy_accumulator_26 | kilowatt_hours: kilowatt_hours
HLI-42 | crac21_discharge_air_temperature_sensor | degrees_celsius |  | energy_accumulator_26 | kilowatt_hours: kilowatt_hours
HLI-42 | crac21_return_air_temperature_setpoint | degrees_celsius |  | average_line_current_sensor_27 | amperes: amperes
HLI-42 | crac21_return_air_relative_humidity_setpoint | percent_relative_humidity |  | average_line_neutral_voltage_sensor_27 | volts: volts
HLI-42 | crac22_return_air_temperature_sen | degrees_celsius |  | line_frequency_sensor_27 | hertz: hertz
HLI-42 | crac22_return_air_relative_humidity_sen | percent_relative_humidity |  | powerfactor_sensor_27 | no_units: no_units
HLI-42 | crac22_discharge_fan_run_status | no_units |  | power_sensor_27 | kilowatts: kilowatts
HLI-42 | crac22_compressor_run_status | no_units |  | electricalgrid_energy_accumulator_27 | kilowatt_hours: kilowatt_hours
HLI-42 | crac22_filter_alarm | no_units |  | generator_energy_accumulator_27 | kilowatt_hours: kilowatt_hours
HLI-42 | crac22_master_alarm | no_units |  | energy_accumulator_27 | kilowatt_hours: kilowatt_hours
HLI-42 | crac22_water_leak_alarm | no_units |  | average_line_current_sensor_28 | amperes: amperes
HLI-42 | crac22_discharge_air_temperature_sensor | degrees_celsius |  | average_line_neutral_voltage_sensor_28 | volts: volts
HLI-42 | crac22_return_air_temperature_setpoint | degrees_celsius |  | line_frequency_sensor_28 | hertz: hertz
HLI-42 | crac22_return_air_relative_humidity_setpoint | percent_relative_humidity |  | powerfactor_sensor_28 | no_units: no_units
HLI-42 | crac23_return_air_temperature_sen | degrees_celsius |  | power_sensor_28 | kilowatts: kilowatts
HLI-42 | crac23_return_air_relative_humidity_sen | percent_relative_humidity |  | electricalgrid_energy_accumulator_28 | kilowatt_hours: kilowatt_hours
HLI-42 | crac23_discharge_fan_run_status | no_units |  | generator_energy_accumulator_28 | kilowatt_hours: kilowatt_hours
HLI-42 | crac23_compressor_run_status | no_units |  | energy_accumulator_28 | kilowatt_hours: kilowatt_hours
HLI-42 | crac23_filter_alarm | no_units |  | average_line_current_sensor_29 | amperes: amperes
HLI-42 | crac23_master_alarm | no_units |  | average_line_neutral_voltage_sensor_29 | volts: volts
HLI-42 | crac23_water_leak_alarm | no_units |  | line_frequency_sensor_29 | hertz: hertz
HLI-42 | crac23_discharge_air_temperature_sensor | degrees_celsius |  | powerfactor_sensor_29 | no_units: no_units
HLI-42 | crac23_return_air_temperature_setpoint | degrees_celsius |  | power_sensor_29 | kilowatts: kilowatts
HLI-42 | crac23_return_air_relative_humidity_setpoint | percent_relative_humidity |  | electricalgrid_energy_accumulator_29 | kilowatt_hours: kilowatt_hours
HLI-24 | fcu_03_discharge_fan_run_command | no_units | true=ON false=OFF | generator_energy_accumulator_29 | kilowatt_hours: kilowatt_hours
HLI-24 | fcu_03_discharge_fan_run_status | no_units | true=ON false=OFF | energy_accumulator_29 | kilowatt_hours: kilowatt_hours
HLI-24 | fcu_03_failed_discharge_fan_alarm | no_units | true=ACTIVE false=INACTIVE | average_line_current_sensor_30 | amperes: amperes
HLI-24 | fcu_03_discharge_fan_run_time_accumulator | hours |  | average_line_neutral_voltage_sensor_30 | volts: volts
HLI-24 | fcu_03_return_air_temperature_setpoint | degrees_celsius |  | line_frequency_sensor_30 | hertz: hertz
HLI-24 | fcu_03_return_air_temperature_sensor | degrees_celsius |  | powerfactor_sensor_30 | no_units: no_units
HLI-24 | fcu_04_discharge_fan_run_command | no_units |  | power_sensor_30 | kilowatts: kilowatts
HLI-24 | fcu_04_discharge_fan_run_status | no_units |  | electricalgrid_energy_accumulator_30 | kilowatt_hours: kilowatt_hours
HLI-24 | fcu_04_failed_discharge_fan_alarm | no_units |  | generator_energy_accumulator_30 | kilowatt_hours: kilowatt_hours
HLI-24 | fcu_04_discharge_fan_run_time_accumulator | hours |  | energy_accumulator_30 | kilowatt_hours: kilowatt_hours
HLI-24 | fcu_04_return_air_temperature_setpoint | degrees_celsius |  | average_line_current_sensor_31 | amperes: amperes
HLI-24 | fcu_04_return_air_temperature_sensor | degrees_celsius |  | average_line_neutral_voltage_sensor_31 | volts: volts
HLI-24 | fcu_05_discharge_fan_run_command | no_units |  | line_frequency_sensor_31 | hertz: hertz
HLI-24 | fcu_05_discharge_fan_run_status | no_units |  | powerfactor_sensor_31 | no_units: no_units
HLI-24 | fcu_05_failed_discharge_fan_alarm | no_units |  | power_sensor_31 | kilowatts: kilowatts
HLI-24 | fcu_05_discharge_fan_run_time_accumulator | hours |  | electricalgrid_energy_accumulator_31 | kilowatt_hours: kilowatt_hours
HLI-24 | fcu_05_return_air_temperature_setpoint | degrees_celsius |  | generator_energy_accumulator_31 | kilowatt_hours: kilowatt_hours
HLI-24 | fcu_05_return_air_temperature_sensor | degrees_celsius |  | energy_accumulator_31 | kilowatt_hours: kilowatt_hours
HLI-24 | fcu_06_discharge_fan_run_command | no_units |  | average_line_current_sensor_32 | amperes: amperes
HLI-24 | fcu_06_discharge_fan_run_status | no_units |  | average_line_neutral_voltage_sensor_32 | volts: volts
HLI-24 | fcu_06_failed_discharge_fan_alarm | no_units |  | line_frequency_sensor_32 | hertz: hertz
HLI-24 | fcu_06_discharge_fan_run_time_accumulator | hours |  | powerfactor_sensor_32 | no_units: no_units
HLI-24 | fcu_06_return_air_temperature_setpoint | degrees_celsius |  | power_sensor_32 | kilowatts: kilowatts
HLI-24 | fcu_06_return_air_temperature_sensor | degrees_celsius |  | electricalgrid_energy_accumulator_32 | kilowatt_hours: kilowatt_hours
HLI-24 | fcu_07_discharge_fan_run_command | no_units |  | generator_energy_accumulator_32 | kilowatt_hours: kilowatt_hours
HLI-24 | fcu_07_discharge_fan_run_status | no_units |  | energy_accumulator_32 | kilowatt_hours: kilowatt_hours
HLI-24 | fcu_07_failed_discharge_fan_alarm | no_units |  | average_line_current_sensor_33 | amperes: amperes
HLI-24 | fcu_07_discharge_fan_run_time_accumulator | hours |  | average_line_neutral_voltage_sensor_33 | volts: volts
HLI-24 | fcu_07_return_air_temperature_setpoint | degrees_celsius |  | line_frequency_sensor_33 | hertz: hertz
HLI-24 | fcu_07_return_air_temperature_sensor | degrees_celsius |  | powerfactor_sensor_33 | no_units: no_units
HLI-24 | fcu_08_discharge_fan_run_command | no_units |  | power_sensor_33 | kilowatts: kilowatts
HLI-24 | fcu_08_discharge_fan_run_status | no_units |  | electricalgrid_energy_accumulator_33 | kilowatt_hours: kilowatt_hours
HLI-24 | fcu_08_failed_discharge_fan_alarm | no_units |  | generator_energy_accumulator_33 | kilowatt_hours: kilowatt_hours
HLI-24 | fcu_08_discharge_fan_run_time_accumulator | hours |  | energy_accumulator_33 | kilowatt_hours: kilowatt_hours
HLI-24 | fcu_08_return_air_temperature_setpoint | degrees_celsius |  | average_line_current_sensor_34 | amperes: amperes
HLI-24 | fcu_08_return_air_temperature_sensor | degrees_celsius |  | average_line_neutral_voltage_sensor_34 | volts: volts
HLI-24 | fcu_09_discharge_fan_run_command | no_units |  | line_frequency_sensor_34 | hertz: hertz
HLI-24 | fcu_09_discharge_fan_run_status | no_units |  | powerfactor_sensor_34 | no_units: no_units
HLI-24 | fcu_09_failed_discharge_fan_alarm | no_units |  | power_sensor_34 | kilowatts: kilowatts
HLI-24 | fcu_09_discharge_fan_run_time_accumulator | hours |  | electricalgrid_energy_accumulator_34 | kilowatt_hours: kilowatt_hours
HLI-24 | fcu_09_return_air_temperature_setpoint | degrees_celsius |  | generator_energy_accumulator_34 | kilowatt_hours: kilowatt_hours
HLI-24 | fcu_09_return_air_temperature_sensor | degrees_celsius |  | energy_accumulator_34 | kilowatt_hours: kilowatt_hours
HLI-24 | fcu_10_discharge_fan_run_command | no_units |  | average_line_current_sensor_35 | amperes: amperes
HLI-24 | fcu_10_discharge_fan_run_status | no_units |  | average_line_neutral_voltage_sensor_35 | volts: volts
HLI-24 | fcu_10_failed_discharge_fan_alarm | no_units |  | line_frequency_sensor_35 | hertz: hertz
HLI-24 | fcu_10_discharge_fan_run_time_accumulator | hours |  | powerfactor_sensor_35 | no_units: no_units
HLI-24 | fcu_10_return_air_temperature_setpoint | degrees_celsius |  | power_sensor_35 | kilowatts: kilowatts
HLI-24 | fcu_10_return_air_temperature_sensor | degrees_celsius |  | electricalgrid_energy_accumulator_35 | kilowatt_hours: kilowatt_hours
HLI-24 | fcu_11_discharge_fan_run_command | no_units |  | generator_energy_accumulator_35 | kilowatt_hours: kilowatt_hours
HLI-24 | fcu_11_discharge_fan_run_status | no_units |  | energy_accumulator_35 | kilowatt_hours: kilowatt_hours
HLI-24 | fcu_11_failed_discharge_fan_alarm | no_units |  | average_line_current_sensor_36 | amperes: amperes
HLI-24 | fcu_11_discharge_fan_run_time_accumulator | hours |  | average_line_neutral_voltage_sensor_36 | volts: volts
HLI-24 | fcu_11_return_air_temperature_setpoint | degrees_celsius |  | line_frequency_sensor_36 | hertz: hertz
HLI-24 | fcu_11_return_air_temperature_sensor | degrees_celsius |  | powerfactor_sensor_36 | no_units: no_units
HLI-24 | fcu_12_discharge_fan_run_command | no_units |  | power_sensor_36 | kilowatts: kilowatts
HLI-24 | fcu_12_discharge_fan_run_status | no_units |  | electricalgrid_energy_accumulator_36 | kilowatt_hours: kilowatt_hours
HLI-24 | fcu_12_failed_discharge_fan_alarm | no_units |  | generator_energy_accumulator_36 | kilowatt_hours: kilowatt_hours
HLI-24 | fcu_12_discharge_fan_run_time_accumulator | hours |  | energy_accumulator_36 | kilowatt_hours: kilowatt_hours
HLI-24 | fcu_12_return_air_temperature_setpoint | degrees_celsius |  | average_line_current_sensor_37 | amperes: amperes
HLI-24 | fcu_12_return_air_temperature_sensor | degrees_celsius |  | average_line_neutral_voltage_sensor_37 | volts: volts
HLI-24 | fcu_13_discharge_fan_run_command | no_units |  | line_frequency_sensor_37 | hertz: hertz
HLI-24 | fcu_13_discharge_fan_run_status | no_units |  | powerfactor_sensor_37 | no_units: no_units
HLI-24 | fcu_13_failed_discharge_fan_alarm | no_units |  | power_sensor_37 | kilowatts: kilowatts
HLI-24 | fcu_13_discharge_fan_run_time_accumulator | hours |  | electricalgrid_energy_accumulator_37 | kilowatt_hours: kilowatt_hours
HLI-24 | fcu_13_return_air_temperature_setpoint | degrees_celsius |  | generator_energy_accumulator_37 | kilowatt_hours: kilowatt_hours
HLI-24 | fcu_13_return_air_temperature_sensor | degrees_celsius |  | energy_accumulator_37 | kilowatt_hours: kilowatt_hours
HLI-24 | fcu_14_discharge_fan_run_command | no_units |  | average_line_current_sensor_38 | amperes: amperes
HLI-24 | fcu_14_discharge_fan_run_status | no_units |  | average_line_neutral_voltage_sensor_38 | volts: volts
HLI-24 | fcu_14_failed_discharge_fan_alarm | no_units |  | line_frequency_sensor_38 | hertz: hertz
HLI-24 | fcu_14_discharge_fan_run_time_accumulator | hours |  | powerfactor_sensor_38 | no_units: no_units
HLI-24 | fcu_14_return_air_temperature_setpoint | degrees_celsius |  | power_sensor_38 | kilowatts: kilowatts
HLI-24 | fcu_14_return_air_temperature_sensor | degrees_celsius |  | electricalgrid_energy_accumulator_38 | kilowatt_hours: kilowatt_hours
HLI-24 | fcu_15_discharge_fan_run_command | no_units |  | generator_energy_accumulator_38 | kilowatt_hours: kilowatt_hours
HLI-24 | fcu_15_discharge_fan_run_status | no_units |  | energy_accumulator_38 | kilowatt_hours: kilowatt_hours
HLI-24 | fcu_15_failed_discharge_fan_alarm | no_units |  | average_line_current_sensor_39 | amperes: amperes
HLI-24 | fcu_15_discharge_fan_run_time_accumulator | hours |  | average_line_neutral_voltage_sensor_39 | volts: volts
HLI-24 | fcu_15_return_air_temperature_setpoint | degrees_celsius |  | line_frequency_sensor_39 | hertz: hertz
HLI-24 | fcu_15_return_air_temperature_sensor | degrees_celsius |  | powerfactor_sensor_39 | no_units: no_units
HLI-24 | fcu_16_discharge_fan_run_command | no_units |  | power_sensor_39 | kilowatts: kilowatts
HLI-24 | fcu_16_discharge_fan_run_status | no_units |  | electricalgrid_energy_accumulator_39 | kilowatt_hours: kilowatt_hours
HLI-24 | fcu_16_failed_discharge_fan_alarm | no_units |  | generator_energy_accumulator_39 | kilowatt_hours: kilowatt_hours
HLI-24 | fcu_16_discharge_fan_run_time_accumulator | hours |  | energy_accumulator_39 | kilowatt_hours: kilowatt_hours
HLI-24 | fcu_16_return_air_temperature_setpoint | degrees_celsius |  | average_line_current_sensor_40 | amperes: amperes
HLI-24 | fcu_16_return_air_temperature_sensor | degrees_celsius |  | average_line_neutral_voltage_sensor_40 | volts: volts
HLI-24 | fcu_17_discharge_fan_run_command | no_units |  | line_frequency_sensor_40 | hertz: hertz
HLI-24 | fcu_17_discharge_fan_run_status | no_units |  | powerfactor_sensor_40 | no_units: no_units
HLI-24 | fcu_17_failed_discharge_fan_alarm | no_units |  | power_sensor_40 | kilowatts: kilowatts
HLI-24 | fcu_17_discharge_fan_run_time_accumulator | hours |  | electricalgrid_energy_accumulator_40 | kilowatt_hours: kilowatt_hours
HLI-24 | fcu_17_return_air_temperature_setpoint | degrees_celsius |  | generator_energy_accumulator_40 | kilowatt_hours: kilowatt_hours
HLI-24 | fcu_17_return_air_temperature_sensor | degrees_celsius |  | energy_accumulator_40 | kilowatt_hours: kilowatt_hours
HLI-24 | fcu_18_discharge_fan_run_command | no_units |  | average_line_current_sensor_41 | amperes: amperes
HLI-24 | fcu_18_discharge_fan_run_status | no_units |  | average_line_neutral_voltage_sensor_41 | volts: volts
HLI-24 | fcu_18_failed_discharge_fan_alarm | no_units |  | line_frequency_sensor_41 | hertz: hertz
HLI-24 | fcu_18_discharge_fan_run_time_accumulator | hours |  | powerfactor_sensor_41 | no_units: no_units
HLI-24 | fcu_18_return_air_temperature_setpoint | degrees_celsius |  | power_sensor_41 | kilowatts: kilowatts
HLI-24 | fcu_18_return_air_temperature_sensor | degrees_celsius |  | electricalgrid_energy_accumulator_41 | kilowatt_hours: kilowatt_hours
HLI-24 | fcu_19_discharge_fan_run_command | no_units |  | generator_energy_accumulator_41 | kilowatt_hours: kilowatt_hours
HLI-24 | fcu_19_discharge_fan_run_status | no_units |  | energy_accumulator_41 | kilowatt_hours: kilowatt_hours
HLI-24 | fcu_19_failed_discharge_fan_alarm | no_units |  | average_line_current_sensor_42 | amperes: amperes
HLI-24 | fcu_19_discharge_fan_run_time_accumulator | hours |  | average_line_neutral_voltage_sensor_42 | volts: volts
HLI-24 | fcu_19_return_air_temperature_setpoint | degrees_celsius |  | line_frequency_sensor_42 | hertz: hertz
HLI-24 | fcu_19_return_air_temperature_sensor | degrees_celsius |  | powerfactor_sensor_42 | no_units: no_units
HLI-24 | fcu_20_discharge_fan_run_command | no_units |  | power_sensor_42 | kilowatts: kilowatts
HLI-24 | fcu_20_discharge_fan_run_status | no_units |  | electricalgrid_energy_accumulator_42 | kilowatt_hours: kilowatt_hours
HLI-24 | fcu_20_failed_discharge_fan_alarm | no_units |  | generator_energy_accumulator_42 | kilowatt_hours: kilowatt_hours
HLI-24 | fcu_20_discharge_fan_run_time_accumulator | hours |  | energy_accumulator_42 | kilowatt_hours: kilowatt_hours
HLI-24 | fcu_20_return_air_temperature_setpoint | degrees_celsius |  | average_line_current_sensor_43 | amperes: amperes
HLI-24 | fcu_20_return_air_temperature_sensor | degrees_celsius |  | average_line_neutral_voltage_sensor_43 | volts: volts
HLI-24 | fcu_21_discharge_fan_run_command | no_units |  | line_frequency_sensor_43 | hertz: hertz
HLI-24 | fcu_21_discharge_fan_run_status | no_units |  | powerfactor_sensor_43 | no_units: no_units
HLI-24 | fcu_21_failed_discharge_fan_alarm | no_units |  | power_sensor_43 | kilowatts: kilowatts
HLI-24 | fcu_21_discharge_fan_run_time_accumulator | hours |  | electricalgrid_energy_accumulator_43 | kilowatt_hours: kilowatt_hours
HLI-24 | fcu_21_return_air_temperature_setpoint | degrees_celsius |  | generator_energy_accumulator_43 | kilowatt_hours: kilowatt_hours
HLI-24 | fcu_21_return_air_temperature_sensor | degrees_celsius |  | energy_accumulator_43 | kilowatt_hours: kilowatt_hours
HLI-24 | fcu_22_discharge_fan_run_command | no_units |  | average_line_current_sensor_44 | amperes: amperes
HLI-24 | fcu_22_discharge_fan_run_status | no_units |  | average_line_neutral_voltage_sensor_44 | volts: volts
HLI-24 | fcu_22_failed_discharge_fan_alarm | no_units |  | line_frequency_sensor_44 | hertz: hertz
HLI-24 | fcu_22_discharge_fan_run_time_accumulator | hours |  | powerfactor_sensor_44 | no_units: no_units
HLI-24 | fcu_22_return_air_temperature_setpoint | degrees_celsius |  | power_sensor_44 | kilowatts: kilowatts
HLI-24 | fcu_22_return_air_temperature_sensor | degrees_celsius |  | electricalgrid_energy_accumulator_44 | kilowatt_hours: kilowatt_hours
HLI-24 | fcu_23_discharge_fan_run_command | no_units |  | generator_energy_accumulator_44 | kilowatt_hours: kilowatt_hours
HLI-24 | fcu_23_discharge_fan_run_status | no_units |  | energy_accumulator_44 | kilowatt_hours: kilowatt_hours
HLI-24 | fcu_23_failed_discharge_fan_alarm | no_units |  | average_line_current_sensor_45 | amperes: amperes
HLI-24 | fcu_23_discharge_fan_run_time_accumulator | hours |  | average_line_neutral_voltage_sensor_45 | volts: volts
HLI-24 | fcu_23_return_air_temperature_setpoint | degrees_celsius |  | line_frequency_sensor_45 | hertz: hertz
HLI-24 | fcu_23_return_air_temperature_sensor | degrees_celsius |  | powerfactor_sensor_45 | no_units: no_units
HLI-24 | fcu_24_discharge_fan_run_command | no_units |  | power_sensor_45 | kilowatts: kilowatts
HLI-24 | fcu_24_discharge_fan_run_status | no_units |  | electricalgrid_energy_accumulator_45 | kilowatt_hours: kilowatt_hours
HLI-24 | fcu_24_failed_discharge_fan_alarm | no_units |  | generator_energy_accumulator_45 | kilowatt_hours: kilowatt_hours
HLI-24 | fcu_24_discharge_fan_run_time_accumulator | hours |  | energy_accumulator_45 | kilowatt_hours: kilowatt_hours
HLI-24 | fcu_24_return_air_temperature_setpoint | degrees_celsius |  | average_line_current_sensor_46 | amperes: amperes
HLI-24 | fcu_24_return_air_temperature_sensor | degrees_celsius |  | average_line_neutral_voltage_sensor_46 | volts: volts
HLI-24 | fcu_25_discharge_fan_run_command | no_units |  | line_frequency_sensor_46 | hertz: hertz
HLI-24 | fcu_25_discharge_fan_run_status | no_units |  | powerfactor_sensor_46 | no_units: no_units
HLI-24 | fcu_25_failed_discharge_fan_alarm | no_units |  | power_sensor_46 | kilowatts: kilowatts
HLI-24 | fcu_25_discharge_fan_run_time_accumulator | hours |  | electricalgrid_energy_accumulator_46 | kilowatt_hours: kilowatt_hours
HLI-24 | fcu_25_return_air_temperature_setpoint | degrees_celsius |  | generator_energy_accumulator_46 | kilowatt_hours: kilowatt_hours
HLI-24 | fcu_25_return_air_temperature_sensor | degrees_celsius |  | energy_accumulator_46 | kilowatt_hours: kilowatt_hours
HLI-24 | fcu_26_discharge_fan_run_command | no_units |  | average_line_current_sensor_47 | amperes: amperes
HLI-24 | fcu_26_discharge_fan_run_status | no_units |  | average_line_neutral_voltage_sensor_47 | volts: volts
HLI-24 | fcu_26_failed_discharge_fan_alarm | no_units |  | line_frequency_sensor_47 | hertz: hertz
HLI-24 | fcu_26_discharge_fan_run_time_accumulator | hours |  | powerfactor_sensor_47 | no_units: no_units
HLI-24 | fcu_26_return_air_temperature_setpoint | degrees_celsius |  | power_sensor_47 | kilowatts: kilowatts
HLI-24 | fcu_26_return_air_temperature_sensor | degrees_celsius |  | electricalgrid_energy_accumulator_47 | kilowatt_hours: kilowatt_hours
HLI-24 | fcu_27_discharge_fan_run_command | no_units |  | generator_energy_accumulator_47 | kilowatt_hours: kilowatt_hours
HLI-24 | fcu_27_discharge_fan_run_status | no_units |  | energy_accumulator_47 | kilowatt_hours: kilowatt_hours
HLI-24 | fcu_27_failed_discharge_fan_alarm | no_units |  | average_line_current_sensor_48 | amperes: amperes
HLI-24 | fcu_27_discharge_fan_run_time_accumulator | hours |  | average_line_neutral_voltage_sensor_48 | volts: volts
HLI-24 | fcu_27_return_air_temperature_setpoint | degrees_celsius |  | line_frequency_sensor_48 | hertz: hertz
HLI-24 | fcu_27_return_air_temperature_sensor | degrees_celsius |  | powerfactor_sensor_48 | no_units: no_units
HLI-24 | fcu_28_discharge_fan_run_command | no_units |  | power_sensor_48 | kilowatts: kilowatts
HLI-24 | fcu_28_discharge_fan_run_status | no_units |  | electricalgrid_energy_accumulator_48 | kilowatt_hours: kilowatt_hours
HLI-24 | fcu_28_failed_discharge_fan_alarm | no_units |  | generator_energy_accumulator_48 | kilowatt_hours: kilowatt_hours
HLI-24 | fcu_28_discharge_fan_run_time_accumulator | hours |  | energy_accumulator_48 | kilowatt_hours: kilowatt_hours
HLI-24 | fcu_28_return_air_temperature_setpoint | degrees_celsius |  | average_line_current_sensor_49 | amperes: amperes
HLI-24 | fcu_28_return_air_temperature_sensor | degrees_celsius |  | average_line_neutral_voltage_sensor_49 | volts: volts
HLI-24 | fcu_29_discharge_fan_run_command | no_units |  | line_frequency_sensor_49 | hertz: hertz
HLI-24 | fcu_29_discharge_fan_run_status | no_units |  | powerfactor_sensor_49 | no_units: no_units
HLI-24 | fcu_29_failed_discharge_fan_alarm | no_units |  | power_sensor_49 | kilowatts: kilowatts
HLI-24 | fcu_29_discharge_fan_run_time_accumulator | hours |  | electricalgrid_energy_accumulator_49 | kilowatt_hours: kilowatt_hours
HLI-24 | fcu_29_return_air_temperature_setpoint | degrees_celsius |  | generator_energy_accumulator_49 | kilowatt_hours: kilowatt_hours
HLI-24 | fcu_29_return_air_temperature_sensor | degrees_celsius |  | energy_accumulator_49 | kilowatt_hours: kilowatt_hours
HLI-24 | fcu_30_discharge_fan_run_command | no_units |  | average_line_current_sensor_50 | amperes: amperes
HLI-24 | fcu_30_discharge_fan_run_status | no_units |  | average_line_neutral_voltage_sensor_50 | volts: volts
HLI-24 | fcu_30_failed_discharge_fan_alarm | no_units |  | line_frequency_sensor_50 | hertz: hertz
HLI-24 | fcu_30_discharge_fan_run_time_accumulator | hours |  | powerfactor_sensor_50 | no_units: no_units
HLI-24 | fcu_30_return_air_temperature_setpoint | degrees_celsius |  | power_sensor_50 | kilowatts: kilowatts
HLI-24 | fcu_30_return_air_temperature_sensor | degrees_celsius |  | electricalgrid_energy_accumulator_50 | kilowatt_hours: kilowatt_hours
HLI-24 | fcu_31_discharge_fan_run_command | no_units |  | generator_energy_accumulator_50 | kilowatt_hours: kilowatt_hours
HLI-24 | fcu_31_discharge_fan_run_status | no_units |  | energy_accumulator_50 | kilowatt_hours: kilowatt_hours
HLI-24 | fcu_31_failed_discharge_fan_alarm | no_units |  | average_line_current_sensor_51 | amperes: amperes
HLI-24 | fcu_31_discharge_fan_run_time_accumulator | hours |  | average_line_neutral_voltage_sensor_51 | volts: volts
HLI-24 | fcu_31_return_air_temperature_setpoint | degrees_celsius |  | line_frequency_sensor_51 | hertz: hertz
HLI-24 | fcu_31_return_air_temperature_sensor | degrees_celsius |  | powerfactor_sensor_51 | no_units: no_units
HLI-24 | fcu_32_discharge_fan_run_command | no_units |  | power_sensor_51 | kilowatts: kilowatts
HLI-24 | fcu_32_discharge_fan_run_status | no_units |  | electricalgrid_energy_accumulator_51 | kilowatt_hours: kilowatt_hours
HLI-24 | fcu_32_failed_discharge_fan_alarm | no_units |  | generator_energy_accumulator_51 | kilowatt_hours: kilowatt_hours
HLI-24 | fcu_32_discharge_fan_run_time_accumulator | hours |  | energy_accumulator_51 | kilowatt_hours: kilowatt_hours
HLI-24 | fcu_32_return_air_temperature_setpoint | degrees_celsius |  | average_line_current_sensor_52 | amperes: amperes
HLI-24 | fcu_32_return_air_temperature_sensor | degrees_celsius |  | average_line_neutral_voltage_sensor_52 | volts: volts

## virtual_device_entities
virtual_points_type | device_points_type | dbo.source_device_field | dbo.virtual_device_field | dbo.abstracts
EM-01 | HLI-9 | average_line_current_sensor_01 | average_line_current_sensor
EM-01 | HLI-9 | average_line_neutral_voltage_sensor_01 | average_line_neutral_voltage_sensor
EM-01 | HLI-9 | line_frequency_sensor_01 | line_frequency_sensor
EM-01 | HLI-9 | powerfactor_sensor_01 | powerfactor_sensor
EM-01 | HLI-9 | power_sensor_01 | power_sensor
EM-01 | HLI-9 | electricalgrid_energy_accumulator_01 | electricalgrid_energy_accumulator
EM-01 | HLI-9 | generator_energy_accumulator_01 | generator_energy_accumulator
EM-01 | HLI-9 | energy_accumulator_01 | energy_accumulator

## asset_template
entity_instance_name | udmi.system.location.site | udmi.pointset.points | udmi.system.location.section | udmi.system.location.position.x | udmi.system.location.position.y | udmi.system.location.position.z | udmi.physical_tag.asset.guid | udmi.physical_tag.asset.site | udmi.physical_tag.asset.name | udmi.cloud.auth_type | dbo.devices_or_virtual_devices | dbo.type | dbo.connections.feeds | dbo.connections.controls | dbo.links | dbo.links.points | location | reporting_device