## locations
dbo.section | dbo.entity_name | dbo.type | dbo.connections.contains
Buildings | IN-GUR-SIGD | FACILITIES/BUILDING
Floors | IN-GUR-SIGD_FL1 | FACILITIES/FLOOR | IN-GUR-SIGD
Rooms | IN-GUR-SIGD_RM1 | FACILITIES/ROOM | IN-GUR-SIGD_FL1
Zones | IN-GUR-SIGD_ZN1 | HVAC/ZONE | IN-GUR-SIGD_RM1
Rooms | IN-GUR-SIGD_RM2 | FACILITIES/ROOM | IN-GUR-SIGD_ZN1
Zones | IN-GUR-SIGD_ZN2 | HVAC/ZONE | IN-GUR-SIGD_RM2

## assets
entity_instance_name | udmi.version | udmi.timestamp | udmi.system.location.site | udmi.system.location.section | udmi.system.location.position.x | udmi.system.location.position.y | udmi.system.location.position.z | udmi.physical_tag.asset.guid | udmi.physical_tag.asset.site | udmi.physical_tag.asset.name | udmi.pointset.points | udmi.cloud.auth_type | dbo.devices_or_virtual_devices | dbo.type | dbo.cloud_device_id | dbo.connections.feeds | dbo.connections.controls | dbo.links | dbo.links.points | Location | Reporting Device
HLI-43 | 1.4.1 | 2023-01-30T09:03:43Z | IN-BLR-BCPWK | 5F-AHU-RM | 10 | 10 | 10 | 3ACquHUrjAkTDgBKbKWyWdHyZabqYVkKk9 | IN-BLR-BCPWK | HLI-43 | HLI-43 | RS256 | Device | GATEWAY/PASSTHROUGH |  |  |  |  | HLI-43

## device_entities
points_type | udmi.pointset.points | udmi.pointset.units | dbo.states | dbo.translation.fields | dbo.translation.units | dbo.abstracts
HLI-43 | zone_air_co2_concentartion_sensor_36 | parts_per_million |  | zone_air_co2_concentartion_sensor_36 | parts_per_million: parts_per_million
HLI-43 | zone_air_temperature_sensor_36 | degrees_celsius | true=ON false=OFF | zone_air_temperature_sensor_36 | degrees_celsius: degrees_celsius
HLI-43 | zone_air_relative_humidity_sensor_36 | percent_relative_humidity | true= ACTIVE false= INACTIVE | zone_air_relative_humidity_sensor_36 | percent_relative_humidity: percent_relative_humidity
HLI-43 | zone_air_formaldehyde_concentration_sensor_36 | parts_per_million |  | zone_air_formaldehyde_concentration_sensor_36 | parts_per_million: parts_per_million
HLI-43 | zone_air_pm2pt5_concentration_sensor_36 | parts_per_million |  | zone_air_pm2pt5_concentration_sensor_36 | parts_per_million: parts_per_million
HLI-43 | zone_air_co2_concentartion_sensor_37 | parts_per_million |  | zone_air_co2_concentartion_sensor_37 | parts_per_million: parts_per_million
HLI-43 | zone_air_temperature_sensor_37 | degrees_celsius |  | zone_air_temperature_sensor_37 | degrees_celsius: degrees_celsius
HLI-43 | zone_air_relative_humidity_sensor_37 | percent_relative_humidity |  | zone_air_relative_humidity_sensor_37 | percent_relative_humidity: percent_relative_humidity
HLI-43 | zone_air_formaldehyde_concentration_sensor_37 | parts_per_million |  | zone_air_formaldehyde_concentration_sensor_37 | parts_per_million: parts_per_million
HLI-43 | zone_air_pm2pt5_concentration_sensor_37 | parts_per_million |  | zone_air_pm2pt5_concentration_sensor_37 | parts_per_million: parts_per_million
HLI-43 | zone_air_co2_concentartion_sensor_38 | parts_per_million |  | zone_air_co2_concentartion_sensor_38 | parts_per_million: parts_per_million
HLI-43 | zone_air_temperature_sensor_38 | degrees_celsius |  | zone_air_temperature_sensor_38 | degrees_celsius: degrees_celsius
HLI-43 | zone_air_relative_humidity_sensor_38 | percent_relative_humidity |  | zone_air_relative_humidity_sensor_38 | percent_relative_humidity: percent_relative_humidity
HLI-43 | zone_air_formaldehyde_concentration_sensor_38 | parts_per_million |  | zone_air_formaldehyde_concentration_sensor_38 | parts_per_million: parts_per_million
HLI-43 | zone_air_pm2pt5_concentration_sensor_38 | parts_per_million |  | zone_air_pm2pt5_concentration_sensor_38 | parts_per_million: parts_per_million
HLI-43 | zone_air_co2_concentartion_sensor_39 | parts_per_million |  | zone_air_co2_concentartion_sensor_39 | parts_per_million: parts_per_million
HLI-43 | zone_air_temperature_sensor_39 | degrees_celsius |  | zone_air_temperature_sensor_39 | degrees_celsius: degrees_celsius
HLI-43 | zone_air_relative_humidity_sensor_39 | percent_relative_humidity |  | zone_air_relative_humidity_sensor_39 | percent_relative_humidity: percent_relative_humidity
HLI-43 | zone_air_formaldehyde_concentration_sensor_39 | parts_per_million |  | zone_air_formaldehyde_concentration_sensor_39 | parts_per_million: parts_per_million
HLI-43 | zone_air_pm2pt5_concentration_sensor_39 | parts_per_million |  | zone_air_pm2pt5_concentration_sensor_39 | parts_per_million: parts_per_million
HLI-43 | zone_air_co2_concentartion_sensor_40 | parts_per_million |  | zone_air_co2_concentartion_sensor_40 | parts_per_million: parts_per_million
HLI-43 | zone_air_temperature_sensor_40 | degrees_celsius |  | zone_air_temperature_sensor_40 | degrees_celsius: degrees_celsius
HLI-43 | zone_air_relative_humidity_sensor_40 | percent_relative_humidity |  | zone_air_relative_humidity_sensor_40 | percent_relative_humidity: percent_relative_humidity
HLI-43 | zone_air_formaldehyde_concentration_sensor_40 | parts_per_million |  | zone_air_formaldehyde_concentration_sensor_40 | parts_per_million: parts_per_million
HLI-43 | zone_air_pm2pt5_concentration_sensor_40 | parts_per_million |  | zone_air_pm2pt5_concentration_sensor_40 | parts_per_million: parts_per_million
HLI-43 | zone_air_co2_concentartion_sensor_41 | parts_per_million |  | zone_air_co2_concentartion_sensor_41 | parts_per_million: parts_per_million
HLI-43 | zone_air_temperature_sensor_41 | degrees_celsius |  | zone_air_temperature_sensor_41 | degrees_celsius: degrees_celsius
HLI-43 | zone_air_relative_humidity_sensor_41 | percent_relative_humidity |  | zone_air_relative_humidity_sensor_41 | percent_relative_humidity: percent_relative_humidity
HLI-43 | zone_air_formaldehyde_concentration_sensor_41 | parts_per_million |  | zone_air_formaldehyde_concentration_sensor_41 | parts_per_million: parts_per_million
HLI-43 | zone_air_pm2pt5_concentration_sensor_41 | parts_per_million |  | zone_air_pm2pt5_concentration_sensor_41 | parts_per_million: parts_per_million
HLI-43 | zone_air_co2_concentartion_sensor_42 | parts_per_million |  | zone_air_co2_concentartion_sensor_42 | parts_per_million: parts_per_million
HLI-43 | zone_air_temperature_sensor_42 | degrees_celsius |  | zone_air_temperature_sensor_42 | degrees_celsius: degrees_celsius
HLI-43 | zone_air_relative_humidity_sensor_42 | percent_relative_humidity |  | zone_air_relative_humidity_sensor_42 | percent_relative_humidity: percent_relative_humidity
HLI-43 | zone_air_formaldehyde_concentration_sensor_42 | parts_per_million |  | zone_air_formaldehyde_concentration_sensor_42 | parts_per_million: parts_per_million
HLI-43 | zone_air_pm2pt5_concentration_sensor_42 | parts_per_million |  | zone_air_pm2pt5_concentration_sensor_42 | parts_per_million: parts_per_million
HLI-43 | zone_air_co2_concentartion_sensor_43 | parts_per_million |  | zone_air_co2_concentartion_sensor_43 | parts_per_million: parts_per_million
HLI-43 | zone_air_temperature_sensor_43 | degrees_celsius |  | zone_air_temperature_sensor_43 | degrees_celsius: degrees_celsius
HLI-43 | zone_air_relative_humidity_sensor_43 | percent_relative_humidity |  | zone_air_relative_humidity_sensor_43 | percent_relative_humidity: percent_relative_humidity
HLI-43 | zone_air_formaldehyde_concentration_sensor_43 | parts_per_million |  | zone_air_formaldehyde_concentration_sensor_43 | parts_per_million: parts_per_million
HLI-43 | zone_air_pm2pt5_concentration_sensor_43 | parts_per_million |  | zone_air_pm2pt5_concentration_sensor_43 | parts_per_million: parts_per_million
HLI-43 | zone_air_co2_concentartion_sensor_44 | parts_per_million |  | zone_air_co2_concentartion_sensor_44 | parts_per_million: parts_per_million
HLI-43 | zone_air_temperature_sensor_44 | degrees_celsius |  | zone_air_temperature_sensor_44 | degrees_celsius: degrees_celsius
HLI-43 | zone_air_relative_humidity_sensor_44 | percent_relative_humidity |  | zone_air_relative_humidity_sensor_44 | percent_relative_humidity: percent_relative_humidity
HLI-43 | zone_air_formaldehyde_concentration_sensor_44 | parts_per_million |  | zone_air_formaldehyde_concentration_sensor_44 | parts_per_million: parts_per_million
HLI-43 | zone_air_pm2pt5_concentration_sensor_44 | parts_per_million |  | zone_air_pm2pt5_concentration_sensor_44 | parts_per_million: parts_per_million
HLI-43 | zone_air_co2_concentartion_sensor_45 | parts_per_million |  | zone_air_co2_concentartion_sensor_45 | parts_per_million: parts_per_million
HLI-43 | zone_air_temperature_sensor_45 | degrees_celsius |  | zone_air_temperature_sensor_45 | degrees_celsius: degrees_celsius
HLI-43 | zone_air_relative_humidity_sensor_45 | percent_relative_humidity |  | zone_air_relative_humidity_sensor_45 | percent_relative_humidity: percent_relative_humidity
HLI-43 | zone_air_formaldehyde_concentration_sensor_45 | parts_per_million |  | zone_air_formaldehyde_concentration_sensor_45 | parts_per_million: parts_per_million
HLI-43 | zone_air_pm2pt5_concentration_sensor_45 | parts_per_million |  | zone_air_pm2pt5_concentration_sensor_45 | parts_per_million: parts_per_million
HLI-43 | zone_air_co2_concentartion_sensor_46 | parts_per_million |  | zone_air_co2_concentartion_sensor_46 | parts_per_million: parts_per_million
HLI-43 | zone_air_temperature_sensor_46 | degrees_celsius |  | zone_air_temperature_sensor_46 | degrees_celsius: degrees_celsius
HLI-43 | zone_air_relative_humidity_sensor_46 | percent_relative_humidity |  | zone_air_relative_humidity_sensor_46 | percent_relative_humidity: percent_relative_humidity
HLI-43 | zone_air_formaldehyde_concentration_sensor_46 | parts_per_million |  | zone_air_formaldehyde_concentration_sensor_46 | parts_per_million: parts_per_million
HLI-43 | zone_air_pm2pt5_concentration_sensor_46 | parts_per_million |  | zone_air_pm2pt5_concentration_sensor_46 | parts_per_million: parts_per_million

## virtual_device_entities
virtual_points_type | device_points_type | dbo.source_device_field | dbo.virtual_device_field | dbo.abstracts
EM-01 | HLI-9 | average_line_current_sensor_01 | average_line_current_sensor
EM-01 | HLI-9 | average_line_neutral_voltage_sensor_01 | average_line_neutral_voltage_sensor
EM-01 | HLI-9 | line_frequency_sensor_01 | line_frequency_sensor
EM-01 | HLI-9 | powerfactor_sensor_01 | powerfactor_sensor
EM-01 | HLI-9 | power_sensor_01 | power_sensor
EM-01 | HLI-9 | electricalgrid_energy_accumulator_01 | electricalgrid_energy_accumulator
EM-01 | HLI-9 | generator_energy_accumulator_01 | generator_energy_accumulator
EM-01 | HLI-9 | energy_accumulator_01 | energy_accumulator

## asset_template
entity_instance_name | udmi.system.location.site | udmi.pointset.points | udmi.system.location.section | udmi.system.location.position.x | udmi.system.location.position.y | udmi.system.location.position.z | udmi.physical_tag.asset.guid | udmi.physical_tag.asset.site | udmi.physical_tag.asset.name | udmi.cloud.auth_type | dbo.devices_or_virtual_devices | dbo.type | dbo.connections.feeds | dbo.connections.controls | dbo.links | dbo.links.points | location | reporting_device