## locations
dbo.section | dbo.entity_name | dbo.type | dbo.connections.contains
Buildings | IN-GUR-SIGD | FACILITIES/BUILDING
Floors | IN-GUR-SIGD_FL1 | FACILITIES/FLOOR | IN-GUR-SIGD
Rooms | IN-GUR-SIGD_RM1 | FACILITIES/ROOM | IN-GUR-SIGD_FL1
Zones | IN-GUR-SIGD_ZN1 | HVAC/ZONE | IN-GUR-SIGD_RM1
Rooms | IN-GUR-SIGD_RM2 | FACILITIES/ROOM | IN-GUR-SIGD_ZN1
Zones | IN-GUR-SIGD_ZN2 | HVAC/ZONE | IN-GUR-SIGD_RM2

## assets
entity_instance_name | udmi.version | udmi.timestamp | udmi.system.location.site | udmi.system.location.section | udmi.system.location.position.x | udmi.system.location.position.y | udmi.system.location.position.z | udmi.physical_tag.asset.guid | udmi.physical_tag.asset.site | udmi.physical_tag.asset.name | udmi.pointset.points | udmi.cloud.auth_type | dbo.devices_or_virtual_devices | dbo.type | dbo.cloud_device_id | dbo.connections.feeds | dbo.connections.controls | dbo.links | dbo.links.points | Location | Reporting Device
HLI-11 | 1.4.1 | 2022-12-05T09:03:43Z | IN-BLR-BCPWK | UB-MMR-ROOM | 10 | 10 | 10 | 5a1308f2-dd8b-4da3-8d81-2dd3f840f5ff | IN-BLR-BCPWK | HLI-11 | HLI-11 | RS256_X509 | Device | GATEWAYS/PASSTHROUGH | 2772973352702644 |  |  |  | HLI-11
HLI-42 | 1.4.1 | 2022-12-05T09:03:43Z | IN-BLR-BCPWK | 5F-AHU-SOUTH | 10 | 10 | 10 | 77d65218-b084-4ddd-8345-4c12172afe76 | IN-BLR-BCPWK | HLI-42 | HLI-42 | RS256_X509 | Device | GATEWAYS/PASSTHROUGH | 2600199863144997 |  |  |  | HLI-42
HLI-24 | 1.4.1 | 2022-12-05T09:03:43Z | IN-BLR-BCPWK | 3F-AHU-NORTH | 10 | 10 | 10 | b79bc4d0-103f-4b81-8f11-09e7cef082b4 | IN-BLR-BCPWK | HLI-24 | HLI-24 | RS256_X509 | Device | GATEWAYS/PASSTHROUGH | 2602488283706090 |  |  |  | HLI-24

## device_entities
points_type | udmi.pointset.points | udmi.pointset.units | dbo.states | dbo.translation.fields | dbo.translation.units | dbo.abstracts
HLI-11 | crac01_return_air_temperature_sen | degrees_celsius |  | return_air_temperature_sen_01 | degrees_celsius: degrees_celsius
HLI-11 | crac01_return_air_relative_humidity_sen | percent_relative_humidity |  | return_air_relative_humidity_sen_01 | percent_relative_humidity: percent_relative_humidity
HLI-11 | crac01_discharge_fan_run_status | no_units | true=ON false=OFF | discharge_fan_run_status_01
HLI-11 | crac01_compressor_run_status | no_units | true=ON false=OFF | compressor_run_status_01
HLI-11 | crac01_filter_alarm | no_units | true=ACTIVE false=INACTIVE | filter_alarm_01
HLI-11 | crac01_master_alarm | no_units | true=ACTIVE false=INACTIVE | master_alarm_01
HLI-11 | crac01_water_leak_alarm | no_units | true=ACTIVE false=INACTIVE | water_leak_alarm_01
HLI-11 | crac01_discharge_air_temperature_sensor | degrees_celsius |  | discharge_air_temperature_sensor_01 | degrees_celsius: degrees_celsius
HLI-11 | crac01_return_air_temperature_setpoint | degrees_celsius |  | return_air_temperature_setpoint_01 | degrees_celsius: degrees_celsius
HLI-11 | crac01_return_air_relative_humidity_setpoint | percent_relative_humidity |  | return_air_relative_humidity_setpoint_01 | percent_relative_humidity: percent_relative_humidity
HLI-11 | crac02_return_air_temperature_sen | degrees_celsius |  | return_air_temperature_sen_02 | degrees_celsius: degrees_celsius
HLI-11 | crac02_return_air_relative_humidity_sen | percent_relative_humidity |  | return_air_relative_humidity_sen_02 | percent_relative_humidity: percent_relative_humidity
HLI-11 | crac02_discharge_fan_run_status | no_units |  | discharge_fan_run_status_02
HLI-11 | crac02_compressor_run_status | no_units |  | compressor_run_status_02
HLI-11 | crac02_filter_alarm | no_units |  | filter_alarm_02
HLI-11 | crac02_master_alarm | no_units |  | master_alarm_02
HLI-11 | crac02_water_leak_alarm | no_units |  | water_leak_alarm_02
HLI-11 | crac02_discharge_air_temperature_sensor | degrees_celsius |  | discharge_air_temperature_sensor_02 | degrees_celsius: degrees_celsius
HLI-11 | crac02_return_air_temperature_setpoint | degrees_celsius |  | return_air_temperature_setpoint_02 | degrees_celsius: degrees_celsius
HLI-11 | crac02_return_air_relative_humidity_setpoint | percent_relative_humidity |  | return_air_relative_humidity_setpoint_02 | percent_relative_humidity: percent_relative_humidity
HLI-11 | crac03_return_air_temperature_sen | degrees_celsius |  | return_air_temperature_sen_03 | degrees_celsius: degrees_celsius
HLI-11 | crac03_return_air_relative_humidity_sen | percent_relative_humidity |  | return_air_relative_humidity_sen_03 | percent_relative_humidity: percent_relative_humidity
HLI-11 | crac03_discharge_fan_run_status | no_units |  | discharge_fan_run_status_03
HLI-11 | crac03_compressor_run_status | no_units |  | compressor_run_status_03
HLI-11 | crac03_filter_alarm | no_units |  | filter_alarm_03
HLI-11 | crac03_master_alarm | no_units |  | master_alarm_03
HLI-11 | crac03_water_leak_alarm | no_units |  | water_leak_alarm_03
HLI-11 | crac03_discharge_air_temperature_sensor | degrees_celsius |  | discharge_air_temperature_sensor_03 | degrees_celsius: degrees_celsius
HLI-11 | crac03_return_air_temperature_setpoint | degrees_celsius |  | return_air_temperature_setpoint_03 | degrees_celsius: degrees_celsius
HLI-11 | crac03_return_air_relative_humidity_setpoint | percent_relative_humidity |  | return_air_relative_humidity_setpoint_03 | percent_relative_humidity: percent_relative_humidity
HLI-11 | crac04_return_air_temperature_sen | degrees_celsius |  | return_air_temperature_sen_04 | degrees_celsius: degrees_celsius
HLI-11 | crac04_return_air_relative_humidity_sen | percent_relative_humidity |  | return_air_relative_humidity_sen_04 | percent_relative_humidity: percent_relative_humidity
HLI-11 | crac04_discharge_fan_run_status | no_units |  | discharge_fan_run_status_04
HLI-11 | crac04_compressor_run_status | no_units |  | compressor_run_status_04
HLI-11 | crac04_filter_alarm | no_units |  | filter_alarm_04
HLI-11 | crac04_master_alarm | no_units |  | master_alarm_04
HLI-11 | crac04_water_leak_alarm | no_units |  | water_leak_alarm_04
HLI-11 | crac04_discharge_air_temperature_sensor | degrees_celsius |  | discharge_air_temperature_sensor_04 | degrees_celsius: degrees_celsius
HLI-11 | crac04_return_air_temperature_setpoint | degrees_celsius |  | return_air_temperature_setpoint_04 | degrees_celsius: degrees_celsius
HLI-11 | crac04_return_air_relative_humidity_setpoint | percent_relative_humidity |  | return_air_relative_humidity_setpoint_04 | percent_relative_humidity: percent_relative_humidity
HLI-11 | crac05_return_air_temperature_sen | degrees_celsius |  | return_air_temperature_sen_05 | degrees_celsius: degrees_celsius
HLI-11 | crac05_return_air_relative_humidity_sen | percent_relative_humidity |  | return_air_relative_humidity_sen_05 | percent_relative_humidity: percent_relative_humidity
HLI-11 | crac05_discharge_fan_run_status | no_units |  | discharge_fan_run_status_05
HLI-11 | crac05_compressor_run_status | no_units |  | compressor_run_status_05
HLI-11 | crac05_filter_alarm | no_units |  | filter_alarm_05
HLI-11 | crac05_master_alarm | no_units |  | master_alarm_05
HLI-11 | crac05_water_leak_alarm | no_units |  | water_leak_alarm_05
HLI-11 | crac05_discharge_air_temperature_sensor | degrees_celsius |  | discharge_air_temperature_sensor_05 | degrees_celsius: degrees_celsius
HLI-11 | crac05_return_air_temperature_setpoint | degrees_celsius |  | return_air_temperature_setpoint_05 | degrees_celsius: degrees_celsius
HLI-11 | crac05_return_air_relative_humidity_setpoint | percent_relative_humidity |  | return_air_relative_humidity_setpoint_05 | percent_relative_humidity: percent_relative_humidity
HLI-11 | crac06_return_air_temperature_sen | degrees_celsius |  | return_air_temperature_sen_06 | degrees_celsius: degrees_celsius
HLI-11 | crac06_return_air_relative_humidity_sen | percent_relative_humidity |  | return_air_relative_humidity_sen_06 | percent_relative_humidity: percent_relative_humidity
HLI-11 | crac06_discharge_fan_run_status | no_units |  | discharge_fan_run_status_06
HLI-11 | crac06_compressor_run_status | no_units |  | compressor_run_status_06
HLI-11 | crac06_filter_alarm | no_units |  | filter_alarm_06
HLI-11 | crac06_master_alarm | no_units |  | master_alarm_06
HLI-11 | crac06_water_leak_alarm | no_units |  | water_leak_alarm_06
HLI-11 | crac06_discharge_air_temperature_sensor | degrees_celsius |  | discharge_air_temperature_sensor_06 | degrees_celsius: degrees_celsius
HLI-11 | crac06_return_air_temperature_setpoint | degrees_celsius |  | return_air_temperature_setpoint_06 | degrees_celsius: degrees_celsius
HLI-11 | crac06_return_air_relative_humidity_setpoint | percent_relative_humidity |  | return_air_relative_humidity_setpoint_06 | percent_relative_humidity: percent_relative_humidity
HLI-11 | crac07_return_air_temperature_sen | degrees_celsius |  | return_air_temperature_sen_07 | degrees_celsius: degrees_celsius
HLI-11 | crac07_return_air_relative_humidity_sen | percent_relative_humidity |  | return_air_relative_humidity_sen_07 | percent_relative_humidity: percent_relative_humidity
HLI-11 | crac07_discharge_fan_run_status | no_units |  | discharge_fan_run_status_07
HLI-11 | crac07_compressor_run_status | no_units |  | compressor_run_status_07
HLI-11 | crac07_filter_alarm | no_units |  | filter_alarm_07
HLI-11 | crac07_master_alarm | no_units |  | master_alarm_07
HLI-11 | crac07_water_leak_alarm | no_units |  | water_leak_alarm_07
HLI-11 | crac07_discharge_air_temperature_sensor | degrees_celsius |  | discharge_air_temperature_sensor_07 | degrees_celsius: degrees_celsius
HLI-11 | crac07_return_air_temperature_setpoint | degrees_celsius |  | return_air_temperature_setpoint_07 | degrees_celsius: degrees_celsius
HLI-11 | crac07_return_air_relative_humidity_setpoint | percent_relative_humidity |  | return_air_relative_humidity_setpoint_07 | percent_relative_humidity: percent_relative_humidity
HLI-11 | crac08_return_air_temperature_sen | degrees_celsius |  | return_air_temperature_sen_08 | degrees_celsius: degrees_celsius
HLI-11 | crac08_return_air_relative_humidity_sen | percent_relative_humidity |  | return_air_relative_humidity_sen_08 | percent_relative_humidity: percent_relative_humidity
HLI-11 | crac08_discharge_fan_run_status | no_units |  | discharge_fan_run_status_08
HLI-11 | crac08_compressor_run_status | no_units |  | compressor_run_status_08
HLI-11 | crac08_filter_alarm | no_units |  | filter_alarm_08
HLI-11 | crac08_master_alarm | no_units |  | master_alarm_08
HLI-11 | crac08_water_leak_alarm | no_units |  | water_leak_alarm_08
HLI-11 | crac08_discharge_air_temperature_sensor | degrees_celsius |  | discharge_air_temperature_sensor_08 | degrees_celsius: degrees_celsius
HLI-11 | crac08_return_air_temperature_setpoint | degrees_celsius |  | return_air_temperature_setpoint_08 | degrees_celsius: degrees_celsius
HLI-11 | crac08_return_air_relative_humidity_setpoint | percent_relative_humidity |  | return_air_relative_humidity_setpoint_08 | percent_relative_humidity: percent_relative_humidity
HLI-11 | crac09_return_air_temperature_sen | degrees_celsius |  | return_air_temperature_sen_09 | degrees_celsius: degrees_celsius
HLI-11 | crac09_return_air_relative_humidity_sen | percent_relative_humidity |  | return_air_relative_humidity_sen_09 | percent_relative_humidity: percent_relative_humidity
HLI-11 | crac09_discharge_fan_run_status | no_units |  | discharge_fan_run_status_09
HLI-11 | crac09_compressor_run_status | no_units |  | compressor_run_status_09
HLI-11 | crac09_filter_alarm | no_units |  | filter_alarm_09
HLI-11 | crac09_master_alarm | no_units |  | master_alarm_09
HLI-11 | crac09_water_leak_alarm | no_units |  | water_leak_alarm_09
HLI-11 | crac09_discharge_air_temperature_sensor | degrees_celsius |  | discharge_air_temperature_sensor_09 | degrees_celsius: degrees_celsius
HLI-11 | crac09_return_air_temperature_setpoint | degrees_celsius |  | return_air_temperature_setpoint_09 | degrees_celsius: degrees_celsius
HLI-11 | crac09_return_air_relative_humidity_setpoint | percent_relative_humidity |  | return_air_relative_humidity_setpoint_09 | percent_relative_humidity: percent_relative_humidity
HLI-11 | crac10_return_air_temperature_sen | degrees_celsius |  | return_air_temperature_sen_10 | degrees_celsius: degrees_celsius
HLI-11 | crac10_return_air_relative_humidity_sen | percent_relative_humidity |  | return_air_relative_humidity_sen_10 | percent_relative_humidity: percent_relative_humidity
HLI-11 | crac10_discharge_fan_run_status | no_units |  | discharge_fan_run_status_10
HLI-11 | crac10_compressor_run_status | no_units |  | compressor_run_status_10
HLI-11 | crac10_filter_alarm | no_units |  | filter_alarm_10
HLI-11 | crac10_master_alarm | no_units |  | master_alarm_10
HLI-11 | crac10_water_leak_alarm | no_units |  | water_leak_alarm_10
HLI-11 | crac10_discharge_air_temperature_sensor | degrees_celsius |  | discharge_air_temperature_sensor_10 | degrees_celsius: degrees_celsius
HLI-11 | crac10_return_air_temperature_setpoint | degrees_celsius |  | return_air_temperature_setpoint_10 | degrees_celsius: degrees_celsius
HLI-11 | crac10_return_air_relative_humidity_setpoint | percent_relative_humidity |  | return_air_relative_humidity_setpoint_10 | percent_relative_humidity: percent_relative_humidity
HLI-11 | crac11_return_air_temperature_sen | degrees_celsius |  | return_air_temperature_sen_11 | degrees_celsius: degrees_celsius
HLI-11 | crac11_return_air_relative_humidity_sen | percent_relative_humidity |  | return_air_relative_humidity_sen_11 | percent_relative_humidity: percent_relative_humidity
HLI-11 | crac11_discharge_fan_run_status | no_units |  | discharge_fan_run_status_11
HLI-11 | crac11_compressor_run_status | no_units |  | compressor_run_status_11
HLI-11 | crac11_filter_alarm | no_units |  | filter_alarm_11
HLI-11 | crac11_master_alarm | no_units |  | master_alarm_11
HLI-11 | crac11_water_leak_alarm | no_units |  | water_leak_alarm_11
HLI-11 | crac11_discharge_air_temperature_sensor | degrees_celsius |  | discharge_air_temperature_sensor_11 | degrees_celsius: degrees_celsius
HLI-11 | crac11_return_air_temperature_setpoint | degrees_celsius |  | return_air_temperature_setpoint_11 | degrees_celsius: degrees_celsius
HLI-11 | crac11_return_air_relative_humidity_setpoint | percent_relative_humidity |  | return_air_relative_humidity_setpoint_11 | percent_relative_humidity: percent_relative_humidity
HLI-11 | crac12_return_air_temperature_sen | degrees_celsius |  | return_air_temperature_sen_12 | degrees_celsius: degrees_celsius
HLI-11 | crac12_return_air_relative_humidity_sen | percent_relative_humidity |  | return_air_relative_humidity_sen_12 | percent_relative_humidity: percent_relative_humidity
HLI-11 | crac12_discharge_fan_run_status | no_units |  | discharge_fan_run_status_12
HLI-11 | crac12_compressor_run_status | no_units |  | compressor_run_status_12
HLI-11 | crac12_filter_alarm | no_units |  | filter_alarm_12
HLI-11 | crac12_master_alarm | no_units |  | master_alarm_12
HLI-11 | crac12_water_leak_alarm | no_units |  | water_leak_alarm_12
HLI-11 | crac12_discharge_air_temperature_sensor | degrees_celsius |  | discharge_air_temperature_sensor_12 | degrees_celsius: degrees_celsius
HLI-11 | crac12_return_air_temperature_setpoint | degrees_celsius |  | return_air_temperature_setpoint_12 | degrees_celsius: degrees_celsius
HLI-11 | crac12_return_air_relative_humidity_setpoint | percent_relative_humidity |  | return_air_relative_humidity_setpoint_12 | percent_relative_humidity: percent_relative_humidity
HLI-11 | crac13_return_air_temperature_sen | degrees_celsius |  | return_air_temperature_sen_13 | degrees_celsius: degrees_celsius
HLI-11 | crac13_return_air_relative_humidity_sen | percent_relative_humidity |  | return_air_relative_humidity_sen_13 | percent_relative_humidity: percent_relative_humidity
HLI-11 | crac13_discharge_fan_run_status | no_units |  | discharge_fan_run_status_13
HLI-11 | crac13_compressor_run_status | no_units |  | compressor_run_status_13
HLI-11 | crac13_filter_alarm | no_units |  | filter_alarm_13
HLI-11 | crac13_master_alarm | no_units |  | master_alarm_13
HLI-11 | crac13_water_leak_alarm | no_units |  | water_leak_alarm_13
HLI-11 | crac13_discharge_air_temperature_sensor | degrees_celsius |  | discharge_air_temperature_sensor_13 | degrees_celsius: degrees_celsius
HLI-11 | crac13_return_air_temperature_setpoint | degrees_celsius |  | return_air_temperature_setpoint_13 | degrees_celsius: degrees_celsius
HLI-11 | crac13_return_air_relative_humidity_setpoint | percent_relative_humidity |  | return_air_relative_humidity_setpoint_13 | percent_relative_humidity: percent_relative_humidity
HLI-42 | crac14_return_air_temperature_sen | degrees_celsius |  | return_air_temperature_sen_14 | degrees_celsius: degrees_celsius
HLI-42 | crac14_return_air_relative_humidity_sen | percent_relative_humidity |  | return_air_relative_humidity_sen_14 | percent_relative_humidity: percent_relative_humidity
HLI-42 | crac14_discharge_fan_run_status | no_units |  | discharge_fan_run_status_14
HLI-42 | crac14_compressor_run_status | no_units |  | compressor_run_status_14
HLI-42 | crac14_filter_alarm | no_units |  | filter_alarm_14
HLI-42 | crac14_master_alarm | no_units |  | master_alarm_14
HLI-42 | crac14_water_leak_alarm | no_units |  | water_leak_alarm_14
HLI-42 | crac14_discharge_air_temperature_sensor | degrees_celsius |  | discharge_air_temperature_sensor_14 | degrees_celsius: degrees_celsius
HLI-42 | crac14_return_air_temperature_setpoint | degrees_celsius |  | return_air_temperature_setpoint_14 | degrees_celsius: degrees_celsius
HLI-42 | crac14_return_air_relative_humidity_setpoint | percent_relative_humidity |  | return_air_relative_humidity_setpoint_14 | percent_relative_humidity: percent_relative_humidity
HLI-42 | crac15_return_air_temperature_sen | degrees_celsius |  | return_air_temperature_sen_15 | degrees_celsius: degrees_celsius
HLI-42 | crac15_return_air_relative_humidity_sen | percent_relative_humidity |  | return_air_relative_humidity_sen_15 | percent_relative_humidity: percent_relative_humidity
HLI-42 | crac15_discharge_fan_run_status | no_units |  | discharge_fan_run_status_15
HLI-42 | crac15_compressor_run_status | no_units |  | compressor_run_status_15
HLI-42 | crac15_filter_alarm | no_units |  | filter_alarm_15
HLI-42 | crac15_master_alarm | no_units |  | master_alarm_15
HLI-42 | crac15_water_leak_alarm | no_units |  | water_leak_alarm_15
HLI-42 | crac15_discharge_air_temperature_sensor | degrees_celsius |  | discharge_air_temperature_sensor_15 | degrees_celsius: degrees_celsius
HLI-42 | crac15_return_air_temperature_setpoint | degrees_celsius |  | return_air_temperature_setpoint_15 | degrees_celsius: degrees_celsius
HLI-42 | crac15_return_air_relative_humidity_setpoint | percent_relative_humidity |  | return_air_relative_humidity_setpoint_15 | percent_relative_humidity: percent_relative_humidity
HLI-42 | crac16_return_air_temperature_sen | degrees_celsius |  | return_air_temperature_sen_16 | degrees_celsius: degrees_celsius
HLI-42 | crac16_return_air_relative_humidity_sen | percent_relative_humidity |  | return_air_relative_humidity_sen_16 | percent_relative_humidity: percent_relative_humidity
HLI-42 | crac16_discharge_fan_run_status | no_units |  | discharge_fan_run_status_16
HLI-42 | crac16_compressor_run_status | no_units |  | compressor_run_status_16
HLI-42 | crac16_filter_alarm | no_units |  | filter_alarm_16
HLI-42 | crac16_master_alarm | no_units |  | master_alarm_16
HLI-42 | crac16_water_leak_alarm | no_units |  | water_leak_alarm_16
HLI-42 | crac16_discharge_air_temperature_sensor | degrees_celsius |  | discharge_air_temperature_sensor_16 | degrees_celsius: degrees_celsius
HLI-42 | crac16_return_air_temperature_setpoint | degrees_celsius |  | return_air_temperature_setpoint_16 | degrees_celsius: degrees_celsius
HLI-42 | crac16_return_air_relative_humidity_setpoint | percent_relative_humidity |  | return_air_relative_humidity_setpoint_16 | percent_relative_humidity: percent_relative_humidity
HLI-42 | crac17_return_air_temperature_sen | degrees_celsius |  | return_air_temperature_sen_17 | degrees_celsius: degrees_celsius
HLI-42 | crac17_return_air_relative_humidity_sen | percent_relative_humidity |  | return_air_relative_humidity_sen_17 | percent_relative_humidity: percent_relative_humidity
HLI-42 | crac17_discharge_fan_run_status | no_units |  | discharge_fan_run_status_17
HLI-42 | crac17_compressor_run_status | no_units |  | compressor_run_status_17
HLI-42 | crac17_filter_alarm | no_units |  | filter_alarm_17
HLI-42 | crac17_master_alarm | no_units |  | master_alarm_17
HLI-42 | crac17_water_leak_alarm | no_units |  | water_leak_alarm_17
HLI-42 | crac17_discharge_air_temperature_sensor | degrees_celsius |  | discharge_air_temperature_sensor_17 | degrees_celsius: degrees_celsius
HLI-42 | crac17_return_air_temperature_setpoint | degrees_celsius |  | return_air_temperature_setpoint_17 | degrees_celsius: degrees_celsius
HLI-42 | crac17_return_air_relative_humidity_setpoint | percent_relative_humidity |  | return_air_relative_humidity_setpoint_17 | percent_relative_humidity: percent_relative_humidity
HLI-42 | crac18_return_air_temperature_sen | degrees_celsius |  | return_air_temperature_sen_18 | degrees_celsius: degrees_celsius
HLI-42 | crac18_return_air_relative_humidity_sen | percent_relative_humidity |  | return_air_relative_humidity_sen_18 | percent_relative_humidity: percent_relative_humidity
HLI-42 | crac18_discharge_fan_run_status | no_units |  | discharge_fan_run_status_18
HLI-42 | crac18_compressor_run_status | no_units |  | compressor_run_status_18
HLI-42 | crac18_filter_alarm | no_units |  | filter_alarm_18
HLI-42 | crac18_master_alarm | no_units |  | master_alarm_18
HLI-42 | crac18_water_leak_alarm | no_units |  | water_leak_alarm_18
HLI-42 | crac18_discharge_air_temperature_sensor | degrees_celsius |  | discharge_air_temperature_sensor_18 | degrees_celsius: degrees_celsius
HLI-42 | crac18_return_air_temperature_setpoint | degrees_celsius |  | return_air_temperature_setpoint_18 | degrees_celsius: degrees_celsius
HLI-42 | crac18_return_air_relative_humidity_setpoint | percent_relative_humidity |  | return_air_relative_humidity_setpoint_18 | percent_relative_humidity: percent_relative_humidity
HLI-42 | crac19_return_air_temperature_sen | degrees_celsius |  | return_air_temperature_sen_19 | degrees_celsius: degrees_celsius
HLI-42 | crac19_return_air_relative_humidity_sen | percent_relative_humidity |  | return_air_relative_humidity_sen_19 | percent_relative_humidity: percent_relative_humidity
HLI-42 | crac19_discharge_fan_run_status | no_units |  | discharge_fan_run_status_19
HLI-42 | crac19_compressor_run_status | no_units |  | compressor_run_status_19
HLI-42 | crac19_filter_alarm | no_units |  | filter_alarm_19
HLI-42 | crac19_master_alarm | no_units |  | master_alarm_19
HLI-42 | crac19_water_leak_alarm | no_units |  | water_leak_alarm_19
HLI-42 | crac19_discharge_air_temperature_sensor | degrees_celsius |  | discharge_air_temperature_sensor_19 | degrees_celsius: degrees_celsius
HLI-42 | crac19_return_air_temperature_setpoint | degrees_celsius |  | return_air_temperature_setpoint_19 | degrees_celsius: degrees_celsius
HLI-42 | crac19_return_air_relative_humidity_setpoint | percent_relative_humidity |  | return_air_relative_humidity_setpoint_19 | percent_relative_humidity: percent_relative_humidity
HLI-42 | crac20_return_air_temperature_sen | degrees_celsius |  | return_air_temperature_sen_20 | degrees_celsius: degrees_celsius
HLI-42 | crac20_return_air_relative_humidity_sen | percent_relative_humidity |  | return_air_relative_humidity_sen_20 | percent_relative_humidity: percent_relative_humidity
HLI-42 | crac20_discharge_fan_run_status | no_units |  | discharge_fan_run_status_20
HLI-42 | crac20_compressor_run_status | no_units |  | compressor_run_status_20
HLI-42 | crac20_filter_alarm | no_units |  | filter_alarm_20
HLI-42 | crac20_master_alarm | no_units |  | master_alarm_20
HLI-42 | crac20_water_leak_alarm | no_units |  | water_leak_alarm_20
HLI-42 | crac20_discharge_air_temperature_sensor | degrees_celsius |  | discharge_air_temperature_sensor_20 | degrees_celsius: degrees_celsius
HLI-42 | crac20_return_air_temperature_setpoint | degrees_celsius |  | return_air_temperature_setpoint_20 | degrees_celsius: degrees_celsius
HLI-42 | crac20_return_air_relative_humidity_setpoint | percent_relative_humidity |  | return_air_relative_humidity_setpoint_20 | percent_relative_humidity: percent_relative_humidity
HLI-42 | crac21_return_air_temperature_sen | degrees_celsius |  | return_air_temperature_sen_21 | degrees_celsius: degrees_celsius
HLI-42 | crac21_return_air_relative_humidity_sen | percent_relative_humidity |  | return_air_relative_humidity_sen_21 | percent_relative_humidity: percent_relative_humidity
HLI-42 | crac21_discharge_fan_run_status | no_units |  | discharge_fan_run_status_21
HLI-42 | crac21_compressor_run_status | no_units |  | compressor_run_status_21
HLI-42 | crac21_filter_alarm | no_units |  | filter_alarm_21
HLI-42 | crac21_master_alarm | no_units |  | master_alarm_21
HLI-42 | crac21_water_leak_alarm | no_units |  | water_leak_alarm_21
HLI-42 | crac21_discharge_air_temperature_sensor | degrees_celsius |  | discharge_air_temperature_sensor_21 | degrees_celsius: degrees_celsius
HLI-42 | crac21_return_air_temperature_setpoint | degrees_celsius |  | return_air_temperature_setpoint_21 | degrees_celsius: degrees_celsius
HLI-42 | crac21_return_air_relative_humidity_setpoint | percent_relative_humidity |  | return_air_relative_humidity_setpoint_21 | percent_relative_humidity: percent_relative_humidity
HLI-42 | crac22_return_air_temperature_sen | degrees_celsius |  | return_air_temperature_sen_22 | degrees_celsius: degrees_celsius
HLI-42 | crac22_return_air_relative_humidity_sen | percent_relative_humidity |  | return_air_relative_humidity_sen_22 | percent_relative_humidity: percent_relative_humidity
HLI-42 | crac22_discharge_fan_run_status | no_units |  | discharge_fan_run_status_22
HLI-42 | crac22_compressor_run_status | no_units |  | compressor_run_status_22
HLI-42 | crac22_filter_alarm | no_units |  | filter_alarm_22
HLI-42 | crac22_master_alarm | no_units |  | master_alarm_22
HLI-42 | crac22_water_leak_alarm | no_units |  | water_leak_alarm_22
HLI-42 | crac22_discharge_air_temperature_sensor | degrees_celsius |  | discharge_air_temperature_sensor_22 | degrees_celsius: degrees_celsius
HLI-42 | crac22_return_air_temperature_setpoint | degrees_celsius |  | return_air_temperature_setpoint_22 | degrees_celsius: degrees_celsius
HLI-42 | crac22_return_air_relative_humidity_setpoint | percent_relative_humidity |  | return_air_relative_humidity_setpoint_22 | percent_relative_humidity: percent_relative_humidity
HLI-42 | crac23_return_air_temperature_sen | degrees_celsius |  | return_air_temperature_sen_23 | degrees_celsius: degrees_celsius
HLI-42 | crac23_return_air_relative_humidity_sen | percent_relative_humidity |  | return_air_relative_humidity_sen_23 | percent_relative_humidity: percent_relative_humidity
HLI-42 | crac23_discharge_fan_run_status | no_units |  | discharge_fan_run_status_23
HLI-42 | crac23_compressor_run_status | no_units |  | compressor_run_status_23
HLI-42 | crac23_filter_alarm | no_units |  | filter_alarm_23
HLI-42 | crac23_master_alarm | no_units |  | master_alarm_23
HLI-42 | crac23_water_leak_alarm | no_units |  | water_leak_alarm_23
HLI-42 | crac23_discharge_air_temperature_sensor | degrees_celsius |  | discharge_air_temperature_sensor_23 | degrees_celsius: degrees_celsius
HLI-42 | crac23_return_air_temperature_setpoint | degrees_celsius |  | return_air_temperature_setpoint_23 | degrees_celsius: degrees_celsius
HLI-42 | crac23_return_air_relative_humidity_setpoint | percent_relative_humidity |  | return_air_relative_humidity_setpoint_23 | percent_relative_humidity: percent_relative_humidity
HLI-24 | fcu_03_discharge_fan_run_command | no_units | true=ON false=OFF | discharge_fan_run_command_03
HLI-24 | fcu_03_discharge_fan_run_status | no_units | true=ON false=OFF | discharge_fan_run_status_03
HLI-24 | fcu_03_failed_discharge_fan_alarm | no_units | true=ACTIVE false=INACTIVE | failed_discharge_fan_alarm_03
HLI-24 | fcu_03_discharge_fan_run_time_accumulator | hours |  | discharge_fan_run_time_accumulator_03 | hours: hours
HLI-24 | fcu_03_return_air_temperature_setpoint | degrees_celsius |  | return_air_temperature_setpoint_03 | degrees_celsius: degrees_celsius
HLI-24 | fcu_03_return_air_temperature_sensor | degrees_celsius |  | return_air_temperature_sensor_03 | degrees_celsius: degrees_celsius
HLI-24 | fcu_04_discharge_fan_run_command | no_units |  | discharge_fan_run_command_04
HLI-24 | fcu_04_discharge_fan_run_status | no_units |  | discharge_fan_run_status_04
HLI-24 | fcu_04_failed_discharge_fan_alarm | no_units |  | failed_discharge_fan_alarm_04
HLI-24 | fcu_04_discharge_fan_run_time_accumulator | hours |  | discharge_fan_run_time_accumulator_04 | hours: hours
HLI-24 | fcu_04_return_air_temperature_setpoint | degrees_celsius |  | return_air_temperature_setpoint_04 | degrees_celsius: degrees_celsius
HLI-24 | fcu_04_return_air_temperature_sensor | degrees_celsius |  | return_air_temperature_sensor_04 | degrees_celsius: degrees_celsius
HLI-24 | fcu_05_discharge_fan_run_command | no_units |  | discharge_fan_run_command_05
HLI-24 | fcu_05_discharge_fan_run_status | no_units |  | discharge_fan_run_status_05
HLI-24 | fcu_05_failed_discharge_fan_alarm | no_units |  | failed_discharge_fan_alarm_05
HLI-24 | fcu_05_discharge_fan_run_time_accumulator | hours |  | discharge_fan_run_time_accumulator_05 | hours: hours
HLI-24 | fcu_05_return_air_temperature_setpoint | degrees_celsius |  | return_air_temperature_setpoint_05 | degrees_celsius: degrees_celsius
HLI-24 | fcu_05_return_air_temperature_sensor | degrees_celsius |  | return_air_temperature_sensor_05 | degrees_celsius: degrees_celsius
HLI-24 | fcu_06_discharge_fan_run_command | no_units |  | discharge_fan_run_command_06
HLI-24 | fcu_06_discharge_fan_run_status | no_units |  | discharge_fan_run_status_06
HLI-24 | fcu_06_failed_discharge_fan_alarm | no_units |  | failed_discharge_fan_alarm_06
HLI-24 | fcu_06_discharge_fan_run_time_accumulator | hours |  | discharge_fan_run_time_accumulator_06 | hours: hours
HLI-24 | fcu_06_return_air_temperature_setpoint | degrees_celsius |  | return_air_temperature_setpoint_06 | degrees_celsius: degrees_celsius
HLI-24 | fcu_06_return_air_temperature_sensor | degrees_celsius |  | return_air_temperature_sensor_06 | degrees_celsius: degrees_celsius
HLI-24 | fcu_07_discharge_fan_run_command | no_units |  | discharge_fan_run_command_07
HLI-24 | fcu_07_discharge_fan_run_status | no_units |  | discharge_fan_run_status_07
HLI-24 | fcu_07_failed_discharge_fan_alarm | no_units |  | failed_discharge_fan_alarm_07
HLI-24 | fcu_07_discharge_fan_run_time_accumulator | hours |  | discharge_fan_run_time_accumulator_07 | hours: hours
HLI-24 | fcu_07_return_air_temperature_setpoint | degrees_celsius |  | return_air_temperature_setpoint_07 | degrees_celsius: degrees_celsius
HLI-24 | fcu_07_return_air_temperature_sensor | degrees_celsius |  | return_air_temperature_sensor_07 | degrees_celsius: degrees_celsius
HLI-24 | fcu_08_discharge_fan_run_command | no_units |  | discharge_fan_run_command_08
HLI-24 | fcu_08_discharge_fan_run_status | no_units |  | discharge_fan_run_status_08
HLI-24 | fcu_08_failed_discharge_fan_alarm | no_units |  | failed_discharge_fan_alarm_08
HLI-24 | fcu_08_discharge_fan_run_time_accumulator | hours |  | discharge_fan_run_time_accumulator_08 | hours: hours
HLI-24 | fcu_08_return_air_temperature_setpoint | degrees_celsius |  | return_air_temperature_setpoint_08 | degrees_celsius: degrees_celsius
HLI-24 | fcu_08_return_air_temperature_sensor | degrees_celsius |  | return_air_temperature_sensor_08 | degrees_celsius: degrees_celsius
HLI-24 | fcu_09_discharge_fan_run_command | no_units |  | discharge_fan_run_command_09
HLI-24 | fcu_09_discharge_fan_run_status | no_units |  | discharge_fan_run_status_09
HLI-24 | fcu_09_failed_discharge_fan_alarm | no_units |  | failed_discharge_fan_alarm_09
HLI-24 | fcu_09_discharge_fan_run_time_accumulator | hours |  | discharge_fan_run_time_accumulator_09 | hours: hours
HLI-24 | fcu_09_return_air_temperature_setpoint | degrees_celsius |  | return_air_temperature_setpoint_09 | degrees_celsius: degrees_celsius
HLI-24 | fcu_09_return_air_temperature_sensor | degrees_celsius |  | return_air_temperature_sensor_09 | degrees_celsius: degrees_celsius
HLI-24 | fcu_10_discharge_fan_run_command | no_units |  | discharge_fan_run_command_10
HLI-24 | fcu_10_discharge_fan_run_status | no_units |  | discharge_fan_run_status_10
HLI-24 | fcu_10_failed_discharge_fan_alarm | no_units |  | failed_discharge_fan_alarm_10
HLI-24 | fcu_10_discharge_fan_run_time_accumulator | hours |  | discharge_fan_run_time_accumulator_10 | hours: hours
HLI-24 | fcu_10_return_air_temperature_setpoint | degrees_celsius |  | return_air_temperature_setpoint_10 | degrees_celsius: degrees_celsius
HLI-24 | fcu_10_return_air_temperature_sensor | degrees_celsius |  | return_air_temperature_sensor_10 | degrees_celsius: degrees_celsius
HLI-24 | fcu_11_discharge_fan_run_command | no_units |  | discharge_fan_run_command_11
HLI-24 | fcu_11_discharge_fan_run_status | no_units |  | discharge_fan_run_status_11
HLI-24 | fcu_11_failed_discharge_fan_alarm | no_units |  | failed_discharge_fan_alarm_11
HLI-24 | fcu_11_discharge_fan_run_time_accumulator | hours |  | discharge_fan_run_time_accumulator_11 | hours: hours
HLI-24 | fcu_11_return_air_temperature_setpoint | degrees_celsius |  | return_air_temperature_setpoint_11 | degrees_celsius: degrees_celsius
HLI-24 | fcu_11_return_air_temperature_sensor | degrees_celsius |  | return_air_temperature_sensor_11 | degrees_celsius: degrees_celsius
HLI-24 | fcu_12_discharge_fan_run_command | no_units |  | discharge_fan_run_command_12
HLI-24 | fcu_12_discharge_fan_run_status | no_units |  | discharge_fan_run_status_12
HLI-24 | fcu_12_failed_discharge_fan_alarm | no_units |  | failed_discharge_fan_alarm_12
HLI-24 | fcu_12_discharge_fan_run_time_accumulator | hours |  | discharge_fan_run_time_accumulator_12 | hours: hours
HLI-24 | fcu_12_return_air_temperature_setpoint | degrees_celsius |  | return_air_temperature_setpoint_12 | degrees_celsius: degrees_celsius
HLI-24 | fcu_12_return_air_temperature_sensor | degrees_celsius |  | return_air_temperature_sensor_12 | degrees_celsius: degrees_celsius
HLI-24 | fcu_13_discharge_fan_run_command | no_units |  | discharge_fan_run_command_13
HLI-24 | fcu_13_discharge_fan_run_status | no_units |  | discharge_fan_run_status_13
HLI-24 | fcu_13_failed_discharge_fan_alarm | no_units |  | failed_discharge_fan_alarm_13
HLI-24 | fcu_13_discharge_fan_run_time_accumulator | hours |  | discharge_fan_run_time_accumulator_13 | hours: hours
HLI-24 | fcu_13_return_air_temperature_setpoint | degrees_celsius |  | return_air_temperature_setpoint_13 | degrees_celsius: degrees_celsius
HLI-24 | fcu_13_return_air_temperature_sensor | degrees_celsius |  | return_air_temperature_sensor_13 | degrees_celsius: degrees_celsius
HLI-24 | fcu_14_discharge_fan_run_command | no_units |  | discharge_fan_run_command_14
HLI-24 | fcu_14_discharge_fan_run_status | no_units |  | discharge_fan_run_status_14
HLI-24 | fcu_14_failed_discharge_fan_alarm | no_units |  | failed_discharge_fan_alarm_14
HLI-24 | fcu_14_discharge_fan_run_time_accumulator | hours |  | discharge_fan_run_time_accumulator_14 | hours: hours
HLI-24 | fcu_14_return_air_temperature_setpoint | degrees_celsius |  | return_air_temperature_setpoint_14 | degrees_celsius: degrees_celsius
HLI-24 | fcu_14_return_air_temperature_sensor | degrees_celsius |  | return_air_temperature_sensor_14 | degrees_celsius: degrees_celsius
HLI-24 | fcu_15_discharge_fan_run_command | no_units |  | discharge_fan_run_command_15
HLI-24 | fcu_15_discharge_fan_run_status | no_units |  | discharge_fan_run_status_15
HLI-24 | fcu_15_failed_discharge_fan_alarm | no_units |  | failed_discharge_fan_alarm_15
HLI-24 | fcu_15_discharge_fan_run_time_accumulator | hours |  | discharge_fan_run_time_accumulator_15 | hours: hours
HLI-24 | fcu_15_return_air_temperature_setpoint | degrees_celsius |  | return_air_temperature_setpoint_15 | degrees_celsius: degrees_celsius
HLI-24 | fcu_15_return_air_temperature_sensor | degrees_celsius |  | return_air_temperature_sensor_15 | degrees_celsius: degrees_celsius
HLI-24 | fcu_16_discharge_fan_run_command | no_units |  | discharge_fan_run_command_16
HLI-24 | fcu_16_discharge_fan_run_status | no_units |  | discharge_fan_run_status_16
HLI-24 | fcu_16_failed_discharge_fan_alarm | no_units |  | failed_discharge_fan_alarm_16
HLI-24 | fcu_16_discharge_fan_run_time_accumulator | hours |  | discharge_fan_run_time_accumulator_16 | hours: hours
HLI-24 | fcu_16_return_air_temperature_setpoint | degrees_celsius |  | return_air_temperature_setpoint_16 | degrees_celsius: degrees_celsius
HLI-24 | fcu_16_return_air_temperature_sensor | degrees_celsius |  | return_air_temperature_sensor_16 | degrees_celsius: degrees_celsius
HLI-24 | fcu_17_discharge_fan_run_command | no_units |  | discharge_fan_run_command_17
HLI-24 | fcu_17_discharge_fan_run_status | no_units |  | discharge_fan_run_status_17
HLI-24 | fcu_17_failed_discharge_fan_alarm | no_units |  | failed_discharge_fan_alarm_17
HLI-24 | fcu_17_discharge_fan_run_time_accumulator | hours |  | discharge_fan_run_time_accumulator_17 | hours: hours
HLI-24 | fcu_17_return_air_temperature_setpoint | degrees_celsius |  | return_air_temperature_setpoint_17 | degrees_celsius: degrees_celsius
HLI-24 | fcu_17_return_air_temperature_sensor | degrees_celsius |  | return_air_temperature_sensor_17 | degrees_celsius: degrees_celsius
HLI-24 | fcu_18_discharge_fan_run_command | no_units |  | discharge_fan_run_command_18
HLI-24 | fcu_18_discharge_fan_run_status | no_units |  | discharge_fan_run_status_18
HLI-24 | fcu_18_failed_discharge_fan_alarm | no_units |  | failed_discharge_fan_alarm_18
HLI-24 | fcu_18_discharge_fan_run_time_accumulator | hours |  | discharge_fan_run_time_accumulator_18 | hours: hours
HLI-24 | fcu_18_return_air_temperature_setpoint | degrees_celsius |  | return_air_temperature_setpoint_18 | degrees_celsius: degrees_celsius
HLI-24 | fcu_18_return_air_temperature_sensor | degrees_celsius |  | return_air_temperature_sensor_18 | degrees_celsius: degrees_celsius
HLI-24 | fcu_19_discharge_fan_run_command | no_units |  | discharge_fan_run_command_19
HLI-24 | fcu_19_discharge_fan_run_status | no_units |  | discharge_fan_run_status_19
HLI-24 | fcu_19_failed_discharge_fan_alarm | no_units |  | failed_discharge_fan_alarm_19
HLI-24 | fcu_19_discharge_fan_run_time_accumulator | hours |  | discharge_fan_run_time_accumulator_19 | hours: hours
HLI-24 | fcu_19_return_air_temperature_setpoint | degrees_celsius |  | return_air_temperature_setpoint_19 | degrees_celsius: degrees_celsius
HLI-24 | fcu_19_return_air_temperature_sensor | degrees_celsius |  | return_air_temperature_sensor_19 | degrees_celsius: degrees_celsius
HLI-24 | fcu_20_discharge_fan_run_command | no_units |  | discharge_fan_run_command_20
HLI-24 | fcu_20_discharge_fan_run_status | no_units |  | discharge_fan_run_status_20
HLI-24 | fcu_20_failed_discharge_fan_alarm | no_units |  | failed_discharge_fan_alarm_20
HLI-24 | fcu_20_discharge_fan_run_time_accumulator | hours |  | discharge_fan_run_time_accumulator_20 | hours: hours
HLI-24 | fcu_20_return_air_temperature_setpoint | degrees_celsius |  | return_air_temperature_setpoint_20 | degrees_celsius: degrees_celsius
HLI-24 | fcu_20_return_air_temperature_sensor | degrees_celsius |  | return_air_temperature_sensor_20 | degrees_celsius: degrees_celsius
HLI-24 | fcu_21_discharge_fan_run_command | no_units |  | discharge_fan_run_command_21
HLI-24 | fcu_21_discharge_fan_run_status | no_units |  | discharge_fan_run_status_21
HLI-24 | fcu_21_failed_discharge_fan_alarm | no_units |  | failed_discharge_fan_alarm_21
HLI-24 | fcu_21_discharge_fan_run_time_accumulator | hours |  | discharge_fan_run_time_accumulator_21 | hours: hours
HLI-24 | fcu_21_return_air_temperature_setpoint | degrees_celsius |  | return_air_temperature_setpoint_21 | degrees_celsius: degrees_celsius
HLI-24 | fcu_21_return_air_temperature_sensor | degrees_celsius |  | return_air_temperature_sensor_21 | degrees_celsius: degrees_celsius
HLI-24 | fcu_22_discharge_fan_run_command | no_units |  | discharge_fan_run_command_22
HLI-24 | fcu_22_discharge_fan_run_status | no_units |  | discharge_fan_run_status_22
HLI-24 | fcu_22_failed_discharge_fan_alarm | no_units |  | failed_discharge_fan_alarm_22
HLI-24 | fcu_22_discharge_fan_run_time_accumulator | hours |  | discharge_fan_run_time_accumulator_22 | hours: hours
HLI-24 | fcu_22_return_air_temperature_setpoint | degrees_celsius |  | return_air_temperature_setpoint_22 | degrees_celsius: degrees_celsius
HLI-24 | fcu_22_return_air_temperature_sensor | degrees_celsius |  | return_air_temperature_sensor_22 | degrees_celsius: degrees_celsius
HLI-24 | fcu_23_discharge_fan_run_command | no_units |  | discharge_fan_run_command_23
HLI-24 | fcu_23_discharge_fan_run_status | no_units |  | discharge_fan_run_status_23
HLI-24 | fcu_23_failed_discharge_fan_alarm | no_units |  | failed_discharge_fan_alarm_23
HLI-24 | fcu_23_discharge_fan_run_time_accumulator | hours |  | discharge_fan_run_time_accumulator_23 | hours: hours
HLI-24 | fcu_23_return_air_temperature_setpoint | degrees_celsius |  | return_air_temperature_setpoint_23 | degrees_celsius: degrees_celsius
HLI-24 | fcu_23_return_air_temperature_sensor | degrees_celsius |  | return_air_temperature_sensor_23 | degrees_celsius: degrees_celsius
HLI-24 | fcu_24_discharge_fan_run_command | no_units |  | discharge_fan_run_command_24
HLI-24 | fcu_24_discharge_fan_run_status | no_units |  | discharge_fan_run_status_24
HLI-24 | fcu_24_failed_discharge_fan_alarm | no_units |  | failed_discharge_fan_alarm_24
HLI-24 | fcu_24_discharge_fan_run_time_accumulator | hours |  | discharge_fan_run_time_accumulator_24 | hours: hours
HLI-24 | fcu_24_return_air_temperature_setpoint | degrees_celsius |  | return_air_temperature_setpoint_24 | degrees_celsius: degrees_celsius
HLI-24 | fcu_24_return_air_temperature_sensor | degrees_celsius |  | return_air_temperature_sensor_24 | degrees_celsius: degrees_celsius
HLI-24 | fcu_25_discharge_fan_run_command | no_units |  | discharge_fan_run_command_25
HLI-24 | fcu_25_discharge_fan_run_status | no_units |  | discharge_fan_run_status_25
HLI-24 | fcu_25_failed_discharge_fan_alarm | no_units |  | failed_discharge_fan_alarm_25
HLI-24 | fcu_25_discharge_fan_run_time_accumulator | hours |  | discharge_fan_run_time_accumulator_25 | hours: hours
HLI-24 | fcu_25_return_air_temperature_setpoint | degrees_celsius |  | return_air_temperature_setpoint_25 | degrees_celsius: degrees_celsius
HLI-24 | fcu_25_return_air_temperature_sensor | degrees_celsius |  | return_air_temperature_sensor_25 | degrees_celsius: degrees_celsius
HLI-24 | fcu_26_discharge_fan_run_command | no_units |  | discharge_fan_run_command_26
HLI-24 | fcu_26_discharge_fan_run_status | no_units |  | discharge_fan_run_status_26
HLI-24 | fcu_26_failed_discharge_fan_alarm | no_units |  | failed_discharge_fan_alarm_26
HLI-24 | fcu_26_discharge_fan_run_time_accumulator | hours |  | discharge_fan_run_time_accumulator_26 | hours: hours
HLI-24 | fcu_26_return_air_temperature_setpoint | degrees_celsius |  | return_air_temperature_setpoint_26 | degrees_celsius: degrees_celsius
HLI-24 | fcu_26_return_air_temperature_sensor | degrees_celsius |  | return_air_temperature_sensor_26 | degrees_celsius: degrees_celsius
HLI-24 | fcu_27_discharge_fan_run_command | no_units |  | discharge_fan_run_command_27
HLI-24 | fcu_27_discharge_fan_run_status | no_units |  | discharge_fan_run_status_27
HLI-24 | fcu_27_failed_discharge_fan_alarm | no_units |  | failed_discharge_fan_alarm_27
HLI-24 | fcu_27_discharge_fan_run_time_accumulator | hours |  | discharge_fan_run_time_accumulator_27 | hours: hours
HLI-24 | fcu_27_return_air_temperature_setpoint | degrees_celsius |  | return_air_temperature_setpoint_27 | degrees_celsius: degrees_celsius
HLI-24 | fcu_27_return_air_temperature_sensor | degrees_celsius |  | return_air_temperature_sensor_27 | degrees_celsius: degrees_celsius
HLI-24 | fcu_28_discharge_fan_run_command | no_units |  | discharge_fan_run_command_28
HLI-24 | fcu_28_discharge_fan_run_status | no_units |  | discharge_fan_run_status_28
HLI-24 | fcu_28_failed_discharge_fan_alarm | no_units |  | failed_discharge_fan_alarm_28
HLI-24 | fcu_28_discharge_fan_run_time_accumulator | hours |  | discharge_fan_run_time_accumulator_28 | hours: hours
HLI-24 | fcu_28_return_air_temperature_setpoint | degrees_celsius |  | return_air_temperature_setpoint_28 | degrees_celsius: degrees_celsius
HLI-24 | fcu_28_return_air_temperature_sensor | degrees_celsius |  | return_air_temperature_sensor_28 | degrees_celsius: degrees_celsius
HLI-24 | fcu_29_discharge_fan_run_command | no_units |  | discharge_fan_run_command_29
HLI-24 | fcu_29_discharge_fan_run_status | no_units |  | discharge_fan_run_status_29
HLI-24 | fcu_29_failed_discharge_fan_alarm | no_units |  | failed_discharge_fan_alarm_29
HLI-24 | fcu_29_discharge_fan_run_time_accumulator | hours |  | discharge_fan_run_time_accumulator_29 | hours: hours
HLI-24 | fcu_29_return_air_temperature_setpoint | degrees_celsius |  | return_air_temperature_setpoint_29 | degrees_celsius: degrees_celsius
HLI-24 | fcu_29_return_air_temperature_sensor | degrees_celsius |  | return_air_temperature_sensor_29 | degrees_celsius: degrees_celsius
HLI-24 | fcu_30_discharge_fan_run_command | no_units |  | discharge_fan_run_command_30
HLI-24 | fcu_30_discharge_fan_run_status | no_units |  | discharge_fan_run_status_30
HLI-24 | fcu_30_failed_discharge_fan_alarm | no_units |  | failed_discharge_fan_alarm_30
HLI-24 | fcu_30_discharge_fan_run_time_accumulator | hours |  | discharge_fan_run_time_accumulator_30 | hours: hours
HLI-24 | fcu_30_return_air_temperature_setpoint | degrees_celsius |  | return_air_temperature_setpoint_30 | degrees_celsius: degrees_celsius
HLI-24 | fcu_30_return_air_temperature_sensor | degrees_celsius |  | return_air_temperature_sensor_30 | degrees_celsius: degrees_celsius
HLI-24 | fcu_31_discharge_fan_run_command | no_units |  | discharge_fan_run_command_31
HLI-24 | fcu_31_discharge_fan_run_status | no_units |  | discharge_fan_run_status_31
HLI-24 | fcu_31_failed_discharge_fan_alarm | no_units |  | failed_discharge_fan_alarm_31
HLI-24 | fcu_31_discharge_fan_run_time_accumulator | hours |  | discharge_fan_run_time_accumulator_31 | hours: hours
HLI-24 | fcu_31_return_air_temperature_setpoint | degrees_celsius |  | return_air_temperature_setpoint_31 | degrees_celsius: degrees_celsius
HLI-24 | fcu_31_return_air_temperature_sensor | degrees_celsius |  | return_air_temperature_sensor_31 | degrees_celsius: degrees_celsius
HLI-24 | fcu_32_discharge_fan_run_command | no_units |  | discharge_fan_run_command_32
HLI-24 | fcu_32_discharge_fan_run_status | no_units |  | discharge_fan_run_status_32
HLI-24 | fcu_32_failed_discharge_fan_alarm | no_units |  | failed_discharge_fan_alarm_32
HLI-24 | fcu_32_discharge_fan_run_time_accumulator | hours |  | discharge_fan_run_time_accumulator_32 | hours: hours
HLI-24 | fcu_32_return_air_temperature_setpoint | degrees_celsius |  | return_air_temperature_setpoint_32 | degrees_celsius: degrees_celsius
HLI-24 | fcu_32_return_air_temperature_sensor | degrees_celsius |  | return_air_temperature_sensor_32 | degrees_celsius: degrees_celsius

## virtual_device_entities
virtual_points_type | device_points_type | dbo.source_device_field | dbo.virtual_device_field | dbo.abstracts
EM-01 | HLI-9 | average_line_current_sensor_01 | average_line_current_sensor
EM-01 | HLI-9 | average_line_neutral_voltage_sensor_01 | average_line_neutral_voltage_sensor
EM-01 | HLI-9 | line_frequency_sensor_01 | line_frequency_sensor
EM-01 | HLI-9 | powerfactor_sensor_01 | powerfactor_sensor
EM-01 | HLI-9 | power_sensor_01 | power_sensor
EM-01 | HLI-9 | electricalgrid_energy_accumulator_01 | electricalgrid_energy_accumulator
EM-01 | HLI-9 | generator_energy_accumulator_01 | generator_energy_accumulator
EM-01 | HLI-9 | energy_accumulator_01 | energy_accumulator

## asset_template
entity_instance_name | udmi.system.location.site | udmi.pointset.points | udmi.system.location.section | udmi.system.location.position.x | udmi.system.location.position.y | udmi.system.location.position.z | udmi.physical_tag.asset.guid | udmi.physical_tag.asset.site | udmi.physical_tag.asset.name | udmi.cloud.auth_type | dbo.devices_or_virtual_devices | dbo.type | dbo.connections.feeds | dbo.connections.controls | dbo.links | dbo.links.points | location | reporting_device