## locations
dbo.section | dbo.entity_name | dbo.type | dbo.connections.contains
Buildings | IN-GUR-SIGD | FACILITIES/BUILDING
Floors | IN-GUR-SIGD_FL1 | FACILITIES/FLOOR | IN-GUR-SIGD
Rooms | IN-GUR-SIGD_RM1 | FACILITIES/ROOM | IN-GUR-SIGD_FL1
Zones | IN-GUR-SIGD_ZN1 | HVAC/ZONE | IN-GUR-SIGD_RM1
Rooms | IN-GUR-SIGD_RM2 | FACILITIES/ROOM | IN-GUR-SIGD_ZN1
Zones | IN-GUR-SIGD_ZN2 | HVAC/ZONE | IN-GUR-SIGD_RM2

## assets
entity_instance_name | udmi.version | udmi.timestamp | udmi.system.location.site | udmi.system.location.section | udmi.system.location.position.x | udmi.system.location.position.y | udmi.system.location.position.z | udmi.physical_tag.asset.guid | udmi.physical_tag.asset.site | udmi.physical_tag.asset.name | udmi.pointset.points | udmi.cloud.auth_type | dbo.devices_or_virtual_devices | dbo.type | dbo.cloud_device_id | dbo.connections.feeds | dbo.connections.controls | dbo.links | dbo.links.points | Location | Reporting Device
HLI-11 | 1.4.1 | 2022-12-05T09:03:43Z | IN-BLR-BCPWK | UB-MMR-ROOM | 10 | 10 | 10 | 5a1308f2-dd8b-4da3-8d81-2dd3f840f5ff | IN-BLR-BCPWK | HLI-11 | HLI-11 | RS256_X509 | Device
HLI-42 | 1.4.1 | 2022-12-05T09:03:43Z | IN-BLR-BCPWK | 5F-AHU-SOUTH | 10 | 10 | 10 | 77d65218-b084-4ddd-8345-4c12172afe76 | IN-BLR-BCPWK | HLI-42 | HLI-42 | RS256_X509 | Device
HLI-24 | 1.4.1 | 2022-12-05T09:03:43Z | IN-BLR-BCPWK | 3F-AHU-NORTH | 10 | 10 | 10 | b79bc4d0-103f-4b81-8f11-09e7cef082b4 | IN-BLR-BCPWK | HLI-24 | HLI-24 | RS256_X509 | Device

## device_entities
points_type | udmi.pointset.points | udmi.pointset.units | dbo.states | dbo.translation.fields | dbo.translation.units | dbo.abstracts
HLI-11 | crac01_return_air_temperature_sen | degrees_celsius
HLI-11 | crac01_return_air_relative_humidity_sen | percent_relative_humidity
HLI-11 | crac01_discharge_fan_run_status | no_units
HLI-11 | crac01_compressor_run_status | no_units
HLI-11 | crac01_filter_alarm | no_units
HLI-11 | crac01_master_alarm | no_units
HLI-11 | crac01_water_leak_alarm | no_units
HLI-11 | crac01_discharge_air_temperature_sensor | degrees_celsius
HLI-11 | crac01_return_air_temperature_setpoint | degrees_celsius
HLI-11 | crac01_return_air_relative_humidity_setpoint | percent_relative_humidity
HLI-11 | crac02_return_air_temperature_sen | degrees_celsius
HLI-11 | crac02_return_air_relative_humidity_sen | percent_relative_humidity
HLI-11 | crac02_discharge_fan_run_status | no_units
HLI-11 | crac02_compressor_run_status | no_units
HLI-11 | crac02_filter_alarm | no_units
HLI-11 | crac02_master_alarm | no_units
HLI-11 | crac02_water_leak_alarm | no_units
HLI-11 | crac02_discharge_air_temperature_sensor | degrees_celsius
HLI-11 | crac02_return_air_temperature_setpoint | degrees_celsius
HLI-11 | crac02_return_air_relative_humidity_setpoint | percent_relative_humidity
HLI-11 | crac03_return_air_temperature_sen | degrees_celsius
HLI-11 | crac03_return_air_relative_humidity_sen | percent_relative_humidity
HLI-11 | crac03_discharge_fan_run_status | no_units
HLI-11 | crac03_compressor_run_status | no_units
HLI-11 | crac03_filter_alarm | no_units
HLI-11 | crac03_master_alarm | no_units
HLI-11 | crac03_water_leak_alarm | no_units
HLI-11 | crac03_discharge_air_temperature_sensor | degrees_celsius
HLI-11 | crac03_return_air_temperature_setpoint | degrees_celsius
HLI-11 | crac03_return_air_relative_humidity_setpoint | percent_relative_humidity
HLI-11 | crac04_return_air_temperature_sen | degrees_celsius
HLI-11 | crac04_return_air_relative_humidity_sen | percent_relative_humidity
HLI-11 | crac04_discharge_fan_run_status | no_units
HLI-11 | crac04_compressor_run_status | no_units
HLI-11 | crac04_filter_alarm | no_units
HLI-11 | crac04_master_alarm | no_units
HLI-11 | crac04_water_leak_alarm | no_units
HLI-11 | crac04_discharge_air_temperature_sensor | degrees_celsius
HLI-11 | crac04_return_air_temperature_setpoint | degrees_celsius
HLI-11 | crac04_return_air_relative_humidity_setpoint | percent_relative_humidity
HLI-11 | crac05_return_air_temperature_sen | degrees_celsius
HLI-11 | crac05_return_air_relative_humidity_sen | percent_relative_humidity
HLI-11 | crac05_discharge_fan_run_status | no_units
HLI-11 | crac05_compressor_run_status | no_units
HLI-11 | crac05_filter_alarm | no_units
HLI-11 | crac05_master_alarm | no_units
HLI-11 | crac05_water_leak_alarm | no_units
HLI-11 | crac05_discharge_air_temperature_sensor | degrees_celsius
HLI-11 | crac05_return_air_temperature_setpoint | degrees_celsius
HLI-11 | crac05_return_air_relative_humidity_setpoint | percent_relative_humidity
HLI-11 | crac06_return_air_temperature_sen | degrees_celsius
HLI-11 | crac06_return_air_relative_humidity_sen | percent_relative_humidity
HLI-11 | crac06_discharge_fan_run_status | no_units
HLI-11 | crac06_compressor_run_status | no_units
HLI-11 | crac06_filter_alarm | no_units
HLI-11 | crac06_master_alarm | no_units
HLI-11 | crac06_water_leak_alarm | no_units
HLI-11 | crac06_discharge_air_temperature_sensor | degrees_celsius
HLI-11 | crac06_return_air_temperature_setpoint | degrees_celsius
HLI-11 | crac06_return_air_relative_humidity_setpoint | percent_relative_humidity
HLI-11 | crac07_return_air_temperature_sen | degrees_celsius
HLI-11 | crac07_return_air_relative_humidity_sen | percent_relative_humidity
HLI-11 | crac07_discharge_fan_run_status | no_units
HLI-11 | crac07_compressor_run_status | no_units
HLI-11 | crac07_filter_alarm | no_units
HLI-11 | crac07_master_alarm | no_units
HLI-11 | crac07_water_leak_alarm | no_units
HLI-11 | crac07_discharge_air_temperature_sensor | degrees_celsius
HLI-11 | crac07_return_air_temperature_setpoint | degrees_celsius
HLI-11 | crac07_return_air_relative_humidity_setpoint | percent_relative_humidity
HLI-11 | crac08_return_air_temperature_sen | degrees_celsius
HLI-11 | crac08_return_air_relative_humidity_sen | percent_relative_humidity
HLI-11 | crac08_discharge_fan_run_status | no_units
HLI-11 | crac08_compressor_run_status | no_units
HLI-11 | crac08_filter_alarm | no_units
HLI-11 | crac08_master_alarm | no_units
HLI-11 | crac08_water_leak_alarm | no_units
HLI-11 | crac08_discharge_air_temperature_sensor | degrees_celsius
HLI-11 | crac08_return_air_temperature_setpoint | degrees_celsius
HLI-11 | crac08_return_air_relative_humidity_setpoint | percent_relative_humidity
HLI-11 | crac09_return_air_temperature_sen | degrees_celsius
HLI-11 | crac09_return_air_relative_humidity_sen | percent_relative_humidity
HLI-11 | crac09_discharge_fan_run_status | no_units
HLI-11 | crac09_compressor_run_status | no_units
HLI-11 | crac09_filter_alarm | no_units
HLI-11 | crac09_master_alarm | no_units
HLI-11 | crac09_water_leak_alarm | no_units
HLI-11 | crac09_discharge_air_temperature_sensor | degrees_celsius
HLI-11 | crac09_return_air_temperature_setpoint | degrees_celsius
HLI-11 | crac09_return_air_relative_humidity_setpoint | percent_relative_humidity
HLI-11 | crac10_return_air_temperature_sen | degrees_celsius
HLI-11 | crac10_return_air_relative_humidity_sen | percent_relative_humidity
HLI-11 | crac10_discharge_fan_run_status | no_units
HLI-11 | crac10_compressor_run_status | no_units
HLI-11 | crac10_filter_alarm | no_units
HLI-11 | crac10_master_alarm | no_units
HLI-11 | crac10_water_leak_alarm | no_units
HLI-11 | crac10_discharge_air_temperature_sensor | degrees_celsius
HLI-11 | crac10_return_air_temperature_setpoint | degrees_celsius
HLI-11 | crac10_return_air_relative_humidity_setpoint | percent_relative_humidity
HLI-11 | crac11_return_air_temperature_sen | degrees_celsius
HLI-11 | crac11_return_air_relative_humidity_sen | percent_relative_humidity
HLI-11 | crac11_discharge_fan_run_status | no_units
HLI-11 | crac11_compressor_run_status | no_units
HLI-11 | crac11_filter_alarm | no_units
HLI-11 | crac11_master_alarm | no_units
HLI-11 | crac11_water_leak_alarm | no_units
HLI-11 | crac11_discharge_air_temperature_sensor | degrees_celsius
HLI-11 | crac11_return_air_temperature_setpoint | degrees_celsius
HLI-11 | crac11_return_air_relative_humidity_setpoint | percent_relative_humidity
HLI-11 | crac12_return_air_temperature_sen | degrees_celsius
HLI-11 | crac12_return_air_relative_humidity_sen | percent_relative_humidity
HLI-11 | crac12_discharge_fan_run_status | no_units
HLI-11 | crac12_compressor_run_status | no_units
HLI-11 | crac12_filter_alarm | no_units
HLI-11 | crac12_master_alarm | no_units
HLI-11 | crac12_water_leak_alarm | no_units
HLI-11 | crac12_discharge_air_temperature_sensor | degrees_celsius
HLI-11 | crac12_return_air_temperature_setpoint | degrees_celsius
HLI-11 | crac12_return_air_relative_humidity_setpoint | percent_relative_humidity
HLI-11 | crac13_return_air_temperature_sen | degrees_celsius
HLI-11 | crac13_return_air_relative_humidity_sen | percent_relative_humidity
HLI-11 | crac13_discharge_fan_run_status | no_units
HLI-11 | crac13_compressor_run_status | no_units
HLI-11 | crac13_filter_alarm | no_units
HLI-11 | crac13_master_alarm | no_units
HLI-11 | crac13_water_leak_alarm | no_units
HLI-11 | crac13_discharge_air_temperature_sensor | degrees_celsius
HLI-11 | crac13_return_air_temperature_setpoint | degrees_celsius
HLI-11 | crac13_return_air_relative_humidity_setpoint | percent_relative_humidity
HLI-42 | crac14_return_air_temperature_sen | degrees_celsius
HLI-42 | crac14_return_air_relative_humidity_sen | percent_relative_humidity
HLI-42 | crac14_discharge_fan_run_status | no_units
HLI-42 | crac14_compressor_run_status | no_units
HLI-42 | crac14_filter_alarm | no_units
HLI-42 | crac14_master_alarm | no_units
HLI-42 | crac14_water_leak_alarm | no_units
HLI-42 | crac14_discharge_air_temperature_sensor | degrees_celsius
HLI-42 | crac14_return_air_temperature_setpoint | degrees_celsius
HLI-42 | crac14_return_air_relative_humidity_setpoint | percent_relative_humidity
HLI-42 | crac15_return_air_temperature_sen | degrees_celsius
HLI-42 | crac15_return_air_relative_humidity_sen | percent_relative_humidity
HLI-42 | crac15_discharge_fan_run_status | no_units
HLI-42 | crac15_compressor_run_status | no_units
HLI-42 | crac15_filter_alarm | no_units
HLI-42 | crac15_master_alarm | no_units
HLI-42 | crac15_water_leak_alarm | no_units
HLI-42 | crac15_discharge_air_temperature_sensor | degrees_celsius
HLI-42 | crac15_return_air_temperature_setpoint | degrees_celsius
HLI-42 | crac15_return_air_relative_humidity_setpoint | percent_relative_humidity
HLI-42 | crac16_return_air_temperature_sen | degrees_celsius
HLI-42 | crac16_return_air_relative_humidity_sen | percent_relative_humidity
HLI-42 | crac16_discharge_fan_run_status | no_units
HLI-42 | crac16_compressor_run_status | no_units
HLI-42 | crac16_filter_alarm | no_units
HLI-42 | crac16_master_alarm | no_units
HLI-42 | crac16_water_leak_alarm | no_units
HLI-42 | crac16_discharge_air_temperature_sensor | degrees_celsius
HLI-42 | crac16_return_air_temperature_setpoint | degrees_celsius
HLI-42 | crac16_return_air_relative_humidity_setpoint | percent_relative_humidity
HLI-42 | crac17_return_air_temperature_sen | degrees_celsius
HLI-42 | crac17_return_air_relative_humidity_sen | percent_relative_humidity
HLI-42 | crac17_discharge_fan_run_status | no_units
HLI-42 | crac17_compressor_run_status | no_units
HLI-42 | crac17_filter_alarm | no_units
HLI-42 | crac17_master_alarm | no_units
HLI-42 | crac17_water_leak_alarm | no_units
HLI-42 | crac17_discharge_air_temperature_sensor | degrees_celsius
HLI-42 | crac17_return_air_temperature_setpoint | degrees_celsius
HLI-42 | crac17_return_air_relative_humidity_setpoint | percent_relative_humidity
HLI-42 | crac18_return_air_temperature_sen | degrees_celsius
HLI-42 | crac18_return_air_relative_humidity_sen | percent_relative_humidity
HLI-42 | crac18_discharge_fan_run_status | no_units
HLI-42 | crac18_compressor_run_status | no_units
HLI-42 | crac18_filter_alarm | no_units
HLI-42 | crac18_master_alarm | no_units
HLI-42 | crac18_water_leak_alarm | no_units
HLI-42 | crac18_discharge_air_temperature_sensor | degrees_celsius
HLI-42 | crac18_return_air_temperature_setpoint | degrees_celsius
HLI-42 | crac18_return_air_relative_humidity_setpoint | percent_relative_humidity
HLI-42 | crac19_return_air_temperature_sen | degrees_celsius
HLI-42 | crac19_return_air_relative_humidity_sen | percent_relative_humidity
HLI-42 | crac19_discharge_fan_run_status | no_units
HLI-42 | crac19_compressor_run_status | no_units
HLI-42 | crac19_filter_alarm | no_units
HLI-42 | crac19_master_alarm | no_units
HLI-42 | crac19_water_leak_alarm | no_units
HLI-42 | crac19_discharge_air_temperature_sensor | degrees_celsius
HLI-42 | crac19_return_air_temperature_setpoint | degrees_celsius
HLI-42 | crac19_return_air_relative_humidity_setpoint | percent_relative_humidity
HLI-42 | crac20_return_air_temperature_sen | degrees_celsius
HLI-42 | crac20_return_air_relative_humidity_sen | percent_relative_humidity
HLI-42 | crac20_discharge_fan_run_status | no_units
HLI-42 | crac20_compressor_run_status | no_units
HLI-42 | crac20_filter_alarm | no_units
HLI-42 | crac20_master_alarm | no_units
HLI-42 | crac20_water_leak_alarm | no_units
HLI-42 | crac20_discharge_air_temperature_sensor | degrees_celsius
HLI-42 | crac20_return_air_temperature_setpoint | degrees_celsius
HLI-42 | crac20_return_air_relative_humidity_setpoint | percent_relative_humidity
HLI-42 | crac21_return_air_temperature_sen | degrees_celsius
HLI-42 | crac21_return_air_relative_humidity_sen | percent_relative_humidity
HLI-42 | crac21_discharge_fan_run_status | no_units
HLI-42 | crac21_compressor_run_status | no_units
HLI-42 | crac21_filter_alarm | no_units
HLI-42 | crac21_master_alarm | no_units
HLI-42 | crac21_water_leak_alarm | no_units
HLI-42 | crac21_discharge_air_temperature_sensor | degrees_celsius
HLI-42 | crac21_return_air_temperature_setpoint | degrees_celsius
HLI-42 | crac21_return_air_relative_humidity_setpoint | percent_relative_humidity
HLI-42 | crac22_return_air_temperature_sen | degrees_celsius
HLI-42 | crac22_return_air_relative_humidity_sen | percent_relative_humidity
HLI-42 | crac22_discharge_fan_run_status | no_units
HLI-42 | crac22_compressor_run_status | no_units
HLI-42 | crac22_filter_alarm | no_units
HLI-42 | crac22_master_alarm | no_units
HLI-42 | crac22_water_leak_alarm | no_units
HLI-42 | crac22_discharge_air_temperature_sensor | degrees_celsius
HLI-42 | crac22_return_air_temperature_setpoint | degrees_celsius
HLI-42 | crac22_return_air_relative_humidity_setpoint | percent_relative_humidity
HLI-42 | crac23_return_air_temperature_sen | degrees_celsius
HLI-42 | crac23_return_air_relative_humidity_sen | percent_relative_humidity
HLI-42 | crac23_discharge_fan_run_status | no_units
HLI-42 | crac23_compressor_run_status | no_units
HLI-42 | crac23_filter_alarm | no_units
HLI-42 | crac23_master_alarm | no_units
HLI-42 | crac23_water_leak_alarm | no_units
HLI-42 | crac23_discharge_air_temperature_sensor | degrees_celsius
HLI-42 | crac23_return_air_temperature_setpoint | degrees_celsius
HLI-42 | crac23_return_air_relative_humidity_setpoint | percent_relative_humidity
HLI-24 | fcu_03_discharge_fan_run_command | no_units
HLI-24 | fcu_03_discharge_fan_run_status | no_units
HLI-24 | fcu_03_failed_discharge_fan_alarm | no_units
HLI-24 | fcu_03_discharge_fan_run_time_accumulator | hours
HLI-24 | fcu_03_return_air_temperature_setpoint | degrees_celsius
HLI-24 | fcu_03_return_air_temperature_sensor | degrees_celsius
HLI-24 | fcu_04_discharge_fan_run_command | no_units
HLI-24 | fcu_04_discharge_fan_run_status | no_units
HLI-24 | fcu_04_failed_discharge_fan_alarm | no_units
HLI-24 | fcu_04_discharge_fan_run_time_accumulator | hours
HLI-24 | fcu_04_return_air_temperature_setpoint | degrees_celsius
HLI-24 | fcu_04_return_air_temperature_sensor | degrees_celsius
HLI-24 | fcu_05_discharge_fan_run_command | no_units
HLI-24 | fcu_05_discharge_fan_run_status | no_units
HLI-24 | fcu_05_failed_discharge_fan_alarm | no_units
HLI-24 | fcu_05_discharge_fan_run_time_accumulator | hours
HLI-24 | fcu_05_return_air_temperature_setpoint | degrees_celsius
HLI-24 | fcu_05_return_air_temperature_sensor | degrees_celsius
HLI-24 | fcu_06_discharge_fan_run_command | no_units
HLI-24 | fcu_06_discharge_fan_run_status | no_units
HLI-24 | fcu_06_failed_discharge_fan_alarm | no_units
HLI-24 | fcu_06_discharge_fan_run_time_accumulator | hours
HLI-24 | fcu_06_return_air_temperature_setpoint | degrees_celsius
HLI-24 | fcu_06_return_air_temperature_sensor | degrees_celsius
HLI-24 | fcu_07_discharge_fan_run_command | no_units
HLI-24 | fcu_07_discharge_fan_run_status | no_units
HLI-24 | fcu_07_failed_discharge_fan_alarm | no_units
HLI-24 | fcu_07_discharge_fan_run_time_accumulator | hours
HLI-24 | fcu_07_return_air_temperature_setpoint | degrees_celsius
HLI-24 | fcu_07_return_air_temperature_sensor | degrees_celsius
HLI-24 | fcu_08_discharge_fan_run_command | no_units
HLI-24 | fcu_08_discharge_fan_run_status | no_units
HLI-24 | fcu_08_failed_discharge_fan_alarm | no_units
HLI-24 | fcu_08_discharge_fan_run_time_accumulator | hours
HLI-24 | fcu_08_return_air_temperature_setpoint | degrees_celsius
HLI-24 | fcu_08_return_air_temperature_sensor | degrees_celsius
HLI-24 | fcu_09_discharge_fan_run_command | no_units
HLI-24 | fcu_09_discharge_fan_run_status | no_units
HLI-24 | fcu_09_failed_discharge_fan_alarm | no_units
HLI-24 | fcu_09_discharge_fan_run_time_accumulator | hours
HLI-24 | fcu_09_return_air_temperature_setpoint | degrees_celsius
HLI-24 | fcu_09_return_air_temperature_sensor | degrees_celsius
HLI-24 | fcu_10_discharge_fan_run_command | no_units
HLI-24 | fcu_10_discharge_fan_run_status | no_units
HLI-24 | fcu_10_failed_discharge_fan_alarm | no_units
HLI-24 | fcu_10_discharge_fan_run_time_accumulator | hours
HLI-24 | fcu_10_return_air_temperature_setpoint | degrees_celsius
HLI-24 | fcu_10_return_air_temperature_sensor | degrees_celsius
HLI-24 | fcu_11_discharge_fan_run_command | no_units
HLI-24 | fcu_11_discharge_fan_run_status | no_units
HLI-24 | fcu_11_failed_discharge_fan_alarm | no_units
HLI-24 | fcu_11_discharge_fan_run_time_accumulator | hours
HLI-24 | fcu_11_return_air_temperature_setpoint | degrees_celsius
HLI-24 | fcu_11_return_air_temperature_sensor | degrees_celsius
HLI-24 | fcu_12_discharge_fan_run_command | no_units
HLI-24 | fcu_12_discharge_fan_run_status | no_units
HLI-24 | fcu_12_failed_discharge_fan_alarm | no_units
HLI-24 | fcu_12_discharge_fan_run_time_accumulator | hours
HLI-24 | fcu_12_return_air_temperature_setpoint | degrees_celsius
HLI-24 | fcu_12_return_air_temperature_sensor | degrees_celsius
HLI-24 | fcu_13_discharge_fan_run_command | no_units
HLI-24 | fcu_13_discharge_fan_run_status | no_units
HLI-24 | fcu_13_failed_discharge_fan_alarm | no_units
HLI-24 | fcu_13_discharge_fan_run_time_accumulator | hours
HLI-24 | fcu_13_return_air_temperature_setpoint | degrees_celsius
HLI-24 | fcu_13_return_air_temperature_sensor | degrees_celsius
HLI-24 | fcu_14_discharge_fan_run_command | no_units
HLI-24 | fcu_14_discharge_fan_run_status | no_units
HLI-24 | fcu_14_failed_discharge_fan_alarm | no_units
HLI-24 | fcu_14_discharge_fan_run_time_accumulator | hours
HLI-24 | fcu_14_return_air_temperature_setpoint | degrees_celsius
HLI-24 | fcu_14_return_air_temperature_sensor | degrees_celsius
HLI-24 | fcu_15_discharge_fan_run_command | no_units
HLI-24 | fcu_15_discharge_fan_run_status | no_units
HLI-24 | fcu_15_failed_discharge_fan_alarm | no_units
HLI-24 | fcu_15_discharge_fan_run_time_accumulator | hours
HLI-24 | fcu_15_return_air_temperature_setpoint | degrees_celsius
HLI-24 | fcu_15_return_air_temperature_sensor | degrees_celsius
HLI-24 | fcu_16_discharge_fan_run_command | no_units
HLI-24 | fcu_16_discharge_fan_run_status | no_units
HLI-24 | fcu_16_failed_discharge_fan_alarm | no_units
HLI-24 | fcu_16_discharge_fan_run_time_accumulator | hours
HLI-24 | fcu_16_return_air_temperature_setpoint | degrees_celsius
HLI-24 | fcu_16_return_air_temperature_sensor | degrees_celsius
HLI-24 | fcu_17_discharge_fan_run_command | no_units
HLI-24 | fcu_17_discharge_fan_run_status | no_units
HLI-24 | fcu_17_failed_discharge_fan_alarm | no_units
HLI-24 | fcu_17_discharge_fan_run_time_accumulator | hours
HLI-24 | fcu_17_return_air_temperature_setpoint | degrees_celsius
HLI-24 | fcu_17_return_air_temperature_sensor | degrees_celsius
HLI-24 | fcu_18_discharge_fan_run_command | no_units
HLI-24 | fcu_18_discharge_fan_run_status | no_units
HLI-24 | fcu_18_failed_discharge_fan_alarm | no_units
HLI-24 | fcu_18_discharge_fan_run_time_accumulator | hours
HLI-24 | fcu_18_return_air_temperature_setpoint | degrees_celsius
HLI-24 | fcu_18_return_air_temperature_sensor | degrees_celsius
HLI-24 | fcu_19_discharge_fan_run_command | no_units
HLI-24 | fcu_19_discharge_fan_run_status | no_units
HLI-24 | fcu_19_failed_discharge_fan_alarm | no_units
HLI-24 | fcu_19_discharge_fan_run_time_accumulator | hours
HLI-24 | fcu_19_return_air_temperature_setpoint | degrees_celsius
HLI-24 | fcu_19_return_air_temperature_sensor | degrees_celsius
HLI-24 | fcu_20_discharge_fan_run_command | no_units
HLI-24 | fcu_20_discharge_fan_run_status | no_units
HLI-24 | fcu_20_failed_discharge_fan_alarm | no_units
HLI-24 | fcu_20_discharge_fan_run_time_accumulator | hours
HLI-24 | fcu_20_return_air_temperature_setpoint | degrees_celsius
HLI-24 | fcu_20_return_air_temperature_sensor | degrees_celsius
HLI-24 | fcu_21_discharge_fan_run_command | no_units
HLI-24 | fcu_21_discharge_fan_run_status | no_units
HLI-24 | fcu_21_failed_discharge_fan_alarm | no_units
HLI-24 | fcu_21_discharge_fan_run_time_accumulator | hours
HLI-24 | fcu_21_return_air_temperature_setpoint | degrees_celsius
HLI-24 | fcu_21_return_air_temperature_sensor | degrees_celsius
HLI-24 | fcu_22_discharge_fan_run_command | no_units
HLI-24 | fcu_22_discharge_fan_run_status | no_units
HLI-24 | fcu_22_failed_discharge_fan_alarm | no_units
HLI-24 | fcu_22_discharge_fan_run_time_accumulator | hours
HLI-24 | fcu_22_return_air_temperature_setpoint | degrees_celsius
HLI-24 | fcu_22_return_air_temperature_sensor | degrees_celsius
HLI-24 | fcu_23_discharge_fan_run_command | no_units
HLI-24 | fcu_23_discharge_fan_run_status | no_units
HLI-24 | fcu_23_failed_discharge_fan_alarm | no_units
HLI-24 | fcu_23_discharge_fan_run_time_accumulator | hours
HLI-24 | fcu_23_return_air_temperature_setpoint | degrees_celsius
HLI-24 | fcu_23_return_air_temperature_sensor | degrees_celsius
HLI-24 | fcu_24_discharge_fan_run_command | no_units
HLI-24 | fcu_24_discharge_fan_run_status | no_units
HLI-24 | fcu_24_failed_discharge_fan_alarm | no_units
HLI-24 | fcu_24_discharge_fan_run_time_accumulator | hours
HLI-24 | fcu_24_return_air_temperature_setpoint | degrees_celsius
HLI-24 | fcu_24_return_air_temperature_sensor | degrees_celsius
HLI-24 | fcu_25_discharge_fan_run_command | no_units
HLI-24 | fcu_25_discharge_fan_run_status | no_units
HLI-24 | fcu_25_failed_discharge_fan_alarm | no_units
HLI-24 | fcu_25_discharge_fan_run_time_accumulator | hours
HLI-24 | fcu_25_return_air_temperature_setpoint | degrees_celsius
HLI-24 | fcu_25_return_air_temperature_sensor | degrees_celsius
HLI-24 | fcu_26_discharge_fan_run_command | no_units
HLI-24 | fcu_26_discharge_fan_run_status | no_units
HLI-24 | fcu_26_failed_discharge_fan_alarm | no_units
HLI-24 | fcu_26_discharge_fan_run_time_accumulator | hours
HLI-24 | fcu_26_return_air_temperature_setpoint | degrees_celsius
HLI-24 | fcu_26_return_air_temperature_sensor | degrees_celsius
HLI-24 | fcu_27_discharge_fan_run_command | no_units
HLI-24 | fcu_27_discharge_fan_run_status | no_units
HLI-24 | fcu_27_failed_discharge_fan_alarm | no_units
HLI-24 | fcu_27_discharge_fan_run_time_accumulator | hours
HLI-24 | fcu_27_return_air_temperature_setpoint | degrees_celsius
HLI-24 | fcu_27_return_air_temperature_sensor | degrees_celsius
HLI-24 | fcu_28_discharge_fan_run_command | no_units
HLI-24 | fcu_28_discharge_fan_run_status | no_units
HLI-24 | fcu_28_failed_discharge_fan_alarm | no_units
HLI-24 | fcu_28_discharge_fan_run_time_accumulator | hours
HLI-24 | fcu_28_return_air_temperature_setpoint | degrees_celsius
HLI-24 | fcu_28_return_air_temperature_sensor | degrees_celsius
HLI-24 | fcu_29_discharge_fan_run_command | no_units
HLI-24 | fcu_29_discharge_fan_run_status | no_units
HLI-24 | fcu_29_failed_discharge_fan_alarm | no_units
HLI-24 | fcu_29_discharge_fan_run_time_accumulator | hours
HLI-24 | fcu_29_return_air_temperature_setpoint | degrees_celsius
HLI-24 | fcu_29_return_air_temperature_sensor | degrees_celsius
HLI-24 | fcu_30_discharge_fan_run_command | no_units
HLI-24 | fcu_30_discharge_fan_run_status | no_units
HLI-24 | fcu_30_failed_discharge_fan_alarm | no_units
HLI-24 | fcu_30_discharge_fan_run_time_accumulator | hours
HLI-24 | fcu_30_return_air_temperature_setpoint | degrees_celsius
HLI-24 | fcu_30_return_air_temperature_sensor | degrees_celsius
HLI-24 | fcu_31_discharge_fan_run_command | no_units
HLI-24 | fcu_31_discharge_fan_run_status | no_units
HLI-24 | fcu_31_failed_discharge_fan_alarm | no_units
HLI-24 | fcu_31_discharge_fan_run_time_accumulator | hours
HLI-24 | fcu_31_return_air_temperature_setpoint | degrees_celsius
HLI-24 | fcu_31_return_air_temperature_sensor | degrees_celsius
HLI-24 | fcu_32_discharge_fan_run_command | no_units
HLI-24 | fcu_32_discharge_fan_run_status | no_units
HLI-24 | fcu_32_failed_discharge_fan_alarm | no_units
HLI-24 | fcu_32_discharge_fan_run_time_accumulator | hours
HLI-24 | fcu_32_return_air_temperature_setpoint | degrees_celsius
HLI-24 | fcu_32_return_air_temperature_sensor | degrees_celsius
HLI-24 | fcu_03_control_mode | no_units
HLI-24 | fcu_04_control_mode | no_units
HLI-24 | fcu_05_control_mode | no_units
HLI-24 | fcu_06_control_mode | no_units
HLI-24 | fcu_07_control_mode | no_units
HLI-24 | fcu_08_control_mode | no_units
HLI-24 | fcu_09_control_mode | no_units
HLI-24 | fcu_10_control_mode | no_units
HLI-24 | fcu_11_control_mode | no_units
HLI-24 | fcu_12_control_mode | no_units
HLI-24 | fcu_13_control_mode | no_units
HLI-24 | fcu_14_control_mode | no_units
HLI-24 | fcu_15_control_mode | no_units
HLI-24 | fcu_16_control_mode | no_units
HLI-24 | fcu_17_control_mode | no_units
HLI-24 | fcu_18_control_mode | no_units
HLI-24 | fcu_19_control_mode | no_units
HLI-24 | fcu_20_control_mode | no_units
HLI-24 | fcu_21_control_mode | no_units
HLI-24 | fcu_22_control_mode | no_units
HLI-24 | fcu_23_control_mode | no_units
HLI-24 | fcu_24_control_mode | no_units
HLI-24 | fcu_25_control_mode | no_units
HLI-24 | fcu_26_control_mode | no_units
HLI-24 | fcu_27_control_mode | no_units
HLI-24 | fcu_28_control_mode | no_units
HLI-24 | fcu_29_control_mode | no_units
HLI-24 | fcu_30_control_mode | no_units
HLI-24 | fcu_31_control_mode | no_units
HLI-24 | fcu_32_control_mode | no_units

## virtual_device_entities
virtual_points_type | device_points_type | dbo.source_device_field | dbo.virtual_device_field | dbo.abstracts

## asset_template
entity_instance_name | udmi.system.location.site | udmi.pointset.points | udmi.system.location.section | udmi.system.location.position.x | udmi.system.location.position.y | udmi.system.location.position.z | udmi.physical_tag.asset.guid | udmi.physical_tag.asset.site | udmi.physical_tag.asset.name | udmi.cloud.auth_type | dbo.devices_or_virtual_devices | dbo.type | dbo.connections.feeds | dbo.connections.controls | dbo.links | dbo.links.points | location | reporting_device