## locations
dbo.section | dbo.entity_name | dbo.type | dbo.id | dbo.connections.contains
Buildings | IN-GUR-SIGD | FACILITIES/BUILDING | 3654fc48-914e-4a55-82f6-126534244886
Floors | IN-GUR-SIGD_FL1 | FACILITIES/FLOOR | a388563d-58e3-4534-b133-19389f6650a4 | IN-GUR-SIGD
Rooms | IN-GUR-SIGD_RM1 | FACILITIES/ROOM | b9f2c8b8-d67e-4b50-824a-7b48ff877429 | IN-GUR-SIGD_FL1
Zones | IN-GUR-SIGD_ZN1 | HVAC/ZONE | a0f68db4-f074-49cf-8e80-d65634587f9f | IN-GUR-SIGD-RM1
Rooms | IN-GUR-SIGD_RM2 | FACILITIES/ROOM | 58d709a5-aa50-4134-a035-0ccc2d01fd48 | IN-GUR-SIGD_FL1
Zones | IN-GUR-SIGD_ZN2 | HVAC/ZONE | bdf2e667-8ab2-4ae3-bcc9-9c6c7d995535 | IN-GUR-SIGD_RM2

## assets
entity_instance_name | udmi.version | udmi.timestamp | udmi.system.location.site | udmi.system.location.section | udmi.system.location.position.x | udmi.system.location.position.y | udmi.system.location.position.z | udmi.physical_tag.asset.guid | udmi.physical_tag.asset.site | udmi.physical_tag.asset.name | udmi.pointset.points | udmi.cloud.auth_type | dbo.devices_or_virtual_devices | dbo.type | dbo.cloud_device_id | dbo.connections.feeds | dbo.connections.controls | dbo.links | dbo.links.points | Location | Reporting Device
HLI-43 | 1.4.1 | 2023-01-30T09:03:43Z | IN-BLR-BCPWK | 5F-AHU-RM | 10 | 10 | 10 | 41a23e25-bba1-81cb-6347-289372234f6e | IN-BLR-BCPWK | HLI-43 | HLI-43 | RS256 | Device | AQT | 2739703868848253 |  |  | HLI-43
HLI-10 | 1.4.1 | 2023-01-30T09:03:43Z | IN-BLR-BCPWK | UB-MMR-RM | 10 | 10 | 10 | 2a312129-8d7c-8988-7deb-fe61b3757ebf | IN-BLR-BCPWK | HLI-10 | HLI-10 | RS256 | Device | AQT | 2747211854135059 |  |  | HLI-10

## device_entities
points_type | udmi.pointset.points | udmi.pointset.units | dbo.states | dbo.translation.fields | dbo.translation.units | dbo.abstracts
HLI-43 | zone_air_co2_concentartion_sensor_36 | parts_per_million |  | zone_air_co2_concentartion_sensor_36 | parts_per_million: parts_per_million
HLI-43 | zone_air_temperature_sensor_36 | degrees_celsius |  | zone_air_temperature_sensor_36 | degrees_celsius: degrees_celsius
HLI-43 | zone_air_relative_humidity_sensor_36 | percent_relative_humidity |  | zone_air_relative_humidity_sensor_36 | percent_relative_humidity: percent_relative_humidity
HLI-43 | zone_air_formaldehyde_concentration_sensor_36 | parts_per_million |  | zone_air_formaldehyde_concentration_sensor_36 | parts_per_million: parts_per_million
HLI-43 | zone_air_pm2pt5_concentration_sensor_36 | parts_per_million |  | zone_air_pm2pt5_concentration_sensor_36 | parts_per_million: parts_per_million
HLI-43 | zone_air_co2_concentartion_sensor_37 | parts_per_million |  | zone_air_co2_concentartion_sensor_37 | parts_per_million: parts_per_million
HLI-43 | zone_air_temperature_sensor_37 | degrees_celsius |  | zone_air_temperature_sensor_37 | degrees_celsius: degrees_celsius
HLI-43 | zone_air_relative_humidity_sensor_37 | percent_relative_humidity |  | zone_air_relative_humidity_sensor_37 | percent_relative_humidity: percent_relative_humidity
HLI-43 | zone_air_formaldehyde_concentration_sensor_37 | parts_per_million |  | zone_air_formaldehyde_concentration_sensor_37 | parts_per_million: parts_per_million
HLI-43 | zone_air_pm2pt5_concentration_sensor_37 | parts_per_million |  | zone_air_pm2pt5_concentration_sensor_37 | parts_per_million: parts_per_million
HLI-43 | zone_air_co2_concentartion_sensor_38 | parts_per_million |  | zone_air_co2_concentartion_sensor_38 | parts_per_million: parts_per_million
HLI-43 | zone_air_temperature_sensor_38 | degrees_celsius |  | zone_air_temperature_sensor_38 | degrees_celsius: degrees_celsius
HLI-43 | zone_air_relative_humidity_sensor_38 | percent_relative_humidity |  | zone_air_relative_humidity_sensor_38 | percent_relative_humidity: percent_relative_humidity
HLI-43 | zone_air_formaldehyde_concentration_sensor_38 | parts_per_million |  | zone_air_formaldehyde_concentration_sensor_38 | parts_per_million: parts_per_million
HLI-43 | zone_air_pm2pt5_concentration_sensor_38 | parts_per_million |  | zone_air_pm2pt5_concentration_sensor_38 | parts_per_million: parts_per_million
HLI-43 | zone_air_co2_concentartion_sensor_39 | parts_per_million |  | zone_air_co2_concentartion_sensor_39 | parts_per_million: parts_per_million
HLI-43 | zone_air_temperature_sensor_39 | degrees_celsius |  | zone_air_temperature_sensor_39 | degrees_celsius: degrees_celsius
HLI-43 | zone_air_relative_humidity_sensor_39 | percent_relative_humidity |  | zone_air_relative_humidity_sensor_39 | percent_relative_humidity: percent_relative_humidity
HLI-43 | zone_air_formaldehyde_concentration_sensor_39 | parts_per_million |  | zone_air_formaldehyde_concentration_sensor_39 | parts_per_million: parts_per_million
HLI-43 | zone_air_pm2pt5_concentration_sensor_39 | parts_per_million |  | zone_air_pm2pt5_concentration_sensor_39 | parts_per_million: parts_per_million
HLI-43 | zone_air_co2_concentartion_sensor_40 | parts_per_million |  | zone_air_co2_concentartion_sensor_40 | parts_per_million: parts_per_million
HLI-43 | zone_air_temperature_sensor_40 | degrees_celsius |  | zone_air_temperature_sensor_40 | degrees_celsius: degrees_celsius
HLI-43 | zone_air_relative_humidity_sensor_40 | percent_relative_humidity |  | zone_air_relative_humidity_sensor_40 | percent_relative_humidity: percent_relative_humidity
HLI-43 | zone_air_formaldehyde_concentration_sensor_40 | parts_per_million |  | zone_air_formaldehyde_concentration_sensor_40 | parts_per_million: parts_per_million
HLI-43 | zone_air_pm2pt5_concentration_sensor_40 | parts_per_million |  | zone_air_pm2pt5_concentration_sensor_40 | parts_per_million: parts_per_million
HLI-43 | zone_air_co2_concentartion_sensor_41 | parts_per_million |  | zone_air_co2_concentartion_sensor_41 | parts_per_million: parts_per_million
HLI-43 | zone_air_temperature_sensor_41 | degrees_celsius |  | zone_air_temperature_sensor_41 | degrees_celsius: degrees_celsius
HLI-43 | zone_air_relative_humidity_sensor_41 | percent_relative_humidity |  | zone_air_relative_humidity_sensor_41 | percent_relative_humidity: percent_relative_humidity
HLI-43 | zone_air_formaldehyde_concentration_sensor_41 | parts_per_million |  | zone_air_formaldehyde_concentration_sensor_41 | parts_per_million: parts_per_million
HLI-43 | zone_air_pm2pt5_concentration_sensor_41 | parts_per_million |  | zone_air_pm2pt5_concentration_sensor_41 | parts_per_million: parts_per_million
HLI-43 | zone_air_co2_concentartion_sensor_42 | parts_per_million |  | zone_air_co2_concentartion_sensor_42 | parts_per_million: parts_per_million
HLI-43 | zone_air_temperature_sensor_42 | degrees_celsius |  | zone_air_temperature_sensor_42 | degrees_celsius: degrees_celsius
HLI-43 | zone_air_relative_humidity_sensor_42 | percent_relative_humidity |  | zone_air_relative_humidity_sensor_42 | percent_relative_humidity: percent_relative_humidity
HLI-43 | zone_air_formaldehyde_concentration_sensor_42 | parts_per_million |  | zone_air_formaldehyde_concentration_sensor_42 | parts_per_million: parts_per_million
HLI-43 | zone_air_pm2pt5_concentration_sensor_42 | parts_per_million |  | zone_air_pm2pt5_concentration_sensor_42 | parts_per_million: parts_per_million
HLI-43 | zone_air_co2_concentartion_sensor_43 | parts_per_million |  | zone_air_co2_concentartion_sensor_43 | parts_per_million: parts_per_million
HLI-43 | zone_air_temperature_sensor_43 | degrees_celsius |  | zone_air_temperature_sensor_43 | degrees_celsius: degrees_celsius
HLI-43 | zone_air_relative_humidity_sensor_43 | percent_relative_humidity |  | zone_air_relative_humidity_sensor_43 | percent_relative_humidity: percent_relative_humidity
HLI-43 | zone_air_formaldehyde_concentration_sensor_43 | parts_per_million |  | zone_air_formaldehyde_concentration_sensor_43 | parts_per_million: parts_per_million
HLI-43 | zone_air_pm2pt5_concentration_sensor_43 | parts_per_million |  | zone_air_pm2pt5_concentration_sensor_43 | parts_per_million: parts_per_million
HLI-43 | zone_air_co2_concentartion_sensor_44 | parts_per_million |  | zone_air_co2_concentartion_sensor_44 | parts_per_million: parts_per_million
HLI-43 | zone_air_temperature_sensor_44 | degrees_celsius |  | zone_air_temperature_sensor_44 | degrees_celsius: degrees_celsius
HLI-43 | zone_air_relative_humidity_sensor_44 | percent_relative_humidity |  | zone_air_relative_humidity_sensor_44 | percent_relative_humidity: percent_relative_humidity
HLI-43 | zone_air_formaldehyde_concentration_sensor_44 | parts_per_million |  | zone_air_formaldehyde_concentration_sensor_44 | parts_per_million: parts_per_million
HLI-43 | zone_air_pm2pt5_concentration_sensor_44 | parts_per_million |  | zone_air_pm2pt5_concentration_sensor_44 | parts_per_million: parts_per_million
HLI-43 | zone_air_co2_concentartion_sensor_45 | parts_per_million |  | zone_air_co2_concentartion_sensor_45 | parts_per_million: parts_per_million
HLI-43 | zone_air_temperature_sensor_45 | degrees_celsius |  | zone_air_temperature_sensor_45 | degrees_celsius: degrees_celsius
HLI-43 | zone_air_relative_humidity_sensor_45 | percent_relative_humidity |  | zone_air_relative_humidity_sensor_45 | percent_relative_humidity: percent_relative_humidity
HLI-43 | zone_air_formaldehyde_concentration_sensor_45 | parts_per_million |  | zone_air_formaldehyde_concentration_sensor_45 | parts_per_million: parts_per_million
HLI-43 | zone_air_pm2pt5_concentration_sensor_45 | parts_per_million |  | zone_air_pm2pt5_concentration_sensor_45 | parts_per_million: parts_per_million
HLI-43 | zone_air_co2_concentartion_sensor_46 | parts_per_million |  | zone_air_co2_concentartion_sensor_46 | parts_per_million: parts_per_million
HLI-43 | zone_air_temperature_sensor_46 | degrees_celsius |  | zone_air_temperature_sensor_46 | degrees_celsius: degrees_celsius
HLI-43 | zone_air_relative_humidity_sensor_46 | percent_relative_humidity |  | zone_air_relative_humidity_sensor_46 | percent_relative_humidity: percent_relative_humidity
HLI-43 | zone_air_formaldehyde_concentration_sensor_46 | parts_per_million |  | zone_air_formaldehyde_concentration_sensor_46 | parts_per_million: parts_per_million
HLI-43 | zone_air_pm2pt5_concentration_sensor_46 | parts_per_million |  | zone_air_pm2pt5_concentration_sensor_46 | parts_per_million: parts_per_million
HLI-10 | zone_air_co2_concentartion_sensor_47 | parts_per_million |  | zone_air_co2_concentartion_sensor_47 | parts_per_million: parts_per_million
HLI-10 | zone_air_temperature_sensor_47 | degrees_celsius |  | zone_air_temperature_sensor_47 | degrees_celsius: degrees_celsius
HLI-10 | zone_air_relative_humidity_sensor_47 | percent_relative_humidity |  | zone_air_relative_humidity_sensor_47 | percent_relative_humidity: percent_relative_humidity
HLI-10 | zone_air_formaldehyde_concentration_sensor_47 | parts_per_million |  | zone_air_formaldehyde_concentration_sensor_47 | parts_per_million: parts_per_million
HLI-10 | zone_air_pm2pt5_concentration_sensor_47 | parts_per_million |  | zone_air_pm2pt5_concentration_sensor_47 | parts_per_million: parts_per_million
HLI-10 | zone_air_co2_concentartion_sensor_48 | parts_per_million |  | zone_air_co2_concentartion_sensor_48 | parts_per_million: parts_per_million
HLI-10 | zone_air_temperature_sensor_48 | degrees_celsius |  | zone_air_temperature_sensor_48 | degrees_celsius: degrees_celsius
HLI-10 | zone_air_relative_humidity_sensor_48 | percent_relative_humidity |  | zone_air_relative_humidity_sensor_48 | percent_relative_humidity: percent_relative_humidity
HLI-10 | zone_air_formaldehyde_concentration_sensor_48 | parts_per_million |  | zone_air_formaldehyde_concentration_sensor_48 | parts_per_million: parts_per_million
HLI-10 | zone_air_pm2pt5_concentration_sensor_48 | parts_per_million |  | zone_air_pm2pt5_concentration_sensor_48 | parts_per_million: parts_per_million
HLI-10 | zone_air_co2_concentartion_sensor_49 | parts_per_million |  | zone_air_co2_concentartion_sensor_49 | parts_per_million: parts_per_million
HLI-10 | zone_air_temperature_sensor_49 | degrees_celsius |  | zone_air_temperature_sensor_49 | degrees_celsius: degrees_celsius
HLI-10 | zone_air_relative_humidity_sensor_49 | percent_relative_humidity |  | zone_air_relative_humidity_sensor_49 | percent_relative_humidity: percent_relative_humidity
HLI-10 | zone_air_formaldehyde_concentration_sensor_49 | parts_per_million |  | zone_air_formaldehyde_concentration_sensor_49 | parts_per_million: parts_per_million
HLI-10 | zone_air_pm2pt5_concentration_sensor_49 | parts_per_million |  | zone_air_pm2pt5_concentration_sensor_49 | parts_per_million: parts_per_million
HLI-10 | zone_air_co2_concentartion_sensor_50 | parts_per_million |  | zone_air_co2_concentartion_sensor_50 | parts_per_million: parts_per_million
HLI-10 | zone_air_temperature_sensor_50 | degrees_celsius |  | zone_air_temperature_sensor_50 | degrees_celsius: degrees_celsius
HLI-10 | zone_air_relative_humidity_sensor_50 | percent_relative_humidity |  | zone_air_relative_humidity_sensor_50 | percent_relative_humidity: percent_relative_humidity
HLI-10 | zone_air_formaldehyde_concentration_sensor_50 | parts_per_million |  | zone_air_formaldehyde_concentration_sensor_50 | parts_per_million: parts_per_million
HLI-10 | zone_air_pm2pt5_concentration_sensor_50 | parts_per_million |  | zone_air_pm2pt5_concentration_sensor_50 | parts_per_million: parts_per_million
HLI-10 | zone_air_co2_concentartion_sensor_51 | parts_per_million |  | zone_air_co2_concentartion_sensor_51 | parts_per_million: parts_per_million
HLI-10 | zone_air_temperature_sensor_51 | degrees_celsius |  | zone_air_temperature_sensor_51 | degrees_celsius: degrees_celsius
HLI-10 | zone_air_relative_humidity_sensor_51 | percent_relative_humidity |  | zone_air_relative_humidity_sensor_51 | percent_relative_humidity: percent_relative_humidity
HLI-10 | zone_air_formaldehyde_concentration_sensor_51 | parts_per_million |  | zone_air_formaldehyde_concentration_sensor_51 | parts_per_million: parts_per_million
HLI-10 | zone_air_pm2pt5_concentration_sensor_51 | parts_per_million |  | zone_air_pm2pt5_concentration_sensor_51 | parts_per_million: parts_per_million
HLI-10 | zone_air_co2_concentartion_sensor_52 | parts_per_million |  | zone_air_co2_concentartion_sensor_52 | parts_per_million: parts_per_million
HLI-10 | zone_air_temperature_sensor_52 | degrees_celsius |  | zone_air_temperature_sensor_52 | degrees_celsius: degrees_celsius
HLI-10 | zone_air_relative_humidity_sensor_52 | percent_relative_humidity |  | zone_air_relative_humidity_sensor_52 | percent_relative_humidity: percent_relative_humidity
HLI-10 | zone_air_formaldehyde_concentration_sensor_52 | parts_per_million |  | zone_air_formaldehyde_concentration_sensor_52 | parts_per_million: parts_per_million
HLI-10 | zone_air_pm2pt5_concentration_sensor_52 | parts_per_million |  | zone_air_pm2pt5_concentration_sensor_52 | parts_per_million: parts_per_million
HLI-10 | zone_air_co2_concentartion_sensor_53 | parts_per_million |  | zone_air_co2_concentartion_sensor_53 | parts_per_million: parts_per_million
HLI-10 | zone_air_temperature_sensor_53 | degrees_celsius |  | zone_air_temperature_sensor_53 | degrees_celsius: degrees_celsius
HLI-10 | zone_air_relative_humidity_sensor_53 | percent_relative_humidity |  | zone_air_relative_humidity_sensor_53 | percent_relative_humidity: percent_relative_humidity
HLI-10 | zone_air_formaldehyde_concentration_sensor_53 | parts_per_million |  | zone_air_formaldehyde_concentration_sensor_53 | parts_per_million: parts_per_million
HLI-10 | zone_air_pm2pt5_concentration_sensor_53 | parts_per_million |  | zone_air_pm2pt5_concentration_sensor_53 | parts_per_million: parts_per_million
s

## network
network_type | udmi.localnet.families | udmi.localnet.id
HLI-43 | bacnet

## virtual_device_entities
virtual_points_type | device_points_type | dbo.source_device_field | dbo.virtual_device_field | dbo.abstracts

## asset_template
entity_instance_name | udmi.system.location.site | udmi.pointset.points | udmi.system.location.section | udmi.system.location.position.x | udmi.system.location.position.y | udmi.system.location.position.z | udmi.physical_tag.asset.guid | udmi.physical_tag.asset.site | udmi.physical_tag.asset.name | udmi.cloud.auth_type | dbo.devices_or_virtual_devices | dbo.type | dbo.connections.feeds | dbo.connections.controls | dbo.links | dbo.links.points | location | reporting_device