## locations
dbo.section | dbo.entity_name | dbo.type | dbo.connections.contains
Buildings | IN-GUR-SIGD | FACILITIES/BUILDING
Floors | IN-GUR-SIGD_FL1 | FACILITIES/FLOOR | IN-GUR-SIGD
Rooms | IN-GUR-SIGD_RM1 | FACILITIES/ROOM | IN-GUR-SIGD_FL1
Zones | IN-GUR-SIGD_ZN1 | HVAC/ZONE | IN-GUR-SIGD_RM1
Rooms | IN-GUR-SIGD_RM2 | FACILITIES/ROOM | IN-GUR-SIGD_ZN1
Zones | IN-GUR-SIGD_ZN2 | HVAC/ZONE | IN-GUR-SIGD_RM2

## assets
entity_instance_name | udmi.version | udmi.timestamp | udmi.system.location.site | udmi.system.location.section | udmi.system.location.position.x | udmi.system.location.position.y | udmi.system.location.position.z | udmi.physical_tag.asset.guid | udmi.physical_tag.asset.site | udmi.physical_tag.asset.name | udmi.pointset.points | udmi.cloud.auth_type | dbo.devices_or_virtual_devices | dbo.type | dbo.cloud_device_id | dbo.connections.feeds | dbo.connections.controls | dbo.links | dbo.links.points | Location | Reporting Device
HLI-13 | 1.4.1 | 2023-01-30T09:03:43Z | IN-BLR-BCPWK | UB | 10 | 10 | 10 | 853ab339-f922-9d76-3523-a1c5a5760eac | IN-BLR-BCPWK | HLI-13 | HLI-13 | RS256 | Device | HVAC/AHU_ |  |  |  |  | HLI-13
HLI-7 | 1.4.2 | 2023-01-30T09:03:43Z | IN-BLR-BCPWK | UB | 10 | 10 | 10 | 03090382-3cc0-2b68-66b1-0c5bd33da105 | IN-BLR-BCPWK | HLI-7 | HLI-7 | RS256 | Device | HVAC/AHU_ |  |  |  |  | HLI-7

## device_entities
points_type | udmi.pointset.points | udmi.pointset.units | dbo.states | dbo.translation.fields | dbo.translation.units | dbo.abstracts
HLI-7 | water_leak_alarm_01 | no_units | true=ACTIVE false=INACTIVE | water_leak_alarm_01
HLI-7 | water_leak_cable_distance_sensor_01 | meters |  | water_leak_cable_distance_sensor_01 | metres: metres
HLI-7 | water_leak_alarm_02 | no_units | true=ACTIVE false=INACTIVE | water_leak_alarm_02
HLI-7 | water_leak_cable_distance_sensor_02 | meters |  | water_leak_cable_distance_sensor_02 | metres: metres
HLI-7 | water_leak_alarm_03 | no_units | true=ACTIVE false=INACTIVE | water_leak_alarm_03
HLI-7 | water_leak_cable_distance_sensor_03 | meters |  | water_leak_cable_distance_sensor_03 | metres: metres
HLI-7 | water_leak_alarm_04 | no_units | true=ACTIVE false=INACTIVE | water_leak_alarm_04
HLI-7 | water_leak_cable_distance_sensor_04 | meters |  | water_leak_cable_distance_sensor_04 | metres: metres
HLI-7 | water_leak_alarm_05 | no_units | true=ACTIVE false=INACTIVE | water_leak_alarm_05
HLI-7 | water_leak_cable_distance_sensor_05 | meters |  | water_leak_cable_distance_sensor_05 | metres: metres
HLI-7 | water_leak_alarm_06 | no_units | true=ACTIVE false=INACTIVE | water_leak_alarm_06
HLI-7 | water_leak_cable_distance_sensor_06 | meters |  | water_leak_cable_distance_sensor_06 | metres: metres
HLI-7 | water_leak_alarm_07 | no_units | true=ACTIVE false=INACTIVE | water_leak_alarm_07
HLI-7 | water_leak_cable_distance_sensor_07 | meters |  | water_leak_cable_distance_sensor_07 | metres: metres
HLI-7 | water_leak_alarm_08 | no_units | true=ACTIVE false=INACTIVE | water_leak_alarm_08
HLI-7 | water_leak_cable_distance_sensor_08 | meters |  | water_leak_cable_distance_sensor_08 | metres: metres
HLI-7 | water_leak_alarm_09 | no_units | true=ACTIVE false=INACTIVE | water_leak_alarm_09
HLI-7 | water_leak_cable_distance_sensor_09 | meters |  | water_leak_cable_distance_sensor_09 | metres: metres
HLI-7 | water_leak_alarm_10 | no_units | true=ACTIVE false=INACTIVE | water_leak_alarm_10
HLI-7 | water_leak_cable_distance_sensor_10 | meters |  | water_leak_cable_distance_sensor_10 | metres: metres
HLI-7 | water_leak_alarm_11 | no_units | true=ACTIVE false=INACTIVE | water_leak_alarm_11
HLI-7 | water_leak_cable_distance_sensor_11 | meters |  | water_leak_cable_distance_sensor_11 | metres: metres
HLI-13 | transducer_failed_alarm_01 | no_units | true=ACTIVE false=INACTIVE | transducer_failed_alarm_01
HLI-13 | transducer_failed_alarm_02 | no_units | true=ACTIVE false=INACTIVE | transducer_failed_alarm_02
HLI-13 | transducer_failed_alarm_03 | no_units | true=ACTIVE false=INACTIVE | transducer_failed_alarm_03
HLI-13 | transducer_failed_alarm_04 | no_units | true=ACTIVE false=INACTIVE | transducer_failed_alarm_04
HLI-13 | transducer_failed_alarm_05 | no_units | true=ACTIVE false=INACTIVE | transducer_failed_alarm_05
HLI-13 | transducer_failed_alarm_06 | no_units | true=ACTIVE false=INACTIVE | transducer_failed_alarm_06
HLI-13 | transducer_failed_alarm_07 | no_units | true=ACTIVE false=INACTIVE | transducer_failed_alarm_07
HLI-13 | transducer_failed_alarm_08 | no_units | true=ACTIVE false=INACTIVE | transducer_failed_alarm_08
HLI-13 | transducer_failed_alarm_09 | no_units | true=ACTIVE false=INACTIVE | transducer_failed_alarm_09
HLI-13 | transducer_failed_alarm_10 | no_units | true=ACTIVE false=INACTIVE | transducer_failed_alarm_10
HLI-13 | transducer_failed_alarm_11 | no_units | true=ACTIVE false=INACTIVE | transducer_failed_alarm_11

## virtual_device_entities
virtual_points_type | device_points_type | dbo.source_device_field | dbo.virtual_device_field | dbo.abstracts

## asset_template
entity_instance_name | udmi.system.location.site | udmi.pointset.points | udmi.system.location.section | udmi.system.location.position.x | udmi.system.location.position.y | udmi.system.location.position.z | udmi.physical_tag.asset.guid | udmi.physical_tag.asset.site | udmi.physical_tag.asset.name | udmi.cloud.auth_type | dbo.devices_or_virtual_devices | dbo.type | dbo.connections.feeds | dbo.connections.controls | dbo.links | dbo.links.points | location | reporting_device