## locations
dbo.section | dbo.entity_name | dbo.type | dbo.connections.contains
Buildings | IN-GUR-SIGD | FACILITIES/BUILDING
Floors | IN-GUR-SIGD_FL1 | FACILITIES/FLOOR | IN-GUR-SIGD
Rooms | IN-GUR-SIGD_RM1 | FACILITIES/ROOM | IN-GUR-SIGD_FL1
Zones | IN-GUR-SIGD_ZN1 | HVAC/ZONE | IN-GUR-SIGD_RM1
Rooms | IN-GUR-SIGD_RM2 | FACILITIES/ROOM | IN-GUR-SIGD_ZN1
Zones | IN-GUR-SIGD_ZN2 | HVAC/ZONE | IN-GUR-SIGD_RM2

## assets
entity_instance_name | udmi.version | udmi.timestamp | udmi.system.location.site | udmi.system.location.section | udmi.system.location.position.x | udmi.system.location.position.y | udmi.system.location.position.z | udmi.physical_tag.asset.guid | udmi.physical_tag.asset.site | udmi.physical_tag.asset.name | udmi.pointset.points | udmi.cloud.auth_type | dbo.devices_or_virtual_devices | dbo.type | dbo.cloud_device_id | dbo.connections.feeds | dbo.connections.controls | dbo.links | dbo.links.points | Location | Reporting Device
HLI-4 | 1.4.1 | 2022-12-05T09:03:43Z | IN-BLR-BCPWK | UB-MMR-ROOM | 10 | 10 | 10 | 749afd33-f0a3-d7e0-7089-f7d4e53f2c61 | IN-BLR-BCPWK | HLI-4 | HLI-4 | RS256 | Device

## device_entities
points_type | udmi.pointset.points | udmi.pointset.units | dbo.states | dbo.translation.fields | dbo.translation.units | dbo.abstracts
HLI-4 | wch_01_ supply_water_isolation_valve_status | No-units
HLI-4 | wch_02_ supply_water_isolation_valve_status | No-units
HLI-4 | ach_01_return_water_temperature_sensor | degrees_celsius
HLI-4 | ach_01_supply_water_temperature_sensor | degrees_celsius
HLI-4 | ach_02_return_water_temperature_sensor | degrees_celsius
HLI-4 | ach_02_supply_water_temperature_sensor | degrees_celsius
HLI-4 | wch_01_ condensing_return_water_temperature_sensor | degrees_celsius
HLI-4 | wch_01_ condensing_supply_water_temperature_sensor | degrees_celsius
HLI-4 | wch_02_ condensing_return_water_temperature_sensor | pascals
HLI-4 | wch_02_ condensing_supply_water_temperature_sensor | percent
HLI-4 | wch_01_condensing_water_flowrate_status | No-units
HLI-4 | wch_02_condensing_water_flowrate_status | No-units
HLI-4 | wch_01_return_water_temperature_sensor | degrees_celsius
HLI-4 | wch_01_supply_water_temperature_sensor | degrees_celsius
HLI-4 | wch_02_return_water_temperature_sensor | degrees_celsius
HLI-4 | wch_02_supply_water_temperature_sensor | degrees_celsius
HLI-4 | wch_01_run_status | No-units
HLI-4 | wch_02_supply_water_temperature_setpoint | degrees_celsius
HLI-4 | wch_01_supply_water_temperature_setpoint | degrees_celsius
HLI-4 | wch_01_control_mode | No-units
HLI-4 | wch_02_compressor_run_status_01 | No-units
HLI-4 | wch_02_compressor_run_status_02 | No-units
HLI-4 | ach_01_compressor_run_status_01 | No-units
HLI-4 | ach_01_compressor_run_status_02 | No-units
HLI-4 | ach_02_supply_water_temperature_setpoint | degrees_celsius
HLI-4 | ach_02_compressor_run_status_01 | No-units
HLI-4 | ach_02_compressor_run_status_02 | No-units
HLI-4 | ach_01_supply_water_isolation_valve_status | No-units
HLI-4 | ach_02_supply_water_isolation_valve_status | No-units
HLI-4 | wch_02_power_sensor | kilowatts
HLI-4 | wch_02_energy_accumulator | kilowatt_hours
HLI-4 | wch_01_power_sensor | kilowatts
HLI-4 | ach_01_supply_water_temperature_setpoint | degrees_celsius
HLI-4 | ach_01_control_mode | No-units
HLI-4 | wch_01_energy_accumulator | kilowatt_hours
HLI-4 | ach_01_power_sensor | kilowatts
HLI-4 | ach_01_energy_accumulator | kilowatt_hours
HLI-4 | ach_02_power_sensor | kilowatts
HLI-4 | ach_02_energy_accumulator | kilowatt_hours
HLI-4 | pchwp_01_run_status | No-units
HLI-4 | pchwp_01_lost_power_alarm | No-units
HLI-4 | pchwp_02_run_status | No-units
HLI-4 | pchwp_02_lost_power_alarm | No-units
HLI-4 | pchwp_03_run_status | No-units
HLI-4 | pchwp_03_lost_power_alarm | No-units
HLI-4 | pchwp_04_run_status | No-units
HLI-4 | pchwp_04_lost_power_alarm | No-units
HLI-4 | pchwp_05_run_status | No-units
HLI-4 | pchwp_05_lost_power_alarm | No-units
HLI-4 | pchwp_01_control_mode | No-units
HLI-4 | pchwp_02_control_mode | No-units
HLI-4 | pchwp_03_control_mode | No-units
HLI-4 | pchwp_04_control_mode | No-units
HLI-4 | pchwp_05_control_mode | No-units
HLI-4 | cdwp_01_control_mode | No-units
HLI-4 | cdwp_02_control_mode | No-units
HLI-4 | cdwp_03_control_mode | No-units
HLI-4 | schwp_01_run_status | No-units
HLI-4 | schwp_02_run_status | No-units
HLI-4 | schwp_03_run_status | No-units
HLI-4 | schwp_04_run_status | No-units
HLI-4 | schwp_05_run_status | No-units
HLI-4 | cdwp_01_run_status | No-units
HLI-4 | cdwp_01_lost_power_alarm | No-units
HLI-4 | cdwp_02_run_status | No-units
HLI-4 | cdwp_02_lost_power_alarm | No-units
HLI-4 | cdwp_03_run_status | No-units
HLI-4 | cdwp_03_lost_power_alarm | No-units
HLI-4 | ct_01_control_mode | No-units
HLI-4 | ct_01_run_time_accumulator | hours
HLI-4 | ct_01_run_status | No-units
HLI-4 | ct_01_lost_power_alarm | No-units
HLI-4 | ct_02_control_mode | No-units
HLI-4 | ct_02_return_water_isolation_valve_status | No-units
HLI-4 | ct_02_supply_water_isolation_valve_status | No-units
HLI-4 | ct_02_run_time_accumulator | No-units
HLI-4 | ct_02_run_status | No-units
HLI-4 | ct_02_lost_power_alarm | No-units
HLI-4 | ct_01_return_water_isolation_valve_status | No-units
HLI-4 | ct_01_supply_water_isolation_valve_status | No-units
HLI-4 | chws_com_return_water_temperature_sensor | degrees_celsius
HLI-4 | chws_com_supply_water_temperature_sensor | degrees_celsius
HLI-4 | cdws_com_return_water_temperature_sensor | degrees_celsius
HLI-4 | cdws_com_supply_water_temperature_sensor | degrees_celsius
HLI-4 | hm_01_cooling_thermal_energy_accumulator | megawatt_hours
HLI-4 | hm_01_return_water_temperature_sensor | degrees_celsius
HLI-4 | hm_01_supply_water_temperature_sensor | degrees_celsius
HLI-4 | hm_01_cooling_thermal_power_sensor | watts
HLI-4 | hm_01_chilled_water_flowrate_sensor | cubic_meters_per_hour
HLI-4 | hm_02_cooling_thermal_energy_accumulator | megawatt_hours
HLI-4 | hm_02_return_water_temperature_sensor | degrees_celsius
HLI-4 | hm_02_supply_water_temperature_sensor | degrees_celsius
HLI-4 | hm_02_cooling_thermal_power_sensor | watts
HLI-4 | hm_02_chilled_water_flowrate_sensor | cubic_meters_per_hour
HLI-4 | hm_03_cooling_thermal_energy_accumulator | megawatt_hours
HLI-4 | hm_03_return_water_temperature_sensor | degrees_celsius
HLI-4 | hm_03_supply_water_temperature_sensor | degrees_celsius
HLI-4 | hm_03_cooling_thermal_power_sensor | watts
HLI-4 | hm_03_chilled_water_flowrate_sensor | cubic_meters_per_hour
HLI-4 | hm_04_cooling_thermal_energy_accumulator | megawatt_hours
HLI-4 | hm_04_return_water_temperature_sensor | degrees_celsius
HLI-4 | hm_04_supply_water_temperature_sensor | degrees_celsius
HLI-4 | hm_04_cooling_thermal_power_sensor | watts
HLI-4 | hm_04_chilled_water_flowrate_sensor | cubic_meters_per_hour
HLI-4 | hm_05_cooling_thermal_energy_accumulator | megawatt_hours
HLI-4 | hm_05_return_water_temperature_sensor | degrees_celsius
HLI-4 | hm_05_supply_water_temperature_sensor | degrees_celsius
HLI-4 | hm_05_cooling_thermal_power_sensor | watts
HLI-4 | hm_05_chilled_water_flowrate_sensor | cubic_meters_per_hour
HLI-4 | hm_06_cooling_thermal_energy_accumulator | megawatt_hours
HLI-4 | hm_06_return_water_temperature_sensor | degrees_celsius
HLI-4 | hm_06_supply_water_temperature_sensor | degrees_celsius
HLI-4 | hm_06_cooling_thermal_power_sensor | watts
HLI-4 | hm_06_chilled_water_flowrate_sensor | cubic_meters_per_hour
HLI-4 | hm_07_cooling_thermal_energy_accumulator | megawatt_hours
HLI-4 | hm_07_return_water_temperature_sensor | degrees_celsius
HLI-4 | hm_07_supply_water_temperature_sensor | degrees_celsius
HLI-4 | hm_07_cooling_thermal_power_sensor | watts
HLI-4 | hm_07_chilled_water_flowrate_sensor | cubic_meters_per_hour
HLI-4 | hm_08_cooling_thermal_energy_accumulator | megawatt_hours
HLI-4 | hm_08_return_water_temperature_sensor | degrees_celsius
HLI-4 | hm_08_supply_water_temperature_sensor | degrees_celsius
HLI-4 | hm_08_cooling_thermal_power_sensor | watts
HLI-4 | hm_08_chilled_water_flowrate_sensor | cubic_meters_per_hour
HLI-4 | hm_09_cooling_thermal_energy_accumulator | megawatt_hours
HLI-4 | hm_09_return_water_temperature_sensor | degrees_celsius
HLI-4 | hm_09_supply_water_temperature_sensor | degrees_celsius
HLI-4 | hm_09_cooling_thermal_power_sensor | watts
HLI-4 | hm_09_chilled_water_flowrate_sensor | cubic_meters_per_hour
HLI-4 | hm_10_cooling_thermal_energy_accumulator | megawatt_hours
HLI-4 | hm_10_return_water_temperature_sensor | degrees_celsius
HLI-4 | hm_10_supply_water_temperature_sensor | degrees_celsius
HLI-4 | hm_10_cooling_thermal_power_sensor | watts
HLI-4 | hm_10_chilled_water_flowrate_sensor | cubic_meters_per_hour
HLI-4 | hm_11_cooling_thermal_energy_accumulator | megawatt_hours
HLI-4 | hm_11_return_water_temperature_sensor | degrees_celsius
HLI-4 | hm_11_supply_water_temperature_sensor | degrees_celsius
HLI-4 | hm_11_cooling_thermal_power_sensor | watts
HLI-4 | hm_11_chilled_water_flowrate_sensor | cubic_meters_per_hour
HLI-4 | hm_12_cooling_thermal_energy_accumulator | megawatt_hours
HLI-4 | hm_12_return_water_temperature_sensor | degrees_celsius
HLI-4 | hm_12_supply_water_temperature_sensor | degrees_celsius
HLI-4 | hm_12_cooling_thermal_power_sensor | watts
HLI-4 | hm_12_chilled_water_flowrate_sensor | cubic_meters_per_hour
HLI-4 | hm_13_cooling_thermal_energy_accumulator | megawatt_hours
HLI-4 | hm_13_return_water_temperature_sensor | degrees_celsius
HLI-4 | hm_13_supply_water_temperature_sensor | degrees_celsius
HLI-4 | hm_13_cooling_thermal_power_sensor | watts
HLI-4 | hm_13_chilled_water_flowrate_sensor | cubic_meters_per_hour
HLI-4 | hm_14_cooling_thermal_energy_accumulator | megawatt_hours
HLI-4 | hm_14_return_water_temperature_sensor | degrees_celsius
HLI-4 | hm_14_supply_water_temperature_sensor | degrees_celsius
HLI-4 | hm_14_cooling_thermal_power_sensor | watts
HLI-4 | hm_14_chilled_water_flowrate_sensor | cubic_meters_per_hour
HLI-4 | hm_15_cooling_thermal_energy_accumulator | megawatt_hours
HLI-4 | hm_15_return_water_temperature_sensor | degrees_celsius
HLI-4 | hm_15_supply_water_temperature_sensor | degrees_celsius
HLI-4 | hm_15_cooling_thermal_power_sensor | watts
HLI-4 | hm_15_chilled_water_flowrate_sensor | cubic_meters_per_hour
HLI-4 | hm_16_cooling_thermal_energy_accumulator | megawatt_hours
HLI-4 | hm_16_return_water_temperature_sensor | degrees_celsius
HLI-4 | hm_16_supply_water_temperature_sensor | degrees_celsius
HLI-4 | hm_16_cooling_thermal_power_sensor | watts
HLI-4 | hm_16_chilled_water_flowrate_sensor | cubic_meters_per_hour
HLI-4 | hm_17_cooling_thermal_energy_accumulator | megawatt_hours
HLI-4 | hm_17_return_water_temperature_sensor | degrees_celsius
HLI-4 | hm_17_supply_water_temperature_sensor | degrees_celsius
HLI-4 | hm_17_cooling_thermal_power_sensor | watts
HLI-4 | hm_17_chilled_water_flowrate_sensor | cubic_meters_per_hour
HLI-4 | hm_18_cooling_thermal_energy_accumulator | megawatt_hours
HLI-4 | hm_18_return_water_temperature_sensor | degrees_celsius
HLI-4 | hm_18_supply_water_temperature_sensor | degrees_celsius
HLI-4 | hm_18_cooling_thermal_power_sensor | watts
HLI-4 | hm_18_chilled_water_flowrate_sensor | cubic_meters_per_hour
HLI-4 | hm_19_cooling_thermal_energy_accumulator | megawatt_hours
HLI-4 | hm_19_return_water_temperature_sensor | degrees_celsius
HLI-4 | hm_19_supply_water_temperature_sensor | degrees_celsius
HLI-4 | hm_19_cooling_thermal_power_sensor | watts
HLI-4 | hm_19_chilled_water_flowrate_sensor | cubic_meters_per_hour
HLI-4 | fm_01_flowrate_sensor | cubic_meters_per_hour
HLI-4 | fm_01_volume_accumulator | liters
HLI-4 | fm_02_volume_accumulator | liters
HLI-4 | fm_02_flowrate_sensor | cubic_meters_per_hour
HLI-4 | ll_em_01_power_sensor | kilowatts
HLI-4 | ll_em_01_powerfactor_sensor | No-units
HLI-4 | ll_em_01_energy_accumulator | kilowatt_hours
HLI-4 | ll_em_02_power_sensor | kilowatts
HLI-4 | ll_em_02_powerfactor_sensor | No-units
HLI-4 | ll_em_02_energy_accumulator | kilowatt_hours
HLI-4 | ll_em_03_power_sensor | kilowatts
HLI-4 | ll_em_03_powerfactor_sensor | No-units
HLI-4 | ll_em_03_energy_accumulator | kilowatt_hours
HLI-4 | ll_em_04_power_sensor | kilowatts
HLI-4 | ll_em_04_powerfactor_sensor | No-units
HLI-4 | ll_em_04_energy_accumulator | kilowatt_hours
HLI-4 | gen_01_run_status | No-units
HLI-4 | gen_01_battery_voltage_sensor | volts
HLI-4 | gen_01_oil_pressure_sensor | pascals
HLI-4 | gen_01_run_time_accumulator | hours
HLI-4 | gen_01_power_sensor | kilowatts
HLI-4 | gen_01_powerfactor_sensor | No-units
HLI-4 | gen_01_oil_temperature_sensor | pascals
HLI-4 | gen_01_energy_accumulator | kilowatt_hours
HLI-4 | gen_02_run_status | No-units
HLI-4 | gen_02_battery_voltage_sensor | volts
HLI-4 | gen_02_oil_pressure_sensor | pascals
HLI-4 | gen_02_run_time_accumulator | hours
HLI-4 | gen_02_power_sensor | kilowatts
HLI-4 | gen_02_powerfactor_sensor | No-units
HLI-4 | gen_02_oil_temperature_sensor | pascals
HLI-4 | gen_02_energy_accumulator | kilowatt_hours
HLI-4 | gen_03_run_status | No-units
HLI-4 | gen_03_battery_voltage_sensor | volts
HLI-4 | gen_03_oil_pressure_sensor | pascals
HLI-4 | gen_03_run_time_accumulator | hours
HLI-4 | gen_03_power_sensor | kilowatts
HLI-4 | gen_03_powerfactor_sensor | No-units
HLI-4 | gen_03_oil_temperature_sensor | pascals
HLI-4 | gen_03_energy_accumulator | kilowatt_hours
HLI-4 | gen_04_run_status | No-units
HLI-4 | gen_04_battery_voltage_sensor | volts
HLI-4 | gen_04_oil_pressure_sensor | pascals
HLI-4 | gen_04_run_time_accumulator | hours
HLI-4 | gen_04_power_sensor | kilowatts
HLI-4 | gen_04_powerfactor_sensor | No-units
HLI-4 | gen_04_oil_temperature_sensor | pascals
HLI-4 | gen_04_energy_accumulator | kilowatt_hours
HLI-4 | gen_05_run_status | No-units
HLI-4 | gen_05_battery_voltage_sensor | volts
HLI-4 | gen_05_oil_pressure_sensor | pascals
HLI-4 | gen_05_run_time_accumulator | hours
HLI-4 | gen_05_power_sensor | kilowatts
HLI-4 | gen_05_powerfactor_sensor | No-units
HLI-4 | gen_05_oil_temperature_sensor | pascals
HLI-4 | gen_05_energy_accumulator | kilowatt_hours
HLI-4 | gen_06_run_status | No-units
HLI-4 | gen_06_battery_voltage_sensor | volts
HLI-4 | gen_06_oil_pressure_sensor | pascals
HLI-4 | gen_06_run_time_accumulator | hours
HLI-4 | gen_06_power_sensor | kilowatts
HLI-4 | gen_06_powerfactor_sensor | No-units
HLI-4 | gen_06_oil_temperature_sensor | pascals
HLI-4 | gen_06_energy_accumulator | kilowatt_hours
HLI-4 | tk_01_percentage_sensor | percent
HLI-4 | tk_02_percentage_sensor | percent
HLI-4 | tk_07_level_status | No-units
HLI-4 | tk_04_level_status | No-units
HLI-4 | tk_05_level_status | No-units
HLI-4 | tk_06_level_status | No-units
HLI-4 | trp_01_run_status | No-units
HLI-4 | trp_02_run_status | No-units
HLI-4 | trp_01_control_mode | No-units
HLI-4 | trp_02_control_mode | No-units
HLI-4 | trp_03_run_status | No-units
HLI-4 | trp_03_control_mode | No-units
HLI-4 | trp_04_run_status | No-units
HLI-4 | trp_04_control_mode | No-units
HLI-4 | trp_05_run_status | No-units
HLI-4 | trp_05_control_mode | No-units
HLI-4 | trp_06_run_status | No-units
HLI-4 | trp_06_control_mode | No-units
HLI-4 | ll_pmp_01_run_status | No-units
HLI-4 | ll_pmp_01_control_mode | No-units
HLI-4 | ll_pmp_02_run_status | No-units
HLI-4 | ll_pmp_02_control_mode | No-units
HLI-4 | ll_pmp_03_run_status | No-units
HLI-4 | ll_pmp_03_control_mode | No-units
HLI-4 | ll_pmp_04_run_status | No-units
HLI-4 | ll_pmp_04_control_mode | No-units
HLI-4 | battery_voltage_sensor | volts
HLI-4 | output_phase1_neutral_voltage_sensor | volts
HLI-4 | output_phase2_neutral_voltage_sensor | volts
HLI-4 | output_phase3_neutral_voltage_sensor | volts
HLI-4 | input_phase1_neutral_voltage_sensor | volts
HLI-4 | input_phase2_neutral_voltage_sensor | volts
HLI-4 | input_phase3_neutral_voltage_sensor | volts
HLI-4 | output_phase1_current_sensor | amperes
HLI-4 | output_phase2_current_sensor | amperes
HLI-4 | output_phase3_current_sensor | amperes
HLI-4 | output_frequency_sensor | hertz
HLI-4 | input_frequency_sensor | hertz
HLI-4 | z1_z2_zone_air_co_concentration_sensor_01 | parts_per_million
HLI-4 | z1_z2_zone_air_co_concentration_sensor_02 | parts_per_million
HLI-4 | z1_z2_zone_air_co_concentration_sensor_03 | parts_per_million
HLI-4 | z1_z2_zone_air_co_concentration_sensor_04 | parts_per_million
HLI-4 | z1_z2_zone_air_co_concentration_sensor_05 | parts_per_million
HLI-4 | z1_z2_zone_air_co_concentration_sensor_06 | parts_per_million
HLI-4 | z1_z2_zone_air_co_concentration_sensor_07 | parts_per_million
HLI-4 | z1_z2_zone_air_co_concentration_sensor_08 | parts_per_million
HLI-4 | z1_z2_zone_air_co_concentration_sensor_09 | parts_per_million
HLI-4 | z1_z2_zone_air_co_concentration_sensor_10 | parts_per_million
HLI-4 | z1_z2_zone_air_co_concentration_sensor_11 | parts_per_million
HLI-4 | z1_z2_zone_air_co_concentration_sensor_12 | parts_per_million
HLI-4 | z1_z2_control_mode | No-units
HLI-4 | z1_run_status_01 | No-units
HLI-4 | z1_run_status_02 | No-units
HLI-4 | z1_run_status_03 | No-units
HLI-4 | z1_run_status_04 | No-units
HLI-4 | z1_run_status_05 | No-units
HLI-4 | z1_run_status_06 | No-units
HLI-4 | z1_run_status_07 | No-units
HLI-4 | z1_run_status_08 | No-units
HLI-4 | z1_run_status_09 | No-units
HLI-4 | z1_run_status_10 | No-units
HLI-4 | z2_run_status_01 | No-units
HLI-4 | z2_run_status_02 | No-units
HLI-4 | z2_run_status_03 | No-units
HLI-4 | z2_run_status_05 | No-units
HLI-4 | z2_run_status_06 | No-units
HLI-4 | z2_run_status_07 | No-units
HLI-4 | z2_run_status_08 | No-units
HLI-4 | z1_lost_power_alarm_01 | No-units
HLI-4 | z1_lost_power_alarm_02 | No-units
HLI-4 | z1_lost_power_alarm_03 | No-units
HLI-4 | z1_lost_power_alarm_04 | No-units
HLI-4 | z1_lost_power_alarm_05 | No-units
HLI-4 | z1_lost_power_alarm_06 | No-units
HLI-4 | z1_lost_power_alarm_07 | No-units
HLI-4 | z1_lost_power_alarm_08 | No-units
HLI-4 | z1_lost_power_alarm_09 | No-units
HLI-4 | z1_lost_power_alarm_10 | No-units
HLI-4 | z2_lost_power_alarm_01 | No-units
HLI-4 | z2_lost_power_alarm_02 | No-units
HLI-4 | z2_lost_power_alarm_03 | No-units
HLI-4 | z2_lost_power_alarm_04 | No-units
HLI-4 | z2_lost_power_alarm_05 | No-units
HLI-4 | z2_lost_power_alarm_06 | No-units
HLI-4 | z2_lost_power_alarm_07 | No-units
HLI-4 | z2_lost_power_alarm_08 | No-units
HLI-4 | z3_z4_zone_air_co_concentration_sensor_01 | parts_per_million
HLI-4 | z3_z4_zone_air_co_concentration_sensor_02 | parts_per_million
HLI-4 | z3_z4_zone_air_co_concentration_sensor_03 | parts_per_million
HLI-4 | z3_z4_zone_air_co_concentration_sensor_04 | parts_per_million
HLI-4 | z3_z4_zone_air_co_concentration_sensor_05 | parts_per_million
HLI-4 | z3_z4_zone_air_co_concentration_sensor_06 | parts_per_million
HLI-4 | z3_z4_zone_air_co_concentration_sensor_07 | parts_per_million
HLI-4 | z3_z4_zone_air_co_concentration_sensor_08 | parts_per_million
HLI-4 | z3_z4_zone_air_co_concentration_sensor_09 | parts_per_million
HLI-4 | z3_z4_zone_air_co_concentration_sensor_10 | parts_per_million
HLI-4 | z3_z4_zone_air_co_concentration_sensor_11 | parts_per_million
HLI-4 | z3_z4_zone_air_co_concentration_sensor_12 | parts_per_million
HLI-4 | z3_z4_control_mode | No-units
HLI-4 | z3_run_status_01 | No-units
HLI-4 | z3_run_status_02 | No-units
HLI-4 | z3_run_status_03 | No-units
HLI-4 | z3_run_status_04 | No-units
HLI-4 | z3_run_status_05 | No-units
HLI-4 | z3_run_status_06 | No-units
HLI-4 | z3_run_status_07 | No-units
HLI-4 | z3_run_status_08 | No-units
HLI-4 | z3_run_status_09 | No-units
HLI-4 | z3_run_status_10 | No-units
HLI-4 | z4_run_status_01 | No-units
HLI-4 | z4_run_status_01 | No-units
HLI-4 | z4_run_status_02 | No-units
HLI-4 | z4_run_status_03 | No-units
HLI-4 | z4_run_status_04 | No-units
HLI-4 | z4_run_status_05 | No-units
HLI-4 | z4_run_status_06 | No-units
HLI-4 | z4_run_status_07 | No-units
HLI-4 | z3_lost_power_alarm_01 | No-units
HLI-4 | z3_lost_power_alarm_02 | No-units
HLI-4 | z3_lost_power_alarm_03 | No-units
HLI-4 | z3_lost_power_alarm_04 | No-units
HLI-4 | z3_lost_power_alarm_05 | No-units
HLI-4 | z3_lost_power_alarm_06 | No-units
HLI-4 | z3_lost_power_alarm_07 | No-units
HLI-4 | z3_lost_power_alarm_08 | No-units
HLI-4 | z3_lost_power_alarm_09 | No-units
HLI-4 | z3_lost_power_alarm_10 | No-units
HLI-4 | z4_lost_power_alarm_01 | No-units
HLI-4 | z4_lost_power_alarm_02 | No-units
HLI-4 | z4_lost_power_alarm_03 | No-units
HLI-4 | z4_lost_power_alarm_04 | No-units
HLI-4 | z4_lost_power_alarm_05 | No-units
HLI-4 | z4_lost_power_alarm_06 | No-units
HLI-4 | z4_lost_power_alarm_07 | No-units
HLI-4 | z4_lost_power_alarm_08 | No-units
HLI-4 | z5_zone_air_co_concentration_sensor_01 | parts_per_million
HLI-4 | z5_zone_air_co_concentration_sensor_02 | parts_per_million
HLI-4 | z5_zone_air_co_concentration_sensor_03 | parts_per_million
HLI-4 | z5_zone_air_co_concentration_sensor_04 | parts_per_million
HLI-4 | z5_zone_air_co_concentration_sensor_05 | parts_per_million
HLI-4 | z5_zone_air_co_concentration_sensor_06 | parts_per_million
HLI-4 | z5_control_mode | No-units
HLI-4 | z5_run_status_01 | No-units
HLI-4 | z5_run_status_02 | No-units
HLI-4 | z5_run_status_03 | No-units
HLI-4 | z5_run_status_04 | No-units
HLI-4 | z5_run_status_05 | No-units
HLI-4 | z5_run_status_06 | No-units
HLI-4 | z5_run_status_07 | No-units
HLI-4 | z5_run_status_08 | No-units
HLI-4 | z5_run_status_09 | No-units
HLI-4 | z5_run_status_10 | No-units
HLI-4 | z5_lost_power_alarm_01 | No-units
HLI-4 | z5_lost_power_alarm_02 | No-units
HLI-4 | z5_lost_power_alarm_03 | No-units
HLI-4 | z5_lost_power_alarm_04 | No-units
HLI-4 | z5_lost_power_alarm_05 | No-units
HLI-4 | z5_lost_power_alarm_06 | No-units
HLI-4 | z5_lost_power_alarm_07 | No-units
HLI-4 | z5_lost_power_alarm_08 | No-units
HLI-4 | z5_lost_power_alarm_09 | No-units
HLI-4 | z5_lost_power_alarm_10 | No-units
HLI-4 | dgtk_01_percentage_sensor | percent
HLI-4 | dgtk_02_percentage_sensor | percent
HLI-4 | dgtk_03_percentage_sensor | percent
HLI-4 | dgtk_04_percentage_sensor | percent
HLI-4 | dgtk_05_percentage_sensor | percent
HLI-4 | dgtk_06_percentage_sensor | percent

## virtual_device_entities
virtual_points_type | device_points_type | dbo.source_device_field | dbo.virtual_device_field | dbo.abstracts

## asset_template
entity_instance_name | udmi.system.location.site | udmi.pointset.points | udmi.system.location.section | udmi.system.location.position.x | udmi.system.location.position.y | udmi.system.location.position.z | udmi.physical_tag.asset.guid | udmi.physical_tag.asset.site | udmi.physical_tag.asset.name | udmi.cloud.auth_type | dbo.devices_or_virtual_devices | dbo.type | dbo.connections.feeds | dbo.connections.controls | dbo.links | dbo.links.points | location | reporting_device