## locations
dbo.section | dbo.entity_name | dbo.type | dbo.id | dbo.connections.contains
Buildings | IN-GUR-SIGD | FACILITIES/BUILDING | 3654fc48-914e-4a55-82f6-126534244886
Floors | IN-GUR-SIGD_FL1 | FACILITIES/FLOOR | a388563d-58e3-4534-b133-19389f6650a4 | IN-GUR-SIGD
Rooms | IN-GUR-SIGD_RM1 | FACILITIES/ROOM | b9f2c8b8-d67e-4b50-824a-7b48ff877429 | IN-GUR-SIGD_FL1
Zones | IN-GUR-SIGD_ZN1 | HVAC/ZONE | a0f68db4-f074-49cf-8e80-d65634587f9f | IN-GUR-SIGD-RM1
Rooms | IN-GUR-SIGD_RM2 | FACILITIES/ROOM | 58d709a5-aa50-4134-a035-0ccc2d01fd48 | IN-GUR-SIGD_FL1
Zones | IN-GUR-SIGD_ZN2 | HVAC/ZONE | bdf2e667-8ab2-4ae3-bcc9-9c6c7d995535 | IN-GUR-SIGD_RM2

## assets
entity_instance_name | udmi.version | udmi.timestamp | udmi.system.location.site | udmi.system.location.section | udmi.system.location.position.x | udmi.system.location.position.y | udmi.system.location.position.z | udmi.physical_tag.asset.guid | udmi.physical_tag.asset.site | udmi.physical_tag.asset.name | udmi.pointset.points | udmi.cloud.auth_type | dbo.devices_or_virtual_devices | dbo.type | dbo.connections.feeds | dbo.connections.controls | dbo.links | dbo.links.points | Location | Reporting Device
HLI-13 | 1.4.1 | 2023-01-30T09:03:43Z | IN-BLR-BCPWK | UB | 10 | 10 | 10 | 853ab339-f922-9d76-3523-a1c5a5760eac | IN-BLR-BCPWK | HLI-13 | HLI-13 | RS256 | Device | HVAC/AHU_
HLI-7 | 1.4.2 | 2023-01-30T09:03:43Z | IN-BLR-BCPWK | UB | 10 | 10 | 10 | 03090382-3cc0-2b68-66b1-0c5bd33da105 | IN-BLR-BCPWK | HLI-7 | HLI-7 | RS256 | Device | HVAC/AHU_

## device_entities
points_type | udmi.pointset.points | udmi.pointset.units | udmi.pointset.ref | dbo.states | dbo.translation.fields | dbo.translation.units | dbo.abstracts
HLI-7 | water_leak_alarm_01 | no_units | AV101001.Present_Value | 2 = INACTIVE 3=ACTIVE
HLI-7 | water_leak_cable_distance_sensor_01 | no_units | AV101002.Present_Value
HLI-7 | water_leak_alarm_02 | no_units | AV102001.Present_Value
HLI-7 | water_leak_cable_distance_sensor_02 | no_units | AV102002.Present_Value
HLI-7 | water_leak_alarm_03 | no_units | AV103001.Present_Value
HLI-7 | water_leak_cable_distance_sensor_03 | no_units | AV103002.Present_Value
HLI-7 | water_leak_alarm_04 | no_units | AV104001.Present_Value
HLI-7 | water_leak_cable_distance_sensor_04 | no_units | AV104002.Present_Value
HLI-7 | water_leak_alarm_05 | no_units | AV105001.Present_Value
HLI-7 | water_leak_cable_distance_sensor_05 | no_units | AV105002.Present_Value
HLI-7 | water_leak_alarm_06 | no_units | AV106001.Present_Value
HLI-7 | water_leak_cable_distance_sensor_06 | no_units | AV106002.Present_Value
HLI-7 | water_leak_alarm_07 | no_units | AV107001.Present_Value
HLI-7 | water_leak_cable_distance_sensor_07 | no_units | AV107002.Present_Value
HLI-7 | water_leak_alarm_08 | no_units | AV108001.Present_Value
HLI-7 | water_leak_cable_distance_sensor_08 | no_units | AV108002.Present_Value
HLI-7 | water_leak_alarm_09 | no_units | AV109001.Present_Value
HLI-7 | water_leak_cable_distance_sensor_09 | no_units | AV109002.Present_Value
HLI-7 | water_leak_alarm_10 | no_units | AV110001.Present_Value
HLI-7 | water_leak_cable_distance_sensor_10 | no_units | AV110002.Present_Value
HLI-7 | water_leak_alarm_11 | no_units | AV111001.Present_Value
HLI-7 | water_leak_cable_distance_sensor_11 | no_units | AV111002.Present_Value
HLI-13 | transducer_failed_alarm_01 | no_units | AV201001.Present_Value | 0 = INACTIVE 1= ACTIVE
HLI-13 | transducer_failed_alarm_02 | no_units | AV202001.Present_Value
HLI-13 | transducer_failed_alarm_03 | no_units | AV203001.Present_Value
HLI-13 | transducer_failed_alarm_04 | no_units | AV204001.Present_Value
HLI-13 | transducer_failed_alarm_05 | no_units | AV205001.Present_Value
HLI-13 | transducer_failed_alarm_06 | no_units | AV206001.Present_Value
HLI-13 | transducer_failed_alarm_07 | no_units | AV207001.Present_Value
HLI-13 | transducer_failed_alarm_08 | no_units | AV208001.Present_Value
HLI-13 | transducer_failed_alarm_09 | no_units | AV209001.Present_Value
HLI-13 | transducer_failed_alarm_10 | no_units | AV210001.Present_Value
HLI-13 | transducer_failed_alarm_11 | no_units | AV211001.Present_Value
s

## network
network_type | udmi.localnet.families | udmi.localnet.id
HLI-7 | bacnet | s
HLI-13 | bacnet

## virtual_device_entities
virtual_points_type | device_points_type | dbo.source_device_field | dbo.virtual_device_field | dbo.abstracts

## asset_template
entity_instance_name | udmi.system.location.site | udmi.pointset.points | udmi.system.location.section | udmi.system.location.position.x | udmi.system.location.position.y | udmi.system.location.position.z | udmi.physical_tag.asset.guid | udmi.physical_tag.asset.site | udmi.physical_tag.asset.name | udmi.cloud.auth_type | dbo.devices_or_virtual_devices | dbo.type | dbo.connections.feeds | dbo.connections.controls | dbo.links | dbo.links.points | location | reporting_device