## locations
dbo.section | dbo.entity_name | dbo.type | dbo.id | dbo.connections.contains
Buildings | IN-GUR-SIGD | FACILITIES/BUILDING | 3654fc48-914e-4a55-82f6-126534244886
Floors | IN-GUR-SIGD_FL1 | FACILITIES/FLOOR | a388563d-58e3-4534-b133-19389f6650a4 | IN-GUR-SIGD
Rooms | IN-GUR-SIGD_RM1 | FACILITIES/ROOM | b9f2c8b8-d67e-4b50-824a-7b48ff877429 | IN-GUR-SIGD_FL1
Zones | IN-GUR-SIGD_ZN1 | HVAC/ZONE | a0f68db4-f074-49cf-8e80-d65634587f9f | IN-GUR-SIGD-RM1
Rooms | IN-GUR-SIGD_RM2 | FACILITIES/ROOM | 58d709a5-aa50-4134-a035-0ccc2d01fd48 | IN-GUR-SIGD_FL1
Zones | IN-GUR-SIGD_ZN2 | HVAC/ZONE | bdf2e667-8ab2-4ae3-bcc9-9c6c7d995535 | IN-GUR-SIGD_RM2

## assets
entity_instance_name | udmi.version | udmi.timestamp | udmi.system.location.site | udmi.system.location.section | udmi.system.location.position.x | udmi.system.location.position.y | udmi.system.location.position.z | udmi.physical_tag.asset.guid | udmi.physical_tag.asset.site | udmi.physical_tag.asset.name | udmi.pointset.points | udmi.cloud.auth_type | dbo.devices_or_virtual_devices | dbo.type | dbo.connections.feeds | dbo.connections.controls | dbo.links | dbo.links.points | Location | Reporting Device
HLI-9 | 1 | 2023-01-30T09:03:43Z | IN-BLR-BCPWK | UB-IDF-ROOM-ENTRANCE | 10 | 10 | 10 | 37c6f674-58e8-3b4d-785f-ac5c687161ec | IN-BLR-BCPWK | HLI-9 | HLI-9 | RS256 | Device | HVAC/AHU_ |  |  |  | HLI-9 | HLI-9
HLI-909 | 1 | 2023-01-30T09:03:43Z | IN-BLR-BCPWK | UB-IDF-ROOM-ENTRANCE | 10 | 10 | 10 | 230bb551-d2e1-d7c0-6bf1-81775b626f7c | IN-BLR-BCPWK | HLI-909 | HLI-909 | RS256 | Device |  |  |  |  | HLI-909
HLI-19 | 1 | 2023-01-30T09:03:43Z | IN-BLR-BCPWK | 2F-NORTH-WING-AHU-01 | 10 | 10 | 10 | 9f8a12ae-f6e0-e937-9320-56333d9cb41c | IN-BLR-BCPWK | HLI-19 | HLI-19 | RS256 | Device |  |  |  |  | HLI-19
HLI-1919 | 1 | 2023-01-30T09:03:43Z | IN-BLR-BCPWK | 2F-NORTH-WING-AHU-01 | 10 | 10 | 10 | 727e4da0-c297-68de-9dce-88ed82eb658c | IN-BLR-BCPWK | HLI-1919 | HLI-1919 | RS256 | Device |  |  |  |  | HLI-1919
HLI-34 | 1 | 2023-01-30T09:03:43Z | IN-BLR-BCPWK | 4F-NORTH-WING-AHU-01 | 10 | 10 | 10 | d9c8e3a7-ca10-7597-0d5c-5e8ea0287a53 | IN-BLR-BCPWK | HLI-34 | HLI-34 | RS256 | Device |  |  |  |  | HLI-34
HLI-3434 | 1 | 2023-01-30T09:03:43Z | IN-BLR-BCPWK | 4F-NORTH-WING-AHU-01 | 10 | 10 | 10 | edbecdaf-6754-7ff9-9a6f-aed19a9fd646 | IN-BLR-BCPWK | HLI-3434 | HLI-3434 | RS256 | Device |  |  |  |  | HLI-3434
HLI-53 | 1 | 2023-01-30T09:03:43Z | IN-BLR-BCPWK | 7F-NORTH-WING-AHU-01 | 10 | 10 | 10 | 706e526e-0617-aedc-4546-fa9a69798984 | IN-BLR-BCPWK | HLI-53 | HLI-53 | RS256 | Device |  |  |  |  | HLI-53
HLI-65 | 1 | 2023-01-30T09:03:43Z | IN-BLR-BCPWK | 9F-NORTH-WING-AHU-01 | 10 | 10 | 10 | 15778e03-a323-7574-fc76-f999597d844d | IN-BLR-BCPWK | HLI-65 | HLI-65 | RS256 | Device |  |  |  |  | HLI-65

## device_entities
points_type | udmi.pointset.points | udmi.pointset.units | udmi.pointset.ref | dbo.states | dbo.translation.fields | dbo.translation.units | dbo.abstracts
HLI-9 | average_line_current_sensor_01 | amperes | AV102001.Present_Value
HLI-9 | average_line_neutral_voltage_sensor_01 | volts | AV102002.Present_Value
HLI-9 | line_frequency_sensor_01 | hertz | AV102003.Present_Value
HLI-9 | powerfactor_sensor_01 | no_units | AV102004.Present_Value
HLI-9 | power_sensor_01 | kilowatts | AV102005.Present_Value
HLI-9 | electricalgrid_energy_accumulator_01 | kilowatt_hours | AV102006.Present_Value
HLI-9 | generator_energy_accumulator_01 | kilowatt_hours | AV102007.Present_Value
HLI-9 | energy_accumulator_01 | kilowatt_hours | AV102008.Present_Value
HLI-9 | average_line_current_sensor_02 | amperes | AV103001.Present_Value
HLI-9 | average_line_neutral_voltage_sensor_02 | volts | AV103002.Present_Value
HLI-9 | line_frequency_sensor_02 | hertz | AV103003.Present_Value
HLI-9 | powerfactor_sensor_02 | no_units | AV103004.Present_Value
HLI-9 | power_sensor_02 | kilowatts | AV103005.Present_Value
HLI-9 | electricalgrid_energy_accumulator_02 | kilowatt_hours | AV103006.Present_Value
HLI-9 | generator_energy_accumulator_02 | kilowatt_hours | AV103007.Present_Value
HLI-9 | energy_accumulator_02 | kilowatt_hours | AV103008.Present_Value
HLI-9 | average_line_current_sensor_03 | amperes | AV104001.Present_Value
HLI-9 | average_line_neutral_voltage_sensor_03 | volts | AV104002.Present_Value
HLI-9 | line_frequency_sensor_03 | hertz | AV104003.Present_Value
HLI-9 | powerfactor_sensor_03 | no_units | AV104004.Present_Value
HLI-9 | power_sensor_03 | kilowatts | AV104005.Present_Value
HLI-9 | electricalgrid_energy_accumulator_03 | kilowatt_hours | AV104006.Present_Value
HLI-9 | generator_energy_accumulator_03 | kilowatt_hours | AV104007.Present_Value
HLI-9 | energy_accumulator_03 | kilowatt_hours | AV104008.Present_Value
HLI-9 | average_line_current_sensor_04 | amperes | AV105001.Present_Value
HLI-9 | average_line_neutral_voltage_sensor_04 | volts | AV105002.Present_Value
HLI-9 | line_frequency_sensor_04 | hertz | AV105003.Present_Value
HLI-9 | powerfactor_sensor_04 | no_units | AV105004.Present_Value
HLI-9 | power_sensor_04 | kilowatts | AV105005.Present_Value
HLI-9 | electricalgrid_energy_accumulator_04 | kilowatt_hours | AV105006.Present_Value
HLI-9 | generator_energy_accumulator_04 | kilowatt_hours | AV105007.Present_Value
HLI-9 | energy_accumulator_04 | kilowatt_hours | AV105008.Present_Value
HLI-9 | average_line_current_sensor_05 | amperes | AV106001.Present_Value
HLI-9 | average_line_neutral_voltage_sensor_05 | volts | AV106002.Present_Value
HLI-9 | line_frequency_sensor_05 | hertz | AV106003.Present_Value
HLI-9 | powerfactor_sensor_05 | no_units | AV106004.Present_Value
HLI-9 | power_sensor_05 | kilowatts | AV106005.Present_Value
HLI-9 | electricalgrid_energy_accumulator_05 | kilowatt_hours | AV106006.Present_Value
HLI-9 | generator_energy_accumulator_05 | kilowatt_hours | AV106007.Present_Value
HLI-9 | energy_accumulator_05 | kilowatt_hours | AV106008.Present_Value
HLI-9 | average_line_current_sensor_06 | amperes | AV107001.Present_Value
HLI-9 | average_line_neutral_voltage_sensor_06 | volts | AV107002.Present_Value
HLI-9 | line_frequency_sensor_06 | hertz | AV107003.Present_Value
HLI-9 | powerfactor_sensor_06 | no_units | AV107004.Present_Value
HLI-9 | power_sensor_06 | kilowatts | AV107005.Present_Value
HLI-9 | electricalgrid_energy_accumulator_06 | kilowatt_hours | AV107006.Present_Value
HLI-9 | generator_energy_accumulator_06 | kilowatt_hours | AV107007.Present_Value
HLI-9 | energy_accumulator_06 | kilowatt_hours | AV107008.Present_Value
HLI-9A | average_line_current_sensor_07 | amperes | AV102001.Present_Value
HLI-9A | average_line_neutral_voltage_sensor_07 | volts | AV102002.Present_Value
HLI-9A | line_frequency_sensor_07 | hertz | AV102003.Present_Value
HLI-9A | powerfactor_sensor_07 | no_units | AV102004.Present_Value
HLI-9A | power_sensor_07 | kilowatts | AV102005.Present_Value
HLI-9A | electricalgrid_energy_accumulator_07 | kilowatt_hours | AV102006.Present_Value
HLI-9A | generator_energy_accumulator_07 | kilowatt_hours | AV102007.Present_Value
HLI-9A | energy_accumulator_07 | kilowatt_hours | AV102008.Present_Value
HLI-9A | average_line_current_sensor_08 | amperes | AV103001.Present_Value
HLI-9A | average_line_neutral_voltage_sensor_08 | volts | AV103002.Present_Value
HLI-9A | line_frequency_sensor_08 | hertz | AV103003.Present_Value
HLI-9A | powerfactor_sensor_08 | no_units | AV103004.Present_Value
HLI-9A | power_sensor_08 | kilowatts | AV103005.Present_Value
HLI-9A | electricalgrid_energy_accumulator_08 | kilowatt_hours | AV103006.Present_Value
HLI-9A | generator_energy_accumulator_08 | kilowatt_hours | AV103007.Present_Value
HLI-9A | energy_accumulator_08 | kilowatt_hours | AV103008.Present_Value
HLI-9A | average_line_current_sensor_09 | amperes | AV104001.Present_Value
HLI-9A | average_line_neutral_voltage_sensor_09 | volts | AV104002.Present_Value
HLI-9A | line_frequency_sensor_09 | hertz | AV104003.Present_Value
HLI-9A | powerfactor_sensor_09 | no_units | AV104004.Present_Value
HLI-9A | power_sensor_09 | kilowatts | AV104005.Present_Value
HLI-9A | electricalgrid_energy_accumulator_09 | kilowatt_hours | AV104006.Present_Value
HLI-9A | generator_energy_accumulator_09 | kilowatt_hours | AV104007.Present_Value
HLI-9A | energy_accumulator_09 | kilowatt_hours | AV104008.Present_Value
HLI-9A | average_line_current_sensor_10 | amperes | AV105001.Present_Value
HLI-9A | average_line_neutral_voltage_sensor_10 | volts | AV105002.Present_Value
HLI-9A | line_frequency_sensor_10 | hertz | AV105003.Present_Value
HLI-9A | powerfactor_sensor_10 | no_units | AV105004.Present_Value
HLI-9A | power_sensor_10 | kilowatts | AV105005.Present_Value
HLI-9A | electricalgrid_energy_accumulator_10 | kilowatt_hours | AV105006.Present_Value
HLI-9A | generator_energy_accumulator_10 | kilowatt_hours | AV105007.Present_Value
HLI-9A | energy_accumulator_10 | kilowatt_hours | AV105008.Present_Value
HLI-9A | average_line_current_sensor_11 | amperes | AV106001.Present_Value
HLI-9A | average_line_neutral_voltage_sensor_11 | volts | AV106002.Present_Value
HLI-9A | line_frequency_sensor_11 | hertz | AV106003.Present_Value
HLI-9A | powerfactor_sensor_11 | no_units | AV106004.Present_Value
HLI-9A | power_sensor_11 | kilowatts | AV106005.Present_Value
HLI-9A | electricalgrid_energy_accumulator_11 | kilowatt_hours | AV106006.Present_Value
HLI-9A | generator_energy_accumulator_11 | kilowatt_hours | AV106007.Present_Value
HLI-9A | energy_accumulator_11 | kilowatt_hours | AV106008.Present_Value
HLI-9A | average_line_current_sensor_12 | amperes | AV107001.Present_Value
HLI-9A | average_line_neutral_voltage_sensor_12 | volts | AV107002.Present_Value
HLI-9A | line_frequency_sensor_12 | hertz | AV107003.Present_Value
HLI-9A | powerfactor_sensor_12 | no_units | AV107004.Present_Value
HLI-9A | power_sensor_12 | kilowatts | AV107005.Present_Value
HLI-9A | electricalgrid_energy_accumulator_12 | kilowatt_hours | AV107006.Present_Value
HLI-9A | generator_energy_accumulator_12 | kilowatt_hours | AV107007.Present_Value
HLI-9A | energy_accumulator_12 | kilowatt_hours | AV107008.Present_Value
HLI-9A | average_line_current_sensor_13 | amperes | AV108001.Present_Value
HLI-9A | average_line_neutral_voltage_sensor_13 | volts | AV108002.Present_Value
HLI-9A | line_frequency_sensor_13 | hertz | AV108003.Present_Value
HLI-9A | powerfactor_sensor_13 | no_units | AV108004.Present_Value
HLI-9A | power_sensor_13 | kilowatts | AV108005.Present_Value
HLI-9A | electricalgrid_energy_accumulator_13 | kilowatt_hours | AV108006.Present_Value
HLI-9A | generator_energy_accumulator_13 | kilowatt_hours | AV108007.Present_Value
HLI-9A | energy_accumulator_13 | kilowatt_hours | AV108008.Present_Value
HLI-9A | average_line_current_sensor_14 | amperes | AV109001.Present_Value
HLI-9A | average_line_neutral_voltage_sensor_14 | volts | AV109002.Present_Value
HLI-9A | line_frequency_sensor_14 | hertz | AV109003.Present_Value
HLI-9A | powerfactor_sensor_14 | no_units | AV109004.Present_Value
HLI-9A | power_sensor_14 | kilowatts | AV109005.Present_Value
HLI-9A | electricalgrid_energy_accumulator_14 | kilowatt_hours | AV109006.Present_Value
HLI-9A | generator_energy_accumulator_14 | kilowatt_hours | AV109007.Present_Value
HLI-9A | energy_accumulator_14 | kilowatt_hours | AV109008.Present_Value
HLI-9A | average_line_current_sensor_15 | amperes | AV110001.Present_Value
HLI-9A | average_line_neutral_voltage_sensor_15 | volts | AV110002.Present_Value
HLI-9A | line_frequency_sensor_15 | hertz | AV110003.Present_Value
HLI-9A | powerfactor_sensor_15 | no_units | AV110004.Present_Value
HLI-9A | power_sensor_15 | kilowatts | AV110005.Present_Value
HLI-9A | electricalgrid_energy_accumulator_15 | kilowatt_hours | AV110006.Present_Value
HLI-9A | generator_energy_accumulator_15 | kilowatt_hours | AV110007.Present_Value
HLI-9A | energy_accumulator_15 | kilowatt_hours | AV110008.Present_Value
HLI-9A | average_line_current_sensor_16 | amperes | AV111001.Present_Value
HLI-9A | average_line_neutral_voltage_sensor_16 | volts | AV111002.Present_Value
HLI-9A | line_frequency_sensor_16 | hertz | AV111003.Present_Value
HLI-9A | powerfactor_sensor_16 | no_units | AV111004.Present_Value
HLI-9A | power_sensor_16 | kilowatts | AV111005.Present_Value
HLI-9A | electricalgrid_energy_accumulator_16 | kilowatt_hours | AV111006.Present_Value
HLI-9A | generator_energy_accumulator_16 | kilowatt_hours | AV111007.Present_Value
HLI-9A | energy_accumulator_16 | kilowatt_hours | AV111008.Present_Value
HLI-9A | average_line_current_sensor_17 | amperes | AV112001.Present_Value
HLI-9A | average_line_neutral_voltage_sensor_17 | volts | AV112002.Present_Value
HLI-9A | line_frequency_sensor_17 | hertz | AV112003.Present_Value
HLI-9A | powerfactor_sensor_17 | no_units | AV112004.Present_Value
HLI-9A | power_sensor_17 | kilowatts | AV112005.Present_Value
HLI-9A | electricalgrid_energy_accumulator_17 | kilowatt_hours | AV112006.Present_Value
HLI-9A | generator_energy_accumulator_17 | kilowatt_hours | AV112007.Present_Value
HLI-9A | energy_accumulator_17 | kilowatt_hours | AV112008.Present_Value
HLI-9 | average_line_current_sensor_18 | amperes | AV108001.Present_Value
HLI-9 | average_line_neutral_voltage_sensor_18 | volts | AV108002.Present_Value
HLI-9 | line_frequency_sensor_18 | hertz | AV108003.Present_Value
HLI-9 | powerfactor_sensor_18 | no_units | AV108004.Present_Value
HLI-9 | power_sensor_18 | kilowatts | AV108005.Present_Value
HLI-9 | electricalgrid_energy_accumulator_18 | kilowatt_hours | AV108006.Present_Value
HLI-9 | generator_energy_accumulator_18 | kilowatt_hours | AV108007.Present_Value
HLI-9 | energy_accumulator_18 | kilowatt_hours | AV108008.Present_Value
HLI-9 | average_line_current_sensor_19 | amperes | AV109001.Present_Value
HLI-9 | average_line_neutral_voltage_sensor_19 | volts | AV109002.Present_Value
HLI-9 | line_frequency_sensor_19 | hertz | AV109003.Present_Value
HLI-9 | powerfactor_sensor_19 | no_units | AV109004.Present_Value
HLI-9 | power_sensor_19 | kilowatts | AV109005.Present_Value
HLI-9 | electricalgrid_energy_accumulator_19 | kilowatt_hours | AV109006.Present_Value
HLI-9 | generator_energy_accumulator_19 | kilowatt_hours | AV109007.Present_Value
HLI-9 | energy_accumulator_19 | kilowatt_hours | AV109008.Present_Value
HLI-9 | average_line_current_sensor_20 | amperes | AV110001.Present_Value
HLI-9 | average_line_neutral_voltage_sensor_20 | volts | AV110002.Present_Value
HLI-9 | line_frequency_sensor_20 | hertz | AV110003.Present_Value
HLI-9 | powerfactor_sensor_20 | no_units | AV110004.Present_Value
HLI-9 | power_sensor_20 | kilowatts | AV110005.Present_Value
HLI-9 | electricalgrid_energy_accumulator_20 | kilowatt_hours | AV110006.Present_Value
HLI-9 | generator_energy_accumulator_20 | kilowatt_hours | AV110007.Present_Value
HLI-9 | energy_accumulator_20 | kilowatt_hours | AV110008.Present_Value
HLI-9 | average_line_current_sensor_21 | amperes | AV111001.Present_Value
HLI-9 | average_line_neutral_voltage_sensor_21 | volts | AV111002.Present_Value
HLI-9 | line_frequency_sensor_21 | hertz | AV111003.Present_Value
HLI-9 | powerfactor_sensor_21 | no_units | AV111004.Present_Value
HLI-9 | power_sensor_21 | kilowatts | AV111005.Present_Value
HLI-9 | electricalgrid_energy_accumulator_21 | kilowatt_hours | AV111006.Present_Value
HLI-9 | generator_energy_accumulator_21 | kilowatt_hours | AV111007.Present_Value
HLI-9 | energy_accumulator_21 | kilowatt_hours | AV111008.Present_Value
HLI-9 | average_line_current_sensor_22 | amperes | AV112001.Present_Value
HLI-9 | average_line_neutral_voltage_sensor_22 | volts | AV112002.Present_Value
HLI-9 | line_frequency_sensor_22 | hertz | AV112003.Present_Value
HLI-9 | powerfactor_sensor_22 | no_units | AV112004.Present_Value
HLI-9 | power_sensor_22 | kilowatts | AV112005.Present_Value
HLI-9 | electricalgrid_energy_accumulator_22 | kilowatt_hours | AV112006.Present_Value
HLI-9 | generator_energy_accumulator_22 | kilowatt_hours | AV112007.Present_Value
HLI-9 | energy_accumulator_22 | kilowatt_hours | AV112008.Present_Value
HLI-9 | average_line_current_sensor_23 | amperes | AV113001.Present_Value
HLI-9 | average_line_neutral_voltage_sensor_23 | volts | AV113002.Present_Value
HLI-9 | line_frequency_sensor_23 | hertz | AV113003.Present_Value
HLI-9 | powerfactor_sensor_23 | no_units | AV113004.Present_Value
HLI-9 | power_sensor_23 | kilowatts | AV113005.Present_Value
HLI-9 | electricalgrid_energy_accumulator_23 | kilowatt_hours | AV113006.Present_Value
HLI-9 | generator_energy_accumulator_23 | kilowatt_hours | AV113007.Present_Value
HLI-9 | energy_accumulator_23 | kilowatt_hours | AV113008.Present_Value
HLI-9A | average_line_current_sensor_24 | amperes | AV113001.Present_Value
HLI-9A | average_line_neutral_voltage_sensor_24 | volts | AV113002.Present_Value
HLI-9A | line_frequency_sensor_24 | hertz | AV113003.Present_Value
HLI-9A | powerfactor_sensor_24 | no_units | AV113004.Present_Value
HLI-9A | power_sensor_24 | kilowatts | AV113005.Present_Value
HLI-9A | electricalgrid_energy_accumulator_24 | kilowatt_hours | AV113006.Present_Value
HLI-9A | generator_energy_accumulator_24 | kilowatt_hours | AV113007.Present_Value
HLI-9A | energy_accumulator_24 | kilowatt_hours | AV113008.Present_Value
HLI-9A | average_line_current_sensor_25 | amperes | AV114001.Present_Value
HLI-9A | average_line_neutral_voltage_sensor_25 | volts | AV114002.Present_Value
HLI-9A | line_frequency_sensor_25 | hertz | AV114003.Present_Value
HLI-9A | powerfactor_sensor_25 | no_units | AV114004.Present_Value
HLI-9A | power_sensor_25 | kilowatts | AV114005.Present_Value
HLI-9A | electricalgrid_energy_accumulator_25 | kilowatt_hours | AV114006.Present_Value
HLI-9A | generator_energy_accumulator_25 | kilowatt_hours | AV114007.Present_Value
HLI-9A | energy_accumulator_25 | kilowatt_hours | AV114008.Present_Value
HLI-19A | average_line_current_sensor_26 | amperes | AV102001.Present_Value
HLI-19A | average_line_neutral_voltage_sensor_26 | volts | AV102002.Present_Value
HLI-19A | line_frequency_sensor_26 | hertz | AV102003.Present_Value
HLI-19A | powerfactor_sensor_26 | no_units | AV102004.Present_Value
HLI-19A | power_sensor_26 | kilowatts | AV102005.Present_Value
HLI-19A | electricalgrid_energy_accumulator_26 | kilowatt_hours | AV102006.Present_Value
HLI-19A | generator_energy_accumulator_26 | kilowatt_hours | AV102007.Present_Value
HLI-19A | energy_accumulator_26 | kilowatt_hours | AV102008.Present_Value
HLI-19A | average_line_current_sensor_27 | amperes | AV103001.Present_Value
HLI-19A | average_line_neutral_voltage_sensor_27 | volts | AV103002.Present_Value
HLI-19A | line_frequency_sensor_27 | hertz | AV103003.Present_Value
HLI-19A | powerfactor_sensor_27 | no_units | AV103004.Present_Value
HLI-19A | power_sensor_27 | kilowatts | AV103005.Present_Value
HLI-19A | electricalgrid_energy_accumulator_27 | kilowatt_hours | AV103006.Present_Value
HLI-19A | generator_energy_accumulator_27 | kilowatt_hours | AV103007.Present_Value
HLI-19A | energy_accumulator_27 | kilowatt_hours | AV103008.Present_Value
HLI-19A | average_line_current_sensor_28 | amperes | AV104001.Present_Value
HLI-19A | average_line_neutral_voltage_sensor_28 | volts | AV104002.Present_Value
HLI-19A | line_frequency_sensor_28 | hertz | AV104003.Present_Value
HLI-19A | powerfactor_sensor_28 | no_units | AV104004.Present_Value
HLI-19A | power_sensor_28 | kilowatts | AV104005.Present_Value
HLI-19A | electricalgrid_energy_accumulator_28 | kilowatt_hours | AV104006.Present_Value
HLI-19A | generator_energy_accumulator_28 | kilowatt_hours | AV104007.Present_Value
HLI-19A | energy_accumulator_28 | kilowatt_hours | AV104008.Present_Value
HLI-19A | average_line_current_sensor_29 | amperes | AV105001.Present_Value
HLI-19A | average_line_neutral_voltage_sensor_29 | volts | AV105002.Present_Value
HLI-19A | line_frequency_sensor_29 | hertz | AV105003.Present_Value
HLI-19A | powerfactor_sensor_29 | no_units | AV105004.Present_Value
HLI-19A | power_sensor_29 | kilowatts | AV105005.Present_Value
HLI-19A | electricalgrid_energy_accumulator_29 | kilowatt_hours | AV105006.Present_Value
HLI-19A | generator_energy_accumulator_29 | kilowatt_hours | AV105007.Present_Value
HLI-19A | energy_accumulator_29 | kilowatt_hours | AV105008.Present_Value
HLI-19A | average_line_current_sensor_30 | amperes | AV106001.Present_Value
HLI-19A | average_line_neutral_voltage_sensor_30 | volts | AV106002.Present_Value
HLI-19A | line_frequency_sensor_30 | hertz | AV106003.Present_Value
HLI-19A | powerfactor_sensor_30 | no_units | AV106004.Present_Value
HLI-19A | power_sensor_30 | kilowatts | AV106005.Present_Value
HLI-19A | electricalgrid_energy_accumulator_30 | kilowatt_hours | AV106006.Present_Value
HLI-19A | generator_energy_accumulator_30 | kilowatt_hours | AV106007.Present_Value
HLI-19A | energy_accumulator_30 | kilowatt_hours | AV106008.Present_Value
HLI-19 | average_line_current_sensor_31 | amperes | AV102001.Present_Value
HLI-19 | average_line_neutral_voltage_sensor_31 | volts | AV102002.Present_Value
HLI-19 | line_frequency_sensor_31 | hertz | AV102003.Present_Value
HLI-19 | powerfactor_sensor_31 | no_units | AV102004.Present_Value
HLI-19 | power_sensor_31 | kilowatts | AV102005.Present_Value
HLI-19 | electricalgrid_energy_accumulator_31 | kilowatt_hours | AV102006.Present_Value
HLI-19 | generator_energy_accumulator_31 | kilowatt_hours | AV102007.Present_Value
HLI-19 | energy_accumulator_31 | kilowatt_hours | AV102008.Present_Value
HLI-19 | average_line_current_sensor_32 | amperes | AV103001.Present_Value
HLI-19 | average_line_neutral_voltage_sensor_32 | volts | AV103002.Present_Value
HLI-19 | line_frequency_sensor_32 | hertz | AV103003.Present_Value
HLI-19 | powerfactor_sensor_32 | no_units | AV103004.Present_Value
HLI-19 | power_sensor_32 | kilowatts | AV103005.Present_Value
HLI-19 | electricalgrid_energy_accumulator_32 | kilowatt_hours | AV103006.Present_Value
HLI-19 | generator_energy_accumulator_32 | kilowatt_hours | AV103007.Present_Value
HLI-19 | energy_accumulator_32 | kilowatt_hours | AV103008.Present_Value
HLI-19A | average_line_current_sensor_33 | amperes | AV107001.Present_Value
HLI-19A | average_line_neutral_voltage_sensor_33 | volts | AV107002.Present_Value
HLI-19A | line_frequency_sensor_33 | hertz | AV107003.Present_Value
HLI-19A | powerfactor_sensor_33 | no_units | AV107004.Present_Value
HLI-19A | power_sensor_33 | kilowatts | AV107005.Present_Value
HLI-19A | electricalgrid_energy_accumulator_33 | kilowatt_hours | AV107006.Present_Value
HLI-19A | generator_energy_accumulator_33 | kilowatt_hours | AV107007.Present_Value
HLI-19A | energy_accumulator_33 | kilowatt_hours | AV107008.Present_Value
HLI-19A | average_line_current_sensor_34 | amperes | AV108001.Present_Value
HLI-19A | average_line_neutral_voltage_sensor_34 | volts | AV108002.Present_Value
HLI-19A | line_frequency_sensor_34 | hertz | AV108003.Present_Value
HLI-19A | powerfactor_sensor_34 | no_units | AV108004.Present_Value
HLI-19A | power_sensor_34 | kilowatts | AV108005.Present_Value
HLI-19A | electricalgrid_energy_accumulator_34 | kilowatt_hours | AV108006.Present_Value
HLI-19A | generator_energy_accumulator_34 | kilowatt_hours | AV108007.Present_Value
HLI-19A | energy_accumulator_34 | kilowatt_hours | AV108008.Present_Value
HLI-19A | average_line_current_sensor_35 | amperes | AV109001.Present_Value
HLI-19A | average_line_neutral_voltage_sensor_35 | volts | AV109002.Present_Value
HLI-19A | line_frequency_sensor_35 | hertz | AV109003.Present_Value
HLI-19A | powerfactor_sensor_35 | no_units | AV109004.Present_Value
HLI-19A | power_sensor_35 | kilowatts | AV109005.Present_Value
HLI-19A | electricalgrid_energy_accumulator_35 | kilowatt_hours | AV109006.Present_Value
HLI-19A | generator_energy_accumulator_35 | kilowatt_hours | AV109007.Present_Value
HLI-19A | energy_accumulator_35 | kilowatt_hours | AV109008.Present_Value
HLI-19A | average_line_current_sensor_36 | amperes | AV110001.Present_Value
HLI-19A | average_line_neutral_voltage_sensor_36 | volts | AV110002.Present_Value
HLI-19A | line_frequency_sensor_36 | hertz | AV110003.Present_Value
HLI-19A | powerfactor_sensor_36 | no_units | AV110004.Present_Value
HLI-19A | power_sensor_36 | kilowatts | AV110005.Present_Value
HLI-19A | electricalgrid_energy_accumulator_36 | kilowatt_hours | AV110006.Present_Value
HLI-19A | generator_energy_accumulator_36 | kilowatt_hours | AV110007.Present_Value
HLI-19A | energy_accumulator_36 | kilowatt_hours | AV110008.Present_Value
HLI-19A | average_line_current_sensor_37 | amperes | AV111001.Present_Value
HLI-19A | average_line_neutral_voltage_sensor_37 | volts | AV111002.Present_Value
HLI-19A | line_frequency_sensor_37 | hertz | AV111003.Present_Value
HLI-19A | powerfactor_sensor_37 | no_units | AV111004.Present_Value
HLI-19A | power_sensor_37 | kilowatts | AV111005.Present_Value
HLI-19A | electricalgrid_energy_accumulator_37 | kilowatt_hours | AV111006.Present_Value
HLI-19A | generator_energy_accumulator_37 | kilowatt_hours | AV111007.Present_Value
HLI-19A | energy_accumulator_37 | kilowatt_hours | AV111008.Present_Value
HLI-19A | average_line_current_sensor_38 | amperes | AV112001.Present_Value
HLI-19A | average_line_neutral_voltage_sensor_38 | volts | AV112002.Present_Value
HLI-19A | line_frequency_sensor_38 | hertz | AV112003.Present_Value
HLI-19A | powerfactor_sensor_38 | no_units | AV112004.Present_Value
HLI-19A | power_sensor_38 | kilowatts | AV112005.Present_Value
HLI-19A | electricalgrid_energy_accumulator_38 | kilowatt_hours | AV112006.Present_Value
HLI-19A | generator_energy_accumulator_38 | kilowatt_hours | AV112007.Present_Value
HLI-19A | energy_accumulator_38 | kilowatt_hours | AV112008.Present_Value
HLI-19A | average_line_current_sensor_39 | amperes | AV113001.Present_Value
HLI-19A | average_line_neutral_voltage_sensor_39 | volts | AV113002.Present_Value
HLI-19A | line_frequency_sensor_39 | hertz | AV113003.Present_Value
HLI-19A | powerfactor_sensor_39 | no_units | AV113004.Present_Value
HLI-19A | power_sensor_39 | kilowatts | AV113005.Present_Value
HLI-19A | electricalgrid_energy_accumulator_39 | kilowatt_hours | AV113006.Present_Value
HLI-19A | generator_energy_accumulator_39 | kilowatt_hours | AV113007.Present_Value
HLI-19A | energy_accumulator_39 | kilowatt_hours | AV113008.Present_Value
HLI-19A | average_line_current_sensor_40 | amperes | AV114001.Present_Value
HLI-19A | average_line_neutral_voltage_sensor_40 | volts | AV114002.Present_Value
HLI-19A | line_frequency_sensor_40 | hertz | AV114003.Present_Value
HLI-19A | powerfactor_sensor_40 | no_units | AV114004.Present_Value
HLI-19A | power_sensor_40 | kilowatts | AV114005.Present_Value
HLI-19A | electricalgrid_energy_accumulator_40 | kilowatt_hours | AV114006.Present_Value
HLI-19A | generator_energy_accumulator_40 | kilowatt_hours | AV114007.Present_Value
HLI-19A | energy_accumulator_40 | kilowatt_hours | AV114008.Present_Value
HLI-19A | average_line_current_sensor_41 | amperes | AV115001.Present_Value
HLI-19A | average_line_neutral_voltage_sensor_41 | volts | AV115002.Present_Value
HLI-19A | line_frequency_sensor_41 | hertz | AV115003.Present_Value
HLI-19A | powerfactor_sensor_41 | no_units | AV115004.Present_Value
HLI-19A | power_sensor_41 | kilowatts | AV115005.Present_Value
HLI-19A | electricalgrid_energy_accumulator_41 | kilowatt_hours | AV115006.Present_Value
HLI-19A | generator_energy_accumulator_41 | kilowatt_hours | AV115007.Present_Value
HLI-19A | energy_accumulator_41 | kilowatt_hours | AV115008.Present_Value
HLI-19 | average_line_current_sensor_42 | amperes | AV104001.Present_Value
HLI-19 | average_line_neutral_voltage_sensor_42 | volts | AV104002.Present_Value
HLI-19 | line_frequency_sensor_42 | hertz | AV104003.Present_Value
HLI-19 | powerfactor_sensor_42 | no_units | AV104004.Present_Value
HLI-19 | power_sensor_42 | kilowatts | AV104005.Present_Value
HLI-19 | electricalgrid_energy_accumulator_42 | kilowatt_hours | AV104006.Present_Value
HLI-19 | generator_energy_accumulator_42 | kilowatt_hours | AV104007.Present_Value
HLI-19 | energy_accumulator_42 | kilowatt_hours | AV104008.Present_Value
HLI-19 | average_line_current_sensor_43 | amperes | AV105001.Present_Value
HLI-19 | average_line_neutral_voltage_sensor_43 | volts | AV105002.Present_Value
HLI-19 | line_frequency_sensor_43 | hertz | AV105003.Present_Value
HLI-19 | powerfactor_sensor_43 | no_units | AV105004.Present_Value
HLI-19 | power_sensor_43 | kilowatts | AV105005.Present_Value
HLI-19 | electricalgrid_energy_accumulator_43 | kilowatt_hours | AV105006.Present_Value
HLI-19 | generator_energy_accumulator_43 | kilowatt_hours | AV105007.Present_Value
HLI-19 | energy_accumulator_43 | kilowatt_hours | AV105008.Present_Value
HLI-34A | average_line_current_sensor_44 | amperes | AV102001.Present_Value
HLI-34A | average_line_neutral_voltage_sensor_44 | volts | AV102002.Present_Value
HLI-34A | line_frequency_sensor_44 | hertz | AV102003.Present_Value
HLI-34A | powerfactor_sensor_44 | no_units | AV102004.Present_Value
HLI-34A | power_sensor_44 | kilowatts | AV102005.Present_Value
HLI-34A | electricalgrid_energy_accumulator_44 | kilowatt_hours | AV102006.Present_Value
HLI-34A | generator_energy_accumulator_44 | kilowatt_hours | AV102007.Present_Value
HLI-34A | energy_accumulator_44 | kilowatt_hours | AV102008.Present_Value
HLI-34A | average_line_current_sensor_45 | amperes | AV103001.Present_Value
HLI-34A | average_line_neutral_voltage_sensor_45 | volts | AV103002.Present_Value
HLI-34A | line_frequency_sensor_45 | hertz | AV103003.Present_Value
HLI-34A | powerfactor_sensor_45 | no_units | AV103004.Present_Value
HLI-34A | power_sensor_45 | kilowatts | AV103005.Present_Value
HLI-34A | electricalgrid_energy_accumulator_45 | kilowatt_hours | AV103006.Present_Value
HLI-34A | generator_energy_accumulator_45 | kilowatt_hours | AV103007.Present_Value
HLI-34A | energy_accumulator_45 | kilowatt_hours | AV103008.Present_Value
HLI-34A | average_line_current_sensor_46 | amperes | AV104001.Present_Value
HLI-34A | average_line_neutral_voltage_sensor_46 | volts | AV104002.Present_Value
HLI-34A | line_frequency_sensor_46 | hertz | AV104003.Present_Value
HLI-34A | powerfactor_sensor_46 | no_units | AV104004.Present_Value
HLI-34A | power_sensor_46 | kilowatts | AV104005.Present_Value
HLI-34A | electricalgrid_energy_accumulator_46 | kilowatt_hours | AV104006.Present_Value
HLI-34A | generator_energy_accumulator_46 | kilowatt_hours | AV104007.Present_Value
HLI-34A | energy_accumulator_46 | kilowatt_hours | AV104008.Present_Value
HLI-34A | average_line_current_sensor_47 | amperes | AV105001.Present_Value
HLI-34A | average_line_neutral_voltage_sensor_47 | volts | AV105002.Present_Value
HLI-34A | line_frequency_sensor_47 | hertz | AV105003.Present_Value
HLI-34A | powerfactor_sensor_47 | no_units | AV105004.Present_Value
HLI-34A | power_sensor_47 | kilowatts | AV105005.Present_Value
HLI-34A | electricalgrid_energy_accumulator_47 | kilowatt_hours | AV105006.Present_Value
HLI-34A | generator_energy_accumulator_47 | kilowatt_hours | AV105007.Present_Value
HLI-34A | energy_accumulator_47 | kilowatt_hours | AV105008.Present_Value
HLI-34A | average_line_current_sensor_48 | amperes | AV106001.Present_Value
HLI-34A | average_line_neutral_voltage_sensor_48 | volts | AV106002.Present_Value
HLI-34A | line_frequency_sensor_48 | hertz | AV106003.Present_Value
HLI-34A | powerfactor_sensor_48 | no_units | AV106004.Present_Value
HLI-34A | power_sensor_48 | kilowatts | AV106005.Present_Value
HLI-34A | electricalgrid_energy_accumulator_48 | kilowatt_hours | AV106006.Present_Value
HLI-34A | generator_energy_accumulator_48 | kilowatt_hours | AV106007.Present_Value
HLI-34A | energy_accumulator_48 | kilowatt_hours | AV106008.Present_Value
HLI-34 | average_line_current_sensor_49 | amperes | AV102001.Present_Value
HLI-34 | average_line_neutral_voltage_sensor_49 | volts | AV102002.Present_Value
HLI-34 | line_frequency_sensor_49 | hertz | AV102003.Present_Value
HLI-34 | powerfactor_sensor_49 | no_units | AV102004.Present_Value
HLI-34 | power_sensor_49 | kilowatts | AV102005.Present_Value
HLI-34 | electricalgrid_energy_accumulator_49 | kilowatt_hours | AV102006.Present_Value
HLI-34 | generator_energy_accumulator_49 | kilowatt_hours | AV102007.Present_Value
HLI-34 | energy_accumulator_49 | kilowatt_hours | AV102008.Present_Value
HLI-34 | average_line_current_sensor_50 | amperes | AV103001.Present_Value
HLI-34 | average_line_neutral_voltage_sensor_50 | volts | AV103002.Present_Value
HLI-34 | line_frequency_sensor_50 | hertz | AV103003.Present_Value
HLI-34 | powerfactor_sensor_50 | no_units | AV103004.Present_Value
HLI-34 | power_sensor_50 | kilowatts | AV103005.Present_Value
HLI-34 | electricalgrid_energy_accumulator_50 | kilowatt_hours | AV103006.Present_Value
HLI-34 | generator_energy_accumulator_50 | kilowatt_hours | AV103007.Present_Value
HLI-34 | energy_accumulator_50 | kilowatt_hours | AV103008.Present_Value
HLI-34 | average_line_current_sensor_51 | amperes | AV104001.Present_Value
HLI-34 | average_line_neutral_voltage_sensor_51 | volts | AV104002.Present_Value
HLI-34 | line_frequency_sensor_51 | hertz | AV104003.Present_Value
HLI-34 | powerfactor_sensor_51 | no_units | AV104004.Present_Value
HLI-34 | power_sensor_51 | kilowatts | AV104005.Present_Value
HLI-34 | electricalgrid_energy_accumulator_51 | kilowatt_hours | AV104006.Present_Value
HLI-34 | generator_energy_accumulator_51 | kilowatt_hours | AV104007.Present_Value
HLI-34 | energy_accumulator_51 | kilowatt_hours | AV104008.Present_Value
HLI-34 | average_line_current_sensor_52 | amperes | AV105001.Present_Value
HLI-34 | average_line_neutral_voltage_sensor_52 | volts | AV105002.Present_Value
HLI-34 | line_frequency_sensor_52 | hertz | AV105003.Present_Value
HLI-34 | powerfactor_sensor_52 | no_units | AV105004.Present_Value
HLI-34 | power_sensor_52 | kilowatts | AV105005.Present_Value
HLI-34 | electricalgrid_energy_accumulator_52 | kilowatt_hours | AV105006.Present_Value
HLI-34 | generator_energy_accumulator_52 | kilowatt_hours | AV105007.Present_Value
HLI-34 | energy_accumulator_52 | kilowatt_hours | AV105008.Present_Value
HLI-34 | average_line_current_sensor_53 | amperes | AV106001.Present_Value
HLI-34 | average_line_neutral_voltage_sensor_53 | volts | AV106002.Present_Value
HLI-34 | line_frequency_sensor_53 | hertz | AV106003.Present_Value
HLI-34 | powerfactor_sensor_53 | no_units | AV106004.Present_Value
HLI-34 | power_sensor_53 | kilowatts | AV106005.Present_Value
HLI-34 | electricalgrid_energy_accumulator_53 | kilowatt_hours | AV106006.Present_Value
HLI-34 | generator_energy_accumulator_53 | kilowatt_hours | AV106007.Present_Value
HLI-34 | energy_accumulator_53 | kilowatt_hours | AV106008.Present_Value
HLI-34 | average_line_current_sensor_54 | amperes | AV107001.Present_Value
HLI-34 | average_line_neutral_voltage_sensor_54 | volts | AV107002.Present_Value
HLI-34 | line_frequency_sensor_54 | hertz | AV107003.Present_Value
HLI-34 | powerfactor_sensor_54 | no_units | AV107004.Present_Value
HLI-34 | power_sensor_54 | kilowatts | AV107005.Present_Value
HLI-34 | electricalgrid_energy_accumulator_54 | kilowatt_hours | AV107006.Present_Value
HLI-34 | generator_energy_accumulator_54 | kilowatt_hours | AV107007.Present_Value
HLI-34 | energy_accumulator_54 | kilowatt_hours | AV107008.Present_Value
HLI-34 | average_line_current_sensor_55 | amperes | AV108001.Present_Value
HLI-34 | average_line_neutral_voltage_sensor_55 | volts | AV108002.Present_Value
HLI-34 | line_frequency_sensor_55 | hertz | AV108003.Present_Value
HLI-34 | powerfactor_sensor_55 | no_units | AV108004.Present_Value
HLI-34 | power_sensor_55 | kilowatts | AV108005.Present_Value
HLI-34 | electricalgrid_energy_accumulator_55 | kilowatt_hours | AV108006.Present_Value
HLI-34 | generator_energy_accumulator_55 | kilowatt_hours | AV108007.Present_Value
HLI-34 | energy_accumulator_55 | kilowatt_hours | AV108008.Present_Value
HLI-34 | average_line_current_sensor_56 | amperes | AV109001.Present_Value
HLI-34 | average_line_neutral_voltage_sensor_56 | volts | AV109002.Present_Value
HLI-34 | line_frequency_sensor_56 | hertz | AV109003.Present_Value
HLI-34 | powerfactor_sensor_56 | no_units | AV109004.Present_Value
HLI-34 | power_sensor_56 | kilowatts | AV109005.Present_Value
HLI-34 | electricalgrid_energy_accumulator_56 | kilowatt_hours | AV109006.Present_Value
HLI-34 | generator_energy_accumulator_56 | kilowatt_hours | AV109007.Present_Value
HLI-34 | energy_accumulator_56 | kilowatt_hours | AV109008.Present_Value
HLI-34 | average_line_current_sensor_57 | amperes | AV110001.Present_Value
HLI-34 | average_line_neutral_voltage_sensor_57 | volts | AV110002.Present_Value
HLI-34 | line_frequency_sensor_57 | hertz | AV110003.Present_Value
HLI-34 | powerfactor_sensor_57 | no_units | AV110004.Present_Value
HLI-34 | power_sensor_57 | kilowatts | AV110005.Present_Value
HLI-34 | electricalgrid_energy_accumulator_57 | kilowatt_hours | AV110006.Present_Value
HLI-34 | generator_energy_accumulator_57 | kilowatt_hours | AV110007.Present_Value
HLI-34 | energy_accumulator_57 | kilowatt_hours | AV110008.Present_Value
HLI-34 | average_line_current_sensor_58 | amperes | AV111001.Present_Value
HLI-34 | average_line_neutral_voltage_sensor_58 | volts | AV111002.Present_Value
HLI-34 | line_frequency_sensor_58 | hertz | AV111003.Present_Value
HLI-34 | powerfactor_sensor_58 | no_units | AV111004.Present_Value
HLI-34 | power_sensor_58 | kilowatts | AV111005.Present_Value
HLI-34 | electricalgrid_energy_accumulator_58 | kilowatt_hours | AV111006.Present_Value
HLI-34 | generator_energy_accumulator_58 | kilowatt_hours | AV111007.Present_Value
HLI-34 | energy_accumulator_58 | kilowatt_hours | AV111008.Present_Value
HLI-34 | average_line_current_sensor_59 | amperes | AV112001.Present_Value
HLI-34 | average_line_neutral_voltage_sensor_59 | volts | AV112002.Present_Value
HLI-34 | line_frequency_sensor_59 | hertz | AV112003.Present_Value
HLI-34 | powerfactor_sensor_59 | no_units | AV112004.Present_Value
HLI-34 | power_sensor_59 | kilowatts | AV112005.Present_Value
HLI-34 | electricalgrid_energy_accumulator_59 | kilowatt_hours | AV112006.Present_Value
HLI-34 | generator_energy_accumulator_59 | kilowatt_hours | AV112007.Present_Value
HLI-34 | energy_accumulator_59 | kilowatt_hours | AV112008.Present_Value
HLI-34 | average_line_current_sensor_60 | amperes | AV113001.Present_Value
HLI-34 | average_line_neutral_voltage_sensor_60 | volts | AV113002.Present_Value
HLI-34 | line_frequency_sensor_60 | hertz | AV113003.Present_Value
HLI-34 | powerfactor_sensor_60 | no_units | AV113004.Present_Value
HLI-34 | power_sensor_60 | kilowatts | AV113005.Present_Value
HLI-34 | electricalgrid_energy_accumulator_60 | kilowatt_hours | AV113006.Present_Value
HLI-34 | generator_energy_accumulator_60 | kilowatt_hours | AV113007.Present_Value
HLI-34 | energy_accumulator_60 | kilowatt_hours | AV113008.Present_Value
HLI-34 | average_line_current_sensor_61 | amperes | AV114001.Present_Value
HLI-34 | average_line_neutral_voltage_sensor_61 | volts | AV114002.Present_Value
HLI-34 | line_frequency_sensor_61 | hertz | AV114003.Present_Value
HLI-34 | powerfactor_sensor_61 | no_units | AV114004.Present_Value
HLI-34 | power_sensor_61 | kilowatts | AV114005.Present_Value
HLI-34 | electricalgrid_energy_accumulator_61 | kilowatt_hours | AV114006.Present_Value
HLI-34 | generator_energy_accumulator_61 | kilowatt_hours | AV114007.Present_Value
HLI-34 | energy_accumulator_61 | kilowatt_hours | AV114008.Present_Value
HLI-19 | average_line_current_sensor_62 | amperes | AV106001.Present_Value
HLI-19 | average_line_neutral_voltage_sensor_62 | volts | AV106002.Present_Value
HLI-19 | line_frequency_sensor_62 | hertz | AV106003.Present_Value
HLI-19 | powerfactor_sensor_62 | no_units | AV106004.Present_Value
HLI-19 | power_sensor_62 | kilowatts | AV106005.Present_Value
HLI-19 | electricalgrid_energy_accumulator_62 | kilowatt_hours | AV106006.Present_Value
HLI-19 | generator_energy_accumulator_62 | kilowatt_hours | AV106007.Present_Value
HLI-19 | energy_accumulator_62 | kilowatt_hours | AV106008.Present_Value
HLI-19 | average_line_current_sensor_63 | amperes | AV107001.Present_Value
HLI-19 | average_line_neutral_voltage_sensor_63 | volts | AV107002.Present_Value
HLI-19 | line_frequency_sensor_63 | hertz | AV107003.Present_Value
HLI-19 | powerfactor_sensor_63 | no_units | AV107004.Present_Value
HLI-19 | power_sensor_63 | kilowatts | AV107005.Present_Value
HLI-19 | electricalgrid_energy_accumulator_63 | kilowatt_hours | AV107006.Present_Value
HLI-19 | generator_energy_accumulator_63 | kilowatt_hours | AV107007.Present_Value
HLI-19 | energy_accumulator_63 | kilowatt_hours | AV107008.Present_Value
HLI-19 | average_line_current_sensor_64 | amperes | AV108001.Present_Value
HLI-19 | average_line_neutral_voltage_sensor_64 | volts | AV108002.Present_Value
HLI-19 | line_frequency_sensor_64 | hertz | AV108003.Present_Value
HLI-19 | powerfactor_sensor_64 | no_units | AV108004.Present_Value
HLI-19 | power_sensor_64 | kilowatts | AV108005.Present_Value
HLI-19 | electricalgrid_energy_accumulator_64 | kilowatt_hours | AV108006.Present_Value
HLI-19 | generator_energy_accumulator_64 | kilowatt_hours | AV108007.Present_Value
HLI-19 | energy_accumulator_64 | kilowatt_hours | AV108008.Present_Value
HLI-34A | average_line_current_sensor_65 | amperes | AV107001.Present_Value
HLI-34A | average_line_neutral_voltage_sensor_65 | volts | AV107002.Present_Value
HLI-34A | line_frequency_sensor_65 | hertz | AV107003.Present_Value
HLI-34A | powerfactor_sensor_65 | no_units | AV107004.Present_Value
HLI-34A | power_sensor_65 | kilowatts | AV107005.Present_Value
HLI-34A | electricalgrid_energy_accumulator_65 | kilowatt_hours | AV107006.Present_Value
HLI-34A | generator_energy_accumulator_65 | kilowatt_hours | AV107007.Present_Value
HLI-34A | energy_accumulator_65 | kilowatt_hours | AV107008.Present_Value
HLI-34A | average_line_current_sensor_66 | amperes | AV108001.Present_Value
HLI-34A | average_line_neutral_voltage_sensor_66 | volts | AV108002.Present_Value
HLI-34A | line_frequency_sensor_66 | hertz | AV108003.Present_Value
HLI-34A | powerfactor_sensor_66 | no_units | AV108004.Present_Value
HLI-34A | power_sensor_66 | kilowatts | AV108005.Present_Value
HLI-34A | electricalgrid_energy_accumulator_66 | kilowatt_hours | AV108006.Present_Value
HLI-34A | generator_energy_accumulator_66 | kilowatt_hours | AV108007.Present_Value
HLI-34A | energy_accumulator_66 | kilowatt_hours | AV108008.Present_Value
HLI-34A | average_line_current_sensor_67 | amperes | AV109001.Present_Value
HLI-34A | average_line_neutral_voltage_sensor_67 | volts | AV109002.Present_Value
HLI-34A | line_frequency_sensor_67 | hertz | AV109003.Present_Value
HLI-34A | powerfactor_sensor_67 | no_units | AV109004.Present_Value
HLI-34A | power_sensor_67 | kilowatts | AV109005.Present_Value
HLI-34A | electricalgrid_energy_accumulator_67 | kilowatt_hours | AV109006.Present_Value
HLI-34A | generator_energy_accumulator_67 | kilowatt_hours | AV109007.Present_Value
HLI-34A | energy_accumulator_67 | kilowatt_hours | AV109008.Present_Value
HLI-34A | average_line_current_sensor_68 | amperes | AV110001.Present_Value
HLI-34A | average_line_neutral_voltage_sensor_68 | volts | AV110002.Present_Value
HLI-34A | line_frequency_sensor_68 | hertz | AV110003.Present_Value
HLI-34A | powerfactor_sensor_68 | no_units | AV110004.Present_Value
HLI-34A | power_sensor_68 | kilowatts | AV110005.Present_Value
HLI-34A | electricalgrid_energy_accumulator_68 | kilowatt_hours | AV110006.Present_Value
HLI-34A | generator_energy_accumulator_68 | kilowatt_hours | AV110007.Present_Value
HLI-34A | energy_accumulator_68 | kilowatt_hours | AV110008.Present_Value
HLI-34A | average_line_current_sensor_69 | amperes | AV111001.Present_Value
HLI-34A | average_line_neutral_voltage_sensor_69 | volts | AV111002.Present_Value
HLI-34A | line_frequency_sensor_69 | hertz | AV111003.Present_Value
HLI-34A | powerfactor_sensor_69 | no_units | AV111004.Present_Value
HLI-34A | power_sensor_69 | kilowatts | AV111005.Present_Value
HLI-34A | electricalgrid_energy_accumulator_69 | kilowatt_hours | AV111006.Present_Value
HLI-34A | generator_energy_accumulator_69 | kilowatt_hours | AV111007.Present_Value
HLI-34A | energy_accumulator_69 | kilowatt_hours | AV111008.Present_Value
HLI-19 | average_line_current_sensor_70 | amperes | AV109001.Present_Value
HLI-19 | average_line_neutral_voltage_sensor_70 | volts | AV109002.Present_Value
HLI-19 | line_frequency_sensor_70 | hertz | AV109003.Present_Value
HLI-19 | powerfactor_sensor_70 | no_units | AV109004.Present_Value
HLI-19 | power_sensor_70 | kilowatts | AV109005.Present_Value
HLI-19 | electricalgrid_energy_accumulator_70 | kilowatt_hours | AV109006.Present_Value
HLI-19 | generator_energy_accumulator_70 | kilowatt_hours | AV109007.Present_Value
HLI-19 | energy_accumulator_70 | kilowatt_hours | AV109008.Present_Value
HLI-19 | average_line_current_sensor_71 | amperes | AV110001.Present_Value
HLI-19 | average_line_neutral_voltage_sensor_71 | volts | AV110002.Present_Value
HLI-19 | line_frequency_sensor_71 | hertz | AV110003.Present_Value
HLI-19 | powerfactor_sensor_71 | no_units | AV110004.Present_Value
HLI-19 | power_sensor_71 | kilowatts | AV110005.Present_Value
HLI-19 | electricalgrid_energy_accumulator_71 | kilowatt_hours | AV110006.Present_Value
HLI-19 | generator_energy_accumulator_71 | kilowatt_hours | AV110007.Present_Value
HLI-19 | energy_accumulator_71 | kilowatt_hours | AV110008.Present_Value
HLI-34A | average_line_current_sensor_72 | amperes | AV112001.Present_Value
HLI-34A | average_line_neutral_voltage_sensor_72 | volts | AV112002.Present_Value
HLI-34A | line_frequency_sensor_72 | hertz | AV112003.Present_Value
HLI-34A | powerfactor_sensor_72 | no_units | AV112004.Present_Value
HLI-34A | power_sensor_72 | kilowatts | AV112005.Present_Value
HLI-34A | electricalgrid_energy_accumulator_72 | kilowatt_hours | AV112006.Present_Value
HLI-34A | generator_energy_accumulator_72 | kilowatt_hours | AV112007.Present_Value
HLI-34A | energy_accumulator_72 | kilowatt_hours | AV112008.Present_Value
HLI-34A | average_line_current_sensor_73 | amperes | AV113001.Present_Value
HLI-34A | average_line_neutral_voltage_sensor_73 | volts | AV113002.Present_Value
HLI-34A | line_frequency_sensor_73 | hertz | AV113003.Present_Value
HLI-34A | powerfactor_sensor_73 | no_units | AV113004.Present_Value
HLI-34A | power_sensor_73 | kilowatts | AV113005.Present_Value
HLI-34A | electricalgrid_energy_accumulator_73 | kilowatt_hours | AV113006.Present_Value
HLI-34A | generator_energy_accumulator_73 | kilowatt_hours | AV113007.Present_Value
HLI-34A | energy_accumulator_73 | kilowatt_hours | AV113008.Present_Value
HLI-34A | average_line_current_sensor_74 | amperes | AV114001.Present_Value
HLI-34A | average_line_neutral_voltage_sensor_74 | volts | AV114002.Present_Value
HLI-34A | line_frequency_sensor_74 | hertz | AV114003.Present_Value
HLI-34A | powerfactor_sensor_74 | no_units | AV114004.Present_Value
HLI-34A | power_sensor_74 | kilowatts | AV114005.Present_Value
HLI-34A | electricalgrid_energy_accumulator_74 | kilowatt_hours | AV114006.Present_Value
HLI-34A | generator_energy_accumulator_74 | kilowatt_hours | AV114007.Present_Value
HLI-34A | energy_accumulator_74 | kilowatt_hours | AV114008.Present_Value
HLI-34A | average_line_current_sensor_75 | amperes | AV115001.Present_Value
HLI-34A | average_line_neutral_voltage_sensor_75 | volts | AV115002.Present_Value
HLI-34A | line_frequency_sensor_75 | hertz | AV115003.Present_Value
HLI-34A | powerfactor_sensor_75 | no_units | AV115004.Present_Value
HLI-34A | power_sensor_75 | kilowatts | AV115005.Present_Value
HLI-34A | electricalgrid_energy_accumulator_75 | kilowatt_hours | AV115006.Present_Value
HLI-34A | generator_energy_accumulator_75 | kilowatt_hours | AV115007.Present_Value
HLI-34A | energy_accumulator_75 | kilowatt_hours | AV115008.Present_Value
HLI-34A | average_line_current_sensor_76 | amperes | AV116001.Present_Value
HLI-34A | average_line_neutral_voltage_sensor_76 | volts | AV116002.Present_Value
HLI-34A | line_frequency_sensor_76 | hertz | AV116003.Present_Value
HLI-34A | powerfactor_sensor_76 | no_units | AV116004.Present_Value
HLI-34A | power_sensor_76 | kilowatts | AV116005.Present_Value
HLI-34A | electricalgrid_energy_accumulator_76 | kilowatt_hours | AV116006.Present_Value
HLI-34A | generator_energy_accumulator_76 | kilowatt_hours | AV116007.Present_Value
HLI-34A | energy_accumulator_76 | kilowatt_hours | AV116008.Present_Value
HLI-19 | average_line_current_sensor_77 | amperes | AV111001.Present_Value
HLI-19 | average_line_neutral_voltage_sensor_77 | volts | AV111002.Present_Value
HLI-19 | line_frequency_sensor_77 | hertz | AV111003.Present_Value
HLI-19 | powerfactor_sensor_77 | no_units | AV111004.Present_Value
HLI-19 | power_sensor_77 | kilowatts | AV111005.Present_Value
HLI-19 | electricalgrid_energy_accumulator_77 | kilowatt_hours | AV111006.Present_Value
HLI-19 | generator_energy_accumulator_77 | kilowatt_hours | AV111007.Present_Value
HLI-19 | energy_accumulator_77 | kilowatt_hours | AV111008.Present_Value
HLI-19 | average_line_current_sensor_78 | amperes | AV112001.Present_Value
HLI-19 | average_line_neutral_voltage_sensor_78 | volts | AV112002.Present_Value
HLI-19 | line_frequency_sensor_78 | hertz | AV112003.Present_Value
HLI-19 | powerfactor_sensor_78 | no_units | AV112004.Present_Value
HLI-19 | power_sensor_78 | kilowatts | AV112005.Present_Value
HLI-19 | electricalgrid_energy_accumulator_78 | kilowatt_hours | AV112006.Present_Value
HLI-19 | generator_energy_accumulator_78 | kilowatt_hours | AV112007.Present_Value
HLI-19 | energy_accumulator_78 | kilowatt_hours | AV112008.Present_Value
HLI-53 | average_line_current_sensor_79 | amperes | AV102001.Present_Value
HLI-53 | average_line_neutral_voltage_sensor_79 | volts | AV102002.Present_Value
HLI-53 | line_frequency_sensor_79 | hertz | AV102003.Present_Value
HLI-53 | powerfactor_sensor_79 | no_units | AV102004.Present_Value
HLI-53 | power_sensor_79 | kilowatts | AV102005.Present_Value
HLI-53 | electricalgrid_energy_accumulator_79 | kilowatt_hours | AV102006.Present_Value
HLI-53 | generator_energy_accumulator_79 | kilowatt_hours | AV102007.Present_Value
HLI-53 | energy_accumulator_79 | kilowatt_hours | AV102008.Present_Value
HLI-53 | average_line_current_sensor_80 | amperes | AV103001.Present_Value
HLI-53 | average_line_neutral_voltage_sensor_80 | volts | AV103002.Present_Value
HLI-53 | line_frequency_sensor_80 | hertz | AV103003.Present_Value
HLI-53 | powerfactor_sensor_80 | no_units | AV103004.Present_Value
HLI-53 | power_sensor_80 | kilowatts | AV103005.Present_Value
HLI-53 | electricalgrid_energy_accumulator_80 | kilowatt_hours | AV103006.Present_Value
HLI-53 | generator_energy_accumulator_80 | kilowatt_hours | AV103007.Present_Value
HLI-53 | energy_accumulator_80 | kilowatt_hours | AV103008.Present_Value
HLI-53 | average_line_current_sensor_81 | amperes | AV104001.Present_Value
HLI-53 | average_line_neutral_voltage_sensor_81 | volts | AV104002.Present_Value
HLI-53 | line_frequency_sensor_81 | hertz | AV104003.Present_Value
HLI-53 | powerfactor_sensor_81 | no_units | AV104004.Present_Value
HLI-53 | power_sensor_81 | kilowatts | AV104005.Present_Value
HLI-53 | electricalgrid_energy_accumulator_81 | kilowatt_hours | AV104006.Present_Value
HLI-53 | generator_energy_accumulator_81 | kilowatt_hours | AV104007.Present_Value
HLI-53 | energy_accumulator_81 | kilowatt_hours | AV104008.Present_Value
HLI-53 | average_line_current_sensor_82 | amperes | AV105001.Present_Value
HLI-53 | average_line_neutral_voltage_sensor_82 | volts | AV105002.Present_Value
HLI-53 | line_frequency_sensor_82 | hertz | AV105003.Present_Value
HLI-53 | powerfactor_sensor_82 | no_units | AV105004.Present_Value
HLI-53 | power_sensor_82 | kilowatts | AV105005.Present_Value
HLI-53 | electricalgrid_energy_accumulator_82 | kilowatt_hours | AV105006.Present_Value
HLI-53 | generator_energy_accumulator_82 | kilowatt_hours | AV105007.Present_Value
HLI-53 | energy_accumulator_82 | kilowatt_hours | AV105008.Present_Value
HLI-53 | average_line_current_sensor_83 | amperes | AV106001.Present_Value
HLI-53 | average_line_neutral_voltage_sensor_83 | volts | AV106002.Present_Value
HLI-53 | line_frequency_sensor_83 | hertz | AV106003.Present_Value
HLI-53 | powerfactor_sensor_83 | no_units | AV106004.Present_Value
HLI-53 | power_sensor_83 | kilowatts | AV106005.Present_Value
HLI-53 | electricalgrid_energy_accumulator_83 | kilowatt_hours | AV106006.Present_Value
HLI-53 | generator_energy_accumulator_83 | kilowatt_hours | AV106007.Present_Value
HLI-53 | energy_accumulator_83 | kilowatt_hours | AV106008.Present_Value
HLI-53 | average_line_current_sensor_84 | amperes | AV107001.Present_Value
HLI-53 | average_line_neutral_voltage_sensor_84 | volts | AV107002.Present_Value
HLI-53 | line_frequency_sensor_84 | hertz | AV107003.Present_Value
HLI-53 | powerfactor_sensor_84 | no_units | AV107004.Present_Value
HLI-53 | power_sensor_84 | kilowatts | AV107005.Present_Value
HLI-53 | electricalgrid_energy_accumulator_84 | kilowatt_hours | AV107006.Present_Value
HLI-53 | generator_energy_accumulator_84 | kilowatt_hours | AV107007.Present_Value
HLI-53 | energy_accumulator_84 | kilowatt_hours | AV107008.Present_Value
HLI-53 | average_line_current_sensor_85 | amperes | AV108001.Present_Value
HLI-53 | average_line_neutral_voltage_sensor_85 | volts | AV108002.Present_Value
HLI-53 | line_frequency_sensor_85 | hertz | AV108003.Present_Value
HLI-53 | powerfactor_sensor_85 | no_units | AV108004.Present_Value
HLI-53 | power_sensor_85 | kilowatts | AV108005.Present_Value
HLI-53 | electricalgrid_energy_accumulator_85 | kilowatt_hours | AV108006.Present_Value
HLI-53 | generator_energy_accumulator_85 | kilowatt_hours | AV108007.Present_Value
HLI-53 | energy_accumulator_85 | kilowatt_hours | AV108008.Present_Value
HLI-53 | average_line_current_sensor_86 | amperes | AV109001.Present_Value
HLI-53 | average_line_neutral_voltage_sensor_86 | volts | AV109002.Present_Value
HLI-53 | line_frequency_sensor_86 | hertz | AV109003.Present_Value
HLI-53 | powerfactor_sensor_86 | no_units | AV109004.Present_Value
HLI-53 | power_sensor_86 | kilowatts | AV109005.Present_Value
HLI-53 | electricalgrid_energy_accumulator_86 | kilowatt_hours | AV109006.Present_Value
HLI-53 | generator_energy_accumulator_86 | kilowatt_hours | AV109007.Present_Value
HLI-53 | energy_accumulator_86 | kilowatt_hours | AV109008.Present_Value
HLI-53 | average_line_current_sensor_87 | amperes | AV110001.Present_Value
HLI-53 | average_line_neutral_voltage_sensor_87 | volts | AV110002.Present_Value
HLI-53 | line_frequency_sensor_87 | hertz | AV110003.Present_Value
HLI-53 | powerfactor_sensor_87 | no_units | AV110004.Present_Value
HLI-53 | power_sensor_87 | kilowatts | AV110005.Present_Value
HLI-53 | electricalgrid_energy_accumulator_87 | kilowatt_hours | AV110006.Present_Value
HLI-53 | generator_energy_accumulator_87 | kilowatt_hours | AV110007.Present_Value
HLI-53 | energy_accumulator_87 | kilowatt_hours | AV110008.Present_Value
HLI-19 | average_line_current_sensor_88 | amperes | AV113001.Present_Value
HLI-19 | average_line_neutral_voltage_sensor_88 | volts | AV113002.Present_Value
HLI-19 | line_frequency_sensor_88 | hertz | AV113003.Present_Value
HLI-19 | powerfactor_sensor_88 | no_units | AV113004.Present_Value
HLI-19 | power_sensor_88 | kilowatts | AV113005.Present_Value
HLI-19 | electricalgrid_energy_accumulator_88 | kilowatt_hours | AV113006.Present_Value
HLI-19 | generator_energy_accumulator_88 | kilowatt_hours | AV113007.Present_Value
HLI-19 | energy_accumulator_88 | kilowatt_hours | AV113008.Present_Value
HLI-19 | average_line_current_sensor_89 | amperes | AV114001.Present_Value
HLI-19 | average_line_neutral_voltage_sensor_89 | volts | AV114002.Present_Value
HLI-19 | line_frequency_sensor_89 | hertz | AV114003.Present_Value
HLI-19 | powerfactor_sensor_89 | no_units | AV114004.Present_Value
HLI-19 | power_sensor_89 | kilowatts | AV114005.Present_Value
HLI-19 | electricalgrid_energy_accumulator_89 | kilowatt_hours | AV114006.Present_Value
HLI-19 | generator_energy_accumulator_89 | kilowatt_hours | AV114007.Present_Value
HLI-19 | energy_accumulator_89 | kilowatt_hours | AV114008.Present_Value
HLI-53 | average_line_current_sensor_90 | amperes | AV111001.Present_Value
HLI-53 | average_line_neutral_voltage_sensor_90 | volts | AV111002.Present_Value
HLI-53 | line_frequency_sensor_90 | hertz | AV111003.Present_Value
HLI-53 | powerfactor_sensor_90 | no_units | AV111004.Present_Value
HLI-53 | power_sensor_90 | kilowatts | AV111005.Present_Value
HLI-53 | electricalgrid_energy_accumulator_90 | kilowatt_hours | AV111006.Present_Value
HLI-53 | generator_energy_accumulator_90 | kilowatt_hours | AV111007.Present_Value
HLI-53 | energy_accumulator_90 | kilowatt_hours | AV111008.Present_Value
HLI-53 | average_line_current_sensor_91 | amperes | AV112001.Present_Value
HLI-53 | average_line_neutral_voltage_sensor_91 | volts | AV112002.Present_Value
HLI-53 | line_frequency_sensor_91 | hertz | AV112003.Present_Value
HLI-53 | powerfactor_sensor_91 | no_units | AV112004.Present_Value
HLI-53 | power_sensor_91 | kilowatts | AV112005.Present_Value
HLI-53 | electricalgrid_energy_accumulator_91 | kilowatt_hours | AV112006.Present_Value
HLI-53 | generator_energy_accumulator_91 | kilowatt_hours | AV112007.Present_Value
HLI-53 | energy_accumulator_91 | kilowatt_hours | AV112008.Present_Value
HLI-53 | average_line_current_sensor_92 | amperes | AV113001.Present_Value
HLI-53 | average_line_neutral_voltage_sensor_92 | volts | AV113002.Present_Value
HLI-53 | line_frequency_sensor_92 | hertz | AV113003.Present_Value
HLI-53 | powerfactor_sensor_92 | no_units | AV113004.Present_Value
HLI-53 | power_sensor_92 | kilowatts | AV113005.Present_Value
HLI-53 | electricalgrid_energy_accumulator_92 | kilowatt_hours | AV113006.Present_Value
HLI-53 | generator_energy_accumulator_92 | kilowatt_hours | AV113007.Present_Value
HLI-53 | energy_accumulator_92 | kilowatt_hours | AV113008.Present_Value
HLI-53 | average_line_current_sensor_93 | amperes | AV114001.Present_Value
HLI-53 | average_line_neutral_voltage_sensor_93 | volts | AV114002.Present_Value
HLI-53 | line_frequency_sensor_93 | hertz | AV114003.Present_Value
HLI-53 | powerfactor_sensor_93 | no_units | AV114004.Present_Value
HLI-53 | power_sensor_93 | kilowatts | AV114005.Present_Value
HLI-53 | electricalgrid_energy_accumulator_93 | kilowatt_hours | AV114006.Present_Value
HLI-53 | generator_energy_accumulator_93 | kilowatt_hours | AV114007.Present_Value
HLI-53 | energy_accumulator_93 | kilowatt_hours | AV114008.Present_Value
HLI-53 | average_line_current_sensor_94 | amperes | AV115001.Present_Value
HLI-53 | average_line_neutral_voltage_sensor_94 | volts | AV115002.Present_Value
HLI-53 | line_frequency_sensor_94 | hertz | AV115003.Present_Value
HLI-53 | powerfactor_sensor_94 | no_units | AV115004.Present_Value
HLI-53 | power_sensor_94 | kilowatts | AV115005.Present_Value
HLI-53 | electricalgrid_energy_accumulator_94 | kilowatt_hours | AV115006.Present_Value
HLI-53 | generator_energy_accumulator_94 | kilowatt_hours | AV115007.Present_Value
HLI-53 | energy_accumulator_94 | kilowatt_hours | AV115008.Present_Value
HLI-19 | average_line_current_sensor_95 | amperes | AV115001.Present_Value
HLI-19 | average_line_neutral_voltage_sensor_95 | volts | AV115002.Present_Value
HLI-19 | line_frequency_sensor_95 | hertz | AV115003.Present_Value
HLI-19 | powerfactor_sensor_95 | no_units | AV115004.Present_Value
HLI-19 | power_sensor_95 | kilowatts | AV115005.Present_Value
HLI-19 | electricalgrid_energy_accumulator_95 | kilowatt_hours | AV115006.Present_Value
HLI-19 | generator_energy_accumulator_95 | kilowatt_hours | AV115007.Present_Value
HLI-19 | energy_accumulator_95 | kilowatt_hours | AV115008.Present_Value
HLI-19 | average_line_current_sensor_96 | amperes | AV116001.Present_Value
HLI-19 | average_line_neutral_voltage_sensor_96 | volts | AV116002.Present_Value
HLI-19 | line_frequency_sensor_96 | hertz | AV116003.Present_Value
HLI-19 | powerfactor_sensor_96 | no_units | AV116004.Present_Value
HLI-19 | power_sensor_96 | kilowatts | AV116005.Present_Value
HLI-19 | electricalgrid_energy_accumulator_96 | kilowatt_hours | AV116006.Present_Value
HLI-19 | generator_energy_accumulator_96 | kilowatt_hours | AV116007.Present_Value
HLI-19 | energy_accumulator_96 | kilowatt_hours | AV116008.Present_Value
HLI-65 | average_line_current_sensor_97 | amperes | AV102001.Present_Value
HLI-65 | average_line_neutral_voltage_sensor_97 | volts | AV102002.Present_Value
HLI-65 | line_frequency_sensor_97 | hertz | AV102003.Present_Value
HLI-65 | powerfactor_sensor_97 | no_units | AV102004.Present_Value
HLI-65 | power_sensor_97 | kilowatts | AV102005.Present_Value
HLI-65 | electricalgrid_energy_accumulator_97 | kilowatt_hours | AV102006.Present_Value
HLI-65 | generator_energy_accumulator_97 | kilowatt_hours | AV102007.Present_Value
HLI-65 | energy_accumulator_97 | kilowatt_hours | AV102008.Present_Value
HLI-65 | average_line_current_sensor_98 | amperes | AV103001.Present_Value
HLI-65 | average_line_neutral_voltage_sensor_98 | volts | AV103002.Present_Value
HLI-65 | line_frequency_sensor_98 | hertz | AV103003.Present_Value
HLI-65 | powerfactor_sensor_98 | no_units | AV103004.Present_Value
HLI-65 | power_sensor_98 | kilowatts | AV103005.Present_Value
HLI-65 | electricalgrid_energy_accumulator_98 | kilowatt_hours | AV103006.Present_Value
HLI-65 | generator_energy_accumulator_98 | kilowatt_hours | AV103007.Present_Value
HLI-65 | energy_accumulator_98 | kilowatt_hours | AV103008.Present_Value
HLI-65 | average_line_current_sensor_99 | amperes | AV104001.Present_Value
HLI-65 | average_line_neutral_voltage_sensor_99 | volts | AV104002.Present_Value
HLI-65 | line_frequency_sensor_99 | hertz | AV104003.Present_Value
HLI-65 | powerfactor_sensor_99 | no_units | AV104004.Present_Value
HLI-65 | power_sensor_99 | kilowatts | AV104005.Present_Value
HLI-65 | electricalgrid_energy_accumulator_99 | kilowatt_hours | AV104006.Present_Value
HLI-65 | generator_energy_accumulator_99 | kilowatt_hours | AV104007.Present_Value
HLI-65 | energy_accumulator_99 | kilowatt_hours | AV104008.Present_Value
HLI-65 | average_line_current_sensor_100 | amperes | AV105001.Present_Value
HLI-65 | average_line_neutral_voltage_sensor_100 | volts | AV105002.Present_Value
HLI-65 | line_frequency_sensor_100 | hertz | AV105003.Present_Value
HLI-65 | powerfactor_sensor_100 | no_units | AV105004.Present_Value
HLI-65 | power_sensor_100 | kilowatts | AV105005.Present_Value
HLI-65 | electricalgrid_energy_accumulator_100 | kilowatt_hours | AV105006.Present_Value
HLI-65 | generator_energy_accumulator_100 | kilowatt_hours | AV105007.Present_Value
HLI-65 | energy_accumulator_100 | kilowatt_hours | AV105008.Present_Value
HLI-65 | average_line_current_sensor_101 | amperes | AV106001.Present_Value
HLI-65 | average_line_neutral_voltage_sensor_101 | volts | AV106002.Present_Value
HLI-65 | line_frequency_sensor_101 | hertz | AV106003.Present_Value
HLI-65 | powerfactor_sensor_101 | no_units | AV106004.Present_Value
HLI-65 | power_sensor_101 | kilowatts | AV106005.Present_Value
HLI-65 | electricalgrid_energy_accumulator_101 | kilowatt_hours | AV106006.Present_Value
HLI-65 | generator_energy_accumulator_101 | kilowatt_hours | AV106007.Present_Value
HLI-65 | energy_accumulator_101 | kilowatt_hours | AV106008.Present_Value
HLI-19 | average_line_current_sensor_102 | amperes | AV117001.Present_Value
HLI-19 | average_line_neutral_voltage_sensor_102 | volts | AV117002.Present_Value
HLI-19 | line_frequency_sensor_102 | hertz | AV117003.Present_Value
HLI-19 | powerfactor_sensor_102 | no_units | AV117004.Present_Value
HLI-19 | power_sensor_102 | kilowatts | AV117005.Present_Value
HLI-19 | electricalgrid_energy_accumulator_102 | kilowatt_hours | AV117006.Present_Value
HLI-19 | generator_energy_accumulator_102 | kilowatt_hours | AV117007.Present_Value
HLI-19 | energy_accumulator_102 | kilowatt_hours | AV117008.Present_Value
HLI-19 | average_line_current_sensor_103 | amperes | AV118001.Present_Value
HLI-19 | average_line_neutral_voltage_sensor_103 | volts | AV118002.Present_Value
HLI-19 | line_frequency_sensor_103 | hertz | AV118003.Present_Value
HLI-19 | powerfactor_sensor_103 | no_units | AV118004.Present_Value
HLI-19 | power_sensor_103 | kilowatts | AV118005.Present_Value
HLI-19 | electricalgrid_energy_accumulator_103 | kilowatt_hours | AV118006.Present_Value
HLI-19 | generator_energy_accumulator_103 | kilowatt_hours | AV118007.Present_Value
HLI-19 | energy_accumulator_103 | kilowatt_hours | AV118008.Present_Value
HLI-65 | average_line_current_sensor_104 | amperes | AV107001.Present_Value
HLI-65 | average_line_neutral_voltage_sensor_104 | volts | AV107002.Present_Value
HLI-65 | line_frequency_sensor_104 | hertz | AV107003.Present_Value
HLI-65 | powerfactor_sensor_104 | no_units | AV107004.Present_Value
HLI-65 | power_sensor_104 | kilowatts | AV107005.Present_Value
HLI-65 | electricalgrid_energy_accumulator_104 | kilowatt_hours | AV107006.Present_Value
HLI-65 | generator_energy_accumulator_104 | kilowatt_hours | AV107007.Present_Value
HLI-65 | energy_accumulator_104 | kilowatt_hours | AV107008.Present_Value
HLI-65 | average_line_current_sensor_105 | amperes | AV108001.Present_Value
HLI-65 | average_line_neutral_voltage_sensor_105 | volts | AV108002.Present_Value
HLI-65 | line_frequency_sensor_105 | hertz | AV108003.Present_Value
HLI-65 | powerfactor_sensor_105 | no_units | AV108004.Present_Value
HLI-65 | power_sensor_105 | kilowatts | AV108005.Present_Value
HLI-65 | electricalgrid_energy_accumulator_105 | kilowatt_hours | AV108006.Present_Value
HLI-65 | generator_energy_accumulator_105 | kilowatt_hours | AV108007.Present_Value
HLI-65 | energy_accumulator_105 | kilowatt_hours | AV108008.Present_Value
s

## network
network_type | udmi.localnet.families | udmi.localnet.id
HLI-9 | bacnet
HLI-9A | bacnet
HLI-19 | bacnet
HLI-19A | bacnet
HLI-34 | bacnet
HLI-34A | bacnet
HLI-53 | bacnet
HLI-65 | bacnet

## virtual_device_entities
virtual_points_type | device_points_type | dbo.source_device_field | dbo.virtual_device_field | dbo.abstracts

## asset_template
entity_instance_name | udmi.system.location.site | udmi.pointset.points | udmi.system.location.section | udmi.system.location.position.x | udmi.system.location.position.y | udmi.system.location.position.z | udmi.physical_tag.asset.guid | udmi.physical_tag.asset.site | udmi.physical_tag.asset.name | udmi.cloud.auth_type | dbo.devices_or_virtual_devices | dbo.type | dbo.connections.feeds | dbo.connections.controls | dbo.links | dbo.links.points | location | reporting_device